## BoQ1
Government eProcurement System Created By: Arun Naik Created Date/Time: 16-Dec-2020 04:27 PM Tender Title: A.C.M.C. of Various Capacity of MLATs Solar Power System at various locations in the Operational Area of Mumbai Airport during 2020-21 to 2021-22. Tender ID: 2020_AAI_62907_1
Tender Inviting Authority: Asstt.Gen.Manager (Engg.-Elect.),ATS Complex, Mumbai.
Name of Work: "A.C.M.C. of Various Capacity of MLATs Solar Power System at various locations in the Operational Area of Mumbai Airport during 2020-21 to 2021-22.."
Contract No: MUM/ATS/ENGG-E/eNIT-07/2020-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Empire Batteries(GSTN-27AAZPS8602H1ZY) |  | SOLARICA SYSTEMS(GSTN-27AGTPG6187D1Z0) |  | Revoltcreations Solar Solutions LLP(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.01 | Annual comprehensive maintenance of following capacity MLATS solar power system at various locations in the operational area of Mumbai Airport including cleaning, repairing of faulty / unserviceble 600Va/24 DC, 220 V AC / 50 V output, Sine wave, SU-KAM make inverters (Two nos. at each location) and replacement of all necessary spares parts as required for keeping healthy and in serviceble condition, carrying out servicing as per monthly maintenance schedule, painting of battery and inverter enclouser once a year as per special conditions complete, etc. as required.This scope of work does not include replacing faulty solar photo voltic cells / modules ( 75Wp, 160 Nos.) and solar battery banks. i) First year a) 90 Watt Capacity System - parallel redundancy | 2.00 | Job |  | 41700.00 | 83400.00 | 50000.00 | 100000.00 | 48550.00 | 97100.00 | 83400.00 | Empire Batteries
1.02 | Annual comprehensive maintenance of following capacity MLATS solar power system at various locations in the operational area of Mumbai Airport including cleaning, repairing of faulty / unserviceble 600Va/24 DC, 220 V AC / 50 V output, Sine wave, SU-KAM make inverters (Two nos. at each location) and replacement of all necessary spares parts as required for keeping healthy and in serviceble condition, carrying out servicing as per monthly maintenance schedule, painting of battery and inverter enclouser once a year as per special conditions complete, etc. as required.This scope of work does not include replacing faulty solar photo voltic cells / modules ( 75Wp, 160 Nos.) and solar battery banks. i) First year b) 65 Watt Capacity System - parallel redundancy | 1.00 | Job |  | 41700.00 | 41700.00 | 50000.00 | 50000.00 | 44300.00 | 44300.00 | 41700.00 | Empire Batteries
1.03 | Annual comprehensive maintenance of following capacity MLATS solar power system at various locations in the operational area of Mumbai Airport including cleaning, repairing of faulty / unserviceble 600Va/24 DC, 220 V AC / 50 V output, Sine wave, SU-KAM make inverters (Two nos. at each location) and replacement of all necessary spares parts as required for keeping healthy and in serviceble condition, carrying out servicing as per monthly maintenance schedule, painting of battery and inverter enclouser once a year as per special conditions complete, etc. as required.This scope of work does not include replacing faulty solar photo voltic cells / modules ( 75Wp, 160 Nos.) and solar battery banks. i) First year c) 30 Watt Capacity System - parallel redundancy | 9.00 | Job |  | 41700.00 | 375300.00 | 50000.00 | 450000.00 | 42400.00 | 381600.00 | 375300.00 | Empire Batteries
2.01 | Annual comprehensive maintenance of following capacity MLATS solar power system at various locations in the operational area of Mumbai Airport including cleaning, repairing of faulty / unserviceble 600Va/24 DC, 220 V AC / 50 V output, Sine wave, SU-KAM make inverters (Two nos. at each location) and replacement of all necessary spares parts as required for keeping healthy and in serviceble condition, carrying out servicing as per monthly maintenance schedule, painting of battery and inverter enclouser once a year as per special conditions complete, etc. as required.This scope of work does not include replacing faulty solar photo voltic cells / modules ( 75Wp, 160 Nos.) and solar battery banks. ii) Second year a) 90 Watt Capacity System - parallel redundancy | 2.00 | Job |  | 43800.00 | 87600.00 | 68000.00 | 136000.00 | 53400.00 | 106800.00 | 87600.00 | Empire Batteries
2.02 | Annual comprehensive maintenance of following capacity MLATS solar power system at various locations in the operational area of Mumbai Airport including cleaning, repairing of faulty / unserviceble 600Va/24 DC, 220 V AC / 50 V output, Sine wave, SU-KAM make inverters (Two nos. at each location) and replacement of all necessary spares parts as required for keeping healthy and in serviceble condition, carrying out servicing as per monthly maintenance schedule, painting of battery and inverter enclouser once a year as per special conditions complete, etc. as required.This scope of work does not include replacing faulty solar photo voltic cells / modules ( 75Wp, 160 Nos.) and solar battery banks. ii) Second year b) 65 Watt Capacity System - parallel redundancy | 1.00 | Job |  | 43800.00 | 43800.00 | 68000.00 | 68000.00 | 49700.00 | 49700.00 | 43800.00 | Empire Batteries
2.03 | Annual comprehensive maintenance of following capacity MLATS solar power system at various locations in the operational area of Mumbai Airport including cleaning, repairing of faulty / unserviceble 600Va/24 DC, 220 V AC / 50 V output, Sine wave, SU-KAM make inverters (Two nos. at each location) and replacement of all necessary spares parts as required for keeping healthy and in serviceble condition, carrying out servicing as per monthly maintenance schedule, painting of battery and inverter enclouser once a year as per special conditions complete, etc. as required.This scope of work does not include replacing faulty solar photo voltic cells / modules ( 75Wp, 160 Nos.) and solar battery banks. ii) Second year c) 30 Watt Capacity System - parallel redundancy | 9.00 | Job |  | 43800.00 | 394200.00 | 68800.00 | 619200.00 | 47050.00 | 423450.00 | 394200.00 | Empire Batteries
| Total in Figures |  |  |  |  | 1026000.00 |  | 1423200.00 |  | 1102950.00
Lowest Amount Quoted BY: Empire Batteries(1026000.00)

## BOQ Summary
BOQ Summary Details Tender Title: A.C.M.C. of Various Capacity of MLATs Solar Power System at various locations in the Operational Area of Mumbai Airport during 2020-21 to 2021-22. Tender ID: 2020_AAI_62907_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Empire Batteries | 1026000.00 | L1
| 2 | Revoltcreations Solar Solutions LLP | 1102950.00 | L2
| 3 | SOLARICA SYSTEMS | 1423200.00 | L3