## BoQ1
Government eProcurement System Created By: Ravindra singh Mehrok Created Date/Time: 17-Dec-2020 05:07 PM Tender Title: Operation and Comprehensive maintenance contract of HVAC System and BMS of NITB , Split type AC units, Water coolers and Water Purifier at Vadodara Airport. (For 2 Year Period) (Yr-2020-21 and 2021-22) Tender ID: 2020_AAI_62922_1
Tender Inviting Authority: Asst.Gen. Manager(E-E), AAI, CA, Vadodara
Name of Work: Operation & Comprehensive maintenance contract of HVAC System & BMS of NITB , Split type AC units, Water coolers & Water Purifier at Vadodara Airport. (For 2 Year Period) (Yr-2020-21 & 2021-22).
Contract No: AAI/VAD/ENGG/NIT-06/CMC-I/HVAC & BMS/2020-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Supertech Engineers(GSTN-07AAMPS2459M1ZZ) |  | Breeze Cool Service(GSTN-24ACSPP1840K1Z9) |  | AIRON CORPORTION(GSTN-24AAFFA7652R1ZY) |  | SNOWMEX ENGINEERS LIMITED(GSTN-07AAMCS8717P1ZF) |  | PAN POLAR ENGINEERS PVT. LTD.(GSTN-07AABCP0844P1Z5) |  | SHINRYO SUVIDHA ENGINEERS INDIA PVT LTD(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation and upkeeping of HVAC system i/c BMS of NITB involving operation minor repair & maintenance , maintaining records/ documentation for the above works as per the scope of work and terms & conditions of contract on all days including Sundays & holidays of the month on round the clock basis etc complete all as required. The details of man power to be deployed in each shift of 8 hrs and the list of Equipment's to be operated and upkeeped shall be as per special condition of contract. | 24.00 | Month |  | 274500.00 | 6588000.00 | 315111.00 | 7562664.00 | 260480.00 | 6251520.00 | 325000.00 | 7800000.00 | 265000.00 | 6360000.00 | 290000.00 | 6960000.00 | 6251520.00 | AIRON CORPORTION
2.00 | All inclusive comprehensive maintenance of 3 x 350 TR water cooled HVAC System including BMS consisting of CARRIER make centrifugal type chillers ,cooling towers, Primary /Secondary / Condenser pumps, fan coil units, AHU's Exhaust System , MV cubical panels etc. and all other associated electrical system and equipment's including periodical checks, carrying preventive maintenance as per manufacturer's & AAI guidelines, attending break down which includes repair, replacement of defective components, painting of systems as per special conditions of contract, maintaining records/ documentation, supplying consumables for electrical and mechanical maintenance i/c chemical dosing to keep condenser water quality within permissible limit as per OEM standard etc. complete as per detailed specification, terms & conditions of contract. | 24.00 | Month |  | 55000.00 | 1320000.00 | 25465.00 | 611160.00 | 72000.00 | 1728000.00 | 20000.00 | 480000.00 | 50000.00 | 1200000.00 | 60000.00 | 1440000.00 | 480000.00 | SNOWMEX ENGINEERS LIMITED
3.00 | All inclusive comprehensive maintenance of following capacity of VRV Cassettes AC indoor and outdoor unit including periodical checks, carrying preventive maintenance as per manufacturer's & AAI guidelines, attending break down which includes repair, replacement of defective components, maintaining records/documentation, supplying consumables for electrical and mechanical maintenance complete all as required. The work shall be carried out as per the detailed specification, terms & conditions of contract. (a) Out door unit 22 HP - 4 Nos (b) Indoor unit 1.25 HP (1 TR) - 1 Nos (c) Indoor unit 2.5 HP (2.1 TR) - 3 Nos (d)Indoor unit 4 HP (3.2 TR) - 4 Nos (e) Indoor unit 5 HP (4 TR) - 11 Nos | 24.00 | Month |  | 13000.00 | 312000.00 | 5000.00 | 120000.00 | 7200.00 | 172800.00 | 5000.00 | 120000.00 | 30000.00 | 720000.00 | 8000.00 | 192000.00 | 120000.00 | Breeze Cool Service, SNOWMEX ENGINEERS LIMITED
4.00 | Quarterly Inspection of CARRIER make 3 Nos X 350 TR water cooled centrifugal type chillers from OEM / authorised OEM Service dealer/ Authorized system Integrator for checking chillers performance periodically. SCOPE OF WORK QUARTERLY INSPECTION OF CHILLRES as belows:- a) To check oil level in the compressor. b) To check liquid sight glasses for determining refrigerant shortage. c) To inspect the unit for leaks with a soap solution. d) To inspect entire system for any unusual conditions such as noise, vibration, etc. e) To check the system operating pressure and temperatures to ensure proper operating conditions. f) To check Evaporator and Condenser Approach. g) To check chilled water flow by checking pressure drop across the chiller. h) To compare the chilled water temperature at full load with the chilled water temperature control. i) To inspect all safety controls and adjust if required. j) To inspect all operating control and sequence of operation. k) To review daily operating log maintained by Customers operating personnel and instruct operating personal as required. l) To give suggestions for improvement of chiller performance. m) To carryout calibrations of transducer & sensors. n) To check Motor Insulation. o) To carryout adjustments of controls if required. p) To clean, tight and checking of soft starter & accessories. q) To carryout software checking & verifications, if there is any minor work then it will be attended and provide recommendations for replacement of hardware if any. r) To generate the report of all units during visit and same will be handed over to the agency for onward submission to AAI. | 8.00 | Job |  | 78000.00 | 624000.00 | 50000.00 | 400000.00 | 75000.00 | 600000.00 | 20000.00 | 160000.00 | 60000.00 | 480000.00 | 25000.00 | 200000.00 | 160000.00 | SNOWMEX ENGINEERS LIMITED
5.00 | Carrying out Quarterly Inspection of Honeywell make BMS installed for the HVAC system of NITB from Original Equipment Manufacturer (OEM) / authorised OEM Service dealer/ Authorized system Integrator and submission of Quarterly Inspection Reports to Engineer-In-Charge The work shall be carried out as per the detailed specification, terms & conditions of contract. SCOPE OF WORK QUARTERLY INSPECTION OF BMS as belows:- a)Power connectivity to all DDC panels. b) Soft points integrations to DDC controllers. c) Hard points and sensors connectivity to the DDC controllers. d) Check soft inputs and hard inputs outputs in BMS Software. e) MSTP connectivity from DDC controllers to main controller. f) LAN connectivity from main controller to software. g) Generate the report for troubleshooting and material requirements will be handed over to the agency for onward submission to AAI. | 8.00 | Job |  | 30000.00 | 240000.00 | 15000.00 | 120000.00 | 30000.00 | 240000.00 | 35000.00 | 280000.00 | 39990.00 | 319920.00 | 25000.00 | 200000.00 | 120000.00 | Breeze Cool Service
6.10 | Comprehensive Annual Maintenance of wall mounted split type room Air conditioners of following capacity of different makes by visiting once in a month and attending any numbers of breakdown calls including carrying out preventive maintenance such as cleaning, repairing/ replacement consumable items, piping and electrical components with genuine materials, taking rectification action, ensuring servicing/ satisfactory working condition of the system as per the detailed specifications, terms & conditions covered under this contract. a) 1.5 TR Capacity 230V, 50 Hz ( Qty = 22 Nos AC unit x 24 month = 528 Job) (Note: Rate should be quoted per AC Unit per month) | 528.00 | Job |  | 75.00 | 39600.00 | 125.00 | 66000.00 | 400.00 | 211200.00 | 175.00 | 92400.00 | 140.00 | 73920.00 | 220.00 | 116160.00 | 39600.00 | Supertech Engineers
6.20 | Comprehensive Annual Maintenance of wall mounted split type room Air conditioners of following capacity of different makes by visiting once in a month and attending any numbers of breakdown calls including carrying out preventive maintenance such as cleaning, repairing/ replacement consumable items, piping and electrical components with genuine materials, taking rectification action, ensuring servicing/ satisfactory working condition of the system as per the detailed specifications, terms & conditions covered under this contract. a) 2 TR Capacity, 230 V, 50 Hz ( Qty= 7 Nos AC unit x 24 month = 168 Job) (Note: Rate should be quoted per AC Unit per month) | 168.00 | Job |  | 79.00 | 13272.00 | 135.00 | 22680.00 | 500.00 | 84000.00 | 150.00 | 25200.00 | 190.00 | 31920.00 | 225.00 | 37800.00 | 13272.00 | Supertech Engineers
7.10 | Comprehensive Annual Maintenance of wall mounted split type room Air conditioners of following capacity of different makes by visiting once in a month and attending any numbers of breakdown calls including carrying out preventive maintenance such as cleaning, repairing/ replacement consumable items, piping and electrical components with genuine materials, taking rectification action, ensuring servicing/ satisfactory working condition of the system as per the detailed specifications, terms & conditions covered under this contract..(Compressor under warantee) a) 1.5 TR Capacity 230V, 50 Hz ( Qty = 44 Nos AC unit x 16 month = 704 Job) (Note: Rate should be quoted per AC Unit per month) | 704.00 | Job |  | 100.00 | 70400.00 | 100.00 | 70400.00 | 400.00 | 281600.00 | 175.00 | 123200.00 | 140.00 | 98560.00 | 220.00 | 154880.00 | 70400.00 | Supertech Engineers, Breeze Cool Service
7.20 | Comprehensive Annual Maintenance of wall mounted split type room Air conditioners of following capacity of different makes by visiting once in a month and attending any numbers of breakdown calls including carrying out preventive maintenance such as cleaning, repairing/ replacement consumable items, piping and electrical components with genuine materials, taking rectification action, ensuring servicing/ satisfactory working condition of the system as per the detailed specifications, terms & conditions covered under this contract..(Compressor under warantee) a) 2 TR Capacity, 230 V, 50 Hz ( Qty = [ 42 Nos AC unit x 16 Month = 672 Job ] + [ 4 Nos AC unit x 24 month = 96 Job ] = 768 Job) (Note: Rate should be quoted per AC Unit per month) | 768.00 | Job |  | 103.00 | 79104.00 | 100.00 | 76800.00 | 500.00 | 384000.00 | 200.00 | 153600.00 | 190.00 | 145920.00 | 225.00 | 172800.00 | 76800.00 | Breeze Cool Service
8.00 | Comprehensive Annual Maintenance of Split Type / Tower type / Cassette type Air conditioners of following capacity of different makes by visiting once in a month and attending any numbers of breakdown calls including carrying out preventive maintenance such as cleaning, repairing/ replacement consumable items, piping and electrical components with genuine materials, taking rectification action, ensuring servicing/ satisfactory working condition of the system as per the detailed specifications, terms & conditions covered under this contract. a) 3 /3.5 TR Capacity, 3 phase, 415V, 50 HZ ( Qty = 7 Nos AC x 24 month = 168 Job) (Note: Rate should be quoted per AC per month) | 168.00 | Job |  | 100.00 | 16800.00 | 200.00 | 33600.00 | 700.00 | 117600.00 | 350.00 | 58800.00 | 290.00 | 48720.00 | 235.00 | 39480.00 | 16800.00 | Supertech Engineers
9.00 | Comprehensive Annual Maintenance of Tower/ Cassette type, ceiling mounted room Air conditioners of following capacity of different makes by visiting once in a month and attending any numbers of breakdown calls including carrying out preventive maintenance such as cleaning, repairing/ replacement consumable items, piping and electrical components with genuine materials, taking rectification action, ensuring servicing/ satisfactory working condition of the system as per the detailed specifications, terms & conditions covered under this contract. a) 4 /4.5 TR Capacity, 3 phase, 415V, 50 HZ ( Qty = 7 Nos AC x 24 month = 168 Job) (Note: Rate should be quoted per AC per month) | 168.00 | Job |  | 113.00 | 18984.00 | 250.00 | 42000.00 | 900.00 | 151200.00 | 450.00 | 75600.00 | 390.00 | 65520.00 | 240.00 | 40320.00 | 18984.00 | Supertech Engineers
10.00 | Comprehensive Annual Maintenance of Air cooled, floor mounted Packaged type Air Conditioner Unit Refrigerant R407 (Make :- Blue Star) of following capacity installed at New Power House location by visiting once in a month and attending any numbers of breakdown calls including carrying out preventive maintenance such as cleaning, repairing/ replacement consumable items, piping and electrical components with genuine materials, taking rectification action, ensuring servicing/ satisfactory working condition of the system as per the detailed specifications, terms & conditions covered under this contract. a) 16.5 TR Capacity, 3 phase, 415V, 50 HZ (Qty = 4 Nos AC unit x 24 month = 96 Job) (Note: Rate should be quoted per AC per month) | 96.00 | Job |  | 192.00 | 18432.00 | 800.00 | 76800.00 | 2050.00 | 196800.00 | 800.00 | 76800.00 | 1640.00 | 157440.00 | 2082.00 | 199872.00 | 18432.00 | Supertech Engineers
11.10 | Comprehensive Annual Maintenance of of water coolers of all makes of following capacity at different locations of different makes by visiting once in a month and attending any numbers of breakdown calls including carrying out preventive maintenance by providing all necessary consumables and spares etc., complete as per site requirement and as per special conditions of contract. a) 80 Ltr capacity ( Qty = [ 13 Nos Water Cooler unit x 16 month = 208 Job ] + [ 2 Nos Water Coolers unit x 24 Month = 48 Job ] = 256 Job) (Note: Rate should be quoted per Water Cooler per month) | 256.00 | Job |  | 322.00 | 82432.00 | 280.00 | 71680.00 | 70.00 | 17920.00 | 300.00 | 76800.00 | 160.00 | 40960.00 | 500.00 | 128000.00 | 17920.00 | AIRON CORPORTION
11.20 | Comprehensive Annual Maintenance of of water coolers of all makes of following capacity at different locations of different makes by visiting once in a month and attending any numbers of breakdown calls including carrying out preventive maintenance by providing all necessary consumables and spares etc., complete as per site requirement and as per special conditions of contract. a) 120 Ltr capacity ( Qty = 3 Nos Water Coler unit x 24 month =72 Job) (Note: Rate should be quoted per Water Cooler per month) | 72.00 | Job |  | 300.00 | 21600.00 | 300.00 | 21600.00 | 90.00 | 6480.00 | 350.00 | 25200.00 | 200.00 | 14400.00 | 300.00 | 21600.00 | 6480.00 | AIRON CORPORTION
12.00 | Comprehensive Annual Maintenance of wall mounted bi-level drinking water fountain system having 2 Nos. - Fountain/ Spout (one high and one low height repectively), water discharge rate 30 LPH having 1 No. - Online chiller unit with R-134a refrigerant, adjustable thermostat control, push button, suitable for operation on 230 V ± 10%, single phase, 50Hz, AC supply etc. in different location of NITB as per special condition of contract.(Make- OASIS, Model No. M8CR) (Qty = 10 Nos Water Fountain unit x 24 month = 240 Job ) (Note: Rate should be quoted per Water Fountain unit per month) | 240.00 | Job |  | 67.00 | 16080.00 | 300.00 | 72000.00 | 300.00 | 72000.00 | 200.00 | 48000.00 | 280.00 | 67200.00 | 430.00 | 103200.00 | 16080.00 | Supertech Engineers
13.10 | Comprehensive Annual Maintenance of following different size wall mounted stainless steel air curtain with effective air throw atleast 2.5 metre, noise upto 70 dB, suitable for door size in different location of NITB as per special condition of contract.( Make-Technomech). a) 2500 mm (width) x 2400 mm (height) ( Qty = 4 Nos Air Curtain unit x 24 month = 96 Job) (Note: Rate should be quoted per Air Curtain unit per month) | 96.00 | Job |  | 159.00 | 15264.00 | 40.00 | 3840.00 | 210.00 | 20160.00 | 250.00 | 24000.00 | 240.00 | 23040.00 | 125.00 | 12000.00 | 3840.00 | Breeze Cool Service
13.20 | Comprehensive Annual Maintenance of following different size wall mounted stainless steel air curtain with effective air throw atleast 2.5 metre, noise upto 70 dB, suitable for door size in different location of NITB as per special condition of contract.( Make-Technomech). a) 2100 mm (width) x 2400 mm (height) ( Qty = 4 Nos Air Curtain unit x 24 month = 96 Job) (Note: Rate should be quoted per Air Curtain unit per month) | 96.00 | Job |  | 159.00 | 15264.00 | 40.00 | 3840.00 | 210.00 | 20160.00 | 240.00 | 23040.00 | 190.00 | 18240.00 | 125.00 | 12000.00 | 3840.00 | Breeze Cool Service
13.30 | Comprehensive Annual Maintenance of following different size wall mounted stainless steel air curtain with effective air throw atleast 2.5 metre, noise upto 70 dB, suitable for door size in different location of NITB as per special condition of contract.( Make-Technomech). a) 1500 mm (width) x 2400 mm (height) ( Qty = 8 Nos Air Curtain unit x 24 month = 192 Job) (Note: Rate should be quoted per Air Curtain unit per month) | 192.00 | Job |  | 159.00 | 30528.00 | 40.00 | 7680.00 | 180.00 | 34560.00 | 250.00 | 48000.00 | 155.00 | 29760.00 | 125.00 | 24000.00 | 7680.00 | Breeze Cool Service
13.40 | Comprehensive Annual Maintenance of following different size wall mounted stainless steel air curtain with effective air throw atleast 2.5 metre, noise upto 70 dB, suitable for door size in different location of NITB as per special condition of contract.( Make -Technomech). a) 1800 mm (width) x 1650 mm (height) ( Qty = 4 Nos Air Curtain unit x 24 month = 96 Job) (Note: Rate should be quoted per Air Curtain unit per month) | 96.00 | Job |  | 159.00 | 15264.00 | 40.00 | 3840.00 | 180.00 | 17280.00 | 275.00 | 26400.00 | 155.00 | 14880.00 | 125.00 | 12000.00 | 3840.00 | Breeze Cool Service
14.00 | Comprehensive Annual Maintenance of wall mounted stainless steel (304) fully automatic hand dryer with drying time 30 sec maximum, IPX1 protectionSuitable for operation on 230 V ± 10%, single phase, 50Hz, AC supply in different location of NITB as per special condition of contract.(Make/ Model: Technocrat Security Systems/ Classic SS) . ( Qty = 30 Nos Automatic Hand Dryer x 24 month = 720 Job) (Note: Rate should be quoted per Hand Dryer unit per month) | 720.00 | Job |  | 42.00 | 30240.00 | 30.00 | 21600.00 | 250.00 | 180000.00 | 125.00 | 90000.00 | 170.00 | 122400.00 | 150.00 | 108000.00 | 21600.00 | Breeze Cool Service
15.00 | Comprehensive Annual Maintenance UV+UF based Water Purification system having capacity 50 Ltr/H including filters, UV's, Membrane and auto cutt off water level sensor as per technical specifications installed at various locations by visiting once in a month and attending any numbers of breakdown calls including carrying out preventive maintenance such as cleaning, repairing/ replacement consumable items [ membrane of make - permionics/ membrane filters, UV of make - SS Alfa/ sukrut, Prefilter - 20"- 5 micron yarn cadle and 20" carbon block) piping and electrical components with genuine materials, taking rectification action, ensuring servicing/ satisfactory working condition of the system as per the detailed specifications, terms & conditions covered under this contract. ( Qty = 19 Nos Purifier x 16 month = 304 Job) (Note: Rate should be quoted per Water Purifier per month) | 304.00 | Job |  | 637.00 | 193648.00 | 75.00 | 22800.00 | 900.00 | 273600.00 | 200.00 | 60800.00 | 190.00 | 57760.00 | 150.00 | 45600.00 | 22800.00 | Breeze Cool Service
16.00 | All inclusive comprehensive maintenance of 80 Ltr to 192 Ltr Single door refrigerator, direct cooling, stabiliser free operation including stand & all accessories as required as per direction of engineer in charge. installed at various location by visiting once in a month and attending any numbers of breakdown calls including carrying out preventive maintenance such as cleaning, repairing/ replacement consumable items, piping and electrical components with genuine materials, taking rectification action, ensuring servicing/ satisfactory working condition of the system as per the detailed specifications, terms & conditions covered under this contract. (Qty = 13 Nos Refrigeretor x 24 month = 312 Job) (Note: Rate should be quoted per Refrigerator unit per month) | 312.00 | Job |  | 71.00 | 22152.00 | 100.00 | 31200.00 | 200.00 | 62400.00 | 450.00 | 140400.00 | 280.00 | 87360.00 | 175.00 | 54600.00 | 22152.00 | Supertech Engineers
17.00 | Painting, of AC plant associated internal and exposed pipe lines, Motors, Pumps, associated valves, fittings and supports of all associated installations at service block, trench and NITB area with anti-rust paint in two coats etc. as per site requirement [ Approximate 300 sqmtr in 01 Job] | 2.00 | Job |  | 19500.00 | 39000.00 | 50000.00 | 100000.00 | 65000.00 | 130000.00 | 35000.00 | 70000.00 | 32990.00 | 65980.00 | 60000.00 | 120000.00 | 39000.00 | Supertech Engineers
18.00 | Dismantling of all type of air conditioning system Up to 2 TR and safely handed over to AAI store including finishing of wall properly with cement plaster, Putty, Color etc. as per site requirement. | 15.00 | Job |  | 1500.00 | 22500.00 | 150.00 | 2250.00 | 500.00 | 7500.00 | 150.00 | 2250.00 | 690.00 | 10350.00 | 700.00 | 10500.00 | 2250.00 | Breeze Cool Service, SNOWMEX ENGINEERS LIMITED
19.00 | Dismantling of all type of air conditioning system from 3.0 to 4.0 TR and safely handed over to AAI store including finishing of wall properly with cement plaster, Putty, Color etc. as per site requirement. | 5.00 | Job |  | 1500.00 | 7500.00 | 200.00 | 1000.00 | 750.00 | 3750.00 | 150.00 | 750.00 | 990.00 | 4950.00 | 800.00 | 4000.00 | 750.00 | SNOWMEX ENGINEERS LIMITED
20.00 | Installations of all type of air conditioning system (Up to 2 TR) with connected refrigerant copper piping (Minimum 3 Mtr.) with Nitrile rubber insulation, copper cable including suitable heavy duty M.S.Stand for outdoor unit , Standard drain pipe,15 A plug Top including all accessories etc. as per technical specification and as per site requirement. | 20.00 | Job |  | 3250.00 | 65000.00 | 400.00 | 8000.00 | 2000.00 | 40000.00 | 200.00 | 4000.00 | 1990.00 | 39800.00 | 3000.00 | 60000.00 | 4000.00 | SNOWMEX ENGINEERS LIMITED
21.00 | Installations of all type of air conditioning system (3 TR to 4 TR) with connected refrigerant copper piping (Minimum 3 Mtr.) with Nitrile rubber insulation, copper cable including suitable heavy duty M.S.Stand for outdoor unit , Standard drain pipe,Single Phase/ Three Phase Industrial plug Top box including all accessories etc. as per technical specification and as per site requirement . | 4.00 | Job |  | 3500.00 | 14000.00 | 250.00 | 1000.00 | 2500.00 | 10000.00 | 250.00 | 1000.00 | 2490.00 | 9960.00 | 3200.00 | 12800.00 | 1000.00 | Breeze Cool Service, SNOWMEX ENGINEERS LIMITED
22.00 | Providing and fixing of 20mm inner dia CPVC drain pipe for drain water for AC and wastage water of water cooler unit to nearest drain point including CPVC Elbow , CPVC "T", CPVC Coupler, Reducer, solvent, clamp, net packing at end etc. as per site requirement. | 100.00 | Meter |  | 62.00 | 6200.00 | 30.00 | 3000.00 | 230.00 | 23000.00 | 10.00 | 1000.00 | 40.00 | 4000.00 | 60.00 | 6000.00 | 1000.00 | SNOWMEX ENGINEERS LIMITED
23.00 | Providing & fixing extra refrigerant copper piping Up to 2.0 TR with Nitrile rubber insulation and suitable copper cabling between indoor and outdoor units etc. as required. | 100.00 | Meter |  | 850.00 | 85000.00 | 250.00 | 25000.00 | 500.00 | 50000.00 | 350.00 | 35000.00 | 140.00 | 14000.00 | 190.00 | 19000.00 | 14000.00 | PAN POLAR ENGINEERS PVT. LTD.
24.00 | Providing & fixing extra refrigerant copper piping Up to 3.0 to 4.0 TR with Nitrile rubber insulation and suitable copper cabling between indoor and outdoor units etc. as required. | 30.00 | Meter |  | 850.00 | 25500.00 | 350.00 | 10500.00 | 525.00 | 15750.00 | 450.00 | 13500.00 | 140.00 | 4200.00 | 200.00 | 6000.00 | 4200.00 | PAN POLAR ENGINEERS PVT. LTD.
25.10 | Supply of 50mm thick Box type washable synthic type air pre filters having anodized aluminium frame and efficiency 90% down to 10 micron of following sizes for AHUs, as and when required as per the site requirements. a) Size - 610mm x 610mm x 50mm | 100.00 | Each |  | 712.00 | 71200.00 | 1200.00 | 120000.00 | 800.00 | 80000.00 | 950.00 | 95000.00 | 590.00 | 59000.00 | 1500.00 | 150000.00 | 59000.00 | PAN POLAR ENGINEERS PVT. LTD.
25.20 | Supply of 50mm thick Box type washable synthic type air pre filters having anodized aluminium frame and efficiency 90% down to 10 micron of following sizes for AHUs, as and when required as per the site requirements. b) Size - 305mm x 610mm x 50mm | 30.00 | Each |  | 536.00 | 16080.00 | 1200.00 | 36000.00 | 700.00 | 21000.00 | 750.00 | 22500.00 | 540.00 | 16200.00 | 1200.00 | 36000.00 | 16080.00 | Supertech Engineers
25.30 | Supply of 50mm thick Box type washable synthic type air pre filters having anodized aluminium frame and efficiency 90% down to 10 micron of following sizes for AHUs, as and when required as per the site requirements. c) Size - 305mm x 305mm x 50mm | 5.00 | Each |  | 536.00 | 2680.00 | 1200.00 | 6000.00 | 600.00 | 3000.00 | 550.00 | 2750.00 | 440.00 | 2200.00 | 1000.00 | 5000.00 | 2200.00 | PAN POLAR ENGINEERS PVT. LTD.
26.00 | Supply of PVC fills having size of 600mm x 300mm x 150 mm for cooling tower as and when required after the prior approval of sample . | 300.00 | Each |  | 185.00 | 55500.00 | 150.00 | 45000.00 | 118.00 | 35400.00 | 120.00 | 36000.00 | 140.00 | 42000.00 | 180.00 | 54000.00 | 35400.00 | AIRON CORPORTION
| Total in Figures |  |  |  |  | 10193224.00 |  | 9819934.00 |  | 11542680.00 |  | 10291990.00 |  | 10450560.00 |  | 10757612.00
Lowest Amount Quoted BY: Breeze Cool Service(9819934.00)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and Comprehensive maintenance contract of HVAC System and BMS of NITB , Split type AC units, Water coolers and Water Purifier at Vadodara Airport. (For 2 Year Period) (Yr-2020-21 and 2021-22) Tender ID: 2020_AAI_62922_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Breeze Cool Service | 9819934.00 | L1
| 2 | Supertech Engineers | 10193224.00 | L2
| 3 | SNOWMEX ENGINEERS LIMITED | 10291990.00 | L3
| 4 | PAN POLAR ENGINEERS PVT. LTD. | 10450560.00 | L4
| 5 | SHINRYO SUVIDHA ENGINEERS INDIA PVT LTD | 10757612.00 | L5
| 6 | AIRON CORPORTION | 11542680.00 | L6