## BoQ1
Government eProcurement System Created By: Mousumi Dey Created Date/Time: 11-Jan-2021 01:35 PM Tender Title: Shifting of Feeder Pillar for Kaikhali Flyover Lighting at NSCBI Airport, Kolkata. Tender ID: 2020_AAI_63083_1
Tender Inviting Authority: AAI, NSCBI AIRPORT, KOLKATA
Name of Work: Shifting of Feeder Pillar for Kaikhali Flyover Lighting at NSCBI Airport, Kolkata.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ANIRBAN ENTERPRISE(GSTN-19AHNPB5949D1Z6) |  | RVD INFRA SOLUTION PVT.LTD.(GSTN-24AAGCR7767L1ZQ) |  | M/s.Unique Electricals(GSTN-19ADIPC4115H1ZU) |  | T K MAZUMDER(GSTN-19AADFT2150K1Z3) |  | SUPREME ELECTRIC(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of following size PVC insulated PVC round Sheathed multi core copper conductor (flexible) cable,1100 Volts conforming to IS-694:1990.
1.10 | (a) 3.5C X 120 Sqmm | 1980.00 | Meter |  | 375.00 | 742500.00 | 456.00 | 902880.00 | 360.00 | 712800.00 | 416.20 | 824076.00 | 505.00 | 999900.00 | 712800.00 | M/s.Unique Electricals
1.20 | (b) 3.5C X 35 Sqmm | 352.00 | Meter |  | 140.00 | 49280.00 | 180.00 | 63360.00 | 135.00 | 47520.00 | 160.42 | 56467.84 | 193.00 | 67936.00 | 47520.00 | M/s.Unique Electricals
2.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required.
2.10 | (a) Upto 35 sq. mm | 66.00 | Meter |  | 250.00 | 16500.00 | 240.00 | 15840.00 | 380.00 | 25080.00 | 254.00 | 16764.00 | 240.00 | 15840.00 | 15840.00 | SUPREME ELECTRIC, RVD INFRA SOLUTION PVT.LTD.
2.20 | (b) Above 95 sq. mm and upto 185 sq. mm | 132.00 | Meter |  | 275.00 | 36300.00 | 240.00 | 31680.00 | 400.00 | 52800.00 | 274.00 | 36168.00 | 300.00 | 39600.00 | 31680.00 | RVD INFRA SOLUTION PVT.LTD.
3.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC / HUME / METAL pipe as required.
3.10 | (a) Upto 35 sq. mm | 33.00 | Meter |  | 30.00 | 990.00 | 24.00 | 792.00 | 70.00 | 2310.00 | 25.00 | 825.00 | 50.00 | 1650.00 | 792.00 | RVD INFRA SOLUTION PVT.LTD.
3.20 | (b) Above 95 sq. mm and upto 185 sq. mm | 198.00 | Meter |  | 45.00 | 8910.00 | 36.00 | 7128.00 | 130.00 | 25740.00 | 30.00 | 5940.00 | 70.00 | 13860.00 | 5940.00 | T K MAZUMDER
4.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required.
4.10 | (a) Upto 35 sq. mm | 66.00 | Meter |  | 15.00 | 990.00 | 60.00 | 3960.00 | 75.00 | 4950.00 | 25.00 | 1650.00 | 50.00 | 3300.00 | 990.00 | ANIRBAN ENTERPRISE
4.20 | (b) Above 95 sq. mm and upto 185 sq. mm | 990.00 | Meter |  | 30.00 | 29700.00 | 72.00 | 71280.00 | 135.00 | 133650.00 | 30.00 | 29700.00 | 50.00 | 49500.00 | 29700.00 | ANIRBAN ENTERPRISE, T K MAZUMDER
5.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required.
5.10 | (a) Upto 35 sq. mm (clamped with 1mm thick saddle) | 187.00 | Meter |  | 30.00 | 5610.00 | 36.00 | 6732.00 | 95.00 | 17765.00 | 35.00 | 6545.00 | 50.00 | 9350.00 | 5610.00 | ANIRBAN ENTERPRISE
6.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required.
6.10 | (a) Above 95 sq. mm and upto 185 sq. mm (clamped with 25/40x3mm MS flat clamp) | 660.00 | Meter |  | 40.00 | 26400.00 | 48.00 | 31680.00 | 125.00 | 82500.00 | 60.00 | 39600.00 | 120.00 | 79200.00 | 26400.00 | ANIRBAN ENTERPRISE
7.00 | (a) Above 95 sq. mm and upto 185 sq. mm (clamped with 25/40x3mm MS flat clamp)
7.10 | (a) 3½ X 120 sq. mm (45mm) | 3.00 | Each |  | 70.00 | 210.00 | 600.00 | 1800.00 | 1500.00 | 4500.00 | 1700.00 | 5100.00 | 500.00 | 1500.00 | 210.00 | ANIRBAN ENTERPRISE
8.00 | Supplying and making outdoor end termination with cast resin compound including aluminium lugs and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
8.10 | (a) 3½ X 35 sq. mm | 12.00 | Each |  | 1200.00 | 14400.00 | 960.00 | 11520.00 | 600.00 | 7200.00 | 750.00 | 9000.00 | 500.00 | 6000.00 | 6000.00 | SUPREME ELECTRIC
8.20 | (b) 3½ X 120 sq. mm | 3.00 | Each |  | 1300.00 | 3900.00 | 1440.00 | 4320.00 | 950.00 | 2850.00 | 1100.00 | 3300.00 | 2000.00 | 6000.00 | 2850.00 | M/s.Unique Electricals
9.00 | Installation Testing and commissioning of outdoor type existing old Cubicle LT feeder pillar box, weather, dust and vermin proof, door with lockable arrangement including Foundation. size of the Feeder pillar is upto 1100mm (H) X 1000mm (W) X 400mm(D)} fabricated in compartmentalized design from CRCA sheet steel of 2mm thick framework and covers.rs bottom base of MS Angle section not less than 40mm X 40mm X 5mm thick, entire Panel shall have a common 6 SWG GI Wire at the rear with 2 Nos. earth stud. | 2.00 | Job |  | 8000.00 | 16000.00 | 7200.00 | 14400.00 | 13000.00 | 26000.00 | 3500.00 | 7000.00 | 10000.00 | 20000.00 | 7000.00 | T K MAZUMDER
10.00 | Dismantling of the old outdoor type LT feeder pillar i/c all accessories & disconnection of the power supply & stacking the dismantled materials. | 3.00 | Job |  | 500.00 | 1500.00 | 2400.00 | 7200.00 | 2500.00 | 7500.00 | 500.00 | 1500.00 | 1500.00 | 4500.00 | 1500.00 | ANIRBAN ENTERPRISE, T K MAZUMDER
11.00 | Supplying and making straight through joint with cast resin compound including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 3.00 | Job |  | 3000.00 | 9000.00 | 1200.00 | 3600.00 | 13800.00 | 41400.00 | 1500.00 | 4500.00 | 8000.00 | 24000.00 | 3600.00 | RVD INFRA SOLUTION PVT.LTD.
| Total in Figures |  |  |  |  | 962190.00 |  | 1178172.00 |  | 1194565.00 |  | 1048135.84 |  | 1342136.00
Lowest Amount Quoted BY: ANIRBAN ENTERPRISE(962190.00)

## BOQ Summary
BOQ Summary Details Tender Title: Shifting of Feeder Pillar for Kaikhali Flyover Lighting at NSCBI Airport, Kolkata. Tender ID: 2020_AAI_63083_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ANIRBAN ENTERPRISE | 962190.00 | L1
| 2 | T K MAZUMDER | 1048135.84 | L2
| 3 | RVD INFRA SOLUTION PVT.LTD. | 1178172.00 | L3
| 4 | M/s.Unique Electricals | 1194565.00 | L4
| 5 | SUPREME ELECTRIC | 1342136.00 | L5