## BoQ1
Government eProcurement System Created By: Ajit Saha Created Date/Time: 16-Dec-2020 12:15 PM Tender Title: Providing Reserved Lounge and Improvement works at OLD RED building, Guwahati Airport Civil and Electrical. Tender ID: 2020_AAI_63134_1
Tender Inviting Authority: AGM(E-C), AAI, RHQ, NER, Ghy
Name of Work: Providing Reserved Lounge and Improvement works at old RED building, Guwahati (Civil & Electrical).
Contract No: AAI/RHQ/NER/AGM(E-C)/LOUNGE/20-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | PANKAJ KUMAR DAS(GSTN-18AGJPD7590D1ZB) |  | Fermium Constructions LLP(GSTN-06AADFF1864C1ZU) |  | M/s J H Associates(GSTN-NA) |  | M/S ZELIZHU AND SONS(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. All kinds of soil | 301.00 | Cum |  | 39.00 | 11739.00 | 100.00 | 30100.00 | 150.00 | 45150.00 | 60.00 | 18060.00 | 11739.00 | PANKAJ KUMAR DAS
2.00 | Carriage of Earth (Lead upto 3km) | 138.00 | Cum |  | 49.00 | 6762.00 | 100.00 | 13800.00 | 150.00 | 20700.00 | 85.50 | 11799.00 | 6762.00 | PANKAJ KUMAR DAS
3.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 164.00 | Cum |  | 59.00 | 9676.00 | 200.00 | 32800.00 | 70.00 | 11480.00 | 85.50 | 14022.00 | 9676.00 | PANKAJ KUMAR DAS
4.00 | Carriage of Materials: By Mechanical Transport including loading,unloading and stacking: Lime, moorum, building rubbish (Lead upto 3km) | 31.00 | Cum |  | 59.00 | 1829.00 | 100.00 | 3100.00 | 200.00 | 6200.00 | 75.50 | 2340.50 | 1829.00 | PANKAJ KUMAR DAS
5.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 60.00 | Cum |  | 599.00 | 35940.00 | 500.00 | 30000.00 | 800.00 | 48000.00 | 1550.00 | 93000.00 | 30000.00 | Fermium Constructions LLP
6.00 | Soling with 90 mm stone boulder and 45 mm aggregate to increase the bearing capacity of muddy soil with stone dust 15% of value as per direction of E.I.C | 60.00 | Cum |  | 1999.00 | 119940.00 | 3000.00 | 180000.00 | 2500.00 | 150000.00 | 2185.00 | 131100.00 | 119940.00 | PANKAJ KUMAR DAS
7.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level, 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | 30.00 | Cum |  | 3999.00 | 119970.00 | 4500.00 | 135000.00 | 4200.00 | 126000.00 | 5995.00 | 179850.00 | 119970.00 | PANKAJ KUMAR DAS
8.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size) | 5.00 | Cum |  | 5699.00 | 28495.00 | 5000.00 | 25000.00 | 7000.00 | 35000.00 | 6235.00 | 31175.00 | 25000.00 | Fermium Constructions LLP
9.00 | Providing and laying in position machine batched and machine mixed design mix M-25 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in-charge.“(Note :- Cement content considered in this item is @ 330 kg/cum.“Excess/ less cement used as per design mix is payable/recoverable separately):All works upto plinth level | 53.00 | Cum |  | 6799.00 | 360347.00 | 6500.00 | 344500.00 | 8000.00 | 424000.00 | 5850.00 | 310050.00 | 310050.00 | M/S ZELIZHU AND SONS
10.00 | Providing and laying in position machine batched and machine mixed design mix M-25 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in-charge.“(Note :- Cement content considered in this item is @ 330 kg/cum.“Excess/ less cement used as per design mix is payable/recoverable separately):: All works above plinth level upto floor V level | 53.00 | Cum |  | 6799.00 | 360347.00 | 7000.00 | 371000.00 | 8200.00 | 434600.00 | 5850.00 | 310050.00 | 310050.00 | M/S ZELIZHU AND SONS
11.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights :Foundations, footings, bases of columns, etc. for mass concrete | 148.00 | Sqm |  | 139.00 | 20572.00 | 400.00 | 59200.00 | 200.00 | 29600.00 | 225.00 | 33300.00 | 20572.00 | PANKAJ KUMAR DAS
12.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights :Columns, Pillars, Piers, Abutments, Posts and Struts | 119.00 | Sqm |  | 139.00 | 16541.00 | 400.00 | 47600.00 | 250.00 | 29750.00 | 225.00 | 26775.00 | 16541.00 | PANKAJ KUMAR DAS
13.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Lintels, beams, plinth beams, girders, bressumers and cantilevers | 119.00 | Sqm |  | 139.00 | 16541.00 | 400.00 | 47600.00 | 250.00 | 29750.00 | 225.00 | 26775.00 | 16541.00 | PANKAJ KUMAR DAS
14.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Suspended floors, roofs, landings, balconies and access platform | 57.00 | Sqm |  | 139.00 | 7923.00 | 400.00 | 22800.00 | 300.00 | 17100.00 | 225.00 | 12825.00 | 7923.00 | PANKAJ KUMAR DAS
15.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 134.00 | Sqm |  | 139.00 | 18626.00 | 400.00 | 53600.00 | 250.00 | 33500.00 | 225.00 | 30150.00 | 18626.00 | PANKAJ KUMAR DAS
16.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Edges of slabs and breaks in floors and walls Under 20 cm wide | 57.00 | m |  | 69.00 | 3933.00 | 400.00 | 22800.00 | 300.00 | 17100.00 | 205.00 | 11685.00 | 3933.00 | PANKAJ KUMAR DAS
17.00 | Extra for additional height in centering, shuttering where ever required with adequate bracing, propping etc., including cost of de-shuttering and decentering at all levels, over a height of 3.5 m, for every additional height of 1 metre or part thereof (Plan area to be measured). Suspended floors, roofs, landing, beams and balconies (Plan area to be measured) | 50.00 | sqm |  | 59.00 | 2950.00 | 250.00 | 12500.00 | 65.00 | 3250.00 | 225.00 | 11250.00 | 2950.00 | PANKAJ KUMAR DAS
18.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 16655.00 | kg |  | 89.00 | 1482295.00 | 95.00 | 1582225.00 | 110.00 | 1832050.00 | 82.50 | 1374037.50 | 1374037.50 | M/S ZELIZHU AND SONS
19.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 718.00 | kg |  | 89.00 | 63902.00 | 100.00 | 71800.00 | 90.00 | 64620.00 | 82.50 | 59235.00 | 59235.00 | M/S ZELIZHU AND SONS
20.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level: Thermo-Mechanically Treated bars of grade Fe-500D or more | 4342.00 | kg |  | 59.00 | 256178.00 | 70.00 | 303940.00 | 70.00 | 303940.00 | 63.50 | 275717.00 | 256178.00 | PANKAJ KUMAR DAS
21.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 5290.00 | kg |  | 69.00 | 365010.00 | 70.00 | 370300.00 | 70.00 | 370300.00 | 63.50 | 335915.00 | 335915.00 | M/S ZELIZHU AND SONS
22.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 6.00 | Cum |  | 6899.00 | 41394.00 | 5500.00 | 33000.00 | 6000.00 | 36000.00 | 6555.00 | 39330.00 | 33000.00 | Fermium Constructions LLP
23.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in :Cement mortar 1:6 (1 cement : 6 coarse sand) | 67.00 | Cum |  | 6699.00 | 448833.00 | 6000.00 | 402000.00 | 6000.00 | 402000.00 | 5895.00 | 394965.00 | 394965.00 | M/S ZELIZHU AND SONS
24.00 | Extra for providing and placing in position 2 Nos 6mm dia. M.S. bars at every third course of half brick masonry. | 28.00 | Sqm |  | 59.00 | 1652.00 | 300.00 | 8400.00 | 200.00 | 5600.00 | 95.00 | 2660.00 | 1652.00 | PANKAJ KUMAR DAS
25.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand) | 28.00 | Sqm |  | 5799.00 | 162372.00 | 1000.00 | 28000.00 | 1000.00 | 28000.00 | 5355.00 | 149940.00 | 28000.00 | M/s J H Associates, Fermium Constructions LLP
26.00 | Providing and fixing Stainless Steel A ISi 304 (18/8) kitchen sink as per IS: 13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : Kitchen sink with drain board: 510x1040 mm bowl depth 250 mm | 1.00 | each |  | 3299.00 | 3299.00 | 3500.00 | 3500.00 | 5200.00 | 5200.00 | 5850.00 | 5850.00 | 3299.00 | PANKAJ KUMAR DAS
27.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Granite of any colour and shade: Area of slab over 0.50 sqm | 3.00 | Sqm |  | 2999.00 | 8997.00 | 5500.00 | 16500.00 | 4000.00 | 12000.00 | 3350.00 | 10050.00 | 8997.00 | PANKAJ KUMAR DAS
28.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry 3.3kg/sqm including grouting the joints with white cement and matching pigments etc., complete. a. Size of Tile 600x600 mm | 320.00 | Sqm |  | 789.00 | 252480.00 | 1400.00 | 448000.00 | 1200.00 | 384000.00 | 905.00 | 289600.00 | 252480.00 | PANKAJ KUMAR DAS
29.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, in skirting, riser of steps, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately).Size of Tile 600x600 mm | 5.00 | Sqm |  | 889.00 | 4445.00 | 1600.00 | 8000.00 | 1400.00 | 7000.00 | 995.00 | 4975.00 | 4445.00 | PANKAJ KUMAR DAS
30.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 21.00 | Sqm |  | 679.00 | 14259.00 | 1600.00 | 33600.00 | 700.00 | 14700.00 | 805.00 | 16905.00 | 14259.00 | PANKAJ KUMAR DAS
31.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement :4 Coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | 9.00 | Sqm |  | 679.00 | 6111.00 | 1200.00 | 10800.00 | 750.00 | 6750.00 | 855.00 | 7695.00 | 6111.00 | PANKAJ KUMAR DAS
32.00 | Providing and fixing 1st quality ceramic glazed floor tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement: 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | 2.00 | Sqm |  | 679.00 | 1358.00 | 1200.00 | 2400.00 | 800.00 | 1600.00 | 895.00 | 1790.00 | 1358.00 | PANKAJ KUMAR DAS
33.00 | Mirror polishing on marble work/Granite work/stone work where ever required to give high gloss finish complete. | 241.00 | Sqm |  | 3099.00 | 746859.00 | 3500.00 | 843500.00 | 200.00 | 48200.00 | 1885.00 | 454285.00 | 48200.00 | M/s J H Associates
34.00 | P/F Rimless, blind installation Wall hung WC with UF soft close slim seat cover, Hinges, Fixing Accessories and Accessories set size not less than 360 x 490 x 330 mm of approved make with single piece slim concealed cistern body with installation kit & " S-Type " Drain Pipe connection set for wall hung WC (including Control plate) as directed by Engg in charge. | 1.00 | each |  | 9999.00 | 9999.00 | 30000.00 | 30000.00 | 10000.00 | 10000.00 | 28555.00 | 28555.00 | 9999.00 | PANKAJ KUMAR DAS
35.00 | P/F table top wash basin of size not less than 565 x 425 x 140 mm of approved make , with waste coupling 32 mm full thread and Pillar Cock as directed by Engg in charge. | 1.00 | each |  | 2499.00 | 2499.00 | 16000.00 | 16000.00 | 6000.00 | 6000.00 | 9150.00 | 9150.00 | 2499.00 | PANKAJ KUMAR DAS
36.00 | P/F C.P. brass angular stop cock of approved make with wall flange as directed by Engg in charge. a) 15 mm nominal bore | 1.00 | each |  | 249.00 | 249.00 | 1000.00 | 1000.00 | 1000.00 | 1000.00 | 1255.00 | 1255.00 | 249.00 | PANKAJ KUMAR DAS
37.00 | P/F C.P. 2 way Bib Cock of approved make with wall flange as directed by Engg in charge. | 1.00 | each |  | 499.00 | 499.00 | 3000.00 | 3000.00 | 800.00 | 800.00 | 1950.00 | 1950.00 | 499.00 | PANKAJ KUMAR DAS
38.00 | Providing and fixing Hand Shower (Health Faucet) of approved make with 8 mm dia with 1.2 metre long flexible tube and wall hook as directed by Engg in charge. | 1.00 | each |  | 999.00 | 999.00 | 1500.00 | 1500.00 | 1500.00 | 1500.00 | 1450.00 | 1450.00 | 999.00 | PANKAJ KUMAR DAS
39.00 | Providing and fixing CP Brass Bottle Trap 32mm size of approved make with 250 mm & 190 mm Long wall Connection pipes & wall flange as directed by Engg in charge. | 1.00 | each |  | 439.00 | 439.00 | 2000.00 | 2000.00 | 1200.00 | 1200.00 | 1450.00 | 1450.00 | 439.00 | PANKAJ KUMAR DAS
40.00 | P/F Soap Dispenser of approved make with metallic body as directed by Engg in charge. | 1.00 | each |  | 599.00 | 599.00 | 5000.00 | 5000.00 | 800.00 | 800.00 | 3350.00 | 3350.00 | 599.00 | PANKAJ KUMAR DAS
41.00 | P/F CP towel ring of approved make as directed by Engg in charge. | 1.00 | each |  | 999.00 | 999.00 | 2500.00 | 2500.00 | 600.00 | 600.00 | 1750.00 | 1750.00 | 600.00 | M/s J H Associates
42.00 | P/F SS Toilet paper holder of approved make with Stainless Steel Flap as directed by Engg in charge. | 1.00 | each |  | 549.00 | 549.00 | 1500.00 | 1500.00 | 700.00 | 700.00 | 1550.00 | 1550.00 | 549.00 | PANKAJ KUMAR DAS
43.00 | P/F Urinal with fixing accessories set of approved make, with Aquisense sensor concealed type flushing valve for urinal complete set with installation box with control cock as directed by Engg in charge. | 1.00 | each |  | 3499.00 | 3499.00 | 25000.00 | 25000.00 | 12000.00 | 12000.00 | 14555.00 | 14555.00 | 3499.00 | PANKAJ KUMAR DAS
44.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore | 1.00 | each |  | 699.00 | 699.00 | 3000.00 | 3000.00 | 600.00 | 600.00 | 1650.00 | 1650.00 | 600.00 | M/s J H Associates
45.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 1.00 | each |  | 1499.00 | 1499.00 | 3000.00 | 3000.00 | 1000.00 | 1000.00 | 1250.00 | 1250.00 | 1000.00 | M/s J H Associates
46.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc: 15 mm nominal outer dia Pipes | 15.00 | m |  | 349.00 | 5235.00 | 500.00 | 7500.00 | 200.00 | 3000.00 | 285.00 | 4275.00 | 3000.00 | M/s J H Associates
47.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc:: 20 mm nominal outer dia Pipes | 20.00 | m |  | 369.00 | 7380.00 | 500.00 | 10000.00 | 250.00 | 5000.00 | 305.00 | 6100.00 | 5000.00 | M/s J H Associates
48.00 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, including cutting and making good the walls etc. internal work - Exposed on wall 100 mm dia | 81.00 | m |  | 999.00 | 80919.00 | 1000.00 | 81000.00 | 1000.00 | 81000.00 | 1325.00 | 107325.00 | 80919.00 | PANKAJ KUMAR DAS
49.00 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. 15 mm nominal bore | 1.00 | m |  | 1299.00 | 1299.00 | 4000.00 | 4000.00 | 600.00 | 600.00 | 1250.00 | 1250.00 | 600.00 | M/s J H Associates
50.00 | Chequerred precast cement concrete tiles 22 mm thick in footpath & courtyard, jointed with neat cement slurry mixed with pigment to match the shade of tiles, including rubbing and cleaning etc. complete, on 20 mm thick bed of cement mortar 1:4 (1 cement: 4 coarse sand). Light shade pigment using white cement | 16.00 | sqm |  | 999.00 | 15984.00 | 1000.00 | 16000.00 | 900.00 | 14400.00 | 1050.00 | 16800.00 | 14400.00 | M/s J H Associates
51.00 | Extra for plastering exterior walls of height more than 10 m from ground level for every additional height of 3 m or part thereof. | 9.00 | sqm |  | 209.00 | 1881.00 | 200.00 | 1800.00 | 300.00 | 2700.00 | 225.00 | 2025.00 | 1800.00 | Fermium Constructions LLP
52.00 | Applying one coat of water thinnable cement primer of approved brand and manufacture on wall surface : Water thinnable cement primer | 118.00 | sqm |  | 69.00 | 8142.00 | 50.00 | 5900.00 | 50.00 | 5900.00 | 115.00 | 13570.00 | 5900.00 | M/s J H Associates, Fermium Constructions LLP
53.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 167.00 | sqm |  | 89.00 | 14863.00 | 90.00 | 15030.00 | 100.00 | 16700.00 | 105.00 | 17535.00 | 14863.00 | PANKAJ KUMAR DAS
54.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 fine sand) | 428.00 | sqm |  | 229.00 | 98012.00 | 200.00 | 85600.00 | 250.00 | 107000.00 | 215.00 | 92020.00 | 85600.00 | Fermium Constructions LLP
55.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:6 (1 cement: 6 fine sand) | 426.00 | sqm |  | 239.00 | 101814.00 | 300.00 | 127800.00 | 270.00 | 115020.00 | 215.00 | 91590.00 | 91590.00 | M/S ZELIZHU AND SONS
56.00 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | 329.00 | sqm |  | 199.00 | 65471.00 | 200.00 | 65800.00 | 250.00 | 82250.00 | 175.00 | 57575.00 | 57575.00 | M/S ZELIZHU AND SONS
57.00 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer’s specification. Two or more coats on new work | 369.00 | sqm |  | 59.00 | 21771.00 | 60.00 | 22140.00 | 80.00 | 29520.00 | 95.00 | 35055.00 | 21771.00 | PANKAJ KUMAR DAS
58.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/ 10 sqm) | 474.00 | sqm |  | 89.00 | 42186.00 | 100.00 | 47400.00 | 125.00 | 59250.00 | 125.00 | 59250.00 | 42186.00 | PANKAJ KUMAR DAS
59.00 | Finishing with Epoxy paint (two or more coats) at all locations prepared and applied as per manufacturer’s specifications including appropriate priming coat, preparation of surface, etc. complete. On steel work | 380.00 | sqm |  | 109.00 | 41420.00 | 100.00 | 38000.00 | 125.00 | 47500.00 | 135.00 | 51300.00 | 38000.00 | Fermium Constructions LLP
60.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 14.00 | sqm |  | 89.00 | 1246.00 | 80.00 | 1120.00 | 100.00 | 1400.00 | 145.00 | 2030.00 | 1120.00 | Fermium Constructions LLP
61.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 19.00 | kg |  | 429.00 | 8151.00 | 600.00 | 11400.00 | 500.00 | 9500.00 | 485.00 | 9215.00 | 8151.00 | PANKAJ KUMAR DAS
62.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 8.00 | kg |  | 429.00 | 3432.00 | 600.00 | 4800.00 | 550.00 | 4400.00 | 485.00 | 3880.00 | 3432.00 | PANKAJ KUMAR DAS
63.00 | Providing and fixing 0.50 mm thick galvalume profile sheeting with 70 gsm galvalume coating. The sheet shall be fixed using self drilling /self tapping screws , complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 292.00 | Sqm |  | 589.00 | 171988.00 | 700.00 | 204400.00 | 600.00 | 175200.00 | 565.00 | 164980.00 | 164980.00 | M/S ZELIZHU AND SONS
64.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With tinted glass of 5mm thick | 7.00 | Sqm |  | 899.00 | 6293.00 | 1600.00 | 11200.00 | 1000.00 | 7000.00 | 1150.00 | 8050.00 | 6293.00 | PANKAJ KUMAR DAS
65.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length ( hold fast lugs or dash fastener shall be paid for separately). Second class teak wood | .10 | Cum |  | 79999.00 | 7999.90 | 150000.00 | 15000.00 | 80000.00 | 8000.00 | 95000.00 | 9500.00 | 7999.90 | PANKAJ KUMAR DAS
66.00 | Providing and fixing 35 mm thick factory made laminated veneer lumber door shutter conforming to IS : 14616 and TADS 15:2001 (Part B), including ISI marked M.S. pressed butt hinges bright finished of required size with necessary screws, all complete as per directions of Engineerin- charge and panelling with panels of : 12 mm thick pre-laminated particle board (decorative lamination on both sides) grade -1, medium density flat pressed, three layer particle board FPT- I or graded wood particle board FPT- I, conforming to IS : 3087, bonded with BWP type synthetic resin adhesive as per IS : 848 and pre- laminated conforming to IS : 12823, Grade 1, Type - II marked | 8.00 | Sqm |  | 2799.00 | 22392.00 | 3000.00 | 24000.00 | 3000.00 | 24000.00 | 3350.00 | 26800.00 | 22392.00 | PANKAJ KUMAR DAS
67.00 | 30 mm thick PVC door shutters of Rajshree make as per manufacturer’s specification and direction of Engineer-in-charge to take up necessary hardware and fixtures. | 4.00 | Sqm |  | 2199.00 | 8796.00 | 2000.00 | 8000.00 | 2500.00 | 10000.00 | 3350.00 | 13400.00 | 8000.00 | Fermium Constructions LLP
68.00 | Providing and fixing Rajshree PVC Door Frame of size 75x50 mm , all as per manufacturer's specification and direction of Engineer -in- charge. | 11.00 | m |  | 109.00 | 1199.00 | 1000.00 | 11000.00 | 2700.00 | 29700.00 | 185.00 | 2035.00 | 1199.00 | PANKAJ KUMAR DAS
69.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 4.00 | Cum |  | 259.00 | 1036.00 | 1500.00 | 6000.00 | 1000.00 | 4000.00 | 1050.00 | 4200.00 | 1036.00 | PANKAJ KUMAR DAS
70.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 31.00 | Cum |  | 199.00 | 6169.00 | 1000.00 | 31000.00 | 500.00 | 15500.00 | 75.00 | 2325.00 | 2325.00 | M/S ZELIZHU AND SONS
71.00 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead :Of area 3 sq. metres and below | 33.00 | each |  | 59.00 | 1947.00 | 500.00 | 16500.00 | 150.00 | 4950.00 | 95.00 | 3135.00 | 1947.00 | PANKAJ KUMAR DAS
72.00 | Three track three panels sliding window with fly proof SS wire mesh (Two nos. glazed & one no. wire mesh panels) made of (small series) frame 92 x 44 mm & sash 32 x 60 mm both having wall thickness of 1.9 ± 0.2 mm and single glazing bead of appropriate dimension (Area of window upto 1.75 sqm). | 5.00 | sqm |  | 2999.00 | 14995.00 | 5000.00 | 25000.00 | 7000.00 | 35000.00 | 4550.00 | 22750.00 | 14995.00 | PANKAJ KUMAR DAS
73.00 | Dismantling steel work manually/ by mechanical means in built up sections without dismembering and stacking within 50 metres lead as per direction of Engineer-in-charge. | 1952.00 | kg |  | 9.00 | 17568.00 | 20.00 | 39040.00 | 10.00 | 19520.00 | 35.00 | 68320.00 | 17568.00 | PANKAJ KUMAR DAS
74.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 251.00 | Sqm |  | 29.00 | 7279.00 | 100.00 | 25100.00 | 100.00 | 25100.00 | 42.50 | 10667.50 | 7279.00 | PANKAJ KUMAR DAS
75.00 | Dismantling roofing including ridges, hips, valleys and gutters etc., and stacking the material within 50 metres lead of: G.S. Sheet | 189.00 | Sqm |  | 99.00 | 18711.00 | 100.00 | 18900.00 | 65.00 | 12285.00 | 75.00 | 14175.00 | 12285.00 | M/s J H Associates
76.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable surplus material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 32.00 | Sqm |  | 99.00 | 3168.00 | 100.00 | 3200.00 | 150.00 | 4800.00 | 45.00 | 1440.00 | 1440.00 | M/S ZELIZHU AND SONS
77.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-incharge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 1727.00 | kg |  | 499.00 | 861773.00 | 650.00 | 1122550.00 | 550.00 | 949850.00 | 555.00 | 958485.00 | 861773.00 | PANKAJ KUMAR DAS
78.00 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recomme-nded jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer’s specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with: 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- (Part I) : 2011 (Board with BIS Certification marks) | 98.00 | sqm |  | 799.00 | 78302.00 | 1200.00 | 117600.00 | 1200.00 | 117600.00 | 905.00 | 88690.00 | 78302.00 | PANKAJ KUMAR DAS
79.00 | Providing & fixing in position Phenol bonded Bamboo wood wall cladding at all height with planks of sizes 10mm thick, 1800mm length (minimum) and 130 mm wide (minimum), in approved colour, texture and finish, having Performance Appraisal Certificate (PAC) issued by Building Materials & Technology Promotion Council (BMTPC), with necesasary profiled edges fixed with 40mm SS screws 5 nos in each tile to frame work made of second class teak wood of size 20x15 mm in centre of each tile and bottom and top of work height, 40x15mm placed at ends of each tile. The cladding shall be laid over backlayment of 1.00 mm thick expanded poly ethylene foam of density 40kg/cum in two layers, first layer on wall surface before fixing wooden frame and second layer on frame under cladding. The bomboowood planks shall have minimum density of 1000 Kg/cum & minimum Hardness 1000 Kgf. with Eco friendly UV coating, all complete as per direction of Engineer in-charge. | 112.00 | sqm |  | 4999.00 | 559888.00 | 5000.00 | 560000.00 | 4800.00 | 537600.00 | 4850.00 | 543200.00 | 537600.00 | M/s J H Associates
80.00 | Providing and laying APP (Atactic Polypropylene Polymer) modified prefabricated five layer, 3 mm thick water proofing membrane, black finished reinforced with glass fibre matt consisting of a coat of bitumen primer for bitumen membrane @ 0.40 litre/sqm by the same membrane manufactured of density at 25°C, 0.87 - 0.89 kg/litre and viscocity 70 - 160 cps. Over the primer coat the layer of membrane shall be laid using butane torch and sealing all joints etc., and preparing the surface complete. The vital physical and chemical parameters of the membrane shall be as under : Joint strength in longitudinal and transverse direction at 23°C as 350/300 N/5 cm. Tear strength in longitudinal and transverse direction as 60/80N. Softening point of membrane not less than 150°C. Cold flexibility shall be upto -2°C when tested in accordance with ASTM, D - 5147. The laying of membrane shall be got done through the authorised applicator of the manufacturer of membrane : a. 3 mm thick | 29.00 | sqm |  | 769.00 | 22301.00 | 1000.00 | 29000.00 | 500.00 | 14500.00 | 625.00 | 18125.00 | 14500.00 | M/s J H Associates
81.00 | Providing and fixing mild steel round holding down bolts with nuts and washer plates complete | 1500.00 | kg |  | 89.00 | 133500.00 | 95.00 | 142500.00 | 100.00 | 150000.00 | 84.50 | 126750.00 | 126750.00 | M/S ZELIZHU AND SONS
82.00 | Supplying hot dipped galvanized Membrane Corner Plates of required thickness and design finished with a coat of Marine Primer and two coats of Polyurethane paint complete as per Drawing/ Detail and fixing with high tensile bolts of grade not less than 10.9 having black phosphate coating complete as per Drawing/Detail and as per direction of Engineer-In-Charge. | 242.00 | kg |  | 89.00 | 21538.00 | 150.00 | 36300.00 | 150.00 | 36300.00 | 88.50 | 21417.00 | 21417.00 | M/S ZELIZHU AND SONS
83.00 | Grouting of all the column as per direction and satisfaction of E.I.C | 19.00 | Each |  | 599.00 | 11381.00 | 1000.00 | 19000.00 | 1500.00 | 28500.00 | 645.00 | 12255.00 | 11381.00 | PANKAJ KUMAR DAS
84.00 | Providing, fabricating, assembling and erection of pre stressed Tensile Membrane Fabric structure in desired profile as per conceptual drawing , with SERGE FERRARI pre constraint TX-30 Type III or MEHLER FR 1000 Mehatop N-Type III having minimum Tensile strength (Warp/Weft) 5600/5500N/50 mm & minimum tear strength (Warp/Weft) of 800 / 650 N, high concentrated PVDF top coating and PVDF coated on bottom side, polyester fabric and should be weldable having a minimum weight of 1050 gm/sqm with a minimum 20 years warranty etc. over steel structure frames with all fittings and fixtures such as Galvanized MS End Plate ,Shackles, Rigging Screws , Turnbuckles, swedge, fork , keder rods & galvanized MS strands with stainless steel end terminals complete as per Drawing / Detail & as per particular/ technical specifications and as per the directions of Engineer-in-charge. (Rate includes cost of fabric, patterns, forming, cutting, fabrication, hot weld stitch of fabric, Transport to the site ,assembling and installation with GI strands, hardware, EPDM gasket and required accessories wherever required complete including lifts up to all heights, tools & plants, and necessary scaffolding etc. required for all operations in all respect as per direction of Engineer-In-Charge). (Note : (i) Actual plan area of canopy shall only be measured for payment. (ii) MS structure will be paid separately vide respective items. | 80.00 | sqm |  | 6899.00 | 551920.00 | 6500.00 | 520000.00 | 4000.00 | 320000.00 | 6355.00 | 508400.00 | 320000.00 | M/s J H Associates
85.00 | Providing and fixing plain lining with necessary screws/nuts & bolts/nails, including a coat of approved primer on one face, and fixed on wooden /steel frame work, complete as per direction of Engineer-incharge (Frame work shall be paid for separately). 12mm thick commercial ply conforming to IS : 1328 BWR type | 43.00 | sqm |  | 1699.00 | 73057.00 | 2500.00 | 107500.00 | 1100.00 | 47300.00 | 95.00 | 4085.00 | 4085.00 | M/S ZELIZHU AND SONS
86.00 | Providing and fixing frame work for partitions/ wall lining etc. made of 50x50x1.6 mm hollow MS tube, placed along the walls, ceiling and floor in a grid pattern with spacing @ 60 cm centre to centre both ways (vertically & horizontally) or at required spacing near opening, with necessary welding at junctions and fixing the frame to wall/ ceiling/ floors with steel dash fasteners of 8 mm dia, 75 mm long bolt, including making provision for opening for doors, windows, electrical conduits, switch boards etc., including providing with two coats of approved steel primer etc. complete, all as per direction of Engineer-in-charge. | 91.00 | kg |  | 99.00 | 9009.00 | 100.00 | 9100.00 | 110.00 | 10010.00 | 97.50 | 8872.50 | 8872.50 | M/S ZELIZHU AND SONS
87.00 | Providing and laying damp-proof course 40mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand (zone-III): 4 graded stone aggregate 12.5mm nominal size) | 6.00 | sqm |  | 699.00 | 4194.00 | 500.00 | 3000.00 | 1000.00 | 6000.00 | 785.00 | 4710.00 | 3000.00 | Fermium Constructions LLP
88.00 | Extra for providing and mixing water proofing material in cement concrete work in doses by weight of cement as per manufacturer's specification. | 483.00 | per kg cement |  | 29.00 | 14007.00 | 10.00 | 4830.00 | 12.00 | 5796.00 | 45.00 | 21735.00 | 4830.00 | Fermium Constructions LLP
89.00 | Grading roof for water proofing treatment with Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) | 30.00 | sqm |  | 469.00 | 14070.00 | 1200.00 | 36000.00 | 1200.00 | 36000.00 | 525.00 | 15750.00 | 14070.00 | PANKAJ KUMAR DAS
90.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 110 mm diameter | 26.00 | metre | 100.00 | 439.00 | 11414.00 | 800.00 | 20800.00 | 300.00 | 7800.00 | 535.00 | 13910.00 | 7800.00 | M/s J H Associates
91.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Single tee with door 110x110x110 mm | 10.00 | each | 100.00 | 99.00 | 990.00 | 800.00 | 8000.00 | 100.00 | 1000.00 | 145.00 | 1450.00 | 990.00 | PANKAJ KUMAR DAS
92.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Bend 87.5° 110 mm bend | 10.00 | each | 100.00 | 99.00 | 990.00 | 300.00 | 3000.00 | 100.00 | 1000.00 | 145.00 | 1450.00 | 990.00 | PANKAJ KUMAR DAS
93.00 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. 110 mm | 15.00 | each | 100.00 | 99.00 | 1485.00 | 1000.00 | 15000.00 | 100.00 | 1500.00 | 165.00 | 2475.00 | 1485.00 | PANKAJ KUMAR DAS
94.00 | Providing and submitting the preliminary drawings, carrying out structural design, preparetion of detailed structural drawing and developing working architectural drawing. This item also includes carrying out necessary soil investigation works, (as detailed in Technical Specification) in which the design to be done for the proposed work. The structural design and drawings shall be got vetted by Govt. Enginnering College, I.I.T/NIT. The design and drawing so submitted shall be got approved by Engineer-in-charge before execution of work. After approval of structural design and drawing by AAI 5(five) set of Good for Construction" design and drawings showing all relevant details shall be submitted duly signed by the consultant. Consultant shall also submit any other details required relevant to the scope and completion of work. | 1.00 | job | 100.00 | 79999.00 | 79999.00 | 150000.00 | 150000.00 | 120000.00 | 120000.00 | 95555.00 | 95555.00 | 79999.00 | PANKAJ KUMAR DAS
95.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed heavy class PVC conduit, with FANCY modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required.(Group B) | 35.00 | Point | 100.00 | 799.00 | 27965.00 | 1200.00 | 42000.00 | 1000.00 | 35000.00 | 865.00 | 30275.00 | 27965.00 | PANKAJ KUMAR DAS
96.00 | Wiring for group control points for light points with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed heavy class PVC conduit, and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable including all accessories etc. as required, excluding switch & switch box. - (Group B) | 29.00 | Point | 100.00 | 799.00 | 23171.00 | 1200.00 | 34800.00 | 1000.00 | 29000.00 | 575.00 | 16675.00 | 16675.00 | M/S ZELIZHU AND SONS
97.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed heavy class PVC conduit as required.-(2 x 1.5 Sq..mm. + 1 x 1.5 sq. mm. earth wire) | 40.00 | Metre | 100.00 | 129.00 | 5160.00 | 225.00 | 9000.00 | 500.00 | 20000.00 | 205.00 | 8200.00 | 5160.00 | PANKAJ KUMAR DAS
98.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed heavy class PVC conduit as required.-(2 x 2.5 Sq. mm+ 1 x 2.5 sq. mm earth wire) | 39.00 | Metre | 100.00 | 129.00 | 5031.00 | 250.00 | 9750.00 | 150.00 | 5850.00 | 205.00 | 7995.00 | 5031.00 | PANKAJ KUMAR DAS
99.00 | Wiring for light power plug with 2 X 4 sqmm FRLS PVC insulated copper conductor, single core cable in surface/recessed steel conduit along with 1 No 4 sqmm. FRLS PVC insulated copper conductor, single core cable for loop earthing as required. | 206.00 | Metre | 100.00 | 169.00 | 34814.00 | 200.00 | 41200.00 | 250.00 | 51500.00 | 245.00 | 50470.00 | 34814.00 | PANKAJ KUMAR DAS
100.00 | Wiring for power plug with 4 x 4 sq.mm. FRLS PVC insulated copper conductor single core cable in surface/recessed steel conduit along with 2 nos. 4 sq.mm. FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 10.00 | Metre | 100.00 | 129.00 | 1290.00 | 310.00 | 3100.00 | 350.00 | 3500.00 | 355.00 | 3550.00 | 1290.00 | PANKAJ KUMAR DAS
101.00 | Supplying and drawing following pair 0.5 mm dia FRLS PVC insulated annealed copper conductor, unarmored telephone cable in the existing surface/ recessed steel/ PVC conduit as required.-(2 Pair) | 65.00 | Metre | 100.00 | 189.00 | 12285.00 | 30.00 | 1950.00 | 25.00 | 1625.00 | 235.00 | 15275.00 | 1625.00 | M/s J H Associates
102.00 | Supplying and drawing of UTP 4 pair CAT 6 LAN Cable in the existing surface/ recessed steel/ PVC conduit as required. | 91.00 | Metre | 100.00 | 129.00 | 11739.00 | 50.00 | 4550.00 | 100.00 | 9100.00 | 195.00 | 17745.00 | 4550.00 | Fermium Constructions LLP
103.00 | Supplying and fixing the following Modular Switch / Socket/ RJ11/RJ45 etc. on the existing modular plate and switch box including connections but excluding modular plate etc. as required.-(5/6 amps switch) | 19.00 | Each | 100.00 | 239.00 | 4541.00 | 100.00 | 1900.00 | 88.00 | 1672.00 | 95.00 | 1805.00 | 1672.00 | M/s J H Associates
104.00 | Supplying and fixing the following Modular Switch / Socket/ RJ11/RJ45 etc. on the existing modular plate and switch box including connections but excluding modular plate etc. as required.-(15/16 amp switch) | 10.00 | Each | 100.00 | 239.00 | 2390.00 | 100.00 | 1000.00 | 110.00 | 1100.00 | 145.00 | 1450.00 | 1000.00 | Fermium Constructions LLP
105.00 | Supplying and fixing the following Modular Switch / Socket/ RJ11/RJ45 etc. on the existing modular plate and switch box including connections but excluding modular plate etc. as required.- (3 pin 5/6 amp Light Power Socket Outlet -shuttered type) | 19.00 | Each | 100.00 | 239.00 | 4541.00 | 100.00 | 1900.00 | 80.00 | 1520.00 | 125.00 | 2375.00 | 1520.00 | M/s J H Associates
106.00 | Supplying and fixing the following Modular Switch / Socket/ RJ11/RJ45 etc. on the existing modular plate and switch box including connections but excluding modular plate etc. as required.- (6 pin 15/16 amp Power Socket Outlet-shuttered type) | 10.00 | Each | 100.00 | 239.00 | 2390.00 | 850.00 | 8500.00 | 120.00 | 1200.00 | 195.00 | 1950.00 | 1200.00 | M/s J H Associates
107.00 | Supplying and fixing the following Modular Switch / Socket/ RJ11/RJ45 etc. on the existing modular plate and switch box including connections but excluding modular plate etc. as required.- (TV Socket Outlet) | 3.00 | Each | 100.00 | 239.00 | 717.00 | 1500.00 | 4500.00 | 150.00 | 450.00 | 275.00 | 825.00 | 450.00 | M/s J H Associates
108.00 | Supplying and fixing the following Modular Switch / Socket/ RJ11/RJ45 etc. on the existing modular plate and switch box including connections but excluding modular plate etc. as required.- (RJ 11 Telephone Socket Outlet) | 5.00 | Each | 100.00 | 239.00 | 1195.00 | 600.00 | 3000.00 | 120.00 | 600.00 | 275.00 | 1375.00 | 600.00 | M/s J H Associates
109.00 | Supplying and fixing the following Modular Switch / Socket/ RJ11/RJ45 etc. on the existing modular plate and switch box including connections but excluding modular plate etc. as required.- (RJ 45 Computer Outlet -CAT-6) | 7.00 | Each | 100.00 | 239.00 | 1673.00 | 120.00 | 840.00 | 150.00 | 1050.00 | 275.00 | 1925.00 | 840.00 | Fermium Constructions LLP
110.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required.- (25 mm Conduit) | 156.00 | Metre | 100.00 | 69.00 | 10764.00 | 400.00 | 62400.00 | 150.00 | 23400.00 | 95.00 | 14820.00 | 10764.00 | PANKAJ KUMAR DAS
111.00 | Supplying and fixing following size/ modules, GI box along with modular base and cover plate for modular switches in recess etc. as required.- (1 or 2 module of size 75mm x 75mm, for RJ-11 & RJ-45 | 12.00 | Each | 100.00 | 69.00 | 828.00 | 300.00 | 3600.00 | 250.00 | 3000.00 | 255.00 | 3060.00 | 828.00 | PANKAJ KUMAR DAS
112.00 | Supplying and fixing following size/ modules, GI box along with modular base and cover plate for modular switches in recess etc. as required.- (3 Module of size 100mm x 75mm, for 5A P/P | 34.00 | Each | 100.00 | 69.00 | 2346.00 | 350.00 | 11900.00 | 300.00 | 10200.00 | 285.00 | 9690.00 | 2346.00 | PANKAJ KUMAR DAS
113.00 | Supplying and fixing following size/ modules, GI box along with modular base and cover plate for modular switches in recess etc. as required. (4 Module of 125mm x 75mm for 15A P/P) | 10.00 | Each | 100.00 | 69.00 | 690.00 | 400.00 | 4000.00 | 300.00 | 3000.00 | 385.00 | 3850.00 | 690.00 | PANKAJ KUMAR DAS
114.00 | Supplying and fixing following size/ modules, GI box along with modular base and cover plate for modular switches in recess etc. as required. (6 Module of size 200mm x 75mm) | 3.00 | Each | 100.00 | 69.00 | 207.00 | 500.00 | 1500.00 | 320.00 | 960.00 | 455.00 | 1365.00 | 207.00 | PANKAJ KUMAR DAS
115.00 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 10.00 | Each | 100.00 | 79.00 | 790.00 | 50.00 | 500.00 | 28.00 | 280.00 | 45.00 | 450.00 | 280.00 | M/s J H Associates
116.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required.- (3 x 1.5 sq. mm) | 28.00 | Metre | 100.00 | 139.00 | 3892.00 | 60.00 | 1680.00 | 60.00 | 1680.00 | 85.00 | 2380.00 | 1680.00 | M/s J H Associates, Fermium Constructions LLP
117.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required.- (3 x 2.5 sq. mm) | 27.00 | Metre | 100.00 | 149.00 | 4023.00 | 80.00 | 2160.00 | 100.00 | 2700.00 | 115.00 | 3105.00 | 2160.00 | Fermium Constructions LLP
118.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required.- (3 x 4 sq. mm) | 144.00 | Metre | 100.00 | 169.00 | 24336.00 | 120.00 | 17280.00 | 125.00 | 18000.00 | 155.00 | 22320.00 | 17280.00 | Fermium Constructions LLP
119.00 | Supplying and fixing of following ways surface/ recess mounting, horizontal type, 415 volts, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 125 amps tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCB's (but without MCB's and incomer ) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) - 4 way (8 + 12), Double door | 8.00 | Each | 100.00 | 699.00 | 5592.00 | 5800.00 | 46400.00 | 2500.00 | 20000.00 | 3555.00 | 28440.00 | 5592.00 | PANKAJ KUMAR DAS
120.00 | Supplying and fixing of following ways surface/ recess mounting, horizontal type, 415 volts, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 125 amps tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCB's (but without MCB's and incomer ) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.)- 6 way (8 + 18), Double door | 7.00 | Each | 100.00 | 799.00 | 5593.00 | 7200.00 | 50400.00 | 3000.00 | 21000.00 | 4555.00 | 31885.00 | 5593.00 | PANKAJ KUMAR DAS
121.00 | Supplying & Fixing 6A to 32A rating, 240/415 V, 10KA, "C" curve, imiature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc as required. (Single pole) | 42.00 | Each | 100.00 | 599.00 | 25158.00 | 250.00 | 10500.00 | 300.00 | 12600.00 | 165.00 | 6930.00 | 6930.00 | M/S ZELIZHU AND SONS
122.00 | Supplying & Fixing 6A to 32A rating, 240/415 V, 10KA, "C" curve, imiature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc as required. (Single pole and Neutral) | 6.00 | Each | 100.00 | 699.00 | 4194.00 | 550.00 | 3300.00 | 1000.00 | 6000.00 | 475.00 | 2850.00 | 2850.00 | M/S ZELIZHU AND SONS
123.00 | Supplying and fixing following rating, four pole, 415V, MCB in the existing MCB DB complete with connections, testing and commissioning etc. as required.- (63 A for incomer of 4P MCBDB) | 3.00 | Each | 100.00 | 899.00 | 2697.00 | 2500.00 | 7500.00 | 2500.00 | 7500.00 | 955.00 | 2865.00 | 2697.00 | PANKAJ KUMAR DAS
124.00 | Supplying and fixing following rating, four pole, 415V, ISOLATOR in the existing MCB DB complete with connections, testing and commissioning etc. as required.- (63A for incomer of 4P MCBDB) | 3.00 | Each | 100.00 | 999.00 | 2997.00 | 2500.00 | 7500.00 | 1500.00 | 4500.00 | 1185.00 | 3555.00 | 2997.00 | PANKAJ KUMAR DAS
125.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 24.00 | Each | 100.00 | 799.00 | 19176.00 | 20.00 | 480.00 | 20.00 | 480.00 | 25.00 | 600.00 | 480.00 | M/s J H Associates, Fermium Constructions LLP
126.00 | Dismantling of existing Single Door/Double Door type TPN, MCBDB of up to 6 ways from the wall involving identification of loads, brick wall chiseling, disconnection of all incoming/outgoing wires, removing of MCB/RCCB and wires from the DBs/End Box and separation of DB box from all the connected concealed pipes, ensuring power supply to the user department is not disrupted for which temporary connection is to be made and Handing over of dismantled items along with a list to AAI. | 12.00 | Each | 100.00 | 29.00 | 348.00 | 25.00 | 300.00 | 1000.00 | 12000.00 | 55.00 | 660.00 | 300.00 | Fermium Constructions LLP
127.00 | Supply of 2' x 2' LED recessed type Panel Light, 34/36 W complete with non-integral electronic drive, made in powder coated CRCA/Aluminium housing with opel diffuser suitable to operate in 230V,50Hz AC supply etc, as required. | 8.00 | Each | 100.00 | 1299.00 | 10392.00 | 4500.00 | 36000.00 | 4000.00 | 32000.00 | 1750.00 | 14000.00 | 10392.00 | PANKAJ KUMAR DAS
128.00 | Supply of 30 to 40W LED post top with pressure die cast housing with toughned glass and individual LED with secondary optics and IP 66 protection suitable to operate on 230V, 50Hz, ac supply etc as required. | 10.00 | Each | 100.00 | 799.00 | 7990.00 | 4500.00 | 45000.00 | 8000.00 | 80000.00 | 1150.00 | 11500.00 | 7990.00 | PANKAJ KUMAR DAS
129.00 | Supply of surface mounted 18-20 W square/round LED luminaries complete with non-integral electronic drive, made in powder coated CRCA/Aluminium housing with opel diffuser suitable to operate in 230V,50Hz AC supply etc, as required. | 12.00 | Each | 100.00 | 999.00 | 11988.00 | 2500.00 | 30000.00 | 800.00 | 9600.00 | 1255.00 | 15060.00 | 9600.00 | M/s J H Associates
130.00 | Supply of fancy light fitting including LED lamp of 10-15 watt suitable fixing on wall (for bedroom) suitable to operate on 230 volts , 50 hertz, AC supply etc complete as required. | 6.00 | Each | 100.00 | 1299.00 | 7794.00 | 2500.00 | 15000.00 | 1500.00 | 9000.00 | 1850.00 | 11100.00 | 7794.00 | PANKAJ KUMAR DAS
131.00 | Supply of 80W LED high bay luminaire with pressure die cast housing with toughned glass and individual LED with secondary optics suitable to operate on 230V, 50 Hz ac supply etc. complete as required. | 12.00 | Each | 100.00 | 1299.00 | 15588.00 | 2500.00 | 30000.00 | 10000.00 | 120000.00 | 1655.00 | 19860.00 | 15588.00 | PANKAJ KUMAR DAS
132.00 | Supply of 18-20W LED Track Light with single phase 1 meter track operate on 230V, 50 Hz ac supply etc. complete as required. | 24.00 | Each | 100.00 | 1599.00 | 38376.00 | 1500.00 | 36000.00 | 3000.00 | 72000.00 | 1985.00 | 47640.00 | 36000.00 | Fermium Constructions LLP
133.00 | Supply of 1250-1350 mm sweep 5 blade decorative ceiling fan suitable to operate on 230 V, 50 HZ, ac supply complete with Fan Motor, Blade Set, DownRod, Canopy Set, Shackle Kit and Twisted Wire.(Equlent to Orient model "woodwind") | 2.00 | Each | 100.00 | 2699.00 | 5398.00 | 8000.00 | 16000.00 | 6000.00 | 12000.00 | 3555.00 | 7110.00 | 5398.00 | PANKAJ KUMAR DAS
134.00 | Supply of BLDC technology, 1200 mm sweep, 3 Blade, Ceiling Fan, 5-Star, 32W, ceiling fan suitable to operate on 220-240 V, 50 HZ, AC supply complete with Fan Motor, Blade Set, DownRod, Canopy Set, Shackle Kit and Twisted Wire. | 16.00 | Each | 100.00 | 2199.00 | 35184.00 | 8000.00 | 128000.00 | 3500.00 | 56000.00 | 3555.00 | 56880.00 | 35184.00 | PANKAJ KUMAR DAS
135.00 | Supply of ceiling mounted ventilation fan, 120-150 mm sweep size, 3/4 blade, 1250 rpm, Air Delivery (cu-mtr/min) of 150 CMM, not eceeding 42 db Noise level, 24 Watts Suitable to operate 230 V. 50 Hz, AC supply. (Equlent to havells model FHVVEDCWHT05) | 6.00 | Each | 100.00 | 1299.00 | 7794.00 | 2500.00 | 15000.00 | 3000.00 | 18000.00 | 3555.00 | 21330.00 | 7794.00 | PANKAJ KUMAR DAS
136.00 | Supplying and fixing stepped type electronic fan regulator on the existing modular plate and switch box including connections but excluding modular plate etc. as required. | 18.00 | Each | 100.00 | 799.00 | 14382.00 | 200.00 | 3600.00 | 300.00 | 5400.00 | 205.00 | 3690.00 | 3600.00 | Fermium Constructions LLP
137.00 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting/ LED light fittings of all types of shape and size up to 2'x 2' (Indoor/Outdoor) TYPE)complete with all accessories ( tube/lamp/driver/gear housing etc.) directly on ceiling/ wall/ground/post, cuting of false ceiling to the required shape, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 64.00 | Each | 100.00 | 599.00 | 38336.00 | 300.00 | 19200.00 | 250.00 | 16000.00 | 725.00 | 46400.00 | 16000.00 | M/s J H Associates
138.00 | Installation, testing and commissioning of ceiling fan wiring the down rod of standard length (upto 30 cm), with 1.5 sq.mm PVC insulated copper conductor single core cable including earthing the regulator etc. as required. | 22.00 | Each | 100.00 | 599.00 | 13178.00 | 300.00 | 6600.00 | 180.00 | 3960.00 | 855.00 | 18810.00 | 3960.00 | M/s J H Associates
139.00 | Installation of false ceiling mounted air exhaust fan on the existing false ceiling including P/Fixing suitable size PVC vent pipe from the fan outlet to the external wall of length up to 3M with suilable rain kowel, clamps, screws, insulation (if reqd) and making good the false ceiling to the original finish, connection, testing, commissioning etc. as required.- (Up to 450 mm sweep) | 6.00 | Each | 100.00 | 699.00 | 4194.00 | 400.00 | 2400.00 | 800.00 | 4800.00 | 955.00 | 5730.00 | 2400.00 | Fermium Constructions LLP
140.00 | Supply of 60 W to 70 W, LED flood Ligting Luminaire, Colour Temp of 4000-5000K, Luminius flux up to 9000 +/- 300 Lm, efficay 150 lm/w suitable for mounting on wall/ground/ceiling surface with pressure die cast housing/MS housing with toughned glass and individual LED with secondary optics and IP 66 protection suitable to operate on 230V, 50Hz, ac supply etc as required. | 14.00 | Each | 100.00 | 8999.00 | 125986.00 | 2500.00 | 35000.00 | 12000.00 | 168000.00 | 9850.00 | 137900.00 | 35000.00 | Fermium Constructions LLP
141.00 | Supply of LT power cable of 1.1KV grade of following size aluminium conductor XLPE insulated PVC sheathed un armoured cable confirming to IS 7098 Part I - 1988 with upto date amendment as required.- (3 core X 6 Sqmm) | 180.00 | Metre | 100.00 | 379.00 | 68220.00 | 200.00 | 36000.00 | 45.00 | 8100.00 | 115.00 | 20700.00 | 8100.00 | M/s J H Associates
142.00 | Supply of LT power cable of 1.1KV grade of following size aluminium conductor XLPE insulated PVC sheathed armoured cable confirming to IS 7098 Part I - 1988 with upto date amendment as required.- (3.5 core X 25Sqmm) | 95.00 | Metre | 101.00 | 369.00 | 35055.00 | 300.00 | 28500.00 | 170.00 | 16150.00 | 155.00 | 14725.00 | 14725.00 | M/S ZELIZHU AND SONS
143.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size in the existing RCC/ HUME/ METAL pipe as required.- (Upto 35 sq. mm) | 10.00 | Metre | 102.00 | 39.00 | 390.00 | 100.00 | 1000.00 | 20.00 | 200.00 | 45.00 | 450.00 | 200.00 | M/s J H Associates
144.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size on wall surface as required.- (Upto 35 sq. mm, clamped with 1mm thick saddle) | 30.00 | Metre | 103.00 | 39.00 | 1170.00 | 100.00 | 3000.00 | 20.00 | 600.00 | 35.00 | 1050.00 | 600.00 | M/s J H Associates
145.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required.- (Upto 35 sq. mm, clamped with 1mm thick saddle) | 20.00 | Metre | 104.00 | 39.00 | 780.00 | 100.00 | 2000.00 | 20.00 | 400.00 | 35.00 | 700.00 | 400.00 | M/s J H Associates
146.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. - (3½ X 25 sq. mm) | 6.00 | Each | 105.00 | 209.00 | 1254.00 | 3500.00 | 21000.00 | 550.00 | 3300.00 | 295.00 | 1770.00 | 1254.00 | PANKAJ KUMAR DAS
147.00 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron ladder type cable tray (Galvanisation thickness not less than 50 microns) in convenient sections, joined with connectors, suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts, etc. as required.- (150 mm width X 50 mm depth X 3 mm thickness, i/c for NE side Loose cable) | 50.00 | Metre | 106.00 | 1299.00 | 64950.00 | 500.00 | 25000.00 | 700.00 | 35000.00 | 1355.00 | 67750.00 | 25000.00 | Fermium Constructions LLP
148.00 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc as required. - 50 mm dia. | 10.00 | Metre | 107.00 | 529.00 | 5290.00 | 700.00 | 7000.00 | 600.00 | 6000.00 | 685.00 | 6850.00 | 5290.00 | PANKAJ KUMAR DAS
149.00 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc as required. - 150 mm dia. | 20.00 | Metre | 108.00 | 1599.00 | 31980.00 | 1400.00 | 28000.00 | 1400.00 | 28000.00 | 1755.00 | 35100.00 | 28000.00 | M/s J H Associates, Fermium Constructions LLP
150.00 | SITC of ceiling mounted type cassette air-conditioner complete with indoor unit, outdoor unit with energy efficient rotary / scroll compressor, required size unaroumed PVC wire 3 meter, suitable size copper pipe 3 meter, suitable size drain pipe 3 meter from indoor to out door unit, suitable to operate 220-260 V, 50Hz and other allied accessories with cordless remote control etc as required. - 2 TR, Three star, inverter type 1 phase cassette | 5.00 | Each | 110.00 | 47899.00 | 239495.00 | 45000.00 | 225000.00 | 90000.00 | 450000.00 | 50550.00 | 252750.00 | 225000.00 | Fermium Constructions LLP
151.00 | Providing & fixing extra refrigerant copper piping between indoor and out door unit complete with nitriel rubber insulation of suitable size on the suction and discharge refrigerant pipings with necessary fixing arrangement as required for following AC units. - (2.0 TR, 1 phase cassette unit) | 52.00 | Metre | 112.00 | 599.00 | 31148.00 | 500.00 | 26000.00 | 600.00 | 31200.00 | 615.00 | 31980.00 | 26000.00 | Fermium Constructions LLP
152.00 | Providing and fixing CPVC pipe for drain from indoor unit up to the drain point with necessary fixing arrangement etc as required of following. - 25 mm dia CPVC pipe | 10.00 | Metre | 114.00 | 99.00 | 990.00 | 600.00 | 6000.00 | 200.00 | 2000.00 | 125.00 | 1250.00 | 990.00 | PANKAJ KUMAR DAS
153.00 | Supply and fixing of suitable size M.S. angle base frame (ODU Stand) i/c. painting the frame after primer coating for following AC units. - 2 TR cassette A/C unit | 5.00 | Each | 116.00 | 1799.00 | 8995.00 | 500.00 | 2500.00 | 500.00 | 2500.00 | 2955.00 | 14775.00 | 2500.00 | M/s J H Associates, Fermium Constructions LLP
154.00 | Supply of suitable size flexible copper wire for control wiring between indoor to outdoor unit for 2.0 TR split unit/1.5 TR spilt unit etc as required.- 3 Core x 4 sqmm | 52.00 | Metre | 118.00 | 99.00 | 5148.00 | 100.00 | 5200.00 | 120.00 | 6240.00 | 92.50 | 4810.00 | 4810.00 | M/S ZELIZHU AND SONS
155.00 | Supply, installation, testing & commissioning of Hand drier, 3500-4000 RPM, 1500-2000W, Time protection, drying time <30Sec, suitable to operate 220-220V 50Hz AC supply. | 11.00 | Each | 120.00 | 5699.00 | 62689.00 | 22000.00 | 242000.00 | 5500.00 | 60500.00 | 7855.00 | 86405.00 | 60500.00 | M/s J H Associates
156.00 | Supply, installation, testing & commissioning of storage type water purifier of 8-11 liters of capacity, Dual RO+UV technology, child lock enabled Hot, Ambient & cold water at press of lever, Stainless Steel tank, suitable to operate on 170-260 V AC, 50 Hz AC supply. | 1.00 | Each | 121.00 | 37000.00 | 37000.00 | 45000.00 | 45000.00 | 38000.00 | 38000.00 | 45555.00 | 45555.00 | 37000.00 | PANKAJ KUMAR DAS
157.00 | Supply, installation, testing & commissioning of storage type water cooler of capacity 80 ltr cooling & 120 litre storage with online RO+UV Technology water purification, Ambient & Cold water at press of lever, Stainless Steel tank, suitable to operate on 170-260 V AC, 50 Hz AC supply. | 6.00 | Each | 122.00 | 67899.00 | 407394.00 | 70000.00 | 420000.00 | 78000.00 | 468000.00 | 69555.00 | 417330.00 | 407394.00 | PANKAJ KUMAR DAS
158.00 | Supply and Fixing 100/105 x 50 mm size DLP-PVC Trunking in convenient sections, joining with coupler, fixing with fast nut on wall including external angle, internal angle, flat angle, internal coupler, flat cross, End cap etc. wherever required. | 220.00 | Meter | 124.00 | 499.00 | 109780.00 | 200.00 | 44000.00 | 600.00 | 132000.00 | 455.00 | 100100.00 | 44000.00 | Fermium Constructions LLP
159.00 | Dismantling of existing vertically fixed GI sheet cover of width up to 300 mm involving, identification of services, disconnection of wires, removing wires from the pipes (without damaging it), dismantling the conduit pipe/Casing Caping and its accessories from the wall surface with out disrupting the power supply services to the user for which temporary connection is to be ensured and Handing over of dismantled items along with a list to AAI. | 187.00 | Meter | 128.00 | 69.00 | 12903.00 | 200.00 | 37400.00 | 220.00 | 41140.00 | 75.00 | 14025.00 | 12903.00 | PANKAJ KUMAR DAS
| Total in Figures |  |  |  |  | 9996411.90 |  | 11600465.00 |  | 10616848.00 |  | 9950758.00
Lowest Amount Quoted BY: M/S ZELIZHU AND SONS(9950758.00)

## BOQ Summary
BOQ Summary Details Tender Title: Providing Reserved Lounge and Improvement works at OLD RED building, Guwahati Airport Civil and Electrical. Tender ID: 2020_AAI_63134_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S ZELIZHU AND SONS | 9950758.00 | L1
| 2 | PANKAJ KUMAR DAS | 9996411.90 | L2
| 3 | M/s J H Associates | 10616848.00 | L3
| 4 | Fermium Constructions LLP | 11600465.00 | L4