## BoQ1
Government eProcurement System Created By: Pawan kumar Created Date/Time: 19-Jan-2021 04:35 PM Tender Title: SITC of Earthing Systems for upcoming CNS IT facilities of New Tower cum technical Block at Gaya Airport Tender ID: 2020_AAI_63170_1
Tender Inviting Authority: <CNS In-Charge, Gaya Airport, Gaya>
Name of Work: <SITC of earthing systems for upcomming CNS/IT facilties of new tower cum technical block at Gaya Airport, Gaya >
Contract No: <0631-2210244>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ALPINE(GSTN-18AHKPS6954N1ZA) |  | DOSHI ELECTRIC ENGG. CO.(GSTN-24AAEFD3355K1ZI)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Items
1.10 | Removal of earth from ground level and digging of earth pit at specified depth and filling with soil, salt and charcol as per specification | 10.00 | nos | 263.00 | 10000.00 | 100000.00 | 5000.00 | 50000.00 | 50000.00 | DOSHI ELECTRIC ENGG. CO.
1.20 | Supply of salt | 1200.00 | Kg | 351.00 | 35.00 | 42000.00 | 20.00 | 24000.00 | 24000.00 | DOSHI ELECTRIC ENGG. CO.
1.30 | Supply of charcol | 1200.00 | Kg | 983.00 | 65.00 | 78000.00 | 40.00 | 48000.00 | 48000.00 | DOSHI ELECTRIC ENGG. CO.
1.40 | Supply of GI pipe of 5m in length as per specification | 10.00 | nos | 243.00 | 2500.00 | 25000.00 | 4000.00 | 40000.00 | 25000.00 | ALPINE
1.50 | Supply of earth electrode copper plate size 700mmX 700mmX4mm | 10.00 | nos | 282.00 | 12500.00 | 125000.00 | 15000.00 | 150000.00 | 125000.00 | ALPINE
2.10 | Installtion of GI pipe of 5m and earth electrode copper plate size 700mmX700mmX4mm in the earth pit as well as laying of the two earth conductor of copper strip from earth electrode copper plate (Riveting and brazing) to the top as per specification | 10.00 | nos | 10.00 | 1200.00 | 12000.00 | 5000.00 | 50000.00 | 12000.00 | ALPINE
2.20 | Supply of earth conductor (copper strip) 25x3mm | 1150.00 | Mtrs |  | 750.00 | 862500.00 | 650.00 | 747500.00 | 747500.00 | DOSHI ELECTRIC ENGG. CO.
2.30 | Laying of earth conductor from the earth pit to the main earth inside buildings and interconnection of earth pits as per specification | 950.00 | Mtrs | 10.00 | 150.00 | 142500.00 | 100.00 | 95000.00 | 95000.00 | DOSHI ELECTRIC ENGG. CO.
3.10 | Installation including laying of copper strip 25x3mm in diffirent offices or desire locations with boldting and brazing at both sides of euipotential bus bar as per specification | 200.00 | Mtrs | 10.00 | 150.00 | 30000.00 | 200.00 | 40000.00 | 30000.00 | ALPINE
3.20 | Suppy of euipment bus bar (euipotential bus bar) as per specification | 26.00 | nos | 10.00 | 1200.00 | 31200.00 | 700.00 | 18200.00 | 18200.00 | DOSHI ELECTRIC ENGG. CO.
3.30 | Installation of euipment bus bar (euipotential bus bar) with bolting and brazing of copper strips as per specification | 26.00 | nos | 10.00 | 600.00 | 15600.00 | 500.00 | 13000.00 | 13000.00 | DOSHI ELECTRIC ENGG. CO.
4.10 | Construction of earthing system inspection champer (masonry work) and other associated work including its marking and identification as per specification | 10.00 | nos | 10.00 | 4500.00 | 45000.00 | 4000.00 | 40000.00 | 40000.00 | DOSHI ELECTRIC ENGG. CO.
4.20 | Supply of 10 sq. mm. multi-strand single core PVC insulated copper cable as per IS:694 | 80.00 | Mtrs | 10.00 | 150.00 | 12000.00 | 150.00 | 12000.00 | 12000.00 | ALPINE, DOSHI ELECTRIC ENGG. CO.
5.10 | Supply of copper lugs and appropriate size of stailess-still nuts and bolts for 10 Sq.mm copper cable (lugs and pair of nut) & bolt | 100.00 | nos | 10.00 | 300.00 | 30000.00 | 50.00 | 5000.00 | 5000.00 | DOSHI ELECTRIC ENGG. CO.
5.20 | Mesurement of earth resistance | 10.00 | nos |  | 3000.00 | 30000.00 | 500.00 | 5000.00 | 5000.00 | DOSHI ELECTRIC ENGG. CO.
| Total in Figures |  |  |  |  | 1580800.00 |  | 1337700.00
Lowest Amount Quoted BY: DOSHI ELECTRIC ENGG. CO.(1337700.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of Earthing Systems for upcoming CNS IT facilities of New Tower cum technical Block at Gaya Airport Tender ID: 2020_AAI_63170_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DOSHI ELECTRIC ENGG. CO. | 1337700.00 | L1
| 2 | ALPINE | 1580800.00 | L2