## BoQ1
Government eProcurement System Created By: Keishing Honpam Created Date/Time: 15-Jan-2021 01:31 PM Tender Title: Annual Maintenance Contract (2020-22) for E and M installations at Jorhat Airport, Jorhat. Tender ID: 2020_AAI_63329_1
Tender Inviting Authority: Airport Authority of India
Name of Work: Annual Maintenance Contract (2020-22) for E&M installations at Jorhat Airport, Jorhat.
Contract No: 2020_AAI_63329_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SHRADDHA ENGINEERING AND FACILITY SERVICES(GSTN-37ABZFS0350H1ZR) |  | PAN POLAR ENGINEERS PVT. LTD.(GSTN-07AABCP0844P1Z5) |  | sudarshnacoolingcentre andelectricals(GSTN-18AAJFM8760E1ZZ) |  | M/s S.T. Electricals(GSTN-18AJRPK5206C1ZA) |  | S chowdhury and Company(GSTN-NA) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Job Contract for round the clock Operation and maintenance of Electrical and Mechanical installations of Operational and Non-Operational areas at Jorhat Airport in all days including sundays and holidays in Three shifts, which involves repairs & maintenance, attending day to day complaints, faults, breakdowns and taking rectification action, ensuring the serviceability & satisfactory working condition of the installations i/c preventive maintenance, maintenance of records & documentations etc., The agency is required to deploy minimum manpower in each shift as detailed in special condition of contract etc., complete as required. | 24.00 | Month |  | 185890.00 | 4461360.00 | 167000.00 | 4008000.00 | 176899.00 | 4245576.00 | 175000.00 | 4200000.00 | 160000.00 | 3840000.00 | 169000.00 | 4056000.00 | 188000.00 | 4512000.00 | 3840000.00 | S chowdhury and Company
2.00 | Carrying out work as per CPWD DSR 2018 Electrical as and when required. (the bidder shall quote the rate in INR only for the job corresponding to Rs. 2,00,000/- & percentage (%) above/ below shall be calculated by AAI and paid accordingly) Note: The rate provided in DSR 2018 is inclusive of GST @12%, however the contractor has to quote the amount in rate column, excluding GST, the payment shall be made to contractor as mentioned in special conditions of tender document. | 1.00 | Job |  | 200000.00 | 200000.00 | 140000.00 | 140000.00 | 59000.00 | 59000.00 | 200000.00 | 200000.00 | 100000.00 | 100000.00 | 180000.00 | 180000.00 | 180000.00 | 180000.00 | 59000.00 | sudarshnacoolingcentre andelectricals
3.00 | Painting of Electrical LT indoor, Outdoor panels, pumps, earth pit covers etc located in power house, Terminal building, switch rooms,etc., with one or more coats of painting with synthatic Enamel paint of Approved brand and manufacturer to give an even shade, including cleaning of surface with detergent etc., of required color to give an even shade and writing lettering as per the direction of EIC complete as required. | 75.00 | Sq mtr |  | 100.00 | 7500.00 | 98.00 | 7350.00 | 150.93 | 11319.75 | 80.00 | 6000.00 | 150.00 | 11250.00 | 60.00 | 4500.00 | 150.00 | 11250.00 | 4500.00 | ABHISHEK INTEGRATIONS LIMITED
4.00 | Preparing the surface free from dirt and rust by scraping the street lights poles (Single/Double Bracket) and its fixtures not exceeding 7.5 mtr height i/c looping box etc., and painting one or more coats of superior quality aluminium paint or as approved by EIC and numbering after painting on the pole, embossing AAI logo but excluding the painting of cement collar etc complete as required. | 30.00 | Each |  | 220.00 | 6600.00 | 500.00 | 15000.00 | 1095.64 | 32869.20 | 300.00 | 9000.00 | 1450.00 | 43500.00 | 400.00 | 12000.00 | 700.00 | 21000.00 | 6600.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
5.00 | Lifting and lowering of different size submersible pump including pipe line, flat cable, dismantling the defective motor pump set and reinstalling with the repaired motor and pump set etc., as required
5.01 | First year (2020-21) | 1.00 | Each |  | 15000.00 | 15000.00 | 2900.00 | 2900.00 | 7937.80 | 7937.80 | 3500.00 | 3500.00 | 10000.00 | 10000.00 | 2000.00 | 2000.00 | 7000.00 | 7000.00 | 2000.00 | ABHISHEK INTEGRATIONS LIMITED
5.02 | Second year (2021-22) | 1.00 | Each |  | 15000.00 | 15000.00 | 2900.00 | 2900.00 | 7937.80 | 7937.80 | 3500.00 | 3500.00 | 10000.00 | 10000.00 | 2000.00 | 2000.00 | 7000.00 | 7000.00 | 2000.00 | ABHISHEK INTEGRATIONS LIMITED
6.00 | Repairing/rewinding of 3-phase monoblock/submersible pump of capacity of 5.0HP to 10.0HP by replacement of defective bronze bushes,bearings, impeller, water seal, gasket, shaft, impeller etc. complete as required (As & when required) of following capacity (Dismantle Material belongs to contractor).
6.01 | First year (2020-21) | 2.00 | Each |  | 12000.00 | 24000.00 | 6200.00 | 12400.00 | 8720.40 | 17440.80 | 5000.00 | 10000.00 | 20000.00 | 40000.00 | 3000.00 | 6000.00 | 7000.00 | 14000.00 | 6000.00 | ABHISHEK INTEGRATIONS LIMITED
6.02 | Second year (2021-22) | 2.00 | Each |  | 12000.00 | 24000.00 | 6200.00 | 12400.00 | 8720.40 | 17440.80 | 5000.00 | 10000.00 | 22000.00 | 44000.00 | 3000.00 | 6000.00 | 7000.00 | 14000.00 | 6000.00 | ABHISHEK INTEGRATIONS LIMITED
7.00 | Re-winding, servicing, repairing of ceiling fan/Wall fan/Exhaust fan etc including replacement of wornout/defective parts like bearings, capacitors etc., i/c transportation from site to workshop & back to site, testing, commissioning etc., complete as required. (Dismantle Material belongs to contractor)
7.01 | First year (2020-21) | 15.00 | Each |  | 550.00 | 8250.00 | 414.00 | 6210.00 | 411.24 | 6168.60 | 350.00 | 5250.00 | 1500.00 | 22500.00 | 300.00 | 4500.00 | 400.00 | 6000.00 | 4500.00 | ABHISHEK INTEGRATIONS LIMITED
7.02 | Second year (2021-22) | 15.00 | Each |  | 550.00 | 8250.00 | 414.00 | 6210.00 | 411.24 | 6168.60 | 350.00 | 5250.00 | 1500.00 | 22500.00 | 300.00 | 4500.00 | 400.00 | 6000.00 | 4500.00 | ABHISHEK INTEGRATIONS LIMITED
8.00 | Decorating City side of Airport with minimum 500 sets LED Rice lights (Each riser of approx. 25 ft. length), 20 nos LED lights (not lessthan 90W) giving tri colour effects or as per theme dicided by E-I-C during national holidays or festivals etc., as required. (The rate shall be quoted for hiring charges of the assorted decorative lights on per day basis including installation and dismantalling). | 12.00 | Job |  | 15000.00 | 180000.00 | 20800.00 | 249600.00 | 2623.30 | 31479.60 | 10000.00 | 120000.00 | 15000.00 | 180000.00 | 20000.00 | 240000.00 | 30000.00 | 360000.00 | 31479.60 | sudarshnacoolingcentre andelectricals
9.00 | Supplying of following sizes ISI marked PVC insulated, single core, FRLS grade strandard copper cables of 1100 volts grade confirming to relevant IS of standard length etc as required
9.01 | 1.5 Sq. mm (90Mtr Roll) | 2.00 | Coil |  | 1300.00 | 2600.00 | 1450.00 | 2900.00 | 1239.86 | 2479.72 | 1500.00 | 3000.00 | 5300.00 | 10600.00 | 1138.00 | 2276.00 | 1200.00 | 2400.00 | 2276.00 | ABHISHEK INTEGRATIONS LIMITED
9.02 | 6.0 Sq.mm (90Mtr Roll) | 2.00 | Coil |  | 4350.00 | 8700.00 | 7790.00 | 15580.00 | 4477.59 | 8955.18 | 4000.00 | 8000.00 | 7885.00 | 15770.00 | 4218.00 | 8436.00 | 6000.00 | 12000.00 | 8000.00 | M/s S.T. Electricals
10.00 | Supplying of following sizes ISI marked PVC insulated, multi core, FRLS grade strandard copper cables of 1100 volts grade confirming to relevant IS of standard length etc as required
10.01 | 3-Core, 1.5 Sq. mm (100Mtr Roll) | 2.00 | Coil |  | 2500.00 | 5000.00 | 5002.00 | 10004.00 | 5250.00 | 10500.00 | 5000.00 | 10000.00 | 7840.00 | 15680.00 | 4384.00 | 8768.00 | 8000.00 | 16000.00 | 5000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
11.00 | Supply of following types of LED lamps/Fittings suitable for operation on 230 V, 50Hz, AC system as requried.
11.01 | 9W B22 LED Lamp | 20.00 | Each |  | 125.00 | 2500.00 | 78.00 | 1560.00 | 113.00 | 2260.00 | 200.00 | 4000.00 | 80.00 | 1600.00 | 82.00 | 1640.00 | 3000.00 | 60000.00 | 1560.00 | PAN POLAR ENGINEERS PVT. LTD.
11.02 | 150 Watt, High Mast LED Light Fitting (Make: Bajaj, BJFL 150W LED I or equivalent) | 10.00 | Each |  | 3500.00 | 35000.00 | 9000.00 | 90000.00 | 7250.00 | 72500.00 | 5500.00 | 55000.00 | 9500.00 | 95000.00 | 5200.00 | 52000.00 | 6000.00 | 60000.00 | 35000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
12.00 | Aviation Obstruction LED Luminaire suitable for operation on 240V 50Hz AC supply etc as required. (Make/Model: Philips/XGP400 or Bajaj/BGAV 302 LED or equvilant) | 2.00 | Each |  | 6500.00 | 13000.00 | 9840.00 | 19680.00 | 4625.00 | 9250.00 | 15000.00 | 30000.00 | 5000.00 | 10000.00 | 3200.00 | 6400.00 | 10000.00 | 20000.00 | 6400.00 | ABHISHEK INTEGRATIONS LIMITED
13.00 | Supply of following switchs, sockets etc., and other miscellaneous items
13.01 | 5/6 A Piano Type one way switch (Make: Havells (REO)) | 180.00 | Each |  | 20.00 | 3600.00 | 26.00 | 4680.00 | 11.18 | 2012.40 | 15.00 | 2700.00 | 17.00 | 3060.00 | 11.00 | 1980.00 | 35.00 | 6300.00 | 1980.00 | ABHISHEK INTEGRATIONS LIMITED
13.02 | 15 A Piano Type Switch (Make: Havells (REO)) | 25.00 | Each |  | 30.00 | 750.00 | 53.00 | 1325.00 | 58.13 | 1453.25 | 50.00 | 1250.00 | 96.00 | 2400.00 | 52.00 | 1300.00 | 80.00 | 2000.00 | 750.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
13.03 | 5/6 A Piano Type 5 pin Socket (Make: Havells (REO)) | 50.00 | Each |  | 50.00 | 2500.00 | 45.00 | 2250.00 | 24.59 | 1229.50 | 390.00 | 19500.00 | 96.00 | 4800.00 | 20.00 | 1000.00 | 40.00 | 2000.00 | 1000.00 | ABHISHEK INTEGRATIONS LIMITED
13.04 | 2 Module Fan Regulator (Make: Havells (REO)) | 40.00 | Each |  | 75.00 | 3000.00 | 205.00 | 8200.00 | 184.47 | 7378.80 | 200.00 | 8000.00 | 256.00 | 10240.00 | 93.00 | 3720.00 | 170.00 | 6800.00 | 3000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
13.05 | 3-pin 5/6A Top (Make: Havells (REO)) | 15.00 | Each |  | 100.00 | 1500.00 | 49.00 | 735.00 | 41.36 | 620.40 | 50.00 | 750.00 | 56.00 | 840.00 | 42.00 | 630.00 | 70.00 | 1050.00 | 620.40 | sudarshnacoolingcentre andelectricals
13.06 | 3-pin 15/16A Top (Make: Havells (REO)) | 10.00 | Each |  | 150.00 | 1500.00 | 74.00 | 740.00 | 54.78 | 547.80 | 60.00 | 600.00 | 76.00 | 760.00 | 49.00 | 490.00 | 80.00 | 800.00 | 490.00 | ABHISHEK INTEGRATIONS LIMITED
13.07 | 5/15A Combined Switch and Socket with plastic Box (two fixing holes) (Make: Havells (REO)) | 25.00 | Each |  | 250.00 | 6250.00 | 103.00 | 2575.00 | 117.39 | 2934.75 | 250.00 | 6250.00 | 176.00 | 4400.00 | 101.00 | 2525.00 | 100.00 | 2500.00 | 2500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
14.00 | Supply of following size ISI marked PVC casing caping etc as required.
14.01 | 20 X 12mm casing caping medium class as per relevent IS | 50.00 | Mtr |  | 15.00 | 750.00 | 13.00 | 650.00 | 26.83 | 1341.50 | 50.00 | 2500.00 | 55.00 | 2750.00 | 17.00 | 850.00 | 200.00 | 10000.00 | 650.00 | PAN POLAR ENGINEERS PVT. LTD.
14.02 | 25 X 12mm casing capng medium class as per relevent IS | 20.00 | Mtr |  | 20.00 | 400.00 | 12.50 | 250.00 | 27.95 | 559.00 | 70.00 | 1400.00 | 65.00 | 1300.00 | 21.00 | 420.00 | 250.00 | 5000.00 | 250.00 | PAN POLAR ENGINEERS PVT. LTD.
15.00 | Supply of following capacity capacitors suitable for operation on 240V / 415V 50Hz AC supply etc as required.
15.01 | 2.25 mfd fan capacitor | 20.00 | Each |  | 30.00 | 600.00 | 49.00 | 980.00 | 29.00 | 580.00 | 40.00 | 800.00 | 40.00 | 800.00 | 16.00 | 320.00 | 50.00 | 1000.00 | 320.00 | ABHISHEK INTEGRATIONS LIMITED
15.02 | 42 mfd capacitor | 5.00 | Each |  | 250.00 | 1250.00 | 233.00 | 1165.00 | 189.00 | 945.00 | 300.00 | 1500.00 | 180.00 | 900.00 | 110.00 | 550.00 | 170.00 | 850.00 | 550.00 | ABHISHEK INTEGRATIONS LIMITED
16.00 | Supply of 10 Feet height Foldable Aluminium Step Ladder made out of Aluminum Section size 66 mm x 31 mm x 3 mm thick approx. with steps made out of 35mm. Fluited aluminium required distance of 300 mm span complete with edge protectors/saree guard, rust proof & skid proof bottom & provided with anti skid PVC/Rubber shoes and with good anodized finish, powder coated etc as required. (Make :- Sumer or Equivalent) | 1.00 | Each |  | 5500.00 | 5500.00 | 8200.00 | 8200.00 | 4695.00 | 4695.00 | 12000.00 | 12000.00 | 8500.00 | 8500.00 | 12000.00 | 12000.00 | 4500.00 | 4500.00 | 4500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
| Total in Figures |  |  |  |  | 5044360.00 |  | 4634444.00 |  | 4573581.25 |  | 4739750.00 |  | 4513150.00 |  | 4622805.00 |  | 5351450.00
Lowest Amount Quoted BY: S chowdhury and Company(4513150.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance Contract (2020-22) for E and M installations at Jorhat Airport, Jorhat. Tender ID: 2020_AAI_63329_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | S chowdhury and Company | 4513150.00 | L1
| 2 | sudarshnacoolingcentre andelectricals | 4573581.25 | L2
| 3 | ABHISHEK INTEGRATIONS LIMITED | 4622805.00 | L3
| 4 | PAN POLAR ENGINEERS PVT. LTD. | 4634444.00 | L4
| 5 | M/s S.T. Electricals | 4739750.00 | L5
| 6 | SHRADDHA ENGINEERING AND FACILITY SERVICES | 5044360.00 | L6
| 7 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 5351450.00 | L7