## BoQ1
Government eProcurement System Created By: SUNIL KUMAR Created Date/Time: 08-Feb-2022 04:18 PM Tender Title: Construction of combined operational offices for DGCA, BCAS, AAIB, AERA and AAI at Safdarjung Airport, New Delhi Tender ID: 2020_AAI_63409_1
Tender Inviting Authority: Asstt. Gen. Manager (Engg.- E), Airports Authority of India (AAI), Project Office, Safdarjung Airport, New Delhi -110003
Name of Work: Construction of combined operational offices for DGCA, BCAS, AAIB, AERA and AAI at Safdarjung Airport, New Delhi. SH. Supply, Installation, Testing & Commissioning of LAN & EPBAX, UPS, Access Control and CCTV System).
Contract No: 9560282450
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | APEE ESKAY ENTERPRISES PVT. LTD.(GSTN-07AAKCA3348Q1Z4) |  | Nikom InfraSolutions Pvt. Ltd.(GSTN-07AABCN6776A1ZJ) |  | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.(GSTN-07AABCI1558D1ZW) |  | Corporate Infotech Pvt. Ltd.(GSTN-07AADCC0540R1ZJ) |  | JIL Information Technology Ltd(GSTN-09AAACJ8827B1ZM)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Active Components for LAN System
1.01 | SITC of Core Switch with 20*40 Gbe QSFP+ & 24*10 Gbe SFP+ Ports with advance layer 3 features , accessories , stacking cable as per Technical Specification with 5 years TAC support etc. as required as per SCC of Tender. | 2.00 | Nos |  | 2206532.38 | 4413064.76 | 3883030.67 | 7766061.34 | 2150000.00 | 4300000.00 | 4850715.00 | 9701430.00 | 2360990.00 | 4721980.00 | 4300000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
1.02 | SITC of Distribution Switch 24*10Gbe SFP+ with 2*40Gbe QSFP+ with advance layer 3 features including stacking cables, accessories as per Technical Specification with 5 years TAC support etc. as required as per SCC of Tender. | 32.00 | Nos |  | 564008.81 | 18048281.92 | 993326.55 | 31786449.60 | 750000.00 | 24000000.00 | 938032.00 | 30017024.00 | 603490.00 | 19311680.00 | 18048281.92 | APEE ESKAY ENTERPRISES PVT. LTD.
1.03 | SITC of 24Port Access PoE Switch with 24*10/100/1000 RJ45 PoE+ with 2*1G SFP & 2*10G SFP+ uplink ports upgradable to 4*10G SFP+ with license, with basic Layer 3 features ,stacking cables as per Technical Specification with 5 years TAC support etc. as required as per SCC of Tender. | 72.00 | Nos |  | 275519.81 | 19837426.32 | 181813.20 | 13090550.40 | 151229.00 | 10888488.00 | 234763.00 | 16902936.00 | 294807.00 | 21226104.00 | 10888488.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
1.04 | SITC of 24Port Access Switch with 24*10/100/1000 RJ45 with 2*1G SFP & 2*10G SFP+ ports uplink ports upgradable to 4*10G SFP+ with license, with stacking cables , advance Layer 3 features as per Technical Specification with 5 years TAC support etc. as required as per SCC of Tender. | 36.00 | Nos |  | 263280.65 | 9478103.40 | 215182.12 | 7746556.32 | 112358.00 | 4044888.00 | 124113.00 | 4468068.00 | 281711.00 | 10141596.00 | 4044888.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
1.05 | SITC of 10G Multimode Transceivers with LC Connector as per technical specification | 80.00 | Nos |  | 5239.01 | 419120.80 | 10221.17 | 817693.60 | 3780.00 | 302400.00 | 15300.00 | 1224000.00 | 5606.00 | 448480.00 | 302400.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
1.06 | SITC of 40G QSFP+ Multimode Fiber Transceivers as per technical specification | 72.00 | Nos |  | 34086.00 | 2454192.00 | 23526.31 | 1693894.32 | 37500.00 | 2700000.00 | 43605.00 | 3139560.00 | 36473.00 | 2626056.00 | 1693894.32 | Nikom InfraSolutions Pvt. Ltd.
1.07 | SITC of Wireless Dual Band Indoor Access Point supporting 802.11ac Wave 2 with 3x3:3 streams on both bands i.e 2.4Ghz & 5Ghz . Dual ports , 802.3af/at PoE support with Mounting bracket from the same OEM and as per Technical Specification with 5 years TAC support etc. as required as per SCC of Tender. | 75.00 | Nos |  | 29995.38 | 2249653.50 | 29439.04 | 2207928.00 | 36136.00 | 2710200.00 | 33231.00 | 2492325.00 | 32096.00 | 2407200.00 | 2207928.00 | Nikom InfraSolutions Pvt. Ltd.
1.08 | SITC of Wireless LAN Hardware based Controller , 19'' rack mountable with 2*1G/10G SFP+ ports in active:active high availability mode with 75 AP's support from day1 and scalable upto 2000 AP's in future as per Technical Specification with 5 years TAC support etc. as required as per SCC of Tender. | 2.00 | Nos |  | 943423.25 | 1886846.50 | 1499576.57 | 2999153.14 | 1664546.00 | 3329092.00 | 5112858.00 | 10225716.00 | 1009463.00 | 2018926.00 | 1886846.50 | APEE ESKAY ENTERPRISES PVT. LTD.
1.09 | SITC of Router with modular architecture having minimum network Interfaces 4 x 1G Combo (SFP/RJ45) LAN/Wan ports and 2 x 10Gbps LAN/WAN Ethernet Data Ports with 10G MM Optical Modules. Router should have Internal 1:1 redundant internal field replacemeable power supply from Day1, Multi Core Processor/Multi CPU as per Technical Specification with 5 years TAC support etc. as required as per SCC of Tender. | 2.00 | Nos |  | 5991140.00 | 11982280.00 | 2275837.58 | 4551675.16 | 1750000.00 | 3500000.00 | 910025.00 | 1820050.00 | 6230786.00 | 12461572.00 | 1820050.00 | Corporate Infotech Pvt. Ltd.
2.00 | Telephone System EPBAX i/c Telephone Set
2.01 | Supply, Installation, Testing and commissioning of IP based EPABX System for 2000 port and shall be expandable upto 3000 ports (IP, Analog, Digital) with below present requirement: 1700 IP extension ports lic, 32 analog trunk ports, 04 ISDN PRI (30 channels), 01 PC based operator console (with PC, IP Phone and Headset), 94 Analog ports having all standard call related features. Analog and PRI card should be distributed in two gateway for redundency. The server of IP EPABX should be having Intel Skylake CPU S-4114 or better with 64 bit Linux Operating System from IP PABX OEM. IP EPABX Server should support Link Level Redundancy (Fully Duplex) with minimum Dual Gigabit interfaces, 48 GB RDIMMs, HDD RAID-1/6 reliability and Redundant Power Supplies. IP-PBX system along with IP PBX Server, IP PBX Gateway IP Phone, Headset should be of same OEM Supplied. The system should support for voice encoding the following standards:- (i) G.711 (ii) G.729A (iii) G.722 WIDE BAND AUDIO | 1.00 | Nos |  | 13339900.60 | 13339900.60 | 13341121.00 | 13341121.00 | 8529614.00 | 8529614.00 | 45223896.00 | 45223896.00 | 14006896.00 | 14006896.00 | 8529614.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
2.02 | Supply of IP phone Type-1, complete as required for Management and Higher Officials | 150.00 | Nos |  | 26439.95 | 3965992.50 | 26950.00 | 4042500.00 | 19462.00 | 2919300.00 | 20386.00 | 3057900.00 | 27762.00 | 4164300.00 | 2919300.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
2.03 | Supply of IP phone Type-2, complete as required for Senior Officers | 500.00 | Nos |  | 21494.91 | 10747455.00 | 6626.00 | 3313000.00 | 15791.00 | 7895500.00 | 11399.00 | 5699500.00 | 22570.00 | 11285000.00 | 3313000.00 | Nikom InfraSolutions Pvt. Ltd.
2.04 | Supply of IP phone Type-3, complete as required for normal users | 1000.00 | Nos |  | 12894.27 | 12894270.00 | 6626.00 | 6626000.00 | 9389.00 | 9389000.00 | 7832.00 | 7832000.00 | 13539.00 | 13539000.00 | 6626000.00 | Nikom InfraSolutions Pvt. Ltd.
2.05 | Supply of Analog phone i/c caller ID | 50.00 | Nos |  | 1426.00 | 71300.00 | 990.00 | 49500.00 | 1100.00 | 55000.00 | 1150.00 | 57500.00 | 1541.00 | 77050.00 | 49500.00 | Nikom InfraSolutions Pvt. Ltd.
2.06 | SITC of Soft Console i.e. PC-based operator console that provides a visible display of call information and PC-based call handling, enables phone operators/receptionists to answer, route and manage incoming calls from the screen of their PCs and users can simultaneously view caller information, directory information, held calls and company-wide phone status etc. as per specification. | 1.00 | Nos |  | 5004.00 | 5004.00 | 85000.00 | 85000.00 | 92009.00 | 92009.00 | 206349.00 | 206349.00 | 15000.00 | 15000.00 | 5004.00 | APEE ESKAY ENTERPRISES PVT. LTD.
3.00 | UPS with Built In Modular Batteries (Description as Item No. 3 of SOQ of tender document)
3.01 | The Incoming shall be suitable for 415 V, 3-Phase, 4-wire, 50 Hz supply and nominal output voltage rating shall be 415 V +/- 1 % , 3 phase 50 Hz complete in all respects. (battery should be VRLA type) | 10.00 | Nos |  | 1683006.80 | 16830068.00 | 2077103.60 | 20771036.00 | 1597771.00 | 15977710.00 | 765000.00 | 7650000.00 | 1716667.00 | 17166670.00 | 7650000.00 | Corporate Infotech Pvt. Ltd.
3.02 | The Incoming shall be suitable of 415 V, 3-Phase, 4-wire, 50 Hz supply and nominal output voltage rating shall be 230 V +/- 1 % , single phase 50 Hz complete in all respects. (battery should be SMF type) | 2.00 | Nos |  | 1683006.80 | 3366013.60 | 2555417.80 | 5110835.60 | 1965705.00 | 3931410.00 | 765000.00 | 1530000.00 | 1716667.00 | 3433334.00 | 1530000.00 | Corporate Infotech Pvt. Ltd.
4.00 | Passive Components for LAN, Telephone & Access Control
4.01 | Providing and laying of CAT 6A LSZH U/UTP Cable, white jacket, 4 pair count in the existing surface/recessed steel/ PVC conduit etc. as per technical specification | 200690.00 | Mtrs |  | 69.40 | 13927886.00 | 52.00 | 10435880.00 | 40.00 | 8027600.00 | 31.00 | 6221390.00 | 74.00 | 14851060.00 | 6221390.00 | Corporate Infotech Pvt. Ltd.
4.02 | Supply, Installation, Termination & commissioning of Cat 6A, 24-port Unloaded Jack Panel Angled Information Outlet on the existing switch box/ cover including connections i/c Ferulling & Continuty Testing of both end and Labelling of I/O (at W/S End/Patch End) etc. as per technical specification | 219.00 | Nos |  | 3678.64 | 805622.16 | 2580.00 | 565020.00 | 2150.00 | 470850.00 | 2800.00 | 613200.00 | 3900.00 | 854100.00 | 470850.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
4.03 | Supply, Installation, testing & commissioning of CAT 6A, 24-port Unloaded Jack Panel Straight Face Plate on the existing switch box/ cover including connections etc. as required. | 13.00 | Nos |  | 3318.64 | 43142.32 | 2154.00 | 28002.00 | 1795.00 | 23335.00 | 2400.00 | 31200.00 | 3518.00 | 45734.00 | 23335.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
4.04 | Providing, Erection/Dressing & testing of Cat 6A U/UTP Information Outlets patch cords (UTP) on the existing switch box/ cover including connections etc. as required. | 6688.00 | Nos |  | 823.00 | 5504224.00 | 564.00 | 3772032.00 | 470.00 | 3143360.00 | 325.00 | 2173600.00 | 873.00 | 5838624.00 | 2173600.00 | Corporate Infotech Pvt. Ltd.
4.05 | Providing and Installation of Cat 6A U/UTP Information Outlets Resource patch panel (Cat 6A, 24-port Unloaded Jack Panel Angled / straight)) as per required and SCC. | 1207.00 | Nos |  | 823.00 | 993361.00 | 234.00 | 282438.00 | 195.00 | 235365.00 | 325.00 | 392275.00 | 873.00 | 1053711.00 | 235365.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
4.06 | SITC of CAT 6A LSZH U/UTP RJ45 Patch Cords 2 Mtr, Blue For Data User Side & Rack Side etc. as required. | 4106.00 | Nos |  | 618.00 | 2537508.00 | 360.00 | 1478160.00 | 300.00 | 1231800.00 | 385.00 | 1580810.00 | 656.00 | 2693536.00 | 1231800.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
4.07 | SITC of CAT 6A LSZH U/UTP RJ45 Patch Cords 2Mtr, Red For VOIP User Side & Rack Side etc. as required. | 908.00 | Nos |  | 618.00 | 561144.00 | 360.00 | 326880.00 | 300.00 | 272400.00 | 385.00 | 349580.00 | 656.00 | 595648.00 | 272400.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
4.08 | SITC of CAT 6A LSZH U/UTP RJ45 Patch Cords 2 Mtr, Yellow For Voice Rack Side etc. as required. | 1207.00 | Nos |  | 618.00 | 745926.00 | 360.00 | 434520.00 | 300.00 | 362100.00 | 385.00 | 464695.00 | 656.00 | 791792.00 | 362100.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
4.09 | Supply and Laying of 12-core Outside Plant Fiber Cable - Multimode (OM4), Single Jacket, Corrugated Steel Tape Armor, Gel-free, Stranded Loose Tube Cable in existing surface/recessed steel/ PVC conduit as required. | 4000.00 | Mtrs |  | 521.00 | 2084000.00 | 360.00 | 1440000.00 | 300.00 | 1200000.00 | 365.00 | 1460000.00 | 553.00 | 2212000.00 | 1200000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
4.10 | Supply and Laying of 4-core Outside Plant Fiber Cable - Multimode (OM4), Single Jacket, Corrugated Steel Tape Armor, Gel-free, Stranded Loose Tube Cable in existing surface/recessed steel/ PVC conduit as required. | 6000.00 | Mtrs |  | 521.00 | 3126000.00 | 360.00 | 2160000.00 | 300.00 | 1800000.00 | 365.00 | 2190000.00 | 553.00 | 3318000.00 | 1800000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
4.11 | Supply, Installation testing and commissioning of 24F, 1U, LC MM OM4, Loaded with Splice tray,adapter, Pigtail & splice protectors etc. as per required. | 17.00 | Nos |  | 48480.00 | 824160.00 | 8520.00 | 144840.00 | 68540.00 | 1165180.00 | 15464.00 | 262888.00 | 51389.00 | 873613.00 | 144840.00 | Nikom InfraSolutions Pvt. Ltd.
4.12 | Supply, Installation testing and commissioning of 48F, 1U, LC MM OM4, Loaded with Splice tray,adapter, Pigtail & splice protectors etc. as per required. | 9.00 | Nos |  | 83664.00 | 752976.00 | 13128.00 | 118152.00 | 72380.00 | 651420.00 | 26182.00 | 235638.00 | 88684.00 | 798156.00 | 118152.00 | Nikom InfraSolutions Pvt. Ltd.
4.13 | Supply, Erection/Dressing & testing of LC-LC Multimode OM4 ,50/125 micron Duplex Patch Cord, LSZH, 3 Meter (Fiber) etc. as per technical specification. | 60.00 | Nos |  | 2310.00 | 138600.00 | 1830.00 | 109800.00 | 1525.00 | 91500.00 | 2420.00 | 145200.00 | 2449.00 | 146940.00 | 91500.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
4.14 | Providing, Laying & testing of 100 Pair Riser Cable Un-Armored for riser Backbone Components Voice Connectivity etc. as per required. | 400.00 | Mtrs |  | 452.31 | 180924.00 | 535.20 | 214080.00 | 445.00 | 178000.00 | 375.00 | 150000.00 | 521.00 | 208400.00 | 150000.00 | Corporate Infotech Pvt. Ltd.
4.15 | Supply, Fixing , Termination and commissioning of of 1200 Pair Krone Box With Back Mounting Frame And Connecting Module on surface etc. as required. | 3.00 | Nos |  | 103280.00 | 309840.00 | 41712.00 | 125136.00 | 100000.00 | 300000.00 | 33600.00 | 100800.00 | 108444.00 | 325332.00 | 100800.00 | Corporate Infotech Pvt. Ltd.
4.16 | Supply of copper conductor with PVC insulation Hook Up wire 2 core | 400.00 | Mtrs |  | 11.00 | 4400.00 | 178.20 | 71280.00 | 30.00 | 12000.00 | 30.00 | 12000.00 | 12.00 | 4800.00 | 4400.00 | APEE ESKAY ENTERPRISES PVT. LTD.
4.17 | Supply, Installation testing and commissioning of 42U Floor Standing Rack Including Standard Accessroies ( 800 X 1000 ) etc. as required. | 16.00 | Nos |  | 78300.00 | 1252800.00 | 73800.00 | 1180800.00 | 61500.00 | 984000.00 | 65360.00 | 1045760.00 | 82215.00 | 1315440.00 | 984000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
4.18 | SITCof Cable manager for 1U, Single-sided horizontal cable manager, finger-duct style etc. as required. | 116.00 | Nos |  | 970.00 | 112520.00 | 420.00 | 48720.00 | 350.00 | 40600.00 | 461.00 | 53476.00 | 1019.00 | 118204.00 | 40600.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
4.19 | Supply, Installation testing and commissioning of 15U 600 x 600 wall mount Rack with front glass door and side panels with Accessories etc. as required. | 4.00 | Nos |  | 12040.00 | 48160.00 | 9540.00 | 38160.00 | 7950.00 | 31800.00 | 11756.00 | 47024.00 | 12642.00 | 50568.00 | 31800.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
5.00 | ACCESS CONTROL SYSTEM
5.01 | Supply, installation, testing and commissioning of Access Intelligent 16 Reader Controller,Powerful network-ready door controller for up to 32 readers (16 from module) ,Embedded lock power management lowers installation costs ,Hardened Linux embedded OS for improved security and scalability ,Includes global anti-passback and advanced peer-to-peer clustering , Native intrusion zone functionality ,LCD provides important controller status and diagnostics information ,Manages up to 500,000 cardholders in local memory ,Dedicated input for fire alarm interlock overrides door locks during fire conditions ,Onboard 256-bit AES network encryption ,Tested and validated for FIPS 140-2 under the National Institute of Standards and Technology (NIST) Cryptographic Module Validation Program , Rack-mount models provide flexibility in mounting options,System Memory 2 GB RAM, SD Storage 16 GB SD card, Primary Network Port 10/100/1000 Mbps, full duplex, auto-negotiate Secondary Network Port 10/100/1000 Mbps, full duplex, auto-negotiate Network Encryption Optional AES 256-bit, with custom key management Indicators and Switches LCD for diagnostics, LEDs for power, LAN activity, serial port activity, output status, encryption-enable switch, UL 294, CSA ,Burglar Alarm UL 1076,CE EN 55022 (EMI), EN 55024 (EMC), EN, FCC Part 15 Class A, EN 55022, EMC EN 55024, EN 50130-4, IEC 62599-2,EN 61000-6-1Encryption FIPS 140-2 Level 2 (Certificate #2315), FIPS 197,Seismic Certification OSHPD Certification File # OSP-0425-10 etc. as required. | 14.00 | nos. |  | 682071.00 | 9548994.00 | 120117.40 | 1681643.60 | 187740.00 | 2628360.00 | 120000.00 | 1680000.00 | 675251.00 | 9453514.00 | 1680000.00 | Corporate Infotech Pvt. Ltd.
5.02 | Supply, installation, testing and commissioning of Access Intelligent 8 Reader Controller,Powerful network-ready door controller for up to 32 readers (16 from module) ,Embedded lock power management lowers installation costs ,Hardened Linux embedded OS for improved security and scalability ,Includes global anti-passback and advanced peer-to-peer clustering , Native intrusion zone functionality ,LCD provides important controller status and diagnostics information ,Manages up to 500,000 cardholders in local memory ,Dedicated input for fire alarm interlock overrides door locks during fire conditions ,Onboard 256-bit AES network encryption ,Tested and validated for FIPS 140-2 under the National Institute of Standards and Technology (NIST) Cryptographic Module Validation Program , Rack-mount models provide flexibility in mounting options,System Memory 2 GB RAM, SD Storage 16 GB SD card, Primary Network Port 10/100/1000 Mbps, full duplex, auto-negotiate Secondary Network Port 10/100/1000 Mbps, full duplex, auto-negotiate Network Encryption Optional AES 256-bit, with custom key management Indicators and Switches LCD for diagnostics, LEDs for power, LAN activity, serial port activity, output status, encryption-enable switch, UL 294, CSA ,Burglar Alarm UL 1076,CE EN 55022 (EMI), EN 55024 (EMC), EN, FCC Part 15 Class A, EN 55022, EMC EN 55024, EN 50130-4, IEC 62599-2,EN 61000-6-1Encryption FIPS 140-2 Level 2 (Certificate #2315), FIPS 197,Seismic Certification OSHPD Certification File # OSP-0425-10 etc. as required. | 6.00 | nos |  | 518943.75 | 3113662.50 | 239692.70 | 1438156.20 | 103208.00 | 619248.00 | 1.00 | 6.00 | 513755.00 | 3082530.00 | 6.00 | Corporate Infotech Pvt. Ltd.
5.03 | Supply, installation, testing and commissioning of contact-less 2 KB (EEPROM memory configured with 2 application areas smart card with an operating frequency of 13.56 MHz, and shall meet 14443 standards Mifare contactless smart card open technology, complete as required. | 2000.00 | Nos |  | 246.00 | 492000.00 | 123.50 | 247000.00 | 110.00 | 220000.00 | 110.00 | 220000.00 | 242.00 | 484000.00 | 220000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD., Corporate Infotech Pvt. Ltd.
5.04 | Supply, installation, testing and commissioning of biometric reader with a read range of 8 to 9 cm for time attendance system. Finger print Templates : up to 9,500, Operating Temperature / Humidity: 0°C to 65°C / 5% to 95%RH, IP Rating: IP-65 weatherproof and UL certified sensor, FCC, CE approvals, complete as required. | 10.00 | Nos |  | 78000.00 | 780000.00 | 56962.10 | 569621.00 | 41072.00 | 410720.00 | 75000.00 | 750000.00 | 76440.00 | 764400.00 | 410720.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
5.05 | Supply, installation, testing and commissioning of contact-less smart card Reader, Frequency : 13.56 MHz mifare Authentication: Smart card only Visual annunciation : Tri-color LED, “LED off” function, Audio annunciation : Built-in piezo sounder Operating Temperature: -31 to +149°F (-35 to +65°C), Mounting: Metal mounting compatible Environment and IP rating: IP67 rated weatherproof suitable indoor and outdoor both Power draw : 30 mA typical, 75 mA peak @ 12VDC, Certifications & Approvals: CE, FCC, complete as required. | 173.00 | Nos |  | 5640.00 | 975720.00 | 9642.10 | 1668083.30 | 12322.00 | 2131706.00 | 85000.00 | 14705000.00 | 5528.00 | 956344.00 | 956344.00 | JIL Information Technology Ltd
5.06 | Supply, installation, testing and commissioning of Access Control System Server Software consisting of Access Control system, graphical interface is completely customizable to monitor activities .Control security objects directly from the monitoring station or from the graphical CAD maps.Create a virtual hub of integrated applications with the industry’s most powerful integration platform, built with .NET technology.Get critical security information more quickly, even in widely deployed systems, with superior WAN performance.Change data views, move data columns around, and modify data for groups of people – dynamically from a single screen.Easily drag and drop cameras directly to the interface for powerful, and instantly active, video integration.server or application.Inherent redundancy of Microsoft® SQL Server provides automatic data backup.New! Richer integration access, video, and intrusion. Administer and monitor .Advanced Door Monitoring for up to 14 inputs (i.e. bond sensor, fire alarm lock release, etc.).Guard Tour capability allows security personnel to patrol predetermined checkpoints within a time frame, or by event or email notification. Assign role-based privileges through groups to save time. manage visitor life cycle with minimal training using Receptionist Portal ,Register, badge, and track visitors, and manage scheduled appointments with reporting accountability ,Capture and store visitor information with appointment details for policy compliance , Flexible software check in/check out at front desk or automated at access control points ,Customize data templates for fast appointment setup and visitor processing , Email calendar file invites to hosts and visitors with appointment details and policy attachments ,Notify hosts by email when visitors check-in and remind visitors of unreturned temporary credentials. | 1.00 | Set |  | 4506565.70 | 4506565.70 | 611000.00 | 611000.00 | 1293505.00 | 1293505.00 | 1255000.00 | 1255000.00 | 4416435.00 | 4416435.00 | 611000.00 | Nikom InfraSolutions Pvt. Ltd.
5.07 | Supply, installation, testing and commissioning of Smart Card Photo ID Printing Modules comprising of- Web cam for Photo Picture, printer Dual sided color b/w with accessories for plastic card personalization, PVC card Sticker, ID card Management and printing, complete as required. | 1.00 | Set |  | 562500.00 | 562500.00 | 34305.70 | 34305.70 | 108120.00 | 108120.00 | 656320.00 | 656320.00 | 551250.00 | 551250.00 | 34305.70 | Nikom InfraSolutions Pvt. Ltd.
5.08 | Supply, installation, testing and commissioning of 1200 lbs Double Leaf EM locks with all required brackets, complete as required. | 127.00 | Nos |  | 4450.00 | 565150.00 | 10292.10 | 1307096.70 | 7864.00 | 998728.00 | 7500.00 | 952500.00 | 4361.00 | 553847.00 | 553847.00 | JIL Information Technology Ltd
5.09 | Supply, installation, testing and commissioning of 600 lbs Single Leaf EM locks with all required brackets, complete as required. | 9.00 | Nos |  | 1810.00 | 16290.00 | 3792.10 | 34128.90 | 5898.00 | 53082.00 | 5500.00 | 49500.00 | 1774.00 | 15966.00 | 15966.00 | JIL Information Technology Ltd
5.10 | Supply, installation, testing and commissioning of Flush mounted SS based motion sensor based exit switch complete with all accessories. | 136.00 | Nos |  | 3610.00 | 490960.00 | 1233.70 | 167783.20 | 1672.00 | 227392.00 | 2500.00 | 340000.00 | 3538.00 | 481168.00 | 167783.20 | Nikom InfraSolutions Pvt. Ltd.
5.11 | Supply, installation, testing and commissioning of Surface mounted Magnetic Contact Door Sensor for monitoring the status of the doors (OPEN/CLOSE), complete as required. | 136.00 | Nos |  | 836.00 | 113696.00 | 1090.70 | 148335.20 | 115.00 | 15640.00 | 1500.00 | 204000.00 | 820.00 | 111520.00 | 15640.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
5.12 | Supply, installation, testing and commissioning of Emergency break glass as required | 136.00 | Nos |  | 216.00 | 29376.00 | 872.30 | 118632.80 | 1475.00 | 200600.00 | 1500.00 | 204000.00 | 212.00 | 28832.00 | 28832.00 | JIL Information Technology Ltd
5.13 | Supply and Laying of 8 Core x 0.2 sqmm multistrand, copper unarmoured shielded Cable in existing conduit, complete as required. (between the every card readers & the access controllers) | 14160.00 | RM |  | 130.76 | 1851561.60 | 97.50 | 1380600.00 | 92.00 | 1302720.00 | 130.00 | 1840800.00 | 129.00 | 1826640.00 | 1302720.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
5.14 | Supply and Laying of 2 Core x 1.5 Sq mm, multistrand, copper, shielded, unarmoured cable in existing conduit, complete as required. (between the controller and EM Lock/ door sensor/Request to exit button). | 11900.00 | RM |  | 93.34 | 1110746.00 | 68.90 | 819910.00 | 55.00 | 654500.00 | 110.00 | 1309000.00 | 92.00 | 1094800.00 | 654500.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
5.15 | Supply, Installation, testing and commissioning of External 12V 5Amp or 24V 2.5 Amp Power Supply for EM locks, complete as required. | 35.00 | Nos |  | 990.00 | 34650.00 | 3142.10 | 109973.50 | 4916.00 | 172060.00 | 2500.00 | 87500.00 | 971.00 | 33985.00 | 33985.00 | JIL Information Technology Ltd
5.16 | Supply, installation, testing & commissioning of workstation for Access control software with Core i7 processor, 8GB RAM, 1TB HDD, Windows 64 bit OS, external DVD writer, wireless keyboard, wireless mouse, 2GB Graphics card with dual monitor support, complete as required. | 4.00 | Nos |  | 163500.00 | 654000.00 | 227697.60 | 910790.40 | 114150.00 | 456600.00 | 172461.00 | 689844.00 | 160230.00 | 640920.00 | 456600.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
5.17 | Supply, Installation, testing & commissioning of ACS Server with Intel Xeon E3-1240 v5 (3.5 GHz or greater), Dual drives: primary drive = 1TB or greater (9000 Runtime); secondary drive = 1TB or greater (data backups). SSD is recommended. Drive speed- 15,000 RPM or greater, Memory - 32GB or greater, Network adaptor card - Intel Gigabit ET Quad Port Adapter, Gigabit Ethernet NIC, PCle x4, DVD Drive, Video card - Integrated video subsystem (dedicated video accelerator recommended when used as a client workstation), Windows 10 Professional & Enterprise (version 1809 or higher) (64-bit) Windows Server 2016 SP1 and higher (64-bit), Windows Server 2019 (64-bit) | 2.00 | nos |  | 515000.00 | 1030000.00 | 438999.60 | 877999.20 | 421325.00 | 842650.00 | 500000.00 | 1000000.00 | 504700.00 | 1009400.00 | 842650.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
6.00 | CCTV System
6.01 | Supply, installation, testing and commissioning of 2 Megapixel Outdoor Colour Dome IR (upto 150 meters) PTZ Camera complete with camera mount and all accessories, outdoor weather-proof housing (IP 66), etc. as per specifications. | 7.00 | Mtrs |  | 166436.00 | 1165052.00 | 166400.00 | 1164800.00 | 93495.00 | 654465.00 | 46116.00 | 322812.00 | 173094.00 | 1211658.00 | 322812.00 | Corporate Infotech Pvt. Ltd.
6.02 | Supply, installation, testing and commissioning of 2 Megapixel Varifocal Outdoor Fixed IR (upto 150 meters) Colour Box Camera complete with camera mount and all accessories, Weather-proof housing (IP66), etc. as per specifications. | 11.00 | Nos |  | 119841.05 | 1318251.55 | 71500.00 | 786500.00 | 71070.00 | 781770.00 | 42785.00 | 470635.00 | 124635.00 | 1370985.00 | 470635.00 | Corporate Infotech Pvt. Ltd.
6.03 | Supply, installation, testing and commissioning of 2 Megapixel Varifocal Indoor Fixed Colour Dome Camera complete with camera mount and all accessories, indoor housing (IP54), etc. as per specifications. | 230.00 | Nos |  | 27824.83 | 6399710.90 | 27742.00 | 6380660.00 | 23920.00 | 5501600.00 | 8327.00 | 1915210.00 | 28938.00 | 6655740.00 | 1915210.00 | Corporate Infotech Pvt. Ltd.
6.04 | Supply, installation, testing and commissioning of Network Attached Storage (NAS) per TB usable capacity on SAS/SATA Disk (in RAID 6 configuration) with two controllers complete with all accessories, etc. as per specifications. | 300.00 | Nos |  | 31350.00 | 9405000.00 | 30091.10 | 9027330.00 | 32610.00 | 9783000.00 | 11667.00 | 3500100.00 | 32604.00 | 9781200.00 | 3500100.00 | Corporate Infotech Pvt. Ltd.
6.05 | Supply, installation, testing and commissioning of 55" Displays (For Client PC Type A) complete with wall/ceiling/floor mounting arrangement as per specifications and preferred makes. | 2.00 | Nos |  | 76100.00 | 152200.00 | 72150.00 | 144300.00 | 65550.00 | 131100.00 | 68500.00 | 137000.00 | 79144.00 | 158288.00 | 131100.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
6.06 | Supply, installation, testing and commissioning of 3X2 55" Thin bezel LED Video-wall displays with Controller (For Client PC Type A) complete with Frame & wall/ceiling/floor mounting arrangement as per specifications and preferred makes. | 1.00 | Nos |  | 1942400.00 | 1942400.00 | 2766400.00 | 2766400.00 | 814200.00 | 814200.00 | 145500.00 | 145500.00 | 2020096.00 | 2020096.00 | 145500.00 | Corporate Infotech Pvt. Ltd.
6.07 | Supply, installation, testing and commissioning of Workstation (Client PC type A) including Operating system and Anti-virus with Keyboard, Optical Scroll Mouse and all accessories, etc. complete as per specifications. | 2.00 | Nos |  | 217500.00 | 435000.00 | 183300.00 | 366600.00 | 128164.00 | 256328.00 | 172461.00 | 344922.00 | 226200.00 | 452400.00 | 256328.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
6.08 | Supply, installation, testing and commissioning of Workstation (Client PC type B) including Operating system and Anti-virus with 23" Monitor, Keyboard, Optical Scroll Mouse and all accessories, etc. complete as per specifications. | 2.00 | Nos |  | 163500.00 | 327000.00 | 183300.00 | 366600.00 | 141964.00 | 283928.00 | 192461.00 | 384922.00 | 170040.00 | 340080.00 | 283928.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
6.09 | Supply, installation, testing and commissioning of Multifunction Colour Laser printer, Scanner (A4 Size, 22 ppm) as per specifications | 1.00 | Mtrs |  | 49500.00 | 49500.00 | 50050.00 | 50050.00 | 115000.00 | 115000.00 | 41000.00 | 41000.00 | 51480.00 | 51480.00 | 41000.00 | Corporate Infotech Pvt. Ltd.
6.10 | Supply, installation, testing and commissioning of Console for Control room for two operators with 02 nos. of rotating pushback chairs Complete as per specifications. | 1.00 | Mtrs |  | 341112.00 | 341112.00 | 65650.00 | 65650.00 | 230000.00 | 230000.00 | 450000.00 | 450000.00 | 354757.00 | 354757.00 | 65650.00 | Nikom InfraSolutions Pvt. Ltd.
6.11 | Supply, installation, testing and commissioning of Rack Mountable Database/NVR/ Camera Server including Operating system and Anti-virus for lifetime, complete with all accessories as per specifications. | 8.00 | Nos |  | 623000.00 | 4984000.00 | 499063.50 | 3992508.00 | 410016.00 | 3280128.00 | 465871.00 | 3726968.00 | 647920.00 | 5183360.00 | 3280128.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
6.12 | Supply, installation, testing and commissioning of Rack Mountable Video Analytics Server including Operating system and Anti-virus for lifetime, complete with all accessories as per specifications. | 4.00 | Nos |  | 623000.00 | 2492000.00 | 499063.50 | 1996254.00 | 410016.00 | 1640064.00 | 465871.00 | 1863484.00 | 647920.00 | 2591680.00 | 1640064.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
6.13 | Supply, installation, testing and commissioning of Network Time Protocol (NTP) Server with accessories as per specifications and preferred makes. | 1.00 | Nos |  | 410000.00 | 410000.00 | 981500.00 | 981500.00 | 346583.00 | 346583.00 | 322736.00 | 322736.00 | 426400.00 | 426400.00 | 322736.00 | Corporate Infotech Pvt. Ltd.
6.14 | Supply, installation, testing and commissioning of 12 port KVM Switch/es with integrated 17" LCD/ LED Monitor, for connectivity in 42 U rack with Servers as per specifications. | 1.00 | Mtrs |  | 142000.00 | 142000.00 | 47450.00 | 47450.00 | 143750.00 | 143750.00 | 167658.00 | 167658.00 | 147680.00 | 147680.00 | 47450.00 | Nikom InfraSolutions Pvt. Ltd.
6.15 | Supply, installation, testing and commissioning of Surveillance CCTV 19" Equipment Rack (40/42 U) including cooling fans, Patch Panel, Cable Manager, accessories, etc. complete as per specifications. | 1.00 | Nos |  | 78800.00 | 78800.00 | 44090.80 | 44090.80 | 63250.00 | 63250.00 | 65360.00 | 65360.00 | 81952.00 | 81952.00 | 44090.80 | Nikom InfraSolutions Pvt. Ltd.
6.16 | Supply, installation, testing and commissioning of Speed Dome Controller Joystick complete as per specifications | 1.00 | Mtrs |  | 91106.66 | 91106.66 | 122850.00 | 122850.00 | 44850.00 | 44850.00 | 17614.00 | 17614.00 | 94751.00 | 94751.00 | 17614.00 | Corporate Infotech Pvt. Ltd.
6.17 | Supply, installation, testing and commissioning of VMS & Digital Video Surveillance Control Softwre for complete system consisting of Servers/ Workstations/ NAS, to be supplied with media (2 Nos. of Software CD at site) to meet the technical & functional requirements as per tender at site, with per camera licence. | 252.00 | Nos |  | 45781.72 | 11536993.44 | 8450.00 | 2129400.00 | 9200.00 | 2318400.00 | 298500.00 | 75222000.00 | 47613.00 | 11998476.00 | 2129400.00 | Nikom InfraSolutions Pvt. Ltd.
6.18 | Supply, installation, testing and commissioning Video Analytics Software IP Fixed Camera connection License. | 241.00 | Nos |  | 20859.30 | 5027091.30 | 9100.00 | 2193100.00 | 6325.00 | 1524325.00 | 138500.00 | 33378500.00 | 21694.00 | 5228254.00 | 1524325.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
6.19 | Supply, installation, testing and commissioning of standard length of patch cords of 03 mtr length as per site requirement and specifications. | 252.00 | Nos |  | 912.00 | 229824.00 | 520.00 | 131040.00 | 380.00 | 95760.00 | 300.00 | 75600.00 | 949.00 | 239148.00 | 75600.00 | Corporate Infotech Pvt. Ltd.
6.20 | Supply, installation, testing and commissioning of 4" dia, up to 5 Mtrs. height GI Pole i/c foundation of pole with accessories for mounting of camera as per specifications | 3.00 | Nos |  | 29400.00 | 88200.00 | 35100.00 | 105300.00 | 9200.00 | 27600.00 | 7500.00 | 22500.00 | 30576.00 | 91728.00 | 22500.00 | Corporate Infotech Pvt. Ltd.
7.00 | AMC of LAN , EPBAX , Access Control and SCCTV System etc.
7.01 | Providing technical support for attaending day to day activity for maintain the LAN system, EPBAX, Access Control , SCCTV system etc. by deployment of qualified manpower as per tender specification | 5.00 | Per Annum |  | 1148018.99 | 5740094.95 | 5469860.00 | 27349300.00 | 1550000.00 | 7750000.00 | 2500000.00 | 12500000.00 | 1320222.00 | 6601110.00 | 5740094.95 | APEE ESKAY ENTERPRISES PVT. LTD.
8.00 | CAMC of SCCTV system
8.01 | Providing CAMC services after DLP period of 03 years for SCCTV system i.e. 4th Year @ 5% of SITC cost on item no. 6.01 to 6.18
8.02 | Providing CCMC services after DLP period of 03 years for SCCTV system i.e. 5th Year @ 5% of SITC cost + 10% escalation on item no. 6.01 to 6.18
| Total in Figures |  |  |  |  | 244173374.98 |  | 221309596.98 |  | 172907653.00 |  | 329795781.00 |  | 255733276.00
Comparative Chart(eAuction)
Sl.No | Bidder Name | Auction Start Price | Quoted Rate in Figures and Words
|  |  | Bidder Price | Amount in Words
1 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD. | 172907653 | 171907653.00 | Seventeen Crore Ninteen Lakh Seven Thousand Six Hundred and Fifty Three
2 | APEE ESKAY ENTERPRISES PVT. LTD. | 172907653 | 137907653.00 | Thirteen Crore Seventy Nine Lakh Seven Thousand Six Hundred and Fifty Three
3 | Nikom InfraSolutions Pvt. Ltd. | 172907653 | 114907653.00 | Eleven Crore Fourty Nine Lakh Seven Thousand Six Hundred and Fifty Three
4 | Corporate Infotech Pvt. Ltd. | 172907653 | 115907653.00 | Eleven Crore Fifty Nine Lakh Seven Thousand Six Hundred and Fifty Three
5 | JIL Information Technology Ltd | 172907653 | Not Quoted | Not Quoted
Lowest Amount Quoted BY: Nikom InfraSolutions Pvt. Ltd.(1.14907653E8)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of combined operational offices for DGCA, BCAS, AAIB, AERA and AAI at Safdarjung Airport, New Delhi Tender ID: 2020_AAI_63409_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD. | 172907653.00 | L1
| 2 | Nikom InfraSolutions Pvt. Ltd. | 221309596.98 | L2
| 3 | APEE ESKAY ENTERPRISES PVT. LTD. | 244173374.98 | L3
| 4 | JIL Information Technology Ltd | 255733276.00 | L4
| 5 | Corporate Infotech Pvt. Ltd. | 329795781.00 | L5