## BoQ1
Government eProcurement System Created By: K SANTHOSH KUMAR Created Date/Time: 24-Dec-2020 11:23 AM Tender Title: SITC/Augmentation of Water Treatment Plant Tender ID: 2020_AAI_63667_1
Tender Inviting Authority: Asstt. Gen. Mgr. (E-E), NATS Complex, IGI Airport, New Delhi
Name of Work : Provisioning of water supply to DATS building from NATS building (SH : Augmentation of existing Water Treatment Plant at Cooling Tower of NATS Complex)
Contract No/Tender ID : 2020_AAI_63667_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | riser builders(GSTN-NA)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | 1. Supply, Installation, Testing & Commissioning of Multigrade Filter (MGF) (vessl size 1200 X 1800 mm FRP) with frontal pipeline 2.5" and multiport valve 2" and all sizes of filtration media (activated carbon, pebble, gravel, silica sand etc.) - Flow Rate of Plant 15 Cu. M., Operating Pressure 3.5 kg/Sq. Cm. Make : Pentier / Starlite/Syntex or Equivalent. | 1.00 | Job | 100.00 | 300000.00 | 300000.00 | 300000.00 | riser builders
2.00 | 2. SITC of feed Water Pump, 5 HP, 3 Phase, RPM 2900, including Outlet pipeline and fittings and electrical connections from existing feeder panel – Pump Flow Rate 15 Cu. M/Hr, Head : 25 Mtr, Make : As per AAI Approved Makes. | 2.00 | Job | 100.00 | 70000.00 | 140000.00 | 140000.00 | riser builders
3.00 | 3. SITC of Soft Water Transfer Pump, 5 HP, 3 Phase, RPM 2900 including electrical connections from existing feeder panel Pump Flow Rate 15 Cu. M. / Hr. , Head - 35 Mtr., Pressure 7Kg/Sq. Cm, Make : As per AAI Approved Make. | 2.00 | Job | 10.00 | 65000.00 | 130000.00 | 130000.00 | riser builders
4.00 | 4. Dismantling of 02 Nos Water Softening Vessels and taking out of old Softening resin from both the Vessels and their re-installation. Pouring of old softening resin and also topup with new Resin of 650 Ltrs in each vessel to both the Vessels (Total Resin 1300 Ltrs). Vessel Size : 1200 x 1800 mm FRP. | 1.00 | Job | 10.00 | 140000.00 | 140000.00 | 140000.00 | riser builders
5.00 | 5. Supply and Fixing of Regeneration Tank including Agitator with Gear Motor 2 HP, RPM 18, Shaft SS 304 (Regeneration Tank MSRL Cabacity 1.76 Cub. M.) including electrical connections from existing feeder panel. | 1.00 | Job | 100.00 | 25000.00 | 25000.00 | 25000.00 | riser builders
6.00 | 6. Supply and Installation of digital flow meter cum totalizer (Water meter) of 65 NB SS 304 flange base attachment with nut bolts and gasket including electrical connections from existing feeder panel. | 2.00 | Job | 10.00 | 25000.00 | 50000.00 | 50000.00 | riser builders
| Total in Figures |  |  |  |  | 785000.00
Lowest Amount Quoted BY: riser builders(785000.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC/Augmentation of Water Treatment Plant Tender ID: 2020_AAI_63667_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | riser builders | 785000.00 | L1