## BoQ1
Government eProcurement System Created By: ARUN KUMAR K Created Date/Time: 06-Jan-2021 01:38 PM Tender Title: Annual Maintenance Contract of Fire Alarm System and Fire Fighting System at LGBI Airport Guwahati for the year 2021-2023 Tender ID: 2020_AAI_63870_1
Tender Inviting Authority: Senior Manager (Engg – Elect), AAI, LGBI Airport, Guwahati, Assam – 781 015
Name of Work: Annual Maintenance Contract of Fire Alarm System and Fire Fighting System at LGBI Airport Guwahati for the year 2021-2023
Contract No: AAI/ENGG/SM(E-E)/GHY/NIT-12/2020-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | DOGRA AND DOGRA ENTERPRISES(GSTN-07AIFPD1861P2Z1) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH - I : JOB CONTRACT FOR OPERATION & MAINTENANCE
2.00 | Job contract for carrying out Annual Maintenance Contract for complete fire detection & alarm systems installed at Terminal building, ATC building, Cargo Buildings (International & Domestic), E&M workshop, ASR-MSSR, Glide Path, INRES, LLZ, DVOR, SMR, Hanger and complete fire fighting systems installed at Terminal Building & Hanger alongwith all equipments/accessories as per the inventories attached as per Annexure-'A' by engaging manpower for carrying out the preventive maintenance as per Annexure-'B' and attending the breakdown complaints, minor repairing of all the parts & taking rectification action to ensure serviceability / satisfactory working condition of the system, maintenance of records, documents, dismantle materials, complaint register etc as per the attached special conditions of contract on all working days except weekly off & national holidays and upto satisfaction of Engineer-In-charge, etc. as required. | 24.00 | Month |  | 65000.00 | 1560000.00 | 67500.00 | 1620000.00 | 1560000.00 | DOGRA AND DOGRA ENTERPRISES
3.00 | SH - II : REPAIR AND MAINTENANCE WORKS
4.00 | Supply of fully charged 12 Volt, 7AH Sealed Maintenance Free (SMF) battery suitable for installation on existing conventional/addressable fire alarm control panel. | 5.00 | Each |  | 1600.00 | 8000.00 | 1500.00 | 7500.00 | 7500.00 | CENTRE TAP ENGINEERING
5.00 | Supply, Installation, Testing and Commissioning of GSM based Auto-Dialler System capable for sending recorded voice calls and messages to not less than 5 different numbers and compatable for installation on existing conventional/addressable fire alarm control panel including programming etc complete as required. | 4.00 | Each |  | 13000.00 | 52000.00 | 10000.00 | 40000.00 | 40000.00 | CENTRE TAP ENGINEERING
6.00 | Providing laying, testing & commissioning of 'C' class heavy duty MS Pipe conforming to IS 1239/3589 i/c fittings like elbows, tees, flanges, tapers, nuts bolts, gaskets etc. in ground including welding, excavation & providing cement concrete blocks as supports, anticorrosive treatment with coaltar/asphalt tape as per IS 10221, refilling the trench etc. of following sizes complete as required.
6.01 | 80mm dia | 50.00 | Meter |  | 1800.00 | 90000.00 | 1500.00 | 75000.00 | 75000.00 | CENTRE TAP ENGINEERING
6.02 | 100mm dia | 50.00 | Meter |  | 2200.00 | 110000.00 | 2200.00 | 110000.00 | 110000.00 | DOGRA AND DOGRA ENTERPRISES, CENTRE TAP ENGINEERING
7.00 | Providing and fixing weather proof lockable cabinet of size not less than 900mm x 600mm x 450mm made out of 2mm thick MS sheet and powder coated with P.O red shade, suitable for housing hydrant pipe with landing valve, hose reel etc having central opening and 6 mm thick glazed glass doors (Two nos.) suitably marked on the outside with the letters "FIRE" including necessary locking arrangement, mounting legs/concrete pedestal, accessories like foundation bolts/fasteners etc complete as required as per specifications. | 5.00 | Each |  | 9000.00 | 45000.00 | 6000.00 | 30000.00 | 30000.00 | CENTRE TAP ENGINEERING
8.00 | Painting the existing Fire Hose cabinets of Internal/External hydrants of different sizes with two coats of synthetic enamel paint of post office red colour or shade as per the direction of the Engineer-In-Charge including thorough cleaning the surface with wire brush and applying one coat of red oxide before applying enamel paint etc complete as required. | 200.00 | Sq.m |  | 50.00 | 10000.00 | 200.00 | 40000.00 | 10000.00 | DOGRA AND DOGRA ENTERPRISES
9.00 | Painting the existing MS Pipe of 80/100/150 mm dia i/c fittings like elbows, tees, flanges etc. on surface with two coats of synthetic enamel paint of post office red colour or shade as per the direction of the Engineer-In-Charge including thorough cleaning the surface with wire brush and applying one coat of red oxide (wherever required) before applying enamel paint etc complete as required. | 300.00 | Meter |  | 25.00 | 7500.00 | 100.00 | 30000.00 | 7500.00 | DOGRA AND DOGRA ENTERPRISES
10.00 | SH - III : DSR ITEMS
11.00 | Execution of item of schedule of rates DSR (E&M) - 2018 (FIRE DETECTION AND ALARM SYSTEM) / DSR(WET RISER AND SPRINKLER SYSTEM) - 2019 as and when required for attending breakdown repair & Maintenance and upkeep of Fire alarm & Fire fighting system as per direction of E-I-C at different locations of LGBI Airport as per the special terms and conditions in only for the job corresponding to Rs. 5,00,000/- and percentage (%) above/below shall be calculated by AAI and paid accordingly after deducting GST component (MF= 1.1405) from DSR rates. | 1.00 | Job |  | 250000.00 | 250000.00 | 200000.00 | 200000.00 | 200000.00 | CENTRE TAP ENGINEERING
| Total in Figures |  |  |  |  | 2132500.00 |  | 2152500.00
Lowest Amount Quoted BY: DOGRA AND DOGRA ENTERPRISES(2132500.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance Contract of Fire Alarm System and Fire Fighting System at LGBI Airport Guwahati for the year 2021-2023 Tender ID: 2020_AAI_63870_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DOGRA AND DOGRA ENTERPRISES | 2132500.00 | L1
| 2 | CENTRE TAP ENGINEERING | 2152500.00 | L2