## BoQ1
Government eProcurement System Created By: Tarun Thokchom Created Date/Time: 13-Jan-2021 12:33 PM Tender Title: Construction of Standard Operation Boundary Wall Tender ID: 2020_AAI_63979_1
Tender Inviting Authority: Sr. Manager (Engg-Civil), Airports Authority of India, NSCBI Airport, Kolkata - 700052
Name of Work: Construction of Standard Operation Boundary Wall in place of old damaged non-standard boundary wall at NSCBI Airport, kolkata.
Contract No: 2020_AAI_63979_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | PABSCON(GSTN-19AADFP7887K1ZD) |  | Essem Enterprise(GSTN-19AIDPM5306JIZ6) |  | L K BUILDERS(GSTN-19AJLPP6631L3ZH)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan) including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. (a) All kinds of soil | 11000.00 | Cum |  | 50.00 | 550000.00 | 280.00 | 3080000.00 | 40.00 | 440000.00 | 440000.00 | L K BUILDERS
2.00 | Carriage of earth by mechnical means within airport premises including loading, unloading and spreading complete, as per the direction of Engineer-In-Charge. | 2750.00 | Cum |  | 109.25 | 300437.50 | 150.00 | 412500.00 | 40.00 | 110000.00 | 110000.00 | L K BUILDERS
3.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, for all leads and lifts within airport premises as directed by Engineer-in-charge. | 8300.00 | Cum |  | 35.00 | 290500.00 | 200.00 | 1660000.00 | 30.00 | 249000.00 | 249000.00 | L K BUILDERS
4.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing coomplete. | 1650.00 | Cum |  | 1250.00 | 2062500.00 | 1800.00 | 2970000.00 | 600.00 | 990000.00 | 990000.00 | L K BUILDERS
5.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering. - All work up to plinth level. (a ) 1:5:10 (1 cement: 5 coarse sand :10 graded stone aggregate 40mm nominal size) | 800.00 | Cum |  | 3680.00 | 2944000.00 | 6000.00 | 4800000.00 | 4000.00 | 3200000.00 | 2944000.00 | PABSCON
6.00 | Providing and laying in position specified grade of reinforced cement concrete excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level (a) 1 : 1.5 : 3 (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size) | 1260.00 | Cum |  | 4830.00 | 6085800.00 | 7400.00 | 9324000.00 | 5000.00 | 6300000.00 | 6085800.00 | PABSCON
7.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. up to floor five level excluding cost of centering, shuttering, finishing and reinforcement : (a) 1:1.5:3 (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size) | 550.00 | Cum |  | 5002.50 | 2751375.00 | 7400.00 | 4070000.00 | 5200.00 | 2860000.00 | 2751375.00 | PABSCON
8.00 | Centring and shuttering including strutting, propping etc. and removel of form for:(a) Foundations, Footings, bases of columns etc. for mass concrete. | 1100.00 | Sqm |  | 201.25 | 221375.00 | 400.00 | 440000.00 | 100.00 | 110000.00 | 110000.00 | L K BUILDERS
9.00 | Centring and shuttering including strutting, propping etc. and removel of form for:(b) Walls (any thickness) including attached pilasters, buttresses, plinth and string courses etc. | 5720.00 | Sqm |  | 350.75 | 2006290.00 | 400.00 | 2288000.00 | 100.00 | 572000.00 | 572000.00 | L K BUILDERS
10.00 | Centring and shuttering including strutting, propping etc. and removel of form for:(c) Lintels, beams, plinth beams, girders, bressumers and cantilevers. | 3230.00 | Sqm |  | 316.25 | 1021487.50 | 450.00 | 1453500.00 | 100.00 | 323000.00 | 323000.00 | L K BUILDERS
11.00 | Centring and shuttering including strutting, propping etc. and removel of form for:(c) Columns, Pillars, Piers, Abutments, Posts and Struts. | 1600.00 | Sqm |  | 356.50 | 570400.00 | 450.00 | 720000.00 | 100.00 | 160000.00 | 160000.00 | L K BUILDERS
12.00 | Reinforcement for R.C.C.work including straightening,cutting, bending, placing in position and binding all complete. (a)Thermo Mechanically treated Bars of Grade Fe 500. | 331200.00 | kg |  | 65.00 | 21528000.00 | 78.00 | 25833600.00 | 57.00 | 18878400.00 | 18878400.00 | L K BUILDERS
13.00 | Brick work with non modular fly ash bricks conforming to IS:12894, class designation 10 average compressive strength in foundation and plinth in : cement mortar 1:6 (1 cement : 6 coarse sand) | 590.00 | Cum |  | 5405.00 | 3188950.00 | 6000.00 | 3540000.00 | 5200.00 | 3068000.00 | 3068000.00 | L K BUILDERS
14.00 | Brick work with non modular fly ash bricks conforming to IS:12894, class designation 10 average compressive strength in super structure above plinth level up to floor V level in : cement mortar 1:6 (1 cement : 6 coarse sand) | 590.00 | Cum |  | 5462.50 | 3222875.00 | 6000.00 | 3540000.00 | 5200.00 | 3068000.00 | 3068000.00 | L K BUILDERS
15.00 | Providing and laying autoclaved aerated cement blocks masonry with 150mm/230mm/300 mm thick AAC blocks in super structure above plinth level up to floor V level with RCC band at sill level and lintel level with approved block laying polymer modified adhesive mortar all complete as per direction of Engineer-in-Charge. (The payment of RCC band and reinforcement shall be made for seperately). | 290.00 | Cum |  | 4600.00 | 1334000.00 | 5800.00 | 1682000.00 | 5600.00 | 1624000.00 | 1334000.00 | PABSCON
16.00 | 12 mm cement plaster of mix: 1 : 6 (1 cement : 6 fine sand) | 8600.00 | Sqm |  | 126.50 | 1087900.00 | 200.00 | 1720000.00 | 200.00 | 1720000.00 | 1087900.00 | PABSCON
17.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix: 1 : 6 (1 cement : 6 fine sand) | 8600.00 | Sqm |  | 138.00 | 1186800.00 | 210.00 | 1806000.00 | 200.00 | 1720000.00 | 1186800.00 | PABSCON
18.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : (a) New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/ 10 sqm). | 28980.00 | Sqm |  | 94.30 | 2732814.00 | 170.00 | 4926600.00 | 60.00 | 1738800.00 | 1738800.00 | L K BUILDERS
19.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : (a) Two or more coats on new work. | 800.00 | Sqm |  | 57.50 | 46000.00 | 100.00 | 80000.00 | 60.00 | 48000.00 | 46000.00 | PABSCON
20.00 | Steel work welded in built up section/frame work including cutting, hoisting, making necessary holes for fixing barbed wire and concertina coil if required, fixing in position and applying a priming coat of approved steel primer using structural steel etc.as required. (a) In grating,frames,guard bar,ladders,railling brackets,gates and similar works. | 9300.00 | kg |  | 74.75 | 695175.00 | 100.00 | 930000.00 | 68.00 | 632400.00 | 632400.00 | L K BUILDERS
21.00 | Providing and fixing concertina coil fencing with punched tape concertina coil 600 mm dia 10 metre openable length ( total length 90 m) having 50 nos rounds per 6 metre length, upto 3 m height of wall with existing angle iron 'Y' shaped placed 2.4 m or 3.00 m apart and with 9 horizontal R.B.T. reinforced barbed wire, stud tied with G.I. staples and G.I. clips to retain horizontal including necessary bolts or G.I. barbed wire tied to angle iron all complete as per direction of Engineer-in-charge with reinforced barbed tape(R.B.T.) / Spring core (2.5mm thick) wire of high tensile strength of 165 kg/ sq.mm with tape (0.52 mm thick) and weight 43.478gm/ metre (cost of M.S. angle, C.C. blocks shall be paid separately) | 4830.00 | Mtr |  | 304.75 | 1471942.50 | 450.00 | 2173500.00 | 250.00 | 1207500.00 | 1207500.00 | L K BUILDERS
22.00 | Providing and erecting 2.4 metre high temporary barricading each panel of size 2.50mx2.40m made of 40x40x6mm angle iron or 50x50x3mm hollow MS tube posts/horizontal members/bracings covered with 1.63mm thick MS sheet. Suitable stand or bottom bracing with 50cm long MS angle 40x40x6mm shall be provided at each bottom end. The sheet shall be fixed with 30x5mm MS flat by suitable welding/riveting. The panels shall be made so that no gap above the ground is available. Suitable arrangement shall be made to fix the barricading to avoid from overturning by providing 250mm long expansion fasteners at both ends. The work shall be executed as per drawing/direction of Engineer-in-Charge which includes writing and painting, arrangement for traffic diversion such as traffic signals during construction at site for day and night, glow lamps, reflective signs, marking, flags, caution tape, concertina coil , barbed wire etc. as directed by the Engineer-in-Charge. The barricading provided shall be retained in position at site continuously i/c shifting of barricading from one location to another location as many times as required during the execution of the entire work till its completion. Rate include its maintenance for damages, painting, all incidentals, labour materials, equipments and works required to execute the job. The barricading shall not be removed without prior approval of Engineer-in-Charge. (Note :- One time payment shall be made for providing barricading from start of work till completion of work i/c shifting. The barricading provided shall remain to be the property of the contractor on completion of the work). | 220.00 | Mtr |  | 2932.50 | 645150.00 | 11000.00 | 2420000.00 | 100.00 | 22000.00 | 22000.00 | L K BUILDERS
23.00 | Credit item towards dismantling and taking away all useable materials including the cost dismantling of boundary wall manually/ mechanically including removal of Concertina coil, barbed wire, MS angle bracket etc. all complete and disposal of non- useable rubbish as per direction of Engineer-In-Charge. | 2200.00 | RM |  | 57.50 | -126500.00 | 100.00 | -220000.00 | 100.00 | -220000.00 | -220000.00 | Essem Enterprise, L K BUILDERS
24.00 | Credit item for taking away old MS angle bracket , scrap Concertina coil and scrap barbed wire including dismantling cost from the boundary wall raising site as per direction of Engineer-In-Charge. [Note: The contractor has to quote not less than Rs.80/-] | 2630.00 | RM |  | 92.58 | -243485.40 | 80.00 | -210400.00 | 80.00 | -210400.00 | -243485.40 | PABSCON
25.00 | Deduct for not disposing the excavated earth within 50 m lead ( under BOQ item no. 1 ) | 2750.00 | Cum |  | 17.25 | -47437.50 | 41.00 | -112750.00 | 10.00 | -27500.00 | -112750.00 | Essem Enterprise
26.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 41.00 | Cum |  | 632.50 | 25932.50 | 1200.00 | 49200.00 | 1000.00 | 41000.00 | 25932.50 | PABSCON
| Total in Figures |  |  |  |  | 55552281.10 |  | 79375750.00 |  | 48624200.00
Lowest Amount Quoted BY: L K BUILDERS(48624200.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Standard Operation Boundary Wall Tender ID: 2020_AAI_63979_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | L K BUILDERS | 48624200.00 | L1
| 2 | PABSCON | 55552281.10 | L2
| 3 | Essem Enterprise | 79375750.00 | L3