## BoQ1
Government eProcurement System Created By: Gaurav Mathur Created Date/Time: 05-Jan-2021 05:16 PM Tender Title: Provision of Ultra Voilet Germicidal Irradiation (UVGI) unit in existing AHUs at Jaipur International Airport, Jaipur Tender ID: 2020_AAI_63998_1
Tender Inviting Authority: Asstt. Gen. Manager (Engg-E), Jaipur Airport, Airport - 302029
Name of Work: Provision of Ultra Voilet Germicidal Irradiation (UVGI) unit in existing AHUs at Jaipur International Airport, Jaipur.
Contract No: AAI/JPR/ENGG(E)/F-68/2020-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Blue Star Ltd.(GSTN-08AAACB4487D1ZS) |  | VOLTAS LIMITED(GSTN-07AAACV2809D1ZO) |  | COOL TECH ENGINEERS(GSTN-08AAFFC7397B1ZD)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design, Supply, installation, Testing and comissioning of Ultra violate germicidal irradiation system without affecting cubic feet per minute flow (CFM) and Consisting of UV Emitter with UVC 254 nm wavelength, ballast, necessary modification MCB, indication lamp and metering etc. complete, inside the air handing unit with given CFM and below specification.
1.00 | Dose on the down stream coil face at extremities. The UVC dose at the extreme edges of the coil shall not be less than 750 UW/CM2 at the end of the 12000 hours of operation period measured in 2.5 m/s airflow at 13 deg. C
1.00 | Unit shall be high output, HVAC type germicidal UVC light sources, factory assembled and tested. Components shall include a high efficiency electronic power source, emitter sockets and emitter tube, all constructed to withstand HVAC environments.
1.00 | High efficiency electronic power sources shall be 230 V, 50Hz. They shall be UL listed to comply with UL standard 1995 and capable of igniting each emitter at temperatures from 1ºC - 70ºC in airflow velocities common to HVAC system. They shall be programmed start and equipped with RF, line noise suppression and end of emitter life circuit protection.
1.00 | Emitter tube shall be of the high output, hot cathode, T5 (15mm) diameter, and medium bi-pin type. They shall produce 95% of their energy at 254 nm and be capable of producing the specified output at airflow velocities common to HVAC systems and at temperatures of 1ºC - 70ºC. UVC Emitters shall produce no ozone or other secondary contamination and submission of report.
1.01 | 27000 CFM | 1.00 | Job | 100.00 | 118387.00 | 118387.00 | 104609.00 | 104609.00 | 127800.00 | 127800.00 | 104609.00 | VOLTAS LIMITED
1.02 | 48000 CFM | 2.00 | Job | 100.00 | 203084.00 | 406168.00 | 194812.00 | 389624.00 | 213900.00 | 427800.00 | 389624.00 | VOLTAS LIMITED
1.03 | 18000 CFM | 1.00 | Job | 100.00 | 100237.00 | 100237.00 | 82112.00 | 82112.00 | 94600.00 | 94600.00 | 82112.00 | VOLTAS LIMITED
1.04 | 28500 CFM | 1.00 | Job | 100.00 | 124437.00 | 124437.00 | 95188.00 | 95188.00 | 124400.00 | 124400.00 | 95188.00 | VOLTAS LIMITED
1.05 | 24000 CFM | 2.00 | Job | 100.00 | 106287.00 | 212574.00 | 89829.00 | 179658.00 | 118000.00 | 236000.00 | 179658.00 | VOLTAS LIMITED
1.06 | 15000 CFM | 4.00 | Job | 100.00 | 85113.00 | 340452.00 | 71391.00 | 285564.00 | 79100.00 | 316400.00 | 285564.00 | VOLTAS LIMITED
1.07 | 10000 CFM | 4.00 | Job | 100.00 | 65836.00 | 263344.00 | 45029.00 | 180116.00 | 55800.00 | 223200.00 | 180116.00 | VOLTAS LIMITED
1.08 | 30000 CFM | 1.00 | Job | 100.00 | 130486.00 | 130486.00 | 95188.00 | 95188.00 | 144800.00 | 144800.00 | 95188.00 | VOLTAS LIMITED
1.09 | 8000 CFM | 3.00 | Job | 100.00 | 53737.00 | 161211.00 | 85517.00 | 256551.00 | 55200.00 | 165600.00 | 161211.00 | Blue Star Ltd.
1.10 | 36000 CFM | 1.00 | Job | 100.00 | 154686.00 | 154686.00 | 194812.00 | 194812.00 | 156900.00 | 156900.00 | 154686.00 | Blue Star Ltd.
1.11 | 7500 CFM | 2.00 | Job | 100.00 | 50712.00 | 101424.00 | 66030.00 | 132060.00 | 42000.00 | 84000.00 | 84000.00 | COOL TECH ENGINEERS
1.12 | 11000 CFM | 1.00 | Job | 100.00 | 76038.00 | 76038.00 | 60797.00 | 60797.00 | 59300.00 | 59300.00 | 59300.00 | COOL TECH ENGINEERS
1.13 | 13000 CFM | 1.00 | Job | 100.00 | 81584.00 | 81584.00 | 60671.00 | 60671.00 | 79400.00 | 79400.00 | 60671.00 | VOLTAS LIMITED
1.14 | 3000 CFM | 1.00 | Job | 100.00 | 26512.00 | 26512.00 | 47595.00 | 47595.00 | 23900.00 | 23900.00 | 23900.00 | COOL TECH ENGINEERS
1.15 | 6000 CFM | 4.00 | Job | 100.00 | 41637.00 | 166548.00 | 49950.00 | 199800.00 | 57800.00 | 231200.00 | 166548.00 | Blue Star Ltd.
1.16 | 4000 CFM | 3.00 | Job | 100.00 | 33571.00 | 100713.00 | 47595.00 | 142785.00 | 29700.00 | 89100.00 | 89100.00 | COOL TECH ENGINEERS
1.17 | 65000 CFM | 1.00 | Job | 100.00 | 271649.00 | 271649.00 | 243514.00 | 243514.00 | 293300.00 | 293300.00 | 243514.00 | VOLTAS LIMITED
1.18 | 45000 CFM | 2.00 | Job | 100.00 | 190985.00 | 381970.00 | 194812.00 | 389624.00 | 200800.00 | 401600.00 | 381970.00 | Blue Star Ltd.
2.00 | Supply, laying and connection of 3C X 2.5 sqmm XLPE insulated copper conductor cable of 1100V grade conforming to IS : 7098 (Pt-1) 1988 from AHU to controller of the lamps. complete as required. | 250.00 | Mtr | 100.00 | 60.00 | 15000.00 | 189.00 | 47250.00 | 110.00 | 27500.00 | 15000.00 | Blue Star Ltd.
3.00 | Supplying and fixing of 40mm PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. | 250.00 | Mtr | 100.00 | 60.00 | 15000.00 | 65.00 | 16250.00 | 65.00 | 16250.00 | 15000.00 | Blue Star Ltd.
4.00 | Submission of air quality report (Indoor) from NABL certified lab with testing complete as required. Testing shall be done by collection of plate sampling method for total microbiat count in CFU/M3 of samples both pre and post installation of UVGI system. | 8.00 | Job | 100.00 | 3500.00 | 28000.00 | 15190.00 | 121520.00 | 6000.00 | 48000.00 | 28000.00 | Blue Star Ltd.
| Total in Figures |  |  |  |  | 3276420.00 |  | 3325288.00 |  | 3371050.00
Lowest Amount Quoted BY: Blue Star Ltd.(3276420.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Ultra Voilet Germicidal Irradiation (UVGI) unit in existing AHUs at Jaipur International Airport, Jaipur Tender ID: 2020_AAI_63998_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Blue Star Ltd. | 3276420.00 | L1
| 2 | VOLTAS LIMITED | 3325288.00 | L2
| 3 | COOL TECH ENGINEERS | 3371050.00 | L3