## BoQ1
Government eProcurement System Created By: Gaurav Mathur Created Date/Time: 24-Dec-2020 01:48 PM Tender Title: ARMO of various E and M installations at CA Airport, Bikaner (2020-22) Tender ID: 2020_AAI_64001_1
Tender Inviting Authority: Asstt. Gen. Manager (Engg-E), Jaipur Airport, Airport - 302029
Name of Work: ARMO of various E&M installations at Civil Airport, Bikaner (2020-22).
Contract No: AAI/BKN/ENGG(E)/ARMO/BKN-12/2020-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Trishul Enterprises(GSTN-07AQOPS2079M1Z0) |  | NATIONAL SAFETY ENGINEERS(GSTN-07ADCPT3599E3Z6) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | Subham Electrical(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation and Maintenance of Electrical & Mechanical installation by deploying following minimum manpower in shift duty of 8 hrs. on all days including Sunday and Holiday (Excluding weekly off day) and attending the breakdown and preventive maintenance as per special condition of contract. Skilled Manpower - 06 Nos.
1.10 | First Year | 12.00 | Month | 100.00 | 120000.00 | 1440000.00 | 123700.00 | 1484400.00 | 131636.00 | 1579632.00 | 110292.00 | 1323504.00 | 1323504.00 | Subham Electrical
1.20 | Second Year | 12.00 | Month | 100.00 | 126000.00 | 1512000.00 | 123700.00 | 1484400.00 | 131636.00 | 1579632.00 | 111540.00 | 1338480.00 | 1338480.00 | Subham Electrical
2.00 | Operation and Maintenance of Electrical & Mechanical installation by deploying following minimum manpower in shift duty of 8 hrs. on all days including Sunday and Holiday (Excluding weekly off day) and attending the breakdown and preventive maintenance as per special condition of contract. Semi Skilled Manpower - 02 Nos.
2.10 | First Year | 12.00 | Month | 100.00 | 34000.00 | 408000.00 | 35000.00 | 420000.00 | 45022.00 | 540264.00 | 31356.00 | 376272.00 | 376272.00 | Subham Electrical
2.20 | Second Year | 12.00 | Month | 100.00 | 34000.00 | 408000.00 | 35000.00 | 420000.00 | 47023.00 | 564276.00 | 31356.00 | 376272.00 | 376272.00 | Subham Electrical
3.00 | Operation and Maintenance of Electrical & Mechanical installation by deploying following minimum manpower in shift duty of 8 hrs. on all days including Sunday and Holiday (Excluding weekly off day) and attending the breakdown and preventive maintenance as per special condition of contract. Un Skilled Manpower - 05 Nos.
3.10 | First Year | 12.00 | Month | 100.00 | 75000.00 | 900000.00 | 77800.00 | 933600.00 | 99000.00 | 1188000.00 | 69420.00 | 833040.00 | 833040.00 | Subham Electrical
3.20 | Second Year | 12.00 | Month | 100.00 | 75000.00 | 900000.00 | 77800.00 | 933600.00 | 99000.00 | 1188000.00 | 68420.00 | 821040.00 | 821040.00 | Subham Electrical
4.00 | Comprehensive maintenance of 1.5 /2.0 Ton split type airconditioner unit including replacement of defective compressor and other parts as per requirement for ONE UNIT FOR ONE MONTH.
4.10 | 1st Year | 149.00 | JOB | 100.00 | 500.00 | 74500.00 | 250.00 | 37250.00 | 140.00 | 20860.00 | 400.00 | 59600.00 | 20860.00 | Techno Electricals
4.20 | 2nd Year | 204.00 | JOB | 100.00 | 500.00 | 102000.00 | 260.00 | 53040.00 | 140.00 | 28560.00 | 400.00 | 81600.00 | 28560.00 | Techno Electricals
5.00 | Comprehensive maintenance of 3.0 Ton tower type split airconditioner including replacement of defective compressor and other parts as per requirement for ONE UNIT FOR ONE MONTH.
5.10 | 1st Year | 24.00 | JOB | 100.00 | 700.00 | 16800.00 | 400.00 | 9600.00 | 150.00 | 3600.00 | 1100.00 | 26400.00 | 3600.00 | Techno Electricals
5.20 | 2nd Year | 24.00 | JOB | 100.00 | 700.00 | 16800.00 | 420.00 | 10080.00 | 150.00 | 3600.00 | 1100.00 | 26400.00 | 3600.00 | Techno Electricals
6.00 | Comprehensive maintenance of 4.0 Ton Cassette type split airconditioner including replacement of defective compressor and other parts as per requirement for ONE UNIT FOR ONE MONTH.
6.10 | 1st Year | 72.00 | JOB | 100.00 | 1000.00 | 72000.00 | 500.00 | 36000.00 | 150.00 | 10800.00 | 1500.00 | 108000.00 | 10800.00 | Techno Electricals
6.20 | 2nd Year | 72.00 | JOB | 100.00 | 1000.00 | 72000.00 | 550.00 | 39600.00 | 150.00 | 10800.00 | 1600.00 | 115200.00 | 10800.00 | Techno Electricals
7.00 | Comprehensive maintenance of 4.0 Ton Cassette type split airconditioner (Hot&Cool) including replacement of defective compressor and other parts as per requirement for ONE UNIT FOR ONE MONTH.
7.10 | 1st Year | 104.00 | JOB | 100.00 | 1000.00 | 104000.00 | 600.00 | 62400.00 | 150.00 | 15600.00 | 1500.00 | 156000.00 | 15600.00 | Techno Electricals
7.20 | 2nd Year | 104.00 | JOB | 100.00 | 1000.00 | 104000.00 | 650.00 | 67600.00 | 150.00 | 15600.00 | 1500.00 | 156000.00 | 15600.00 | Techno Electricals
8.00 | Comprehensive maintenance of water cooler having capacity of 40/80 Ltr. including replacement of defective compressor and other parts as per requirement for ONE UNIT FOR ONE MONTH.
8.10 | 1st Year | 36.00 | JOB | 100.00 | 400.00 | 14400.00 | 200.00 | 7200.00 | 250.00 | 9000.00 | 1000.00 | 36000.00 | 7200.00 | NATIONAL SAFETY ENGINEERS
8.20 | 2nd Year | 36.00 | JOB | 100.00 | 400.00 | 14400.00 | 220.00 | 7920.00 | 250.00 | 9000.00 | 1100.00 | 39600.00 | 7920.00 | NATIONAL SAFETY ENGINEERS
9.00 | Comprehensive maintenance contract of Reverse Osmosis Unit of 25 LPH capacity including replacement of parts as per requirement for ONE UNIT FOR ONE MONTH.
9.10 | 1st Year | 36.00 | JOB | 100.00 | 500.00 | 18000.00 | 500.00 | 18000.00 | 300.00 | 10800.00 | 3000.00 | 108000.00 | 10800.00 | Techno Electricals
9.20 | 2nd Year | 36.00 | JOB | 100.00 | 500.00 | 18000.00 | 550.00 | 19800.00 | 300.00 | 10800.00 | 3000.00 | 108000.00 | 10800.00 | Techno Electricals
10.00 | Provision of Bi-monthly visit of specialized agency for Maintenance/Servicing of 4 Zone main Fire Control panel (conventional type) with 24 volts maintenance free batteries of 24 hour back up Capacity.Complete as required. Any spares if required will provided by AAI.
10.01 | 1st Year | 6.00 | JOB | 100.00 | 1500.00 | 9000.00 | 2000.00 | 12000.00 | 4000.00 | 24000.00 | 3000.00 | 18000.00 | 9000.00 | Trishul Enterprises
10.02 | 2nd Year | 6.00 | JOB | 100.00 | 1500.00 | 9000.00 | 2200.00 | 13200.00 | 4000.00 | 24000.00 | 3000.00 | 18000.00 | 9000.00 | Trishul Enterprises
11.00 | Provision of Bi-monthly visit of specialized agency for Maintenance/Servicing of Fire Fighting System comprising of 2 monoblock pump sets ,hydrant valves,first aid hose reel. Fire hose cabinet etc.Complete as required. Any spares if required will provided by AAI.
11.01 | 1st Year | 6.00 | JOB | 100.00 | 1500.00 | 9000.00 | 1500.00 | 9000.00 | 4000.00 | 24000.00 | 4000.00 | 24000.00 | 9000.00 | Trishul Enterprises, NATIONAL SAFETY ENGINEERS
11.02 | 2nd Year | 6.00 | JOB | 100.00 | 1500.00 | 9000.00 | 1500.00 | 9000.00 | 4000.00 | 24000.00 | 4000.00 | 24000.00 | 9000.00 | Trishul Enterprises, NATIONAL SAFETY ENGINEERS
12.00 | Provision of Checking of 0.5 kg & 5 kg capacity of ABC type fire Extinguishers(10 each) on quaterly basis.
12.01 | 1st Year | 4.00 | JOB | 100.00 | 500.00 | 2000.00 | 100.00 | 400.00 | 500.00 | 2000.00 | 500.00 | 2000.00 | 400.00 | NATIONAL SAFETY ENGINEERS
12.02 | 2nd Year | 4.00 | JOB | 100.00 | 500.00 | 2000.00 | 100.00 | 400.00 | 500.00 | 2000.00 | 500.00 | 2000.00 | 400.00 | NATIONAL SAFETY ENGINEERS
13.00 | Provision of Refilling the 0.5 kg ABC type fire Extinguishers . Complete as required.
13.01 | 1st Year | 10.00 | Each | 100.00 | 500.00 | 5000.00 | 200.00 | 2000.00 | 1000.00 | 10000.00 | 800.00 | 8000.00 | 2000.00 | NATIONAL SAFETY ENGINEERS
13.02 | 2nd Year | 10.00 | Each | 100.00 | 500.00 | 5000.00 | 220.00 | 2200.00 | 1000.00 | 10000.00 | 800.00 | 8000.00 | 2200.00 | NATIONAL SAFETY ENGINEERS
14.00 | Provision of Refilling the 5 kg ABC type fire Extinguishers . Complete as required.
14.01 | 1st Year | 10.00 | Each | 100.00 | 500.00 | 5000.00 | 600.00 | 6000.00 | 1000.00 | 10000.00 | 1500.00 | 15000.00 | 5000.00 | Trishul Enterprises
14.02 | 2nd Year | 10.00 | Each | 100.00 | 500.00 | 5000.00 | 660.00 | 6600.00 | 1000.00 | 10000.00 | 1600.00 | 16000.00 | 5000.00 | Trishul Enterprises
15.00 | Complete servicing and maintenance of Trolley gate by OEM/ specialized agency complete as required. | 2.00 | Each | 100.00 | 8000.00 | 16000.00 | 120000.00 | 240000.00 | 12500.00 | 25000.00 | 5000.00 | 10000.00 | 10000.00 | Subham Electrical
16.00 | Complete servicing and comprehensive maintenance of Automatic sliding doors of Dorma make from OEM/ authorized agency including OEM visits complete as required.
16.01 | 1st Year | 4.00 | Each | 100.00 | 12500.00 | 50000.00 | 30000.00 | 120000.00 | 15000.00 | 60000.00 | 6000.00 | 24000.00 | 24000.00 | Subham Electrical
16.02 | 2nd Year | 4.00 | Each | 100.00 | 12500.00 | 50000.00 | 33000.00 | 132000.00 | 15000.00 | 60000.00 | 7000.00 | 28000.00 | 28000.00 | Subham Electrical
17.00 | Supply & replacement of B-Check kit (fuel filter, oil filter etc.) in existing 125 KVA (Kirloskar Make DG Set).
17.01 | 1st Year | 2.00 | JOB | 100.00 | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 4000.00 | 8000.00 | 1700.00 | 3400.00 | 3400.00 | Subham Electrical
17.02 | 2nd Year | 2.00 | JOB | 100.00 | 5000.00 | 10000.00 | 5500.00 | 11000.00 | 4500.00 | 9000.00 | 1700.00 | 3400.00 | 3400.00 | Subham Electrical
18.00 | Supply of (Grade 15W/40) Kirloskar recommended mobil oil for D.G. set application. | 80.00 | Ltr | 100.00 | 300.00 | 24000.00 | 200.00 | 16000.00 | 375.00 | 30000.00 | 380.00 | 30400.00 | 16000.00 | NATIONAL SAFETY ENGINEERS
19.00 | Supply of Kirloskar recommended Coolant for D.G. set application. | 50.00 | Ltr | 10.00 | 250.00 | 12500.00 | 140.00 | 7000.00 | 55.00 | 2750.00 | 180.00 | 9000.00 | 2750.00 | Techno Electricals
20.00 | Supply & replacement of B-Check kit (fuel filter, oil filter etc.) in existing 320 KVA (Greaves Make DG Set). | 4.00 | Job | 100.00 | 4000.00 | 16000.00 | 10000.00 | 40000.00 | 7000.00 | 28000.00 | 3500.00 | 14000.00 | 14000.00 | Subham Electrical
21.00 | Dehydration of Transformer oil at site i/c transportation of dehydration machine at site and submisstion of report as required. | 600.00 | Ltr | 100.00 | 20.00 | 12000.00 | 10.00 | 6000.00 | 12.00 | 7200.00 | 65.00 | 39000.00 | 6000.00 | NATIONAL SAFETY ENGINEERS
22.00 | Collecting transformer oil sample and testing for di-electric strength (BDV value) of oil from authorised testing laboratory and submission of test report as required. | 6.00 | Each | 100.00 | 3000.00 | 18000.00 | 1500.00 | 9000.00 | 2000.00 | 12000.00 | 2500.00 | 15000.00 | 9000.00 | NATIONAL SAFETY ENGINEERS
23.00 | Supply and Top Up of Transformer Oil in the Transformer. Complete as required. | 50.00 | Ltr | 100.00 | 250.00 | 12500.00 | 150.00 | 7500.00 | 155.00 | 7750.00 | 250.00 | 12500.00 | 7500.00 | NATIONAL SAFETY ENGINEERS
24.00 | Inspection, reparing, serviceing, overhauling and testing of ABB make SF6 breakers (11 KV capacity) form the manufacturer or from the authorised service dealer of manufacturer. Cost or spare (if required) shall be paid extra by AAI on submission of purchase bill from OEM/authorised dealer. | 2.00 | Each | 100.00 | 4000.00 | 8000.00 | 6000.00 | 12000.00 | 5000.00 | 10000.00 | 10000.00 | 20000.00 | 8000.00 | Trishul Enterprises
25.00 | Complete servicing/Maintenance of Elecronic Weighing Machine of capacity 150 kg from OEM/ Authorised Sevice centre of Legal Metrology Department including Calibration/Stamping of Weighing Machine from State Legal Metrology Department. Complete as required. | 4.00 | Each | 100.00 | 3000.00 | 12000.00 | 1200.00 | 4800.00 | 9000.00 | 36000.00 | 1500.00 | 6000.00 | 4800.00 | NATIONAL SAFETY ENGINEERS
26.00 | Painting of electrical panel / pole with synthetic enamel paint with two coats of appropriate colour i/c numbering on poles as per satisfaction of engineer in charge as required. | 10.00 | Sq. Mtr. | 100.00 | 200.00 | 2000.00 | 100.00 | 1000.00 | 200.00 | 2000.00 | 180.00 | 1800.00 | 1000.00 | NATIONAL SAFETY ENGINEERS
27.00 | Rewinding of Exhaust Fan (up to 450 mm)/Ceiling Fan/ Cooler Motor etc. complete as required. | 5.00 | Nos. | 100.00 | 1000.00 | 5000.00 | 550.00 | 2750.00 | 300.00 | 1500.00 | 1500.00 | 7500.00 | 1500.00 | Techno Electricals
28.00 | Repairing of Hand drier including replacement of heating element / rewinding of blower etc. complete as required. | 2.00 | Nos. | 100.00 | 1000.00 | 2000.00 | 1000.00 | 2000.00 | 500.00 | 1000.00 | 2000.00 | 4000.00 | 1000.00 | Techno Electricals
29.00 | Transportation charges of diesel for DG sets from nearest diesel outlet to substation complete as required. | 6500.00 | Ltr | 100.00 | 2.00 | 13000.00 | 3.00 | 19500.00 | 2.00 | 13000.00 | 10.00 | 65000.00 | 13000.00 | Trishul Enterprises, Techno Electricals
30.00 | Supply of PVC tape roll | 50.00 | Each | 100.00 | 10.00 | 500.00 | 11.00 | 550.00 | 20.00 | 1000.00 | 50.00 | 2500.00 | 500.00 | Trishul Enterprises
31.00 | Supply of single core 1.5 sqmm copper flexible wire. (100 mtr roll) | 1.00 | Each | 100.00 | 1503.00 | 1503.00 | 1200.00 | 1200.00 | 1200.00 | 1200.00 | 1800.00 | 1800.00 | 1200.00 | NATIONAL SAFETY ENGINEERS, Techno Electricals
32.00 | Supply of single core 2.5 sqmm copper flexible wire. (100 mtr roll) | 1.00 | Each | 100.00 | 2500.00 | 2500.00 | 2000.00 | 2000.00 | 2000.00 | 2000.00 | 2800.00 | 2800.00 | 2000.00 | NATIONAL SAFETY ENGINEERS, Techno Electricals
33.00 | Supply of 3 x 1.5 sqmm copper flexible wire. (100 mtr roll) | 1.00 | Each | 100.00 | 4000.00 | 4000.00 | 3000.00 | 3000.00 | 9000.00 | 9000.00 | 4500.00 | 4500.00 | 3000.00 | NATIONAL SAFETY ENGINEERS
34.00 | Supply of 3 x 2.5 sqmm copper flexible wire. (100 mtr roll) | 1.00 | Each | 100.00 | 5000.00 | 5000.00 | 5500.00 | 5500.00 | 10000.00 | 10000.00 | 5000.00 | 5000.00 | 5000.00 | Trishul Enterprises, Subham Electrical
35.00 | Supply of 4x 4 sqmm copper flexible wire. (100 mtr roll) | 1.00 | Each | 100.00 | 8000.00 | 8000.00 | 10000.00 | 10000.00 | 12000.00 | 12000.00 | 8900.00 | 8900.00 | 8000.00 | Trishul Enterprises
36.00 | Supply of 5/6A Plug top. | 5.00 | Each | 100.00 | 150.00 | 750.00 | 30.00 | 150.00 | 35.00 | 175.00 | 20.00 | 100.00 | 100.00 | Subham Electrical
37.00 | Supply of 15 A Plug top. | 10.00 | Each | 100.00 | 250.00 | 2500.00 | 50.00 | 500.00 | 65.00 | 650.00 | 70.00 | 700.00 | 500.00 | NATIONAL SAFETY ENGINEERS
38.00 | Supply of Universal switch socket combined unit with box. | 5.00 | Each | 100.00 | 250.00 | 1250.00 | 130.00 | 650.00 | 150.00 | 750.00 | 50.00 | 250.00 | 250.00 | Subham Electrical
39.00 | Supply of 5/6 Amp Extention boards (4+1). | 5.00 | Each | 100.00 | 850.00 | 4250.00 | 400.00 | 2000.00 | 750.00 | 3750.00 | 50.00 | 250.00 | 250.00 | Subham Electrical
40.00 | Supply of 10 Amp Switch Modular Type( Make - MK). | 10.00 | Each | 10.00 | 100.00 | 1000.00 | 80.00 | 800.00 | 75.00 | 750.00 | 30.00 | 300.00 | 300.00 | Subham Electrical
41.00 | Supply of 10 Amp Socket Modular Type( Make - MK). | 5.00 | Each | 100.00 | 150.00 | 750.00 | 90.00 | 450.00 | 75.00 | 375.00 | 50.00 | 250.00 | 250.00 | Subham Electrical
42.00 | Supply of 15/16 A Switch Modular Type( Make - MK). | 5.00 | Each | 100.00 | 180.00 | 900.00 | 115.00 | 575.00 | 75.00 | 375.00 | 60.00 | 300.00 | 300.00 | Subham Electrical
43.00 | Supply of 15/16 A Socket Modular Type( Make - MK). | 5.00 | Each | 10.00 | 220.00 | 1100.00 | 130.00 | 650.00 | 75.00 | 375.00 | 120.00 | 600.00 | 375.00 | Techno Electricals
44.00 | Supply of 12V,180 AH SMF Batteries with replacement of the old Batteries. Complete as required | 2.00 | Each | 100.00 | 12000.00 | 24000.00 | 15000.00 | 30000.00 | 14525.00 | 29050.00 | 14500.00 | 29000.00 | 24000.00 | Trishul Enterprises
45.00 | CPWD / DSR-2018 (E&M) | 100000.00 | One | 100.00 | .99 | 99000.00 | .80 | 80000.00 | .75 | 75000.00 | .50 | 50000.00 | 50000.00 | Subham Electrical
| Total in Figures |  |  |  |  | 6684903.00 |  | 6883865.00 |  | 7388474.00 |  | 6624658.00
Lowest Amount Quoted BY: Subham Electrical(6624658.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of various E and M installations at CA Airport, Bikaner (2020-22) Tender ID: 2020_AAI_64001_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Subham Electrical | 6624658.00 | L1
| 2 | Trishul Enterprises | 6684903.00 | L2
| 3 | NATIONAL SAFETY ENGINEERS | 6883865.00 | L3
| 4 | Techno Electricals | 7388474.00 | L4