## BoQ1
Government eProcurement System Created By: KHEMRAJ MEENA Created Date/Time: 22-Dec-2020 04:57 PM Tender Title: Misc. Civil works as per DGCA BCAS requirements at Kishangarh Airport Tender ID: 2020_AAI_64038_1
Tender Inviting Authority: Sr. Manager (Engg.-C), Kishangarh Airport, Ajmer
Name of work :- Misc. Civil works as per DGCA/BCAS requirements at Kishangarh Airport
Contract No: 9001297032
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S M L BROTHER(GSTN-02ABWPM6184GIZA) |  | M/S M.K.Constructions(GSTN-08ABOPG3127H1ZP) |  | Lok Shail Enterprises(GSTN-08ACXPK9891L1ZA) |  | Proficio Engineering And Construction Pvt. Ltd.(GSTN-07AAHCP4985D2Z5) |  | SHRINATHJI INFRA ENGINEERS PRIVATE LIMITED(GSTN-NA) |  | PRADHAN ENTERPRISES(GSTN-NA) |  | BUILDTECH CONSTRUCTIONS(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil | 115.00 | Cum | 100.00 | 150.00 | 17250.00 | 180.00 | 20700.00 | 172.00 | 19780.00 | 60.00 | 6900.00 | 125.00 | 14375.00 | 50.00 | 5750.00 | 160.00 | 18400.00 | 5750.00 | PRADHAN ENTERPRISES
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. All kinds of soil | 125.00 | Cum | 101.00 | 150.00 | 18750.00 | 150.00 | 18750.00 | 127.00 | 15875.00 | 68.00 | 8500.00 | 115.00 | 14375.00 | 50.00 | 6250.00 | 150.00 | 18750.00 | 6250.00 | PRADHAN ENTERPRISES
3.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m | 115.00 | Cum | 102.00 | 100.00 | 11500.00 | 80.00 | 9200.00 | 60.00 | 6900.00 | 45.00 | 5175.00 | 70.00 | 8050.00 | 50.00 | 5750.00 | 100.00 | 11500.00 | 5175.00 | Proficio Engineering And Construction Pvt. Ltd.
4.00 | Supplying and filling in plinth with fine sand under floors, including watering, ramming, consolidating and dressing complete. | 10.00 | Cum | 103.00 | 800.00 | 8000.00 | 1500.00 | 15000.00 | 1500.00 | 15000.00 | 575.00 | 5750.00 | 900.00 | 9000.00 | 500.00 | 5000.00 | 150.00 | 1500.00 | 1500.00 | BUILDTECH CONSTRUCTIONS
5.00 | Supplying and stacking at site.: Good earth | 225.00 | Cum | 104.00 | 225.00 | 50625.00 | 300.00 | 67500.00 | 250.00 | 56250.00 | 270.00 | 60750.00 | 400.00 | 90000.00 | 100.00 | 22500.00 | 200.00 | 45000.00 | 22500.00 | PRADHAN ENTERPRISES
6.00 | Preparation and consolidation of sub grade with power road roller of 8 to 12 tonne capacity after excavating earth to an average of 22.5 cm depth, dressing to camber and consolidating with road roller including making good the undulations etc. and re-rolling the sub grade and disposal of surplus earthwith lead upto 50 metres. | 400.00 | Sqm | 105.00 | 100.00 | 40000.00 | 80.00 | 32000.00 | 50.00 | 20000.00 | 135.00 | 54000.00 | 90.00 | 36000.00 | 30.00 | 12000.00 | 50.00 | 20000.00 | 12000.00 | PRADHAN ENTERPRISES
7.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size) | 145.00 | Cum | 106.00 | 3800.00 | 551000.00 | 3400.00 | 493000.00 | 3200.00 | 464000.00 | 3100.00 | 449500.00 | 3300.00 | 478500.00 | 2500.00 | 362500.00 | 2800.00 | 406000.00 | 362500.00 | PRADHAN ENTERPRISES
8.00 | Centering and shuttering including strutting, propping etc. and emoval of form work for : Foundations, footings, bases for columns | 45.00 | Sqm | 107.00 | 250.00 | 11250.00 | 200.00 | 9000.00 | 200.00 | 9000.00 | 300.00 | 13500.00 | 275.00 | 12375.00 | 200.00 | 9000.00 | 200.00 | 9000.00 | 9000.00 | PRADHAN ENTERPRISES, M/S M.K.Constructions, Lok Shail Enterprises, BUILDTECH CONSTRUCTIONS
9.00 | Centering and shuttering including strutting, propping etc. and removal of form for: Lintels, beams, plinth beams, girders, bressumers and cantilevers | 85.00 | Sqm | 108.00 | 250.00 | 21250.00 | 375.00 | 31875.00 | 300.00 | 25500.00 | 375.00 | 31875.00 | 325.00 | 27625.00 | 200.00 | 17000.00 | 200.00 | 17000.00 | 17000.00 | PRADHAN ENTERPRISES, BUILDTECH CONSTRUCTIONS
10.00 | Centering and shuttering including strutting, propping etc. and removal of form for: Suspended floors, roofs, landings, balconies and access platform. with water proof ply 12mm thick. | 100.00 | Sqm | 109.00 | 250.00 | 25000.00 | 475.00 | 47500.00 | 300.00 | 30000.00 | 375.00 | 37500.00 | 325.00 | 32500.00 | 300.00 | 30000.00 | 250.00 | 25000.00 | 25000.00 | M/S M L BROTHER, BUILDTECH CONSTRUCTIONS
11.00 | Steel reinforcement for R.C.C work including straightening, cutting, bending, placing in position and bindling all complete upto plinth level Thermo-Mechincal Treated bars (Fe-500 grade) | 570.00 | Kg | 110.00 | 75.00 | 42750.00 | 70.00 | 39900.00 | 76.00 | 43320.00 | 58.00 | 33060.00 | 70.00 | 39900.00 | 50.00 | 28500.00 | 70.00 | 39900.00 | 28500.00 | PRADHAN ENTERPRISES
12.00 | Steel reinforcement for R.C.C work including straightening, cutting, bending, placing in position and bindling all complete above plinth up to floor V Level. Thermo-Mechanically Treated bars of grade Fe-500D or more | 2210.00 | Kg | 111.00 | 75.00 | 165750.00 | 70.00 | 154700.00 | 76.00 | 167960.00 | 58.00 | 128180.00 | 70.00 | 154700.00 | 50.00 | 110500.00 | 70.00 | 154700.00 | 110500.00 | PRADHAN ENTERPRISES
13.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size) | 12.00 | Cum | 112.00 | 5500.00 | 66000.00 | 5000.00 | 60000.00 | 6000.00 | 72000.00 | 4200.00 | 50400.00 | 4800.00 | 57600.00 | 4500.00 | 54000.00 | 4000.00 | 48000.00 | 48000.00 | BUILDTECH CONSTRUCTIONS
14.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size) | 25.00 | Cum | 113.00 | 5500.00 | 137500.00 | 5500.00 | 137500.00 | 6000.00 | 150000.00 | 4200.00 | 105000.00 | 5000.00 | 125000.00 | 5000.00 | 125000.00 | 4100.00 | 102500.00 | 102500.00 | BUILDTECH CONSTRUCTIONS
15.00 | Brick work with common burnt clay F.P.S (non modular) bricks of class designation 7.5 in foundation and plinth in :- Cement mortar 1:6 (1 cement :6 coarse sand) | 70.00 | Cum | 114.00 | 4000.00 | 280000.00 | 4500.00 | 315000.00 | 5000.00 | 350000.00 | 4000.00 | 280000.00 | 5000.00 | 350000.00 | 3000.00 | 210000.00 | 3800.00 | 266000.00 | 210000.00 | PRADHAN ENTERPRISES
16.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) | 55.00 | Cum | 115.00 | 4300.00 | 236500.00 | 5500.00 | 302500.00 | 5250.00 | 288750.00 | 4000.00 | 220000.00 | 5200.00 | 286000.00 | 3000.00 | 165000.00 | 4100.00 | 225500.00 | 165000.00 | PRADHAN ENTERPRISES
17.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in : cement mortar 1:4 (1 cement : 4 coarse sand) | 35.00 | Sqm | 116.00 | 600.00 | 21000.00 | 550.00 | 19250.00 | 700.00 | 24500.00 | 500.00 | 17500.00 | 630.00 | 22050.00 | 550.00 | 19250.00 | 500.00 | 17500.00 | 17500.00 | BUILDTECH CONSTRUCTIONS, Proficio Engineering And Construction Pvt. Ltd.
18.00 | Extra for providing and placing in position 2 Nos 6mm dia. M.S. bars at every third course of half brick masonry. | 35.00 | Sqm | 117.00 | 200.00 | 7000.00 | 75.00 | 2625.00 | 94.00 | 3290.00 | 55.00 | 1925.00 | 70.00 | 2450.00 | 30.00 | 1050.00 | 40.00 | 1400.00 | 1050.00 | PRADHAN ENTERPRISES
19.00 | 12 mm cement plaster of mix : 1:6 (1 cement : 6 coarse sand) | 255.00 | Sqm | 118.00 | 160.00 | 40800.00 | 200.00 | 51000.00 | 220.00 | 56100.00 | 150.00 | 38250.00 | 180.00 | 45900.00 | 200.00 | 51000.00 | 180.00 | 45900.00 | 38250.00 | Proficio Engineering And Construction Pvt. Ltd.
20.00 | 6 mm cement plaster of mix : 1:3 (1 cement: 3 fine sand) | 100.00 | Sqm | 119.00 | 150.00 | 15000.00 | 180.00 | 18000.00 | 150.00 | 15000.00 | 135.00 | 13500.00 | 180.00 | 18000.00 | 170.00 | 17000.00 | 180.00 | 18000.00 | 13500.00 | Proficio Engineering And Construction Pvt. Ltd.
21.00 | 15mm Cement plaster on the rough side of single or half brick wall or cement concrete surface of mix 1:6 | 285.00 | Sqm | 120.00 | 180.00 | 51300.00 | 200.00 | 57000.00 | 250.00 | 71250.00 | 160.00 | 45600.00 | 180.00 | 51300.00 | 200.00 | 57000.00 | 180.00 | 51300.00 | 45600.00 | Proficio Engineering And Construction Pvt. Ltd.
22.00 | Providing gola 75x75 mm in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 stone aggregate 10 mm and down gauge), including finishing with cement mortar 1:3 (1 cement : 3 fine sand) as per standard design : In 75x75 mm deep chase | 80.00 | meter | 121.00 | 150.00 | 12000.00 | 90.00 | 7200.00 | 110.00 | 8800.00 | 40.00 | 3200.00 | 200.00 | 16000.00 | 20.00 | 1600.00 | 83.00 | 6640.00 | 1600.00 | PRADHAN ENTERPRISES
23.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 500.00 | Sqm | 122.00 | 90.00 | 45000.00 | 100.00 | 50000.00 | 75.00 | 37500.00 | 60.00 | 30000.00 | 105.00 | 52500.00 | 50.00 | 25000.00 | 80.00 | 40000.00 | 25000.00 | PRADHAN ENTERPRISES
24.00 | Chequerred precast cement concrete tiles 22 mm thick in footpath & courtyard, jointed with neat cement slurry mixed with pigment to match the shade of tiles, including rubbing and cleaning etc. complete, on 20 mm thick bed of cement mortar 1:4 (1 cement: 4 coarse sand). Light shade pigment using white cement | 370.00 | Sqm | 123.00 | 950.00 | 351500.00 | 800.00 | 296000.00 | 700.00 | 259000.00 | 450.00 | 166500.00 | 600.00 | 222000.00 | 550.00 | 203500.00 | 425.00 | 157250.00 | 157250.00 | BUILDTECH CONSTRUCTIONS
25.00 | Providing precast cement concrete Jali 1:2:4 (1 cement : 2 coarse sand(zone-III) : 4 graded stone aggregate 6mm nominal size ), reinforced with 1.6 mm dia mild steel wire, including centering and shuttering, roughening cleaning, fixing and finishing in cement mortar 1:3 (1 cement: 3 fine sand) etc. complete, excluding plastering of the jambs, sills and soffits. 40mm thick | 20.00 | Sqm | 124.00 | 950.00 | 19000.00 | 800.00 | 16000.00 | 900.00 | 18000.00 | 475.00 | 9500.00 | 600.00 | 12000.00 | 500.00 | 10000.00 | 227.00 | 4540.00 | 4540.00 | BUILDTECH CONSTRUCTIONS
26.00 | Random rubble masonry with hard stone in foundation and plinth including levelling up with cement concrete 1:6:12 (1 cement : 6 coarse sand : 12 graded stone aggregate 20 mm nominal size) upto plinth level with :Cement mortar 1:6 (1 cement : 6 coarse sand) | 15.00 | Cum | 125.00 | 4500.00 | 67500.00 | 3300.00 | 49500.00 | 4000.00 | 60000.00 | 3000.00 | 45000.00 | 3380.00 | 50700.00 | 3000.00 | 45000.00 | 2500.00 | 37500.00 | 37500.00 | BUILDTECH CONSTRUCTIONS
27.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan) with 100mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device(handle lever) conforming to IS : 7231, with all fittings and fixtures complete including cutting and making good the walls and floors wherever required : White Vitreous china Orissa pattern W.C. pan of size 500x440mm with integral type foot rests. | 3.00 | each | 126.00 | 4000.00 | 12000.00 | 4000.00 | 12000.00 | 4000.00 | 12000.00 | 2000.00 | 6000.00 | 3000.00 | 9000.00 | 3000.00 | 9000.00 | 1523.00 | 4569.00 | 4569.00 | BUILDTECH CONSTRUCTIONS
28.00 | Providing and fixing wash basin with C.I. brackets, 15 mm dia CP Brass single hole basin mixer of approved quality and make, including painting of fittings and brackets, cutting and making good the walls wherever required:- a) White Vitreous China Wash basin size 550x400 mm with a 15 mm CP Brass single hole basin mixer | 9.00 | each | 127.00 | 2500.00 | 22500.00 | 3700.00 | 33300.00 | 4000.00 | 36000.00 | 1750.00 | 15750.00 | 3000.00 | 27000.00 | 2500.00 | 22500.00 | 1650.00 | 14850.00 | 14850.00 | BUILDTECH CONSTRUCTIONS
29.00 | Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms. 15 mm nominal bore | 9.00 | each | 128.00 | 550.00 | 4950.00 | 600.00 | 5400.00 | 500.00 | 4500.00 | 700.00 | 6300.00 | 1000.00 | 9000.00 | 500.00 | 4500.00 | 242.00 | 2178.00 | 2178.00 | BUILDTECH CONSTRUCTIONS
30.00 | Providing and fixing C.P Brass bib cock of approved quality confirming to IS :8931 15 mm nominal bore. | 9.00 | each | 129.00 | 550.00 | 4950.00 | 450.00 | 4050.00 | 400.00 | 3600.00 | 500.00 | 4500.00 | 500.00 | 4500.00 | 350.00 | 3150.00 | 242.00 | 2178.00 | 2178.00 | BUILDTECH CONSTRUCTIONS
31.00 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | 9.00 | each | 130.00 | 550.00 | 4950.00 | 850.00 | 7650.00 | 600.00 | 5400.00 | 850.00 | 7650.00 | 1000.00 | 9000.00 | 700.00 | 6300.00 | 350.00 | 3150.00 | 3150.00 | BUILDTECH CONSTRUCTIONS
32.00 | Providing and fixing stainless steel "cockroach" trap of approved make and quality including cost of cutting chases and making good the same etc. all complete as per direction of Engineer in Charge. 100 mm dia | 16.00 | each | 131.00 | 250.00 | 4000.00 | 400.00 | 6400.00 | 250.00 | 4000.00 | 350.00 | 5600.00 | 400.00 | 6400.00 | 300.00 | 4800.00 | 50.00 | 800.00 | 800.00 | BUILDTECH CONSTRUCTIONS
33.00 | Providing and fixing SS grating of approved make and quallity as per direction of engineering -in charge. 100 mm nominal dia | 27.00 | each | 132.00 | 50.00 | 1350.00 | 200.00 | 5400.00 | 250.00 | 6750.00 | 350.00 | 9450.00 | 100.00 | 2700.00 | 200.00 | 5400.00 | 50.00 | 1350.00 | 1350.00 | M/S M L BROTHER, BUILDTECH CONSTRUCTIONS
34.00 | Providing and fixing floor mounted, white vitreous china single piece, double traps syphonic water closet of approved brand/make, shape, size and pattern including integrated white vitreous china cistern of capacity 10 litres with dual flushing system, including all fittings and fixtures with seat cover, cistern fittings, nuts, bolts and gasket etc including making connection with the existing P/S trap, complete in all respect as per directions of Engineer-in-Charge. | 6.00 | each | 133.00 | 3000.00 | 18000.00 | 10000.00 | 60000.00 | 9000.00 | 54000.00 | 6000.00 | 36000.00 | 12750.00 | 76500.00 | 7000.00 | 42000.00 | 10000.00 | 60000.00 | 18000.00 | M/S M L BROTHER
35.00 | Providing and fixing stone slab with table rubbed, edges rounded and polished, of size 75x50 cm deep and 1.8 cm thick, fixed in urinal partitions by cutting a chase of appropriate width with chase cutter and embedding the stone in the chase with epoxy grout or with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 6 mm nominal size) as per direction of Engineer-in-charge and finished smooth. Granite Stone of approved shade | 6.00 | Sqm | 134.00 | 3000.00 | 18000.00 | 2500.00 | 15000.00 | 3000.00 | 18000.00 | 2100.00 | 12600.00 | 3850.00 | 23100.00 | 2000.00 | 12000.00 | 2100.00 | 12600.00 | 12000.00 | PRADHAN ENTERPRISES
36.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Granite of any colour and shade. Area of slab over 0.50 sqm | 20.00 | Sqm | 135.00 | 2000.00 | 40000.00 | 3000.00 | 60000.00 | 3500.00 | 70000.00 | 1650.00 | 33000.00 | 3500.00 | 70000.00 | 2500.00 | 50000.00 | 1900.00 | 38000.00 | 33000.00 | Proficio Engineering And Construction Pvt. Ltd.
37.00 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. Granite work | 20.00 | Mtr. | 136.00 | 2000.00 | 40000.00 | 200.00 | 4000.00 | 150.00 | 3000.00 | 250.00 | 5000.00 | 200.00 | 4000.00 | 150.00 | 3000.00 | 225.00 | 4500.00 | 3000.00 | PRADHAN ENTERPRISES, Lok Shail Enterprises
38.00 | Providing and fixing Chlorinated Polyvinyl chloride (CPVC) Pipe having thermal stablity for hot & cold water supply all including all (CPVC) plain & brass threded fitings i/c fixing the pipe with clamps at 1.00 m spacing . This includes jointing of pipes & fitings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Enggineer inCharge :Concealed work including cutting phases and making good the wall etc. 25 mm nominal outer die pipes . | 90.00 | meter | 137.00 | 220.00 | 19800.00 | 350.00 | 31500.00 | 350.00 | 31500.00 | 350.00 | 31500.00 | 500.00 | 45000.00 | 380.00 | 34200.00 | 125.00 | 11250.00 | 11250.00 | BUILDTECH CONSTRUCTIONS
39.00 | Providing and fixing Chlorinated Polyvinyl chloride (CPVC) Pipe having thermal stablity for hot & cold water supply all including all (CPVC) plain & brass threded fitings i/c fixing the pipe with clamps at 1.00 m spacing . This includes jointing of pipes & fitings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Enggineer inCharge : Concealed work including cutting phases and making good the wall etc. 20 mm nominal outer die pipes . | 60.00 | meter | 138.00 | 200.00 | 12000.00 | 320.00 | 19200.00 | 300.00 | 18000.00 | 285.00 | 17100.00 | 400.00 | 24000.00 | 320.00 | 19200.00 | 110.00 | 6600.00 | 6600.00 | BUILDTECH CONSTRUCTIONS
40.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 32 mm nominal outer dia Pipes | 30.00 | meter | 139.00 | 350.00 | 10500.00 | 450.00 | 13500.00 | 400.00 | 12000.00 | 375.00 | 11250.00 | 550.00 | 16500.00 | 450.00 | 13500.00 | 150.00 | 4500.00 | 4500.00 | BUILDTECH CONSTRUCTIONS
41.00 | Providing and fixing CPVC gate valve with handle of approved quality (Screwed end) 32 mm nominal bore | 2.00 | each | 140.00 | 500.00 | 1000.00 | 500.00 | 1000.00 | 300.00 | 600.00 | 130.00 | 260.00 | 500.00 | 1000.00 | 400.00 | 800.00 | 650.00 | 1300.00 | 260.00 | Proficio Engineering And Construction Pvt. Ltd.
42.00 | Providing and fixing CPVC gate valve with handle of approved quality (Screwed end) 25 mm nominal bore | 5.00 | each | 141.00 | 300.00 | 1500.00 | 300.00 | 1500.00 | 200.00 | 1000.00 | 230.00 | 1150.00 | 400.00 | 2000.00 | 200.00 | 1000.00 | 550.00 | 2750.00 | 1000.00 | PRADHAN ENTERPRISES, Lok Shail Enterprises
43.00 | Providing and fixing CPVC gate valve with handle of approved quality (Screwed end) 20 mm nominal bore | 5.00 | each | 142.00 | 300.00 | 1500.00 | 200.00 | 1000.00 | 100.00 | 500.00 | 185.00 | 925.00 | 350.00 | 1750.00 | 130.00 | 650.00 | 450.00 | 2250.00 | 500.00 | Lok Shail Enterprises
44.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 2500.00 | Per Litre | 143.00 | 6.50 | 16250.00 | 7.00 | 17500.00 | 7.00 | 17500.00 | 5.50 | 13750.00 | 9.00 | 22500.00 | 7.00 | 17500.00 | 8.00 | 20000.00 | 13750.00 | Proficio Engineering And Construction Pvt. Ltd.
45.00 | Providing and fixing PTMT extension nipple for water tank pipe, fittings of approved quality and colour. 25mm nominal bore, weighing not less than 62 gms | 3.00 | each | 144.00 | 300.00 | 900.00 | 50.00 | 150.00 | 50.00 | 150.00 | 80.00 | 240.00 | 100.00 | 300.00 | 45.00 | 135.00 | 50.00 | 150.00 | 135.00 | PRADHAN ENTERPRISES
46.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 15mm nominal bore | 28.00 | each | 145.00 | 600.00 | 16800.00 | 500.00 | 14000.00 | 300.00 | 8400.00 | 320.00 | 8960.00 | 350.00 | 9800.00 | 370.00 | 10360.00 | 700.00 | 19600.00 | 8400.00 | Lok Shail Enterprises
47.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : 45 cm length 15 mm nominal bore | 22.00 | each | 146.00 | 100.00 | 2200.00 | 90.00 | 1980.00 | 50.00 | 1100.00 | 50.00 | 1100.00 | 200.00 | 4400.00 | 60.00 | 1320.00 | 300.00 | 6600.00 | 1100.00 | Lok Shail Enterprises, Proficio Engineering And Construction Pvt. Ltd.
48.00 | Providing and fixing uplasticised PVC brass unions : 25 mm nominal bore | 7.00 | each | 147.00 | 200.00 | 1400.00 | 200.00 | 1400.00 | 300.00 | 2100.00 | 48.00 | 336.00 | 80.00 | 560.00 | 300.00 | 2100.00 | 300.00 | 2100.00 | 336.00 | Proficio Engineering And Construction Pvt. Ltd.
49.00 | Providing and fixing uplasticised PVC brass unions : 32 mm nominal bore | 3.00 | each | 148.00 | 250.00 | 750.00 | 300.00 | 900.00 | 500.00 | 1500.00 | 60.00 | 180.00 | 150.00 | 450.00 | 500.00 | 1500.00 | 400.00 | 1200.00 | 180.00 | Proficio Engineering And Construction Pvt. Ltd.
50.00 | Providing and fixing white vitreous china flat back half stall urinal of size 580x380x350 mm with white PVC automatic flushing cistern, with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, C.I. trap with outlet grating and other couplings in C.P. brass, including painting of fittings and cutting and making good the walls and floors wherever required :Single half stall urinal with 5 litre P.V.C. automatic flushing cistern | 9.00 | each | 149.00 | 5500.00 | 49500.00 | 7000.00 | 63000.00 | 6000.00 | 54000.00 | 3800.00 | 34200.00 | 13000.00 | 117000.00 | 3500.00 | 31500.00 | 9000.00 | 81000.00 | 31500.00 | PRADHAN ENTERPRISES
51.00 | Supply of Soap Dispencer with metallic botttle(CAN-CHR-1137N) of Jaquar make or equivelent as per satisfaction of Engineer-in-charge. | 6.00 | each | 150.00 | 1200.00 | 7200.00 | 2000.00 | 12000.00 | 2000.00 | 12000.00 | 1450.00 | 8700.00 | 2500.00 | 15000.00 | 2000.00 | 12000.00 | 1500.00 | 9000.00 | 7200.00 | M/S M L BROTHER
52.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion.(i)Single socketed pipes. 110 mm diameter | 140.00 | meter | 151.00 | 250.00 | 35000.00 | 260.00 | 36400.00 | 200.00 | 28000.00 | 240.00 | 33600.00 | 280.00 | 39200.00 | 150.00 | 21000.00 | 187.00 | 26180.00 | 21000.00 | PRADHAN ENTERPRISES
53.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion.(i)Single socketed pipes. 75 mm diameter | 25.00 | meter | 152.00 | 180.00 | 4500.00 | 180.00 | 4500.00 | 140.00 | 3500.00 | 210.00 | 5250.00 | 200.00 | 5000.00 | 130.00 | 3250.00 | 187.00 | 4675.00 | 3250.00 | PRADHAN ENTERPRISES
54.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion.(i)Single socketed pipes. 150 mm diameter | 15.00 | meter | 153.00 | 225.00 | 3375.00 | 300.00 | 4500.00 | 250.00 | 3750.00 | 410.00 | 6150.00 | 600.00 | 9000.00 | 200.00 | 3000.00 | 220.00 | 3300.00 | 3000.00 | PRADHAN ENTERPRISES
55.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A including jointing with seal ring conforming to IS :5382 leaving 10 mm gap for thermal expansion. Shoe ( Plain ) : 110 mm Shoe | 5.00 | each | 154.00 | 180.00 | 900.00 | 100.00 | 500.00 | 90.00 | 450.00 | 190.00 | 950.00 | 100.00 | 500.00 | 100.00 | 500.00 | 50.00 | 250.00 | 250.00 | BUILDTECH CONSTRUCTIONS
56.00 | Providing and fixing unplasticised -PVC pipe clips of approved design to nplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. 110 mm | 10.00 | each | 155.00 | 100.00 | 1000.00 | 200.00 | 2000.00 | 200.00 | 2000.00 | 90.00 | 900.00 | 70.00 | 700.00 | 200.00 | 2000.00 | 20.00 | 200.00 | 200.00 | BUILDTECH CONSTRUCTIONS
57.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Single tee with door 110x110x110 mm | 27.00 | each | 156.00 | 400.00 | 10800.00 | 150.00 | 4050.00 | 100.00 | 2700.00 | 115.00 | 3105.00 | 180.00 | 4860.00 | 110.00 | 2970.00 | 100.00 | 2700.00 | 2700.00 | Lok Shail Enterprises, BUILDTECH CONSTRUCTIONS
58.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, includingjointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Coupler 75mm | 10.00 | each | 157.00 | 200.00 | 2000.00 | 75.00 | 750.00 | 70.00 | 700.00 | 55.00 | 550.00 | 75.00 | 750.00 | 60.00 | 600.00 | 80.00 | 800.00 | 550.00 | Proficio Engineering And Construction Pvt. Ltd.
59.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, includingjointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Coupler 110mm | 20.00 | each | 158.00 | 220.00 | 4400.00 | 100.00 | 2000.00 | 100.00 | 2000.00 | 85.00 | 1700.00 | 110.00 | 2200.00 | 130.00 | 2600.00 | 100.00 | 2000.00 | 1700.00 | Proficio Engineering And Construction Pvt. Ltd.
60.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. Bend 87.5° 110 mm bend | 25.00 | each | 159.00 | 150.00 | 3750.00 | 100.00 | 2500.00 | 80.00 | 2000.00 | 85.00 | 2125.00 | 120.00 | 3000.00 | 95.00 | 2375.00 | 50.00 | 1250.00 | 1250.00 | BUILDTECH CONSTRUCTIONS
61.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. Bend 87.5° 75 mm bend | 10.00 | each | 160.00 | 150.00 | 1500.00 | 80.00 | 800.00 | 50.00 | 500.00 | 70.00 | 700.00 | 90.00 | 900.00 | 75.00 | 750.00 | 50.00 | 500.00 | 500.00 | Lok Shail Enterprises, BUILDTECH CONSTRUCTIONS
62.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm | 75.00 | Sqm | 161.00 | 900.00 | 67500.00 | 1000.00 | 75000.00 | 1000.00 | 75000.00 | 650.00 | 48750.00 | 1150.00 | 86250.00 | 800.00 | 60000.00 | 450.00 | 33750.00 | 33750.00 | BUILDTECH CONSTRUCTIONS
63.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineerin- Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 80.00 | Sqm | 162.00 | 700.00 | 56000.00 | 700.00 | 56000.00 | 700.00 | 56000.00 | 700.00 | 56000.00 | 950.00 | 76000.00 | 600.00 | 48000.00 | 550.00 | 44000.00 | 44000.00 | BUILDTECH CONSTRUCTIONS
64.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass/ stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion : Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | 70.00 | Kg | 163.00 | 400.00 | 28000.00 | 350.00 | 24500.00 | 350.00 | 24500.00 | 350.00 | 24500.00 | 450.00 | 31500.00 | 300.00 | 21000.00 | 110.00 | 7700.00 | 7700.00 | BUILDTECH CONSTRUCTIONS
65.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass/ stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | 180.00 | Kg | 164.00 | 400.00 | 72000.00 | 380.00 | 68400.00 | 400.00 | 72000.00 | 350.00 | 63000.00 | 450.00 | 81000.00 | 250.00 | 45000.00 | 110.00 | 19800.00 | 19800.00 | BUILDTECH CONSTRUCTIONS
66.00 | Providing and fixing 3 mm thick ACP (Aluminium Composite Panel ) of approved quality and shade with 0.25mm thick front and back coil, 2.5mm LDPE (Core thickness) with PVDF Coating Exterior grade with necessary fittings & sealant as per direction of Engineer- In -Charge. | 10.00 | sqm | 165.00 | 1500.00 | 15000.00 | 1500.00 | 15000.00 | 1800.00 | 18000.00 | 3500.00 | 35000.00 | 1200.00 | 12000.00 | 160.00 | 1600.00 | 60.00 | 600.00 | 600.00 | BUILDTECH CONSTRUCTIONS
67.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete 150x10 mm | 26.00 | each | 166.00 | 60.00 | 1560.00 | 70.00 | 1820.00 | 50.00 | 1300.00 | 30.00 | 780.00 | 150.00 | 3900.00 | 65.00 | 1690.00 | 80.00 | 2080.00 | 780.00 | Proficio Engineering And Construction Pvt. Ltd.
68.00 | Providing and fixing aluminium pull bolt lock, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws bolts, nut and washers etc. complete | 26.00 | each | 167.00 | 200.00 | 5200.00 | 80.00 | 2080.00 | 60.00 | 1560.00 | 35.00 | 910.00 | 150.00 | 3900.00 | 70.00 | 1820.00 | 80.00 | 2080.00 | 910.00 | Proficio Engineering And Construction Pvt. Ltd.
69.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete 100 mm | 26.00 | each | 168.00 | 80.00 | 2080.00 | 50.00 | 1300.00 | 60.00 | 1560.00 | 25.00 | 650.00 | 150.00 | 3900.00 | 48.00 | 1248.00 | 100.00 | 2600.00 | 650.00 | Proficio Engineering And Construction Pvt. Ltd.
70.00 | Providing and fixing 100mm brass locks (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete | 13.00 | each | 169.00 | 700.00 | 9100.00 | 500.00 | 6500.00 | 400.00 | 5200.00 | 315.00 | 4095.00 | 2000.00 | 26000.00 | 460.00 | 5980.00 | 700.00 | 9100.00 | 4095.00 | Proficio Engineering And Construction Pvt. Ltd.
71.00 | Grading roof for water proofing treatment with Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) | 8.00 | Cum | 170.00 | 5500.00 | 44000.00 | 4500.00 | 36000.00 | 4500.00 | 36000.00 | 3300.00 | 26400.00 | 5750.00 | 46000.00 | 3500.00 | 28000.00 | 4000.00 | 32000.00 | 26400.00 | Proficio Engineering And Construction Pvt. Ltd.
72.00 | Providing and fixing health faucet of Jaquar make (Cat no ALD-CHR-565) or equivalent having flexible tube 8mm dia 1 mtr. long as per direction of Engineer-In-Charge. | 10.00 | each | 171.00 | 1000.00 | 10000.00 | 1000.00 | 10000.00 | 1000.00 | 10000.00 | 1250.00 | 12500.00 | 2000.00 | 20000.00 | 1100.00 | 11000.00 | 2000.00 | 20000.00 | 10000.00 | M/S M L BROTHER, M/S M.K.Constructions, Lok Shail Enterprises
73.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks of required strength, thickness & size/shape, made by table vibratory method, to attain superior smooth finish using PU or equivalent moulds, laid in required Grey colour & pattern over 50mm thick compacted bed of coarse sand, compacting and proper embedding / laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with local fine sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand in footpath, parks, lawns, drive ways or heavy traffic parking etc. all complete as per manufacturer’s specifications & direction of Engineer -in-Charge: (a) 80 mm thick C.C. paver block of M-30 grade with approved color design and pattern. | 260.00 | sqm | 172.00 | 700.00 | 182000.00 | 700.00 | 182000.00 | 625.00 | 162500.00 | 500.00 | 130000.00 | 585.00 | 152100.00 | 500.00 | 130000.00 | 700.00 | 182000.00 | 130000.00 | PRADHAN ENTERPRISES, Proficio Engineering And Construction Pvt. Ltd.
74.00 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | 20.00 | Cum | 173.00 | 5800.00 | 116000.00 | 5000.00 | 100000.00 | 7500.00 | 150000.00 | 3000.00 | 60000.00 | 6400.00 | 128000.00 | 3500.00 | 70000.00 | 4500.00 | 90000.00 | 60000.00 | Proficio Engineering And Construction Pvt. Ltd.
75.00 | Wall painting with acrylic emulsion paint, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour.Two coats | 260.00 | Sqm | 174.00 | 100.00 | 26000.00 | 80.00 | 20800.00 | 100.00 | 26000.00 | 75.00 | 19500.00 | 120.00 | 31200.00 | 60.00 | 15600.00 | 95.00 | 24700.00 | 15600.00 | PRADHAN ENTERPRISES
76.00 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 240.00 | Sqm | 175.00 | 70.00 | 16800.00 | 110.00 | 26400.00 | 100.00 | 24000.00 | 90.00 | 21600.00 | 120.00 | 28800.00 | 100.00 | 24000.00 | 100.00 | 24000.00 | 16800.00 | M/S M L BROTHER
77.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 325.00 | Sqm | 176.00 | 80.00 | 26000.00 | 100.00 | 32500.00 | 80.00 | 26000.00 | 80.00 | 26000.00 | 120.00 | 39000.00 | 90.00 | 29250.00 | 100.00 | 32500.00 | 26000.00 | M/S M L BROTHER, Lok Shail Enterprises, Proficio Engineering And Construction Pvt. Ltd.
78.00 | Steel work in built up tubular ( round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 605.00 | Kg | 177.00 | 80.00 | 48400.00 | 100.00 | 60500.00 | 80.00 | 48400.00 | 65.00 | 39325.00 | 120.00 | 72600.00 | 90.00 | 54450.00 | 90.00 | 54450.00 | 39325.00 | Proficio Engineering And Construction Pvt. Ltd.
79.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin-charge. The sheet shall be fixed using self drilling / self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 60.00 | Sqm | 178.00 | 700.00 | 42000.00 | 600.00 | 36000.00 | 750.00 | 45000.00 | 600.00 | 36000.00 | 500.00 | 30000.00 | 450.00 | 27000.00 | 200.00 | 12000.00 | 12000.00 | BUILDTECH CONSTRUCTIONS
80.00 | Providing and fixing bolts including nuts and washers complete. | 20.00 | Kg | 179.00 | 120.00 | 2400.00 | 100.00 | 2000.00 | 150.00 | 3000.00 | 85.00 | 1700.00 | 150.00 | 3000.00 | 80.00 | 1600.00 | 75.00 | 1500.00 | 1500.00 | BUILDTECH CONSTRUCTIONS
81.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works. | 630.00 | Kg | 180.00 | 80.00 | 50400.00 | 85.00 | 53550.00 | 80.00 | 50400.00 | 60.00 | 37800.00 | 110.00 | 69300.00 | 75.00 | 47250.00 | 92.00 | 57960.00 | 37800.00 | Proficio Engineering And Construction Pvt. Ltd.
82.00 | Providing and fixing precoated galvanised steel sheet roofing accessories 0.50 mm (+ 0.05 %) total coated thickness, Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : Ridges plain (500 - 600mm) | 20.00 | meter | 181.00 | 600.00 | 12000.00 | 300.00 | 6000.00 | 450.00 | 9000.00 | 350.00 | 7000.00 | 500.00 | 10000.00 | 300.00 | 6000.00 | 200.00 | 4000.00 | 4000.00 | BUILDTECH CONSTRUCTIONS
83.00 | Providing and fixing G.I. chain link fabric fencing of required width in mesh size 50x50 mm including strengthening with 2 mm dia wire or nuts, bolts and washers as required complete as per the direction of Engineer-in-charge. Made of G.I. wire of dia 4 mm | 105.00 | Sqm | 182.00 | 500.00 | 52500.00 | 625.00 | 65625.00 | 650.00 | 68250.00 | 550.00 | 57750.00 | 330.00 | 34650.00 | 400.00 | 42000.00 | 400.00 | 42000.00 | 34650.00 | SHRINATHJI INFRA ENGINEERS PRIVATE LIMITED
84.00 | Providing and fixing concertina coil fencing with required dia 610 mm(having 15 nos. round per 6 metre length) up to 3m height of wall with existing angle iron 'Y' shaped placed 2.4 m or 3.00 m apart and with 9 horizontal R.B.T. stud tied with G.I. staples and G.I. clips to retain horizontal including necessary bolts or G.I. barbed wire tied to angle iron all complete as per direction of Engineer-in-charge with reinforced barbed tape(R.B.T.) / Spring core (2.5mm thick) wire of high tensile strength of 165 kg/ sq.mm with tape (0.52 mm thick) and weight 43.478gm/ metre (cost of M.S. angle, C.C. blocks shall be paid separately) | 55.00 | meter | 183.00 | 600.00 | 33000.00 | 300.00 | 16500.00 | 325.00 | 17875.00 | 225.00 | 12375.00 | 330.00 | 18150.00 | 230.00 | 12650.00 | 800.00 | 44000.00 | 12375.00 | Proficio Engineering And Construction Pvt. Ltd.
85.00 | Providing & fixing bird spike of approved make & design of size [L-300mm, W-(Top>120mm, Bottom>40mm), H>115mm] made of Polycarbonate material having minimum weight not less then 40 gm. including necessary scaffolding, fixing adhesive etc. all complete as per direction of Engineer-In-Charge. | 1810.00 | each | 184.00 | 40.00 | 72400.00 | 40.00 | 72400.00 | 35.00 | 63350.00 | 60.00 | 108600.00 | 100.00 | 181000.00 | 40.00 | 72400.00 | 100.00 | 181000.00 | 63350.00 | Lok Shail Enterprises
86.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Columns, Pillars, Piers, Abutments, Posts and Struts | 35.00 | Sqm | 185.00 | 400.00 | 14000.00 | 450.00 | 15750.00 | 300.00 | 10500.00 | 350.00 | 12250.00 | 325.00 | 11375.00 | 350.00 | 12250.00 | 200.00 | 7000.00 | 7000.00 | BUILDTECH CONSTRUCTIONS
87.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size) | 2.00 | Cum | 186.00 | 6000.00 | 12000.00 | 5500.00 | 11000.00 | 6000.00 | 12000.00 | 4700.00 | 9400.00 | 5100.00 | 10200.00 | 500.00 | 1000.00 | 4500.00 | 9000.00 | 1000.00 | PRADHAN ENTERPRISES
88.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-incharge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 25.00 | Kg | 187.00 | 600.00 | 15000.00 | 450.00 | 11250.00 | 600.00 | 15000.00 | 550.00 | 13750.00 | 550.00 | 13750.00 | 400.00 | 10000.00 | 300.00 | 7500.00 | 7500.00 | BUILDTECH CONSTRUCTIONS
89.00 | Providing and fixing Pre -laminated medium density fibre board exterior grade (Grade-I) IS:14587:1998 marked, to frame, backing or studding with screws etc. complete ( Frames, backing or studding to be paid separately). Pre-laminated with decorative lamination on both side exterior Grade - I MDF Board 18 mm thick confirming to IS:14587 | 10.00 | Sqm | 188.00 | 1200.00 | 12000.00 | 800.00 | 8000.00 | 700.00 | 7000.00 | 1850.00 | 18500.00 | 800.00 | 8000.00 | 800.00 | 8000.00 | 1000.00 | 10000.00 | 7000.00 | Lok Shail Enterprises
90.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/ sqm) | 10.00 | Sqm | 189.00 | 1000.00 | 10000.00 | 850.00 | 8500.00 | 750.00 | 7500.00 | 3200.00 | 32000.00 | 950.00 | 9500.00 | 800.00 | 8000.00 | 2500.00 | 25000.00 | 7500.00 | Lok Shail Enterprises
91.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 100.00 | Kg | 190.00 | 100.00 | 10000.00 | 90.00 | 9000.00 | 80.00 | 8000.00 | 68.00 | 6800.00 | 110.00 | 11000.00 | 70.00 | 7000.00 | 150.00 | 15000.00 | 6800.00 | Proficio Engineering And Construction Pvt. Ltd.
92.00 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 40 mm nominal size) in pavements, laid to required slope and camber in panels as required including consolidation finishing and tamping complete. | 170.00 | Cum | 191.00 | 5000.00 | 850000.00 | 4200.00 | 714000.00 | 3600.00 | 612000.00 | 3400.00 | 578000.00 | 4150.00 | 705500.00 | 4000.00 | 680000.00 | 3500.00 | 595000.00 | 578000.00 | Proficio Engineering And Construction Pvt. Ltd.
93.00 | Making soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm dry brick honey comb shaft with bricks and S.W. drain pipe 100 mm diameter, 1.8 m long complete as per standard design. With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1.00 | each | 192.00 | 5000.00 | 5000.00 | 2500.00 | 2500.00 | 15000.00 | 15000.00 | 20000.00 | 20000.00 | 8000.00 | 8000.00 | 20000.00 | 20000.00 | 2500.00 | 2500.00 | 2500.00 | M/S M.K.Constructions, BUILDTECH CONSTRUCTIONS
94.00 | Providing and fixing of HPL Rest room cubicles of brand Merino/ Green lam/ Staylam or equivalent with the thickness of laminated 12mm, colour of HPLboard- single colour and size of cubicle (W-1000mm, D-1500mm, H- 1980mm), Door size (H-1750mm, W-610mm), overall height including 150mm bottom gap -1980 mm, including all hardware/ Nut bolts accessories of Standard Stainless steel- 304 Grade etc. all complete as per direction of Engineer-in-charge. | 10.00 | each | 193.00 | 11000.00 | 110000.00 | 28000.00 | 280000.00 | 24000.00 | 240000.00 | 14000.00 | 140000.00 | 24000.00 | 240000.00 | 28000.00 | 280000.00 | 45000.00 | 450000.00 | 110000.00 | M/S M L BROTHER
95.00 | Providing and fixing of HPL urinal partition of brand Merino/ Green lam/ Staylam or equivalent with the thickness of laminated 12mm, colour of HPLboard- single colour and size of HPL partition [H-1200mm , W (Top-450mm, Bottom- 300mm)] including all hardware/ Nut bolts accessories of Standard Stainless steel- 304 Grade etc. all complete as per direction of Engineer-in-charge. | 10.00 | each | 194.00 | 3000.00 | 30000.00 | 5200.00 | 52000.00 | 4000.00 | 40000.00 | 1450.00 | 14500.00 | 1250.00 | 12500.00 | 4000.00 | 40000.00 | 3500.00 | 35000.00 | 12500.00 | SHRINATHJI INFRA ENGINEERS PRIVATE LIMITED
96.00 | Supply of surface mounted 16/18 W LED Sq./Round downlighter (white) with inbuild driver having uniform distribution and smooth light output and suitable for operation on 230 V, 50 Hz, single phase AC supply. | 12.00 | Each | 195.00 | 799.00 | 9588.00 | 1700.00 | 20400.00 | 1500.00 | 18000.00 | 750.00 | 9000.00 | 2500.00 | 30000.00 | 1500.00 | 18000.00 | 250.00 | 3000.00 | 3000.00 | BUILDTECH CONSTRUCTIONS
97.00 | Supply of ventilation fan of size 250mm suitable for operation on 230V 50 Hz AC Supply complete with louver/shutters etc. complete as required. | 6.00 | Each | 196.00 | 2800.00 | 16800.00 | 1550.00 | 9300.00 | 1200.00 | 7200.00 | 950.00 | 5700.00 | 2500.00 | 15000.00 | 1400.00 | 8400.00 | 2000.00 | 12000.00 | 5700.00 | Proficio Engineering And Construction Pvt. Ltd.
98.00 | Supplying and fixing 6 way double door, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | 1.00 | Each | 197.00 | 800.00 | 800.00 | 1400.00 | 1400.00 | 1200.00 | 1200.00 | 2500.00 | 2500.00 | 2500.00 | 2500.00 | 1400.00 | 1400.00 | 10000.00 | 10000.00 | 800.00 | M/S M L BROTHER
99.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of Single pole in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 4.00 | Each | 198.00 | 200.00 | 800.00 | 186.00 | 744.00 | 200.00 | 800.00 | 120.00 | 480.00 | 350.00 | 1400.00 | 160.00 | 640.00 | 2500.00 | 10000.00 | 480.00 | Proficio Engineering And Construction Pvt. Ltd.
100.00 | Supplying and fixing of 25 Amp double pole, (single phase and neutral), 240 volts, residual current circuit breaker (RCCB), having a sensitivity current upto 300 milliamperes in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 1.00 | Each | 199.00 | 450.00 | 450.00 | 2000.00 | 2000.00 | 200.00 | 200.00 | 2100.00 | 2100.00 | 2500.00 | 2500.00 | 2000.00 | 2000.00 | 2500.00 | 2500.00 | 200.00 | Lok Shail Enterprises
101.00 | Supplying and fixing DP sheet steel enclosure on surface/ recess along with 25/32amps 240 volts "C" curve DP MCB complete with connections, testing and commissioning etc. as required. | 1.00 | Each | 200.00 | 500.00 | 500.00 | 840.00 | 840.00 | 600.00 | 600.00 | 2500.00 | 2500.00 | 2500.00 | 2500.00 | 800.00 | 800.00 | 10000.00 | 10000.00 | 500.00 | M/S M L BROTHER
102.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FR PVC insulated copper conductor single core cable in surface / recessed steel conduit, with piano type switch, phenolic laminated sheet, suitable size MS box and earthing the point with 1.5 sq.mm. FR PVC insulated copper conductor single core cable etc as required. (Group - C) | 18.00 | Point | 201.00 | 450.00 | 8100.00 | 990.00 | 17820.00 | 1000.00 | 18000.00 | 150.00 | 2700.00 | 750.00 | 13500.00 | 850.00 | 15300.00 | 474.00 | 8532.00 | 2700.00 | Proficio Engineering And Construction Pvt. Ltd.
103.00 | Wiring for circuit/ submain wiring alongwith earth wire with the 2 X 4 sq. mm + 1 X 4 sq. mm earth wire sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steelconduit as required. | 10.00 | Mtr | 202.00 | 250.00 | 2500.00 | 350.00 | 3500.00 | 300.00 | 3000.00 | 150.00 | 1500.00 | 250.00 | 2500.00 | 300.00 | 3000.00 | 100.00 | 1000.00 | 1000.00 | BUILDTECH CONSTRUCTIONS
104.00 | Supplying and fixing metal box of 180mm X 100mm X 60mm deep (nominal size) on surface or in recess with suitable size of phenolic laminated sheet cover in front including providing and fixing 6 pin 5/6 & 15/16 amps socket outlet and 15/16 amps piano type switch, connection, painting etc. as required. | 10.00 | Each | 203.00 | 100.00 | 1000.00 | 348.00 | 3480.00 | 300.00 | 3000.00 | 500.00 | 5000.00 | 2000.00 | 20000.00 | 300.00 | 3000.00 | 350.00 | 3500.00 | 1000.00 | M/S M L BROTHER
105.00 | Installation of 250 mm sweep ventilation fan in the existing opening, including making the hole suit the size of the above fan, making good the damage, connections, testing, commissioning etc. as required. | 6.00 | Each | 204.00 | 100.00 | 600.00 | 260.00 | 1560.00 | 200.00 | 1200.00 | 800.00 | 4800.00 | 2650.00 | 15900.00 | 200.00 | 1200.00 | 3000.00 | 18000.00 | 600.00 | M/S M L BROTHER
106.00 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting of all types,/ LED Light complete with all accessories and tube/lamp etc. directly on ceiling/ wall, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 12.00 | Each | 205.00 | 100.00 | 1200.00 | 135.00 | 1620.00 | 100.00 | 1200.00 | 100.00 | 1200.00 | 900.00 | 10800.00 | 120.00 | 1440.00 | 500.00 | 6000.00 | 1200.00 | M/S M L BROTHER, Lok Shail Enterprises, Proficio Engineering And Construction Pvt. Ltd.
107.00 | Supply & laying of PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of 2 core X 10 Sqmm Al. Armoured Cable conforming to IS 7098 (Part 1) amended upto date in the existing RCC/ HUME/ METAL/ HDPE pipe as required. | 150.00 | Mtr | 206.00 | 180.00 | 27000.00 | 125.00 | 18750.00 | 100.00 | 15000.00 | 80.00 | 12000.00 | 150.00 | 22500.00 | 120.00 | 18000.00 | 50.00 | 7500.00 | 7500.00 | BUILDTECH CONSTRUCTIONS
108.00 | Supply and laying of 63 mm dia (OD-63 mm & ID-51 mm nominal) DWC HDPE pipe alongwith all accessories like socket, bend, couplers etc. conforming to IS 14930, part II complete with fitting and cutting, jointing etc. direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. | 150.00 | Mtr | 207.00 | 195.00 | 29250.00 | 198.00 | 29700.00 | 200.00 | 30000.00 | 111.00 | 16650.00 | 80.00 | 12000.00 | 190.00 | 28500.00 | 150.00 | 22500.00 | 12000.00 | SHRINATHJI INFRA ENGINEERS PRIVATE LIMITED
| Total in Figures |  |  |  |  | 4849378.00 |  | 4964519.00 |  | 4772270.00 |  | 3929161.00 |  | 5165645.00 |  | 3872078.00 |  | 4337462.00
Lowest Amount Quoted BY: PRADHAN ENTERPRISES(3872078.00)

## BOQ Summary
BOQ Summary Details Tender Title: Misc. Civil works as per DGCA BCAS requirements at Kishangarh Airport Tender ID: 2020_AAI_64038_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | PRADHAN ENTERPRISES | 3872078.00 | L1
| 2 | Proficio Engineering And Construction Pvt. Ltd. | 3929161.00 | L2
| 3 | BUILDTECH CONSTRUCTIONS | 4337462.00 | L3
| 4 | Lok Shail Enterprises | 4772270.00 | L4
| 5 | M/S M L BROTHER | 4849378.00 | L5
| 6 | M/S M.K.Constructions | 4964519.00 | L6
| 7 | SHRINATHJI INFRA ENGINEERS PRIVATE LIMITED | 5165645.00 | L7