## BoQ1
Government eProcurement System Created By: MUTHAMILAN M Created Date/Time: 22-Dec-2020 04:07 PM Tender Title: Provision of UVGI system in AHUs and Air circulators for HVAC system at NTB, Rajahmundry Airport Tender ID: 2020_AAI_64068_1
Tender Inviting Authority: ASST. GENERAL MANAGER (ENGG-ELECT), AIRPORTS AUTHORITY OF INDIA, RAJAHMUNDRY AIRPORT, RAJAHMUNDRY
Name of Work: ARMO of E & M Installations at Rajahmundry Airport for the year 2020-21, Sub-Head:Provision of UVGI system in AHUs and Air circulators for HVAC system at NTB, Rajahmundry Airport.
Contract No: 2020_AAI_64068_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VOLKS ENERGIE PVT LTD(GSTN-07AADCV9396C1ZZ) |  | BLUESTAR LTD(GSTN-36AAACB4487D1ZT)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, Testing and Commissioning of UVGI (Ultra Viloet Germicidal Irradiation) system for existing AHU's comprising of all necessary accessories i.e UV lamps, aluminium reflectors, electronic ballast, aluminium extruded stand for lamp housing, control panel, necessary cabling, wiring, MCBs, limit switches and any other accessories to make the complete system fully operational for the following AHUs AHU -30000 CFM, Coil Dimesions (2.74 Mtr. X 2.08 Mtr.), Distace from coil to Blower 0.42 Mtr. (Make: ZECO) | 2.00 | Job |  | 105000.00 | 210000.00 | 204764.00 | 409528.00 | 210000.00 | VOLKS ENERGIE PVT LTD
2.00 | Supply, Installation, Testing and Commissioning of UVGI (Ultra Viloet Germicidal Irradiation) system for existing AHU's comprising of all necessary accessories i.e UV lamps, aluminium reflectors, electronic ballast, aluminium extruded stand for lamp housing, control panel, necessary cabling, wiring, MCBs, limit switches and any other accessories to make the complete system fully operational for the following AHUs AHU- 22000 CFM, Coil Dimesions (2.30 Mtr. X 1.82 Mtr.), Distace from coil to Blower 0.69 Mtr. (Make: ZECO) | 2.00 | Job |  | 86500.00 | 173000.00 | 146925.00 | 293850.00 | 173000.00 | VOLKS ENERGIE PVT LTD
3.00 | Supply, Installation, Testing and Commissioning of UVGI (Ultra Viloet Germicidal Irradiation) system for existing AHU's comprising of all necessary accessories i.e UV lamps, aluminium reflectors, electronic ballast, aluminium extruded stand for lamp housing, control panel, necessary cabling, wiring, MCBs, limit switches and any other accessories to make the complete system fully operational for the following AHUs AHU- 17000 CFM, Coil Dimesions (2.07 Mtr. X 1.52 Mtr.), Distace from coil to Blower 0.62 Mtr. (Make: ZECO) | 2.00 | Job |  | 73400.00 | 146800.00 | 116446.00 | 232892.00 | 146800.00 | VOLKS ENERGIE PVT LTD
4.00 | Supply, Installation, Testing and Commissioning of UVGI (Ultra Viloet Germicidal Irradiation) system for existing AHU's comprising of all necessary accessories i.e UV lamps, aluminium reflectors, electronic ballast, aluminium extruded stand for lamp housing, control panel, necessary cabling, wiring, MCBs, limit switches and any other accessories to make the complete system fully operational for the following AHUs AHU -16000 CFM, Coil Dimesions (1.83 Mtr X 1.52 Mtr.), Distace from coil to Blower 0.55 Mtr. | 1.00 | Job |  | 64200.00 | 64200.00 | 116245.00 | 116245.00 | 64200.00 | VOLKS ENERGIE PVT LTD
5.00 | Supply, Installation, Testing and Commissioning of UVGI (Ultra Viloet Germicidal Irradiation) system for existing AHU's comprising of all necessary accessories i.e UV lamps, aluminium reflectors, electronic ballast, aluminium extruded stand for lamp housing, control panel, necessary cabling, wiring, MCBs, limit switches and any other accessories to make the complete system fully operational for the following AHUs AHU -15000 CFM, Coil Dimesions (1.83 Mtr X 1.52 Mtr.), Distace from coil to Blower 0.62 Mtr. (Make: ZECO) | 1.00 | Job |  | 58750.00 | 58750.00 | 116245.00 | 116245.00 | 58750.00 | VOLKS ENERGIE PVT LTD
6.00 | Supply of Industrial type floor mounted adjustable height air circulator of 450mm sweep size with dynamically balanced metal/aluminium alloy blades, heavy duty motor, double ball bearing, powder cord (standard length) with plug top etc. suitable for operation on 230V, 50Hz, AC supply complete as required as per technical specifications. (Make: Almonard, Model: Tempest or Equivalent) | 12.00 | Each |  | 5170.00 | 62040.00 | 6998.00 | 83976.00 | 62040.00 | VOLKS ENERGIE PVT LTD
7.00 | Supply of 3C X 2.5 Sq.mm PVC insulated and FR PVC sheathed multicore round flexible power cable for voltage grade up to 1100V as per IS 694 and its amendments up to date etc. for complete as required. | 304.00 | Mtrs |  | 82.00 | 24928.00 | 73.00 | 22192.00 | 22192.00 | BLUESTAR LTD
8.00 | Laying of 3C X 2.5 Sq.mm PVC insulated and FR PVC sheathed multicore round flexible power cable in existing cable tray/ conduit/recess/false ceiling/surface etc. complete as required. | 304.00 | Mtrs |  | 35.00 | 10640.00 | 24.00 | 7296.00 | 7296.00 | BLUESTAR LTD
9.00 | Supply and fixing of suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 1 Nos. of 15/16 amps modular socket outlet with safety shutter and 15/16A amps modular switch, connection, etc. as required. | 12.00 | Each |  | 215.00 | 2580.00 | 1093.00 | 13116.00 | 2580.00 | VOLKS ENERGIE PVT LTD
10.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. 20mm | 140.00 | meter |  | 65.00 | 9100.00 | 49.00 | 6860.00 | 6860.00 | BLUESTAR LTD
| Total in Figures |  |  |  |  | 762038.00 |  | 1302200.00
Lowest Amount Quoted BY: VOLKS ENERGIE PVT LTD(762038.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of UVGI system in AHUs and Air circulators for HVAC system at NTB, Rajahmundry Airport Tender ID: 2020_AAI_64068_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | VOLKS ENERGIE PVT LTD | 762038.00 | L1
| 2 | BLUESTAR LTD | 1302200.00 | L2