## BoQ1
Government eProcurement System Created By: Debdeep Dutta Created Date/Time: 28-Dec-2020 05:29 PM Tender Title: Provision of Inflatable Mobile Lighting Tower with DG set at Goa Airport. Tender ID: 2020_AAI_64102_1
Tender Inviting Authority: Sr. Manager (Engg-E)-II, AAI, Goa Airport, Goa.
Name of Work: Provision of Inflatable Mobile Lighting Tower with DG set at Goa Airport.
Contract No: 2020_AAI_64102_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S Akshaypatra Equipments Pvt. Ltd.(GSTN-06AABCA1265H1Z2) |  | Yash Energy Pvt. Ltd(GSTN-24AAACY3771H1ZA) |  | M/s RAJEEV BAJPAI(GSTN-22AFHPB2356N1ZL) |  | UNIVERSAL ELECTRICAL AND ELECTRONICS CO(GSTN-27AABPM8876H1Z8) |  | ASM & ENGINEERING CO.(GSTN-NA) |  | M/s Rudra Power(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, testing & commissioning of movable Telescopic Tiltable Flood Lighting system with 4 Nos. of 1 x 350 W IP65 LED Flood light fitting with not less than 10 HP Diesel Engine with 7.5 KVA Alternator & with Battery. The height of the mast shall be minimum of 9 mtrs. & less than 2 minutes of mast erection time with a suitably designed trolley fitted for the purpose of erecting the tower and covered with M.S sheet acoustic enclosure as a cabinet to protect engine. The console shall contain Lighting Control panel mounted on trolley complete with incoming MCB & individual MCB for each light fitting for switching ON & OFF to control the individual luminaries and one spare 10 Amp. socket outlet. The DG set shall be of AAI approved make and shall be equipped with all safety features & indications like light failure detection, engine maintenance alaram, Engine Run time scheduler, battery voltage monitoring, start on low voltage, low fuel shutdown etc. The lighting mast shall be rotatable 359 degrees clockwise as well as anti-clockwise including loading, unloading, transportation, insurance etc. as required. | 1.00 | Job |  | 523000.00 | 523000.00 | 563400.00 | 563400.00 | 483000.00 | 483000.00 | 579700.00 | 579700.00 | 517777.00 | 517777.00 | 463000.00 | 463000.00 | 463000.00 | M/s Rudra Power
| Total in Figures |  |  |  |  | 523000.00 |  | 563400.00 |  | 483000.00 |  | 579700.00 |  | 517777.00 |  | 463000.00
Lowest Amount Quoted BY: M/s Rudra Power(463000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Inflatable Mobile Lighting Tower with DG set at Goa Airport. Tender ID: 2020_AAI_64102_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s Rudra Power | 463000.00 | L1
| 2 | M/s RAJEEV BAJPAI | 483000.00 | L2
| 3 | ASM & ENGINEERING CO. | 517777.00 | L3
| 4 | M/S Akshaypatra Equipments Pvt. Ltd. | 523000.00 | L4
| 5 | Yash Energy Pvt. Ltd | 563400.00 | L5
| 6 | UNIVERSAL ELECTRICAL AND ELECTRONICS CO | 579700.00 | L6