## BoQ1
Government eProcurement System Created By: Ravindra Nandurkar Created Date/Time: 08-Jan-2021 04:35 PM Tender Title: Annual Comprehensive Maintenance Contract of Ductable Package Units, Split / Window A.C. units, Water Coolers, Water Purifiers at ATS Complex, Mumbai for the year 2021 to 2022. Tender ID: 2020_AAI_64225_1
Tender Inviting Authority: Asstt.Gen.Manager (Engg.-Elect.),ATS Complex, Mumbai.
Name of Work: "Annual Comprehensive Maintenance Contract of Ductable Package Units, Split / Window A.C. units, Water Coolers, Water Purifiers at ATS Complex, Mumbai for the year 2021 to 2022."
Contract No: MUM/ATS/ENGG-E/eNIT-08/2020-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S N COOL(GSTN-27ABFMS5493A1ZX) |  | CHAITANYA SERVICES(GSTN-27AHFPK3638N1ZX) |  | KAILAS REFRIGERATION WORKS(GSTN-27AACPK0442J1ZY) |  | SNOWMEX ENGINEERS LIMITED(GSTN-07AAMCS8717P1ZF) |  | Anshutech Airconditioning Pvt Ltd(GSTN-27AAHCA4607R1Z7) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | PAN POLAR ENGINEERS PVT. LTD.(GSTN-07AABCP0844P1Z5) |  | New National Airconditioning Co(GSTN-27AAOPK6283F1ZC) |  | Aqua Cool Co.Pvt Ltd(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.01 | Annual Comprehensive Maintenance of 11.6 TR Ductable split Air-conditioners of M/s. Carrier make located at ATS Complex including providing all necessary consumables and spares including replacement of faulty compressor, suitable refrigerant gas charging as & when required basis, fault rectification, repairing/replacement of all other spare parts including timer, carrying out the routine- preventive & breakdown maintenance, monthly servicing , etc. as per special conditions complete as required. (Work includes: maintaining the service card for each equipment at site as per the direction of Engineer In charge & deployment of the maintenance manpower as per the special condition of the contract) a) First year | 1.00 | Each Per Annum |  | 22000.00 | 22000.00 | 25000.00 | 25000.00 | 34800.00 | 34800.00 | 50000.00 | 50000.00 | 38662.00 | 38662.00 | 28000.00 | 28000.00 | 25000.00 | 25000.00 | 27000.00 | 27000.00 | 27500.00 | 27500.00 | 22000.00 | S N COOL
1.02 | Annual Comprehensive Maintenance of 11.6 TR Ductable split Air-conditioners of M/s. Carrier make located at ATS Complex including providing all necessary consumables and spares including replacement of faulty compressor, suitable refrigerant gas charging as & when required basis, fault rectification, repairing/replacement of all other spare parts including timer, carrying out the routine- preventive & breakdown maintenance, monthly servicing , etc. as per special conditions complete as required. (Work includes: maintaining the service card for each equipment at site as per the direction of Engineer In charge & deployment of the maintenance manpower as per the special condition of the contract) b) Second year | 1.00 | Each Per Annum |  | 22000.00 | 22000.00 | 25000.00 | 25000.00 | 36500.00 | 36500.00 | 55000.00 | 55000.00 | 38662.00 | 38662.00 | 32000.00 | 32000.00 | 25000.00 | 25000.00 | 27000.00 | 27000.00 | 27500.00 | 27500.00 | 22000.00 | S N COOL
2.01 | Annual Comprehensive Maintenance of 8.5/8.0 TR Ductable split Air-conditioners (inverter type or conventional type) of M/s. Carrier/Blue star make located at ATS Complex including providing all necessary consumables and spares including replacement of faulty compressor, suitable refrigerant gas charging as & when required basis, fault rectification, repairing/replacement of other spare parts including timer, carrying out the routine- preventive & breakdown maintenance, monthly servicing, etc. as per special conditions complete as required. (Work includes: maintaining the service card for each equipment at site as per the direction of Engineer In charge & deployment of the maintenance manpower as per the special condition of the contract) a) First year | 3.00 | Each Per Annum |  | 17000.00 | 51000.00 | 20000.00 | 60000.00 | 24000.00 | 72000.00 | 40000.00 | 120000.00 | 28330.00 | 84990.00 | 22000.00 | 66000.00 | 17000.00 | 51000.00 | 20000.00 | 60000.00 | 40000.00 | 120000.00 | 51000.00 | S N COOL, PAN POLAR ENGINEERS PVT. LTD.
2.02 | Annual Comprehensive Maintenance of 8.5/8.0 TR Ductable split Air-conditioners (inverter type or conventional type) of M/s. Carrier/Blue star make located at ATS Complex including providing all necessary consumables and spares including replacement of faulty compressor, suitable refrigerant gas charging as & when required basis, fault rectification, repairing/replacement of other spare parts including timer, carrying out the routine- preventive & breakdown maintenance, monthly servicing, etc. as per special conditions complete as required. (Work includes: maintaining the service card for each equipment at site as per the direction of Engineer In charge & deployment of the maintenance manpower as per the special condition of the contract) b) Second year | 3.00 | Each Per Annum |  | 17000.00 | 51000.00 | 20000.00 | 60000.00 | 25200.00 | 75600.00 | 30000.00 | 90000.00 | 28330.00 | 84990.00 | 24000.00 | 72000.00 | 17000.00 | 51000.00 | 20000.00 | 60000.00 | 40000.00 | 120000.00 | 51000.00 | S N COOL, PAN POLAR ENGINEERS PVT. LTD.
3.01 | Annual comprehensive maintenance of 4.0 TR (inverter type) Cassette type air conditioners of M/s Blue Star / LG/Carrier, etc. make located at ATS building excluding compressor, Excluding compressor (compressor is under warranty), necessary co-ordination with OEM or its authorized service partner for replacement of the compressor, transportation of the compressor and other related works included in the scope of work. repairing/replacement of other spare parts including timer, carrying out the routine- preventive & breakdown maintenance, monthly servicing, fault rectification including suitable refrigerant gas charging as & when required basis, labour charges, other required consumables, etc. as per special conditions complete as required. (Work includes: maintaining the service card for each equipment at site as per the direction of Engineer In charge & deployment of the maintenance manpower as per the special condition of the contract) a) First year | 3.00 | Each Per Annum |  | 13000.00 | 39000.00 | 9000.00 | 27000.00 | 16000.00 | 48000.00 | 20000.00 | 60000.00 | 13332.00 | 39996.00 | 11000.00 | 33000.00 | 8000.00 | 24000.00 | 12000.00 | 36000.00 | 8000.00 | 24000.00 | 24000.00 | Aqua Cool Co.Pvt Ltd, PAN POLAR ENGINEERS PVT. LTD.
3.02 | Annual comprehensive maintenance of 4.0 TR (inverter type) Cassette type air conditioners of M/s Blue Star / LG/Carrier, etc. make located at ATS building excluding compressor, Excluding compressor (compressor is under warranty), necessary co-ordination with OEM or its authorized service partner for replacement of the compressor, transportation of the compressor and other related works included in the scope of work. repairing/replacement of other spare parts including timer, carrying out the routine- preventive & breakdown maintenance, monthly servicing, fault rectification including suitable refrigerant gas charging as & when required basis, labour charges, other required consumables, etc. as per special conditions complete as required. (Work includes: maintaining the service card for each equipment at site as per the direction of Engineer In charge & deployment of the maintenance manpower as per the special condition of the contract) b) Second year | 3.00 | Each Per Annum |  | 13000.00 | 39000.00 | 9000.00 | 27000.00 | 16900.00 | 50700.00 | 20000.00 | 60000.00 | 13332.00 | 39996.00 | 12000.00 | 36000.00 | 8000.00 | 24000.00 | 12000.00 | 36000.00 | 8000.00 | 24000.00 | 24000.00 | Aqua Cool Co.Pvt Ltd, PAN POLAR ENGINEERS PVT. LTD.
4.01 | Annual comprehensive maintenance of 4.0 TR Cassette type air conditioners of M/s Blue Star / LG/Carrier, etc. make located at ATS building, including replacement of faulty compressor and providing all necessary consumables and spares parts, carrying out the routine- preventive & breakdown maintenance, monthly servicing, fault rectification, including suitable refrigerant gas charging as & when required basis, labour charges, etc. as per special conditions complete as required. (Work includes: maintaining the service card for each equipment at site as per the direction of Engineer In charge & deployment of the maintenance manpower as per the special condition of the contract) a) First year | 2.00 | Each Per Annum |  | 11000.00 | 22000.00 | 8000.00 | 16000.00 | 16000.00 | 32000.00 | 22000.00 | 44000.00 | 13332.00 | 26664.00 | 10500.00 | 21000.00 | 8000.00 | 16000.00 | 9000.00 | 18000.00 | 5000.00 | 10000.00 | 10000.00 | Aqua Cool Co.Pvt Ltd
4.02 | Annual comprehensive maintenance of 4.0 TR Cassette type air conditioners of M/s Blue Star / LG/Carrier, etc. make located at ATS building, including replacement of faulty compressor and providing all necessary consumables and spares parts, carrying out the routine- preventive & breakdown maintenance, monthly servicing, fault rectification, including suitable refrigerant gas charging as & when required basis, labour charges, etc. as per special conditions complete as required. (Work includes: maintaining the service card for each equipment at site as per the direction of Engineer In charge & deployment of the maintenance manpower as per the special condition of the contract) b) Second year | 2.00 | Each Per Annum |  | 11000.00 | 22000.00 | 8000.00 | 16000.00 | 16900.00 | 33800.00 | 20000.00 | 40000.00 | 13332.00 | 26664.00 | 11500.00 | 23000.00 | 8000.00 | 16000.00 | 9000.00 | 18000.00 | 5000.00 | 10000.00 | 10000.00 | Aqua Cool Co.Pvt Ltd
5.01 | Annual comprehensive maintenance of 3.0 TR and 3.5 TR Mega split/High wall/Tower type/Verticool air conditioners of M/s. Blue Star / Voltas / LG /Carrier, etc. make located at ATS building including replacement of faulty compressor and providing all necessary consumables and spares parts, carrying out the routine- preventive & breakdown maintenance, monthly servicing, fault rectification including suitable refrigerant gas charging as & when required basis, labour charges, etc. as per special conditions complete as required. (Work includes: maintaining the service card for each equipment at site as per the direction of Engineer In charge & deployment of the maintenance manpower as per the special condition of the contract) a) First year | 50.00 | Each Per Annum |  | 6800.00 | 340000.00 | 6000.00 | 300000.00 | 9000.00 | 450000.00 | 7000.00 | 350000.00 | 7500.00 | 375000.00 | 7000.00 | 350000.00 | 6000.00 | 300000.00 | 6900.00 | 345000.00 | 4000.00 | 200000.00 | 200000.00 | Aqua Cool Co.Pvt Ltd
5.02 | Annual comprehensive maintenance of 3.0 TR and 3.5 TR Mega split/High wall/Tower type/Verticool air conditioners of M/s. Blue Star / Voltas / LG /Carrier, etc. make located at ATS building including replacement of faulty compressor and providing all necessary consumables and spares parts, carrying out the routine- preventive & breakdown maintenance, monthly servicing, fault rectification including suitable refrigerant gas charging as & when required basis, labour charges, etc. as per special conditions complete as required. (Work includes: maintaining the service card for each equipment at site as per the direction of Engineer In charge & deployment of the maintenance manpower as per the special condition of the contract) b) Second year | 50.00 | Each Per Annum |  | 6800.00 | 340000.00 | 6000.00 | 300000.00 | 9450.00 | 472500.00 | 6700.00 | 335000.00 | 7500.00 | 375000.00 | 9000.00 | 450000.00 | 6000.00 | 300000.00 | 6900.00 | 345000.00 | 4000.00 | 200000.00 | 200000.00 | Aqua Cool Co.Pvt Ltd
6.01 | Annual comprehensive maintenance of 1.5 TR and 2.0 TR split type air conditioners (inverter type) of M/s Amtrex/Voltas/Carrier/Blue star/LG make at different locations. Excluding compressor (compressor is under warranty), necessary co-ordination with OEM or its authorized service partner for replacement of the compressor, transportation of the compressor and other related works included in the scope of work. repairing/replacement of other spare parts including timer, carrying out the routine- preventive & breakdown maintenance, monthly servicing, fault rectification including suitable refrigerant gas charging as & when required basis, labour charges, other required consumables, etc. as per special conditions complete as required. (Work includes: maintaining the service card for each equipment at site as per the direction of Engineer In charge & deployment of the maintenance manpower as per the special condition of the contract) a) First year | 11.00 | Each Per Annum |  | 5700.00 | 62700.00 | 4800.00 | 52800.00 | 4000.00 | 44000.00 | 2000.00 | 22000.00 | 4999.00 | 54989.00 | 6000.00 | 66000.00 | 5000.00 | 55000.00 | 6000.00 | 66000.00 | 4500.00 | 49500.00 | 22000.00 | SNOWMEX ENGINEERS LIMITED
6.02 | Annual comprehensive maintenance of 1.5 TR and 2.0 TR split type air conditioners (inverter type) of M/s Amtrex/Voltas/Carrier/Blue star/LG make at different locations. Excluding compressor (compressor is under warranty), necessary co-ordination with OEM or its authorized service partner for replacement of the compressor, transportation of the compressor and other related works included in the scope of work. repairing/replacement of other spare parts including timer, carrying out the routine- preventive & breakdown maintenance, monthly servicing, fault rectification including suitable refrigerant gas charging as & when required basis, labour charges, other required consumables, etc. as per special conditions complete as required. (Work includes: maintaining the service card for each equipment at site as per the direction of Engineer In charge & deployment of the maintenance manpower as per the special condition of the contract) b) Second year | 11.00 | Each Per Annum |  | 5700.00 | 62700.00 | 4800.00 | 52800.00 | 4200.00 | 46200.00 | 1500.00 | 16500.00 | 4999.00 | 54989.00 | 7200.00 | 79200.00 | 5000.00 | 55000.00 | 6000.00 | 66000.00 | 4500.00 | 49500.00 | 16500.00 | SNOWMEX ENGINEERS LIMITED
7.01 | Annual comprehensive maintenance of 1.5 TR and 2.0 TR split type air conditioners of M/s Voltas/Carrier/Blue star/LG, etc. make at different locations including replacement of faulty compressor and providing all necessary consumables and spares parts, carrying out the routine- preventive & breakdown maintenance, monthly servicing, fault rectification including suitable refrigerant gas charging as & when required basis, labour charges, etc. as per special conditions complete as required. (Work includes: maintaining the service card for each equipment at site as per the direction of Engineer In charge & deployment of the maintenance manpower as per the special condition of the contract) a) First year | 8.00 | Each Per Annum |  | 3900.00 | 31200.00 | 4000.00 | 32000.00 | 4000.00 | 32000.00 | 1500.00 | 12000.00 | 4200.00 | 33600.00 | 4800.00 | 38400.00 | 5000.00 | 40000.00 | 5000.00 | 40000.00 | 3000.00 | 24000.00 | 12000.00 | SNOWMEX ENGINEERS LIMITED
7.02 | Annual comprehensive maintenance of 1.5 TR and 2.0 TR split type air conditioners of M/s Voltas/Carrier/Blue star/LG, etc. make at different locations including replacement of faulty compressor and providing all necessary consumables and spares parts, carrying out the routine- preventive & breakdown maintenance, monthly servicing, fault rectification including suitable refrigerant gas charging as & when required basis, labour charges, etc. as per special conditions complete as required. (Work includes: maintaining the service card for each equipment at site as per the direction of Engineer In charge & deployment of the maintenance manpower as per the special condition of the contract) b) Second year | 8.00 | Each Per Annum |  | 3900.00 | 31200.00 | 4000.00 | 32000.00 | 4200.00 | 33600.00 | 1800.00 | 14400.00 | 4200.00 | 33600.00 | 6000.00 | 48000.00 | 5000.00 | 40000.00 | 5000.00 | 40000.00 | 3000.00 | 24000.00 | 14400.00 | SNOWMEX ENGINEERS LIMITED
8.01 | Annual comprehensive maintenance of 1.5 TR Window type air conditioners of M/s Blue Star / voltas make located at ATS building including replacement of faulty compressor and providing all necessary consumables and spares parts, carrying out the routine- preventive & breakdown maintenance, monthly servicing, fault rectification including suitable refrigerant gas charging as & when required basis, labour charges, etc. as per special conditions complete as required.(Work includes: maintaining the service card for each equipment at site as per the direction of Engineer In charge & deployment of the maintenance manpower as per the special condition of the contract) a) First year | 8.00 | Each Per Annum |  | 3500.00 | 28000.00 | 3000.00 | 24000.00 | 3000.00 | 24000.00 | 1600.00 | 12800.00 | 3750.00 | 30000.00 | 3600.00 | 28800.00 | 4000.00 | 32000.00 | 4000.00 | 32000.00 | 2500.00 | 20000.00 | 12800.00 | SNOWMEX ENGINEERS LIMITED
8.02 | Annual comprehensive maintenance of 1.5 TR Window type air conditioners of M/s Blue Star / voltas make located at ATS building including replacement of faulty compressor and providing all necessary consumables and spares parts, carrying out the routine- preventive & breakdown maintenance, monthly servicing, fault rectification including suitable refrigerant gas charging as & when required basis, labour charges, etc. as per special conditions complete as required.(Work includes: maintaining the service card for each equipment at site as per the direction of Engineer In charge & deployment of the maintenance manpower as per the special condition of the contract) b) Second year | 8.00 | Each Per Annum |  | 3500.00 | 28000.00 | 3000.00 | 24000.00 | 3200.00 | 25600.00 | 1800.00 | 14400.00 | 3750.00 | 30000.00 | 4200.00 | 33600.00 | 4000.00 | 32000.00 | 4000.00 | 32000.00 | 2500.00 | 20000.00 | 14400.00 | SNOWMEX ENGINEERS LIMITED
9.01 | Annual Comprehensive Maintenance of 40/80 Ltrs./Hr. Water Coolers having following cooling / storage capacity (Ltrs./Hr.) of Blue star / Voltas make at different locations including providing and fixing all necessary consumables and spares and replacing faulty compressor, fault rectification including suitable refrigerant gas charging as & when required basis, carrying out the routine- preventive & breakdown maintenance, monthly servicing, labour charges, etc. as per special conditions complete as required. (Work includes: maintaining the service card for each equipment at site as per the direction of Engineer In charge & deployment of the maintenance manpower as per the special condition of the contract) a) First year | 12.00 | Each Per Annum |  | 1900.00 | 22800.00 | 2500.00 | 30000.00 | 3500.00 | 42000.00 | 1500.00 | 18000.00 | 3500.00 | 42000.00 | 4800.00 | 57600.00 | 4000.00 | 48000.00 | 3500.00 | 42000.00 | 2000.00 | 24000.00 | 18000.00 | SNOWMEX ENGINEERS LIMITED
9.02 | Annual Comprehensive Maintenance of 40/80 Ltrs./Hr. Water Coolers having following cooling / storage capacity (Ltrs./Hr.) of Blue star / Voltas make at different locations including providing and fixing all necessary consumables and spares and replacing faulty compressor, fault rectification including suitable refrigerant gas charging as & when required basis, carrying out the routine- preventive & breakdown maintenance, monthly servicing, labour charges, etc. as per special conditions complete as required. (Work includes: maintaining the service card for each equipment at site as per the direction of Engineer In charge & deployment of the maintenance manpower as per the special condition of the contract) b) Second year | 12.00 | Each Per Annum |  | 1900.00 | 22800.00 | 2500.00 | 30000.00 | 3700.00 | 44400.00 | 1600.00 | 19200.00 | 3500.00 | 42000.00 | 5200.00 | 62400.00 | 4000.00 | 48000.00 | 3300.00 | 39600.00 | 2000.00 | 24000.00 | 19200.00 | SNOWMEX ENGINEERS LIMITED
10.01 | Annual Comprehensive maintenance of water purifier of M/s. Eureka Forbes, Model No. Aquaguard Classic HI - FLO at different locations including providing and fixing all necessary consumables and spares as and when required and replacing pre-filter candle and active carbon granules at twice in a year, carrying out the routine- preventive & breakdown maintenance, monthly servicing, etc. as required. Work to be carried out through OEM or its authorities service partner only. (maintaining the service card for each equipment at site as per the direction of Engineer In charge) a) First year | 12.00 | Each Per Annum |  | 1400.00 | 16800.00 | 2000.00 | 24000.00 | 3000.00 | 36000.00 | 5000.00 | 60000.00 | 3500.00 | 42000.00 | 2800.00 | 33600.00 | 5000.00 | 60000.00 | 2200.00 | 26400.00 | 1500.00 | 18000.00 | 16800.00 | S N COOL
10.02 | Annual Comprehensive maintenance of water purifier of M/s. Eureka Forbes, Model No. Aquaguard Classic HI - FLO at different locations including providing and fixing all necessary consumables and spares as and when required and replacing pre-filter candle and active carbon granules at twice in a year, carrying out the routine- preventive & breakdown maintenance, monthly servicing, etc. as required. Work to be carried out through OEM or its authorities service partner only. (maintaining the service card for each equipment at site as per the direction of Engineer In charge) b) Second year | 12.00 | Each Per Annum |  | 1400.00 | 16800.00 | 2000.00 | 24000.00 | 3200.00 | 38400.00 | 6000.00 | 72000.00 | 3500.00 | 42000.00 | 3000.00 | 36000.00 | 5000.00 | 60000.00 | 2200.00 | 26400.00 | 1500.00 | 18000.00 | 16800.00 | S N COOL
11.00 | Dismantling of Existing Split A.C/Window A.C/Tower A.C/ Water Cooler of Different rating / capacity up to 4 TR. From existing site including dismantling of stand, timer & other associated accessories, etc., refilling existing holes, plastering, finishing the walls, shifting of the Removed Air-conditioning unit along with the accessories up to store room as per the direction of engineer Incharge and as per site requirement. | 10.00 | Each |  | 700.50 | 7005.00 | 1000.00 | 10000.00 | 1200.00 | 12000.00 | 10.00 | 100.00 | 1100.00 | 11000.00 | 1000.00 | 10000.00 | 6000.00 | 60000.00 | 1000.00 | 10000.00 | 400.00 | 4000.00 | 100.00 | SNOWMEX ENGINEERS LIMITED
12.00 | Installation testing and commissioning of Split A.C/Window A.C/Tower A.C/Water Cooler of different rating / capacity up to 4 TR. including making holes, plastering, refrigerant gas charging, including 6 sq.mm. copper power input cable from nearest power outlet, testing & commissioning, etc. as per site requirement and as per the direction of the engineer in charge. | 10.00 | Each |  | 121.00 | 1210.00 | 2200.00 | 22000.00 | 1200.00 | 12000.00 | 10.00 | 100.00 | 1650.00 | 16500.00 | 1500.00 | 15000.00 | 8000.00 | 80000.00 | 2500.00 | 25000.00 | 4500.00 | 45000.00 | 100.00 | SNOWMEX ENGINEERS LIMITED
13.00 | Supply and installation of copper refrigerant pipe ( 1/2" + 1/4" ) complete with fitting suction line, discharge line with 12 mm. thick nitrile rubber insulation along with suitable size Copper multicore flexible cable (as per OEM recommendation & standard practice) between indoor unit & outdoor unit , brazing including providing of clamps, testing & commissioning, etc. complete as required for 1.5 TR split AC. | 50.00 | Meter |  | 68.00 | 3400.00 | 400.00 | 20000.00 | 600.00 | 30000.00 | 10.00 | 500.00 | 280.00 | 14000.00 | 600.00 | 30000.00 | 500.00 | 25000.00 | 400.00 | 20000.00 | 590.00 | 29500.00 | 500.00 | SNOWMEX ENGINEERS LIMITED
14.00 | Supply and installation of copper refrigerant pipe ( 5/8" + 3/8" ) complete with fitting suction line, discharge line with 12 mm. thick nitrile rubber along with suitable size Copper multicore flexible cable (as per OEM recommendation & standard practice) insulation, brazing including providing of clamps, etc. complete as required for 2.0 TR split / 3.0 TR Mega split AC. | 50.00 | Meter |  | 80.00 | 4000.00 | 400.00 | 20000.00 | 650.00 | 32500.00 | 10.00 | 500.00 | 320.00 | 16000.00 | 800.00 | 40000.00 | 750.00 | 37500.00 | 450.00 | 22500.00 | 610.00 | 30500.00 | 500.00 | SNOWMEX ENGINEERS LIMITED
15.00 | Supply and installation of rigid PVC/flexible drain pipe of 25 mm. dia. with 6 mm. heatlon insulation complete with fittings & Accessories, U straps, etc. | 30.00 | Meter |  | 51.00 | 1530.00 | 60.00 | 1800.00 | 100.00 | 3000.00 | 10.00 | 300.00 | 90.00 | 2700.00 | 50.00 | 1500.00 | 30.00 | 900.00 | 80.00 | 2400.00 | 65.00 | 1950.00 | 300.00 | SNOWMEX ENGINEERS LIMITED
16.00 | Providing and fixing 12 mm. nitrile rubber insulation on the suction and discharge line of the existing split air conditioners as required. | 30.00 | Meter |  | 190.00 | 5700.00 | 50.00 | 1500.00 | 100.00 | 3000.00 | 10.00 | 300.00 | 90.00 | 2700.00 | 60.00 | 1800.00 | 40.00 | 1200.00 | 55.00 | 1650.00 | 110.00 | 3300.00 | 300.00 | SNOWMEX ENGINEERS LIMITED
| Total in Figures |  |  |  |  | 1293845.00 |  | 1256900.00 |  | 1764600.00 |  | 1467100.00 |  | 1598702.00 |  | 1692900.00 |  | 1506600.00 |  | 1463950.00 |  | 1148250.00
Lowest Amount Quoted BY: Aqua Cool Co.Pvt Ltd(1148250.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Comprehensive Maintenance Contract of Ductable Package Units, Split / Window A.C. units, Water Coolers, Water Purifiers at ATS Complex, Mumbai for the year 2021 to 2022. Tender ID: 2020_AAI_64225_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Aqua Cool Co.Pvt Ltd | 1148250.00 | L1
| 2 | CHAITANYA SERVICES | 1256900.00 | L2
| 3 | S N COOL | 1293845.00 | L3
| 4 | New National Airconditioning Co | 1463950.00 | L4
| 5 | SNOWMEX ENGINEERS LIMITED | 1467100.00 | L5
| 6 | PAN POLAR ENGINEERS PVT. LTD. | 1506600.00 | L6
| 7 | Anshutech Airconditioning Pvt Ltd | 1598702.00 | L7
| 8 | Manish Electricals | 1692900.00 | L8
| 9 | KAILAS REFRIGERATION WORKS | 1764600.00 | L9