## BoQ1
Government eProcurement System Created By: DINESH KHATRI Created Date/Time: 08-Jan-2021 12:01 PM Tender Title: Provision of Ultra Violet Germicidal Irradiation(UVGI) system in HVAC system at Maharana Pratap Airport, Udaipur. Tender ID: 2020_AAI_64272_1
Tender Inviting Authority: Asstt. GM (Engg.-Elect.), AAI, M.P. Airport, Udaipur
Name of Work: Provision of Ultra Violet Germicidal Irradiation (UVGI) system in HVAC system at Maharana Pratap Airport, Udaipur.
Contract No: AAI/UDR/ENGG(E)/HVAC/UVGI/2020-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Blue Star Ltd.(GSTN-08AAACB4487D1ZS) |  | vinayak cooling services(GSTN-08AXJPS5197G1ZT) |  | Extreme Comfort Engineers Pvt Ltd(GSTN-23AACCE9112C1Z9) |  | VOLTAS LIMITED(GSTN-07AAACV2809D1ZO) |  | Elite Air Techniques Pvt Ltd(GSTN-NA) |  | ZedBee Technologies(GSTN-NA) |  | Mg Cooling Solutions(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design, Supply, installation, testing and commissioning of Ultra Violet Germicidal Irradiation(UVGI) system consisting of UV emitter, controller, MCB, indicating lamp, mounting arrangment, interlocking with AHUs, minor modification in AHUs, provision of view port, supply and laying of recommended size cable for power supply from nearest available source, wiring, interconnection, termination etc. complete with all accessories as required and meeting the technical specification for following capacity AHUs/FCUs/AC units. |  |  | 0.00
1.01 | 31000 CFM AHU | 3.00 | Each | 0.00 | 138216.00 | 414648.00 | 140000.00 | 420000.00 | 149750.00 | 449250.00 | 138222.00 | 414666.00 | 136620.00 | 409860.00 | 104000.00 | 312000.00 | 80000.00 | 240000.00 | 240000.00 | Mg Cooling Solutions
1.02 | 29000 CFM AHU | 1.00 | Each | 0.00 | 138006.00 | 138006.00 | 140000.00 | 140000.00 | 149750.00 | 149750.00 | 138222.00 | 138222.00 | 128340.00 | 128340.00 | 80000.00 | 80000.00 | 190000.00 | 190000.00 | 80000.00 | ZedBee Technologies
1.03 | 21500 CFM AHU | 1.00 | Each | 0.00 | 102088.00 | 102088.00 | 140000.00 | 140000.00 | 117575.00 | 117575.00 | 95210.00 | 95210.00 | 74520.00 | 74520.00 | 80000.00 | 80000.00 | 200000.00 | 200000.00 | 74520.00 | Elite Air Techniques Pvt Ltd
1.04 | 20500 CFM AHU | 3.00 | Each | 0.00 | 102088.00 | 306264.00 | 140000.00 | 420000.00 | 117575.00 | 352725.00 | 95210.00 | 285630.00 | 74520.00 | 223560.00 | 80000.00 | 240000.00 | 90000.00 | 270000.00 | 223560.00 | Elite Air Techniques Pvt Ltd
1.05 | 20000 CFM AHU | 3.00 | Each | 0.00 | 97316.00 | 291948.00 | 140000.00 | 420000.00 | 117575.00 | 352725.00 | 95210.00 | 285630.00 | 74520.00 | 223560.00 | 80000.00 | 240000.00 | 130000.00 | 390000.00 | 223560.00 | Elite Air Techniques Pvt Ltd
1.06 | 8000 CFM AHU | 2.00 | Each | 0.00 | 58531.00 | 117062.00 | 35000.00 | 70000.00 | 49750.00 | 99500.00 | 52200.00 | 104400.00 | 42780.00 | 85560.00 | 42000.00 | 84000.00 | 90000.00 | 180000.00 | 70000.00 | vinayak cooling services
1.07 | 6200 CFM AHU | 1.00 | Each | 0.00 | 58531.00 | 58531.00 | 35000.00 | 35000.00 | 49750.00 | 49750.00 | 52200.00 | 52200.00 | 21390.00 | 21390.00 | 32000.00 | 32000.00 | 90000.00 | 90000.00 | 21390.00 | Elite Air Techniques Pvt Ltd
1.08 | 5000 CFM AHU | 1.00 | Each | 0.00 | 46238.00 | 46238.00 | 35000.00 | 35000.00 | 49750.00 | 49750.00 | 52200.00 | 52200.00 | 57960.00 | 57960.00 | 32000.00 | 32000.00 | 90000.00 | 90000.00 | 32000.00 | ZedBee Technologies
1.09 | 600/400 CFM FCU | 10.00 | Each | 0.00 | 29534.00 | 295340.00 | 10500.00 | 105000.00 | 27500.00 | 275000.00 | 39085.00 | 390850.00 | 22770.00 | 227700.00 | 25000.00 | 250000.00 | 35000.00 | 350000.00 | 105000.00 | vinayak cooling services
1.10 | 17 TR package AC unit | 12.00 | Each | 0.00 | 59707.00 | 716484.00 | 40000.00 | 480000.00 | 49750.00 | 597000.00 | 65012.00 | 780144.00 | 42780.00 | 513360.00 | 25000.00 | 300000.00 | 25000.00 | 300000.00 | 300000.00 | ZedBee Technologies, Mg Cooling Solutions
1.11 | 11 TR Ductable AC unit | 2.00 | Each | 0.00 | 47414.00 | 94828.00 | 30000.00 | 60000.00 | 49750.00 | 99500.00 | 65012.00 | 130024.00 | 57960.00 | 115920.00 | 25000.00 | 50000.00 | 50000.00 | 100000.00 | 50000.00 | ZedBee Technologies
2.00 | Supply of 400 mm sweep wall mounted circulating fan suitable for 230 V, 50 Hz Single phase AC supply along with all accessories complete as required. | 10.00 | Each | 0.00 | 2735.00 | 27350.00 | 1525.00 | 15250.00 | 5500.00 | 55000.00 | 17804.00 | 178040.00 | 9663.45 | 96634.50 | 6500.00 | 65000.00 | 9000.00 | 90000.00 | 15250.00 | vinayak cooling services
3.00 | Supply of 400 mm sweep pedestal type circulating fan suitable for 230 V, 50 Hz Single phase AC supply along with all accessories complete as required. | 10.00 | Each | 0.00 | 3212.00 | 32120.00 | 1950.00 | 19500.00 | 6500.00 | 65000.00 | 17804.00 | 178040.00 | 9663.45 | 96634.50 | 7500.00 | 75000.00 | 10000.00 | 100000.00 | 19500.00 | vinayak cooling services
| Total in Figures |  |  |  |  | 2640907.00 |  | 2359750.00 |  | 2712525.00 |  | 3085256.00 |  | 2274999.00 |  | 1840000.00 |  | 2590000.00
Lowest Amount Quoted BY: ZedBee Technologies(1840000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Ultra Violet Germicidal Irradiation(UVGI) system in HVAC system at Maharana Pratap Airport, Udaipur. Tender ID: 2020_AAI_64272_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ZedBee Technologies | 1840000.00 | L1
| 2 | Elite Air Techniques Pvt Ltd | 2274999.00 | L2
| 3 | vinayak cooling services | 2359750.00 | L3
| 4 | Mg Cooling Solutions | 2590000.00 | L4
| 5 | Blue Star Ltd. | 2640907.00 | L5
| 6 | Extreme Comfort Engineers Pvt Ltd | 2712525.00 | L6
| 7 | VOLTAS LIMITED | 3085256.00 | L7