## BoQ1
Government eProcurement System Created By: GUNDA SHIVA KUMAR Created Date/Time: 25-Jan-2021 05:03 PM Tender Title: Provision of Conventional Type LighningArrestor at Ooty, RCAG Station. SH SITC of Conventional Type Lightning Arrestor and Surge Protection System at Ooty, RCAG Station Tender ID: 2020_AAI_64512_1
Tender Inviting Authority: Sr.Manager (E-E), Airports Authority of India, Coimbatore International Airport, Coimbatore - 641014.
Name of Work: Provision of Conventional type Lightning Arrestor at Ooty,RCAG Station. SH: SITC of Conventional Type Lightning Arrestor and Surge Protection System.
Contract No: 2020_AAI_54612_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Accuelec Power Solution LLP(GSTN-07ABDFA1857F1ZO) |  | Unex Power Point Pvt Ltd(GSTN-07AAACU1740J1ZG) |  | Secom Services India Pvt.Ltd(GSTN-07AAECS7415E1ZH) |  | Manoprabha Electricals(GSTN-33AGNPM4749D3Z9)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply and Installation of Vertical air terminal 1.5m with mounting accessories, providing of air terminals as per IS/IEC - 62305 part - 3, Solid copper Air terminal rod material of 16mm dia rod tappered to 10mm dia (Franklin Rod) and the Copper purity - Not less than 90%, etc. including all accessories. | 2.00 | Nos |  | 4500.00 | 9000.00 | 8500.00 | 17000.00 | 9000.00 | 18000.00 | 5000.00 | 10000.00 | 9000.00 | Accuelec Power Solution LLP
2.00 | Supply of following size multi stranded bare copper conductor XLPE insulated and PVC sheathed unarmoured power cable of 1.1 KV grade conforming to relevant IS with upto date amendments. 16 Sq.mm | 50.00 | Mtrs |  | 250.00 | 12500.00 | 160.00 | 8000.00 | 162.00 | 8100.00 | 150.00 | 7500.00 | 7500.00 | Manoprabha Electricals
3.00 | Supply of following size multi stranded bare copper conductor XLPE insulated and PVC sheathed unarmoured power cable of 1.1 KV grade conforming to relevant IS with upto date amendments. 35 Sq.mm | 50.00 | Mtrs |  | 375.00 | 18750.00 | 410.00 | 20500.00 | 418.00 | 20900.00 | 300.00 | 15000.00 | 15000.00 | Manoprabha Electricals
4.00 | Supply of following size multi stranded bare copper conductor XLPE insulated and PVC sheathed unarmoured power cable of 1.1 KV grade conforming to relevant IS with upto date amendments. 70 Sq.mm | 100.00 | Mtrs |  | 625.00 | 62500.00 | 430.00 | 43000.00 | 432.00 | 43200.00 | 600.00 | 60000.00 | 43000.00 | Unex Power Point Pvt Ltd
5.00 | Supply and Installation of Support Mast of 50 mm dia of length 4 mtr GI + 1m FRP with GI base plate of 300 X 300 X 3 mm base installed on the existing Terrace roof with 4 Nos of SS bolts of suitable dimensions. | 2.00 | Nos |  | 7500.00 | 15000.00 | 9500.00 | 19000.00 | 9750.00 | 19500.00 | 11000.00 | 22000.00 | 15000.00 | Accuelec Power Solution LLP
6.00 | Supply and Installation of 25 X 3 mm Copper Conductor (strip) for interconnection of lightning arrester etc complete as required. | 30.00 | Mtrs |  | 750.00 | 22500.00 | 640.00 | 19200.00 | 642.00 | 19260.00 | 700.00 | 21000.00 | 19200.00 | Unex Power Point Pvt Ltd
7.00 | Supply, installation, testing and commissioning of AC surge protection device (SPD) Block MOV based plug-in type Surge Divertor capable of carrying nominal discharge of 100 KA (BMOVSD), 8/20 micro second surge, protection level of 1.5 kV with necessary visual indications, suitable for 3 phase, 4 Wire with neutral protection in pre - wired IP55 or above grade powder coated metal enclosure complete with sensing circuit, potential free contacts, necessary indications and alarm for Essential Panel connected in parallel as primary protection at the power entry point as first stage protection with safety circuit breaker, providing suitable wiring for all interconnections and accessories etc. as required for installation. ( Make: From List of approved makes) | 1.00 | No |  | 65000.00 | 65000.00 | 96500.00 | 96500.00 | 97500.00 | 97500.00 | 60000.00 | 60000.00 | 60000.00 | Manoprabha Electricals
8.00 | Supply, installation, testing and commissioning of 240KA surge protection device against the protection from Noises, ESD, EPR and abnormal electrical characteristics which enter from power and other service line and ensuring clear bonding potential (earth to Neutral voltage) less than 1.0V to be connected in parallel to the circuit, Confirming to CE, tested and certified as per latest certification (IEC - 61643 - 1, IEC - 61000- 4 - 5, IEC - 61000 - 6 - 1, IEC - 61000 - 6 - 3) in pre-wired metal enclosure with pulverulent body painting including all accessories required for installation.(Connect to 5 KVA Ups input / output in parallel as secondary protection.) (Make : from List of approval makes) | 1.00 | No |  | 165000.00 | 165000.00 | 222500.00 | 222500.00 | 223250.00 | 223250.00 | 255000.00 | 255000.00 | 165000.00 | Accuelec Power Solution LLP
9.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1KV grade of following size on wall surface as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 100.00 | Mtrs |  | 100.00 | 10000.00 | 75.00 | 7500.00 | 80.00 | 8000.00 | 20.00 | 2000.00 | 2000.00 | Manoprabha Electricals
10.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1KV grade of following size on wall surface as required. Above 35 Sq.mm and upto 95 Sq.mm (clamped with 25 x 3mm MS flat clamp) | 100.00 | Mtrs |  | 150.00 | 15000.00 | 125.00 | 12500.00 | 130.00 | 13000.00 | 50.00 | 5000.00 | 5000.00 | Manoprabha Electricals
11.00 | Earthing with copper earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 2.00 | Set |  | 16500.00 | 33000.00 | 28750.00 | 57500.00 | 29000.00 | 58000.00 | 15000.00 | 30000.00 | 30000.00 | Manoprabha Electricals
| Total in Figures |  |  |  |  | 428250.00 |  | 523200.00 |  | 528710.00 |  | 487500.00
Lowest Amount Quoted BY: Accuelec Power Solution LLP(428250.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Conventional Type LighningArrestor at Ooty, RCAG Station. SH SITC of Conventional Type Lightning Arrestor and Surge Protection System at Ooty, RCAG Station Tender ID: 2020_AAI_64512_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Accuelec Power Solution LLP | 428250.00 | L1
| 2 | Manoprabha Electricals | 487500.00 | L2
| 3 | Unex Power Point Pvt Ltd | 523200.00 | L3
| 4 | Secom Services India Pvt.Ltd | 528710.00 | L4