## BoQ1
Government eProcurement System Created By: Kamal Kishore Created Date/Time: 23-Feb-2021 11:57 AM Tender Title: Provision of Perimeter Lighting along side of Perimeter road at Khajuraho Airport. Tender ID: 2020_AAI_64539_1
Tender Inviting Authority: Senior Manager (Engg-Elect.), Airports Authority of India, CA, Khajuraho.
Name of Work: “ Provision of Perimeter Lighting along side of Perimeter road at Khajuraho Airport.”
Contract No: 2020_AAI_ 64539
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M J ELECTRICALS AND ELECTRONICS(GSTN-07AAFPD8772P1Z3) |  | jaydeep agency corporation(GSTN-24ACIPP6157B1ZQ) |  | R S ELECTRICALS(GSTN-09AALFR7080G1ZS) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5) |  | M R ELECTRICALS(GSTN-27AARPV8927A1Z5) |  | RB MULTITECH(GSTN-24COFPP5237R1ZA) |  | BR Power Control and Automation Services(GSTN-06AREPS4024K1ZP) |  | HPL Electric and Power Limited(GSTN-06AAACH0165J2ZT) |  | ABHISHEK ASSOCIATES(GSTN-24ADZPD4239Q1ZT) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | SAURABH ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 2 mtr height hot dip galvanized octagonal poles with 130 mm bottom (A/F) and 70 mm top (A/F) made of 3mm thick HT sheet along with base plate of size 200mm X 200mm X 12mm thick welded to bottom of the pole having hinged lockable Terminal box door along with 4 Nos. foundation bolts including template, single arm tilt bracket of length approx. 600 mm for mounting of fitting, providing bake lite sheet with stud type 4 pole connectors of suitable rating, DIN Rail for mounting of MCB in the terminal box etc. as required. | 245.00 | Each |  | 8400.00 | 2058000.00 | 3890.00 | 953050.00 | 5500.00 | 1347500.00 | 6200.00 | 1519000.00 | 4298.00 | 1053010.00 | 3062.00 | 750190.00 | 3787.00 | 927815.00 | 3337.00 | 817565.00 | 4433.00 | 1086085.00 | 3650.00 | 894250.00 | 4716.00 | 1155420.00 | 750190.00 | RB MULTITECH
2.00 | Supply of 36 W LED type Street Light Luminaire with control gear, made of pressure die cast aluminium housing with heat resistant toughened flat glass/polycarbonate cover and minimum IP 65 protection, suitable for operation in 140-270 V, 50 HZ AC etc. complete as required.(Make Crompton with Model No:-LSTS-36-CDL-M/ Make: Havells with Model No. -ENDURA CITYLITE PLATINUM PLUS 36W or equivalent). | 245.00 | Each |  | 1600.00 | 392000.00 | 1342.00 | 328790.00 | 1300.00 | 318500.00 | 1500.00 | 367500.00 | 1719.20 | 421204.00 | 1750.00 | 428750.00 | 1835.00 | 449575.00 | 1080.00 | 264600.00 | 1375.00 | 336875.00 | 1825.00 | 447125.00 | 2500.00 | 612500.00 | 264600.00 | HPL Electric and Power Limited
3.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
3.10 | Single pole | 245.00 | Each |  | 100.00 | 24500.00 | 122.00 | 29890.00 | 130.00 | 31850.00 | 140.00 | 34300.00 | 135.08 | 33094.60 | 112.00 | 27440.00 | 136.00 | 33320.00 | 101.00 | 24745.00 | 90.00 | 22050.00 | 105.00 | 25725.00 | 300.00 | 73500.00 | 22050.00 | ABHISHEK ASSOCIATES
4.00 | Supply, installation, testing & commissioning of External Lighting Out-Door double door Panel, compartmentalised and stanting roof (200mm all around), suitable for 3 phase, 4 wire, 415 Volt, 50Hz, AC supply, totally enclosed free-standing, moisture, weather and vermin proof outdoor, IP-65, double door rear & front type fabricated from 2.5 MM thick CRCA sheet steel duly Epoxy powder coated (by seven tank process) in approved colour, with aluminium bus bars & Bus bar chamber, interconnections/ control wiring with FRLSH copper conductor wires, Terminals for incomming & out going cable connections, earth bus, locking arrangement, cable alley removable gland plate, hardware, danger notice board suitable for out door applications, complete as require including associated civil works like excavation, brick work, foundation, plaster etc. and with following incoming & outgoings feeders and as per drawing & specifications: | 2.00 | Job |  | 400000.00 | 800000.00 | 274500.00 | 549000.00 | 350000.00 | 700000.00 | 370000.00 | 740000.00 | 116660.00 | 233320.00 | 206252.00 | 412504.00 | 270318.00 | 540636.00 | 199782.00 | 399564.00 | 265300.00 | 530600.00 | 315000.00 | 630000.00 | 23899.00 | 47798.00 | 47798.00 | SAURABH ENTERPRISES
4.10 | INCOMER:
4.20 | 2 No of 250 Amps, 415V, 35kA, 4 Pole MCCB with Thermal magnetic Based releases having O/C, S/C & E/F along with 1 no 250 Amps,415V, 35kA, 4 Pole MCCB Bus coupler.
4.30 | LED type ndicating Lamp with suitable rating 2 Amp SP MCB:- 3 Set (each set comprise of R,Y,B)
4.40 | Digital type 3 phase Multi function Meter with suitable rating of MCB & 3 Nos. of single core epoxy resin cast type CTs of 200/5 Amps, 10 VA, CL 1.0 ratings -1 Set.
4.50 | 415 V, 400 Amps, TPN Aluminium Busbars with Heat shrinkable color coded insulation sleeves.
4.60 | OUTGOINGS
4.70 | 6 Nos. of 63 Amps, 415V, 35kA, 4 Pole MCCB with Thermal magnetic Based releases having O/C, S/C & E/F along with following
4.80 | LED type indicating Lamp with suitable rating 2 Amp SP MCB:- 18 Set (each set comprise of R,Y,B)
4.90 | 0-60 Amps digital 3 phase ammeter with selector switch with 3 Nos. of single core epoxy resin cast type CTs of 60/5 Amps, 5 VA, CL 1.0 ratings - 18 sets
5.00 | Supply, installation, testing & commissioning of External Lighting Out-Door double door Panel, compartmentalised and stanting roof (200mm all around), suitable for 3 phase, 4 wire, 415 Volt, 50Hz, AC supply, totally enclosed free-standing, moisture, weather and vermin proof outdoor, IP-65, double door rear & front type fabricated from 2.5 MM thick CRCA sheet steel duly Epoxy powder coated (by seven tank process) in approved colour, with aluminium bus bars & Bus bar chamber, interconnections/ control wiring with FRLSH copper conductor wires, Terminals for incomming & out going cable connections, earth bus, locking arrangement, cable alley removable gland plate, hardware, danger notice board suitable for out door applications, complete as require including associated civil works like excavation, brick work, foundation, plaster etc. and with following incoming & outgoings feeders and as per drawing & specifications: | 8.00 | Each |  | 94000.00 | 752000.00 | 96000.00 | 768000.00 | 99000.00 | 792000.00 | 85000.00 | 680000.00 | 55260.00 | 442080.00 | 75000.00 | 600000.00 | 77836.00 | 622688.00 | 56376.00 | 451008.00 | 78900.00 | 631200.00 | 85000.00 | 680000.00 | 15000.00 | 120000.00 | 120000.00 | SAURABH ENTERPRISES
5.10 | INCOMER:
5.20 | 1 Nos. of 63 Amps, 415V, 415V, 35kA, 4 Pole MCCB with Thermal magnetic Based releases having O/C, S/C & E/F along with following
5.30 | LED type ndicating Lamp with suitable rating 2 Amp SP MCB:- 1 Set (each set comprise of R,Y,B)
5.40 | Digital type 3 phase Multi function Meter with suitable rating of MCB & 3 Nos. of single core epoxy resin cast type CTs of 200/5 Amps, 10 VA, CL 1.0 ratings -1 Set.
5.50 | 415 V, 100 Amps, TPN Aluminium Busbars with Heat shrinkable color coded insulation sleeves.
5.60 | OUTGOINGS
5.70 | 16 A, DP MCB, C Curve,10 KA-02 Nos.
5.80 | 32 A, TPN MCB, C Curve,10 KA -06 Nos.
5.90 | 1 Nos. of 63 Amps, 415V, 35kA, 4 Pole MCCB with Thermal magnetic Based releases having O/C, S/C & E/F
6.00 | Supply of following sizes of XLPE insulated and PVC sheathed XLPE aluminnum conductor armoured cable of 1.1KV grade conforming to IS 7098 (Part-I) with up to date amendments as required.
6.10 | 3.5 x 120 Sq.mm | 1200.00 | Meter |  | 380.00 | 456000.00 | 552.00 | 662400.00 | 490.00 | 588000.00 | 445.00 | 534000.00 | 456.81 | 548172.00 | 451.00 | 541200.00 | 396.00 | 475200.00 | 366.00 | 439200.00 | 410.00 | 492000.00 | 460.00 | 552000.00 | 550.00 | 660000.00 | 439200.00 | HPL Electric and Power Limited
6.20 | 4 X 25 Sq.mm | 4370.00 | Meter |  | 120.00 | 524400.00 | 176.00 | 769120.00 | 155.00 | 677350.00 | 140.00 | 611800.00 | 151.04 | 660044.80 | 145.00 | 633650.00 | 131.00 | 572470.00 | 110.00 | 480700.00 | 131.00 | 572470.00 | 150.00 | 655500.00 | 200.00 | 874000.00 | 480700.00 | HPL Electric and Power Limited
6.30 | 4 X 6 Sq.mm | 4900.00 | Meter |  | 60.00 | 294000.00 | 96.00 | 470400.00 | 85.00 | 416500.00 | 76.00 | 372400.00 | 76.13 | 373037.00 | 76.00 | 372400.00 | 68.00 | 333200.00 | 58.00 | 284200.00 | 72.00 | 352800.00 | 82.00 | 401800.00 | 141.00 | 690900.00 | 284200.00 | HPL Electric and Power Limited
7.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1 KV grade as required.
7.10 | 4 X 25 sq. mm | 18.00 | Set |  | 120.00 | 2160.00 | 120.00 | 2160.00 | 150.00 | 2700.00 | 250.00 | 4500.00 | 110.52 | 1989.36 | 75.00 | 1350.00 | 573.00 | 10314.00 | 137.00 | 2466.00 | 125.00 | 2250.00 | 250.00 | 4500.00 | 250.00 | 4500.00 | 1350.00 | RB MULTITECH
7.20 | 3.5 X 120 sq. mm | 6.00 | Set |  | 240.00 | 1440.00 | 398.00 | 2388.00 | 250.00 | 1500.00 | 500.00 | 3000.00 | 368.40 | 2210.40 | 187.00 | 1122.00 | 891.00 | 5346.00 | 608.00 | 3648.00 | 325.00 | 1950.00 | 400.00 | 2400.00 | 400.00 | 2400.00 | 1122.00 | RB MULTITECH
8.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
8.10 | 4 X 25 sq. mm | 6.00 | Set |  | 1900.00 | 11400.00 | 350.00 | 2100.00 | 500.00 | 3000.00 | 1350.00 | 8100.00 | 2271.80 | 13630.80 | 1875.00 | 11250.00 | 2158.00 | 12948.00 | 4691.00 | 28146.00 | 847.00 | 5082.00 | 1200.00 | 7200.00 | 700.00 | 4200.00 | 2100.00 | jaydeep agency corporation
8.20 | 3.5 X 120 sq. mm | 2.00 | Set |  | 3000.00 | 6000.00 | 625.00 | 1250.00 | 1000.00 | 2000.00 | 2950.00 | 5900.00 | 5599.68 | 11199.36 | 3125.00 | 6250.00 | 5267.00 | 10534.00 | 8162.00 | 16324.00 | 1540.00 | 3080.00 | 2100.00 | 4200.00 | 1299.50 | 2599.00 | 1250.00 | jaydeep agency corporation
9.00 | Dismanteling of Existing 2.5 mtrs height perimeter light GI poles including the LED fixture, its connection, cableing , foundation, nuts bolts etc all completed as required and stacking in electrical store within Airport premises. | 140.00 | Each |  | 300.00 | 42000.00 | 50.00 | 7000.00 | 400.00 | 56000.00 | 400.00 | 56000.00 | 1228.00 | 171920.00 | 190.00 | 26600.00 | 532.00 | 74480.00 | 283.00 | 39620.00 | 450.00 | 63000.00 | 250.00 | 35000.00 | 300.00 | 42000.00 | 7000.00 | jaydeep agency corporation
10.00 | Erection of perimeter street light pole upto height of 3 mtrs of above S.No.1 pole including the RCC foundation made from cement concrete 1:2:4 (1 cement : 2 coarse sand :4 graded stone aggregate 20mm nominal size) as per OEM design including excavation and refilling etc. as required. | 245.00 | Job |  | 1400.00 | 343000.00 | 1450.00 | 355250.00 | 1800.00 | 441000.00 | 1900.00 | 465500.00 | 3070.00 | 752150.00 | 2250.00 | 551250.00 | 2366.00 | 579670.00 | 2260.00 | 553700.00 | 1460.00 | 357700.00 | 650.00 | 159250.00 | 900.00 | 220500.00 | 159250.00 | Manish Electricals
11.00 | Installation, testing and commissioning of street light fixtures on existing street light pole of height not more than 3 mtr. complete with providing and laying of 3 x 1.5 sqmm PVC insulated flexible copper conductor cable from terminal box to fitting, connections etc. as required. | 245.00 | Each |  | 180.00 | 44100.00 | 52.00 | 12740.00 | 100.00 | 24500.00 | 160.00 | 39200.00 | 122.80 | 30086.00 | 190.00 | 46550.00 | 532.00 | 130340.00 | 238.00 | 58310.00 | 180.00 | 44100.00 | 150.00 | 36750.00 | 100.00 | 24500.00 | 12740.00 | jaydeep agency corporation
12.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required
12.10 | 63 mm dia (OD-63 mm & ID-51 mm nominal) | 7800.00 | Mtrs |  | 100.00 | 780000.00 | 124.00 | 967200.00 | 180.00 | 1404000.00 | 120.00 | 936000.00 | 138.76 | 1082328.00 | 60.00 | 468000.00 | 151.00 | 1177800.00 | 135.00 | 1053000.00 | 166.00 | 1294800.00 | 120.00 | 936000.00 | 100.00 | 780000.00 | 468000.00 | RB MULTITECH
12.20 | 90 mm dia (OD-90 mm & ID-76 mm nominal) | 1300.00 | Mtrs |  | 120.00 | 156000.00 | 158.00 | 205400.00 | 210.00 | 273000.00 | 140.00 | 182000.00 | 202.62 | 263406.00 | 115.00 | 149500.00 | 190.00 | 247000.00 | 176.00 | 228800.00 | 201.00 | 261300.00 | 162.00 | 210600.00 | 130.00 | 169000.00 | 149500.00 | RB MULTITECH
13.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required.
13.10 | Upto 35 sq. mm | 320.00 | Meter |  | 10.00 | 3200.00 | 22.00 | 7040.00 | 20.00 | 6400.00 | 10.00 | 3200.00 | 30.70 | 9824.00 | 62.00 | 19840.00 | 24.00 | 7680.00 | 14.00 | 4480.00 | 11.00 | 3520.00 | 10.00 | 3200.00 | 20.00 | 6400.00 | 3200.00 | M J ELECTRICALS AND ELECTRONICS, Awasthi Electric Works, Manish Electricals
13.20 | Above 95 sq. mm and upto 185 sq. mm | 70.00 | Meter |  | 30.00 | 2100.00 | 27.00 | 1890.00 | 30.00 | 2100.00 | 20.00 | 1400.00 | 49.12 | 3438.40 | 62.00 | 4340.00 | 41.00 | 2870.00 | 68.00 | 4760.00 | 11.00 | 770.00 | 25.00 | 1750.00 | 20.00 | 1400.00 | 770.00 | ABHISHEK ASSOCIATES
14.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL / HDPE pipe as required.
14.10 | Upto 35 sq. mm | 8000.00 | Meter |  | 10.00 | 80000.00 | 22.00 | 176000.00 | 15.00 | 120000.00 | 15.00 | 120000.00 | 30.70 | 245600.00 | 62.00 | 496000.00 | 30.00 | 240000.00 | 17.00 | 136000.00 | 10.00 | 80000.00 | 12.00 | 96000.00 | 10.00 | 80000.00 | 80000.00 | M J ELECTRICALS AND ELECTRONICS, SAURABH ENTERPRISES, ABHISHEK ASSOCIATES
14.20 | Above 95 sq. mm and upto 185 sq. mm | 1400.00 | Meter |  | 30.00 | 42000.00 | 27.00 | 37800.00 | 25.00 | 35000.00 | 35.00 | 49000.00 | 49.12 | 68768.00 | 75.00 | 105000.00 | 53.00 | 74200.00 | 73.00 | 102200.00 | 15.00 | 21000.00 | 20.00 | 28000.00 | 20.00 | 28000.00 | 21000.00 | ABHISHEK ASSOCIATES
15.00 | Excavation of the cable trenches in hard rock not exceeding 1.5 metres in width, and lift upto 1.5 metres, including getting out the excavated soil and disposal of excavated soil as directed within a lead of 50 metres. | 80.00 | Cum |  | 900.00 | 72000.00 | 380.00 | 30400.00 | 500.00 | 40000.00 | 400.00 | 32000.00 | 3070.00 | 245600.00 | 187.00 | 14960.00 | 1775.00 | 142000.00 | 283.00 | 22640.00 | 600.00 | 48000.00 | 350.00 | 28000.00 | 550.00 | 44000.00 | 14960.00 | RB MULTITECH
16.00 | Excavation for cable trenches of depth upto 1.2 m in soft soil including getting out the excavated soil and disposal of surplus excavated soil as directed within a lead of 50 metres | 80.00 | Cum |  | 300.00 | 24000.00 | 320.00 | 25600.00 | 200.00 | 16000.00 | 200.00 | 16000.00 | 1473.60 | 117888.00 | 187.00 | 14960.00 | 473.00 | 37840.00 | 136.00 | 10880.00 | 210.00 | 16800.00 | 160.00 | 12800.00 | 400.00 | 32000.00 | 10880.00 | HPL Electric and Power Limited
17.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. with charcoal/ coke and salt as required. | 12.00 | Each |  | 5800.00 | 69600.00 | 4950.00 | 59400.00 | 6000.00 | 72000.00 | 5000.00 | 60000.00 | 5526.00 | 66312.00 | 6250.00 | 75000.00 | 11639.00 | 139668.00 | 6995.00 | 83940.00 | 5100.00 | 61200.00 | 6500.00 | 78000.00 | 6000.00 | 72000.00 | 59400.00 | jaydeep agency corporation
18.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (without charcoal/ coke and salt ) as required. | 31.00 | Each |  | 3800.00 | 117800.00 | 3450.00 | 106950.00 | 3500.00 | 108500.00 | 3000.00 | 93000.00 | 1842.00 | 57102.00 | 8750.00 | 271250.00 | 5843.00 | 181133.00 | 5935.00 | 183985.00 | 4800.00 | 148800.00 | 5000.00 | 155000.00 | 4500.00 | 139500.00 | 57102.00 | M R ELECTRICALS
19.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 20.00 | Meter |  | 440.00 | 8800.00 | 380.00 | 7600.00 | 385.00 | 7700.00 | 450.00 | 9000.00 | 122.80 | 2456.00 | 87.00 | 1740.00 | 155.00 | 3100.00 | 505.00 | 10100.00 | 338.00 | 6760.00 | 350.00 | 7000.00 | 130.00 | 2600.00 | 1740.00 | RB MULTITECH
20.00 | Supplying and laying 6 SWG G.I. wire at 0.50 metre below ground level for conductor earth electrode, including connection/ termination with GI thimble etc. as required. | 14000.00 | Meter |  | 30.00 | 420000.00 | 24.00 | 336000.00 | 23.00 | 322000.00 | 15.00 | 210000.00 | 18.42 | 257880.00 | 15.00 | 210000.00 | 32.00 | 448000.00 | 14.00 | 196000.00 | 14.00 | 196000.00 | 18.00 | 252000.00 | 20.00 | 280000.00 | 196000.00 | HPL Electric and Power Limited, ABHISHEK ASSOCIATES
21.00 | Supplying and making cable route marker with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size ) of size 60 cm X 60 cm at the bottom and 50 cm X 50 cm at the top with a thickness of 10 cm including inscription duly engraved as required | 33.00 | Each |  | 400.00 | 13200.00 | 280.00 | 9240.00 | 600.00 | 19800.00 | 250.00 | 8250.00 | 614.00 | 20262.00 | 312.00 | 10296.00 | 1738.00 | 57354.00 | 396.00 | 13068.00 | 150.00 | 4950.00 | 200.00 | 6600.00 | 400.00 | 13200.00 | 4950.00 | ABHISHEK ASSOCIATES
22.00 | Numbering of Perimeter lightning poles etc as required. | 650.00 | Each |  | 50.00 | 32500.00 | 5.00 | 3250.00 | 20.00 | 13000.00 | 30.00 | 19500.00 | 184.20 | 119730.00 | 25.00 | 16250.00 | 142.00 | 92300.00 | 22.00 | 14300.00 | 2.00 | 1300.00 | 50.00 | 32500.00 | 20.00 | 13000.00 | 1300.00 | ABHISHEK ASSOCIATES
| Total in Figures |  |  |  |  | 7572200.00 |  | 6887308.00 |  | 7841900.00 |  | 7180550.00 |  | 7307742.72 |  | 6267642.00 |  | 7629481.00 |  | 5927949.00 |  | 6646442.00 |  | 6383150.00 |  | 6195917.00
Lowest Amount Quoted BY: HPL Electric and Power Limited(5927949.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Perimeter Lighting along side of Perimeter road at Khajuraho Airport. Tender ID: 2020_AAI_64539_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | HPL Electric and Power Limited | 5927949.00 | L1
| 2 | SAURABH ENTERPRISES | 6195917.00 | L2
| 3 | RB MULTITECH | 6267642.00 | L3
| 4 | Manish Electricals | 6383150.00 | L4
| 5 | ABHISHEK ASSOCIATES | 6646442.00 | L5
| 6 | jaydeep agency corporation | 6887308.00 | L6
| 7 | Awasthi Electric Works | 7180550.00 | L7
| 8 | M R ELECTRICALS | 7307742.72 | L8
| 9 | M J ELECTRICALS AND ELECTRONICS | 7572200.00 | L9
| 10 | BR Power Control and Automation Services | 7629481.00 | L10
| 11 | R S ELECTRICALS | 7841900.00 | L11