## BoQ1
Government eProcurement System Created By: Chandrashekhar Sharma Created Date/Time: 05-Feb-2021 11:33 AM Tender Title: Supply and laying of HT cable between open yard DP structure to Power House at C A Porbandar. Tender ID: 2020_AAI_64590_2
Tender Inviting Authority: Asstt. General Manager (E-E)
Name of Work: “Supply & laying of standby HT cable between open yad DP structure to Power House at C.A.Porbandar."
Contract No: AAI/POR/AGM(E-E)/e-NIT-05/20-21 Tender ID: 2020_AAI_64590_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Unicon Engineering Co(GSTN-24AAEFU0436A1ZU) |  | Mona Generator Services Pvt. Ltd.(GSTN-07AAFCM4263P1ZZ) |  | SHAKTI TECHNO FAB PRODUCTS(GSTN-09AAGPB2824D1Z8) |  | Yash Energy Pvt. Ltd(GSTN-24AAACY3771H1ZA) |  | ABHISHEK ASSOCIATES(GSTN-24ADZPD4239Q1ZT) |  | Digja Infrastructure LLP(GSTN-24AAKFD9337P1ZS) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of following size 11 KV grade XLPE insulated and overall PVC sheathed aluminium conductor armoured cable, confirming to IS:7098 (Part -II) 1985 with upto date amendments and as per attached technical specifications. (Make - As per attached list of approved makes).....(a) 3 core x 185 Sq.mm | 500.00 | Mtr |  | 1008.00 | 504000.00 | 1387.00 | 693500.00 | 1200.00 | 600000.00 | 794.00 | 397000.00 | 902.00 | 451000.00 | 1050.00 | 525000.00 | 1000.00 | 500000.00 | 1025.00 | 512500.00 | 397000.00 | Yash Energy Pvt. Ltd
2.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc..direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. 160 mm dia (OD-160 mm & ID-135 mm nominal) | 480.00 | Mtr |  | 288.00 | 138240.00 | 750.00 | 360000.00 | 350.00 | 168000.00 | 308.00 | 147840.00 | 325.00 | 156000.00 | 320.00 | 153600.00 | 290.00 | 139200.00 | 253.00 | 121440.00 | 121440.00 | Techno Electricals
3.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 11 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. Up to 185 sqmm | 480.00 | Mtr |  | 38.00 | 18240.00 | 110.00 | 52800.00 | 80.00 | 38400.00 | 50.00 | 24000.00 | 50.00 | 24000.00 | 150.00 | 72000.00 | 50.00 | 24000.00 | 43.00 | 20640.00 | 18240.00 | Unicon Engineering Co
4.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 11 KV grade of following size in the existing masonry open duct as required. Upto 185 sqmm | 20.00 | Mtr |  | 38.00 | 760.00 | 120.00 | 2400.00 | 60.00 | 1200.00 | 50.00 | 1000.00 | 30.00 | 600.00 | 120.00 | 2400.00 | 50.00 | 1000.00 | 43.00 | 860.00 | 600.00 | ABHISHEK ASSOCIATES
5.00 | Supplying and making indoor cable end termination with heat shrinkable jointing kit complete with all accessories including lugs suitable for following size of 3 core, XLPE aluminium conductor cable of 11 KV grade as required : 185 sq. mm | 1.00 | Each |  | 5880.00 | 5880.00 | 6900.00 | 6900.00 | 4000.00 | 4000.00 | 5520.00 | 5520.00 | 5900.00 | 5900.00 | 8500.00 | 8500.00 | 5000.00 | 5000.00 | 7500.00 | 7500.00 | 4000.00 | SHAKTI TECHNO FAB PRODUCTS
6.00 | Supplying and making outdoor cable end termination with heat shrinkable jointing kit complete with all accessories including lugs suitable for following size of 3 core, XLPE aluminium conductor cable of 11 KV grade as required : 185 sq. mm | 1.00 | Each |  | 6880.00 | 6880.00 | 11000.00 | 11000.00 | 6000.00 | 6000.00 | 7045.00 | 7045.00 | 810.00 | 810.00 | 8600.00 | 8600.00 | 5000.00 | 5000.00 | 8500.00 | 8500.00 | 810.00 | ABHISHEK ASSOCIATES
7.00 | Supply Installation Testing & Commissioning of 11 KV pin type insulator confirming to IS : 731-1971 suitable for existing 11 KV DP structure complete with all necessary accessories as required as approved by E.I.C. | 9.00 | Each |  | 308.00 | 2772.00 | 1000.00 | 9000.00 | 500.00 | 4500.00 | 472.00 | 4248.00 | 500.00 | 4500.00 | 250.00 | 2250.00 | 450.00 | 4050.00 | 1050.00 | 9450.00 | 2250.00 | Digja Infrastructure LLP
8.00 | Supply Installation Testing & Commissioning of 11 KV disk type insulator confirming to IS : 731-1971 suitable for existing 11 KV DP structure complete with all necessary accessories as required as approved by E.I.C. | 3.00 | Each |  | 1508.00 | 4524.00 | 400.00 | 1200.00 | 550.00 | 1650.00 | 795.00 | 2385.00 | 1000.00 | 3000.00 | 350.00 | 1050.00 | 700.00 | 2100.00 | 1050.00 | 3150.00 | 1050.00 | Digja Infrastructure LLP
9.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 2.00 | Cub Mtr |  | 5008.00 | 10016.00 | 8500.00 | 17000.00 | 8000.00 | 16000.00 | 17710.00 | 35420.00 | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 14000.00 | 28000.00 | 10000.00 | 20000.00 | 10000.00 | ABHISHEK ASSOCIATES, Digja Infrastructure LLP
10.00 | Excavation of the cable trenches in hard rock not exceeding 1.5 metres in width, and lift upto 1.5 metres, including getting out the excavated soil and disposal of excavated soil as directed within a lead of 50 metres. | 40.00 | Cub Mtr |  | 388.00 | 15520.00 | 1150.00 | 46000.00 | 1500.00 | 60000.00 | 773.00 | 30920.00 | 800.00 | 32000.00 | 280.00 | 11200.00 | 700.00 | 28000.00 | 600.00 | 24000.00 | 11200.00 | Digja Infrastructure LLP
11.00 | Providing and laying in position cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) in foundation of pump, DG set etc including form work etc as required. | 12.00 | Cub Mtr |  | 4088.00 | 49056.00 | 8100.00 | 97200.00 | 5000.00 | 60000.00 | 5810.00 | 69720.00 | 5000.00 | 60000.00 | 3850.00 | 46200.00 | 7500.00 | 90000.00 | 5000.00 | 60000.00 | 46200.00 | Digja Infrastructure LLP
| Total in Figures |  |  |  |  | 755888.00 |  | 1297000.00 |  | 959750.00 |  | 725098.00 |  | 747810.00 |  | 840800.00 |  | 826350.00 |  | 788040.00
Lowest Amount Quoted BY: Yash Energy Pvt. Ltd(725098.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply and laying of HT cable between open yard DP structure to Power House at C A Porbandar. Tender ID: 2020_AAI_64590_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Yash Energy Pvt. Ltd | 725098.00 | L1
| 2 | ABHISHEK ASSOCIATES | 747810.00 | L2
| 3 | Unicon Engineering Co | 755888.00 | L3
| 4 | Techno Electricals | 788040.00 | L4
| 5 | Manish Electricals | 826350.00 | L5
| 6 | Digja Infrastructure LLP | 840800.00 | L6
| 7 | SHAKTI TECHNO FAB PRODUCTS | 959750.00 | L7
| 8 | Mona Generator Services Pvt. Ltd. | 1297000.00 | L8