## BoQ1
Government eProcurement System Created By: Chandrashekhar Sharma Created Date/Time: 19-Feb-2021 12:57 PM Tender Title: Replacement of existing conventional type fire alarm and detection ystem with intelligent addressable type FADS at C.A.Porbandar. Tender ID: 2020_AAI_64592_2
Tender Inviting Authority: Asstt. General Manager (E-E)
Name of Work: “Replacement of existing conventional type fire alarm & detection system with intellegent addressable type FADS at C.A.Porbandar. "
Contract No: AAI/POR/AGM(E-E)/e-NIT-07/20-21 Tender ID: 2020_AAI_64592_2
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Digja Infrastructure LLP(GSTN-24AAKFD9337P1ZS) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | GLYPTIC(GSTN-19AAMFG0478J1ZY) |  | SUPER INDIA BUILDPRO PRIVATE LIMITED(GSTN-22AASCS8674F1ZU) |  | Vasu Infosec Pvt Ltd(GSTN-27AABCV6080D1ZE) |  | FIRE SYSTEMS(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supplying, installation, testing and commissioning of micro processor based intelligent addressable main fire alarm panel, central processing unit with the following loop modules and capable of supporting not less than 240 devices (including detectors) and minimum 120 detectors per loop and loop length up to 2 km, network communication card, minimum 320 character graphics/ LCD display with touch screen or other keypad and minimum 4000 events history log in the non volatile memory (EPROM), power supply unit (230 ± 5% V, 50 hz), 48 hrs back-up with 24 volt sealed maintenance free batteries with automatic charger. The panel shall have facility to connect printer to printout log and facility to have seamless integration with analog/digital voice evacuation system (which is part of the schedule of work under SH: PA System) and shall be complete with all accessories . The panel shall be compatible for IBMS system with open protocol BACnet/ Modbus over IP complete as per specifications
1.01 | Two Loop Panel. | 1.00 | Each |  | 175200.00 | 175200.00 | 130000.00 | 130000.00 | 85647.00 | 85647.00 | 150100.00 | 150100.00 | 177500.00 | 177500.00 | 97950.00 | 97950.00 | 85647.00 | GLYPTIC
2.00 | Supplying, installation, testing & commissioning of repeater panel wih 320 character/ Touch screen LCD display with inbuilt reset, acknowledge and silence switches complete as required. | 1.00 | Each |  | 44045.00 | 44045.00 | 50000.00 | 50000.00 | 32140.00 | 32140.00 | 55000.00 | 55000.00 | 46250.00 | 46250.00 | 48950.00 | 48950.00 | 32140.00 | GLYPTIC
3.00 | Supplying, installation, testing & commissioning of intelligent analog addressable photothermal detector complete with mounting base complete as required. | 124.00 | Each |  | 2690.00 | 333560.00 | 3000.00 | 372000.00 | 2351.00 | 291524.00 | 3500.00 | 434000.00 | 2712.50 | 336350.00 | 2550.00 | 316200.00 | 291524.00 | GLYPTIC
4.00 | Supplying, installation, testing & commissioning of fault isolator complete with base as required. | 10.00 | Each |  | 2615.00 | 26150.00 | 2500.00 | 25000.00 | 1.00 | 10.00 | 500.00 | 5000.00 | 1775.00 | 17750.00 | 2850.00 | 28500.00 | 10.00 | GLYPTIC
5.00 | Supplying, installation, testing & commissioning of intelligent addressable thermal detector with rate of rise cum fixed tempreature thermistor complete with base as required. | 10.00 | Each |  | 2500.00 | 25000.00 | 3000.00 | 30000.00 | 2211.00 | 22110.00 | 3500.00 | 35000.00 | 2712.50 | 27125.00 | 2650.00 | 26500.00 | 22110.00 | GLYPTIC
6.00 | Supplying, installation, testing & commissioning of addressable fire control module complete as required. | 10.00 | Each |  | 3150.00 | 31500.00 | 3000.00 | 30000.00 | 3865.00 | 38650.00 | 500.00 | 5000.00 | 2712.50 | 27125.00 | 3250.00 | 32500.00 | 5000.00 | SUPER INDIA BUILDPRO PRIVATE LIMITED
7.00 | Supplying, installation, testing & commissioning of intelligent addressable duct detector including suitable Photo detector complete with base as required. | 10.00 | Each |  | 13222.00 | 132220.00 | 5000.00 | 50000.00 | 7122.00 | 71220.00 | 3500.00 | 35000.00 | 10212.50 | 102125.00 | 16550.00 | 165500.00 | 35000.00 | SUPER INDIA BUILDPRO PRIVATE LIMITED
8.00 | Supplying, installation, testing & commissioning of addressable manual call point complete as required. | 10.00 | Each |  | 3150.00 | 31500.00 | 2500.00 | 25000.00 | 2908.00 | 29080.00 | 3500.00 | 35000.00 | 2712.50 | 27125.00 | 2850.00 | 28500.00 | 25000.00 | CENTRE TAP ENGINEERING
9.00 | Supplying, installation, testing & commissioning of addressable horn cum strobe complete as required. | 10.00 | Each |  | 6275.00 | 62750.00 | 3800.00 | 38000.00 | 4052.00 | 40520.00 | 3500.00 | 35000.00 | 2712.50 | 27125.00 | 4950.00 | 49500.00 | 27125.00 | Vasu Infosec Pvt Ltd
10.00 | Supplying & laying of 2x1.5 sqmm fire alarm armoured cable, 600/1000V rated with annealed copper conductor having XLPE insulation, steel wire armouring & FRLS outer sheath complete as required. | 500.00 | Mtr |  | 120.00 | 60000.00 | 100.00 | 50000.00 | 175.00 | 87500.00 | 105.00 | 52500.00 | 102.50 | 51250.00 | 110.00 | 55000.00 | 50000.00 | CENTRE TAP ENGINEERING
| Total in Figures |  |  |  |  | 921925.00 |  | 800000.00 |  | 698401.00 |  | 841600.00 |  | 839725.00 |  | 849100.00
Lowest Amount Quoted BY: GLYPTIC(698401.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of existing conventional type fire alarm and detection ystem with intelligent addressable type FADS at C.A.Porbandar. Tender ID: 2020_AAI_64592_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | GLYPTIC | 698401.00 | L1
| 2 | CENTRE TAP ENGINEERING | 800000.00 | L2
| 3 | Vasu Infosec Pvt Ltd | 839725.00 | L3
| 4 | SUPER INDIA BUILDPRO PRIVATE LIMITED | 841600.00 | L4
| 5 | FIRE SYSTEMS | 849100.00 | L5
| 6 | Digja Infrastructure LLP | 921925.00 | L6