## BoQ1
Government eProcurement System Created By: ARUN BABU R Created Date/Time: 07-Jan-2021 06:17 PM Tender Title: Upgrading of Existing Fire Alarm Mimic Panel and PA system of Operational Offices Building at Chennai International Airport Tender ID: 2020_AAI_64603_1
Tender Inviting Authority: JGM Engg(Elect)-II,AMED-V,Operational Offices,Chennai Airport.
Name of Work: Upgrading of Existing Fire Alarm Mimic Panel & PA system of Operational Offices Building at Chennai International Airport.
Contract No: 2020/AAI/CIA/AMED-5/CPP-1/MIM Tender Id: 2020_AAI_64603_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Ponmani International (India) Pvt Ltd(GSTN-33AADCP6242R2ZZ) |  | SALIMAX SYSTEMS AND CONTROLS ENGG(GSTN-33AFKPR7224N1ZY)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of Fire Alarm Mimic Panel Suitable for existing admin office FACP (Model:Morley-Honeywell) with metal body LBH 1.2mtrs:1.2mtrs:0.15mtrs,Including graphics design and programing with complete accessories as required etc. Approved Make : APOLLO/AUTRONICA(UTC)/EDWARDS(UTC)/SIEMENS/BOSCH/NOTIFIRE SYSTEM SENSOR/MORLEY IAS/GROUP/MATHER & PLATT/MINIMAX | 1.00 | Job |  | 20000.00 | 20000.00 | 125000.00 | 125000.00 | 20000.00 | Ponmani International (India) Pvt Ltd
2.00 | SITC of 450-600W booster power Amplifier with 3U height 21" case for rack mounting, led display on front panel Approved Make : APOLLO/SIEMENS/BOSCH/AHUJA/PHILIPS/MOTWAN | 1.00 | Each |  | 28200.00 | 28200.00 | 40000.00 | 40000.00 | 28200.00 | Ponmani International (India) Pvt Ltd
3.00 | SITC of Main controller with min.6 zones, full system supervision function with microphone on the front panel and a supervised message manager.Approved Make : APOLLO/SIEMENS/BOSCH/AHUJA/PHILIPS/MOTWANE | 1.00 | Each |  | 127700.00 | 127700.00 | 165000.00 | 165000.00 | 127700.00 | Ponmani International (India) Pvt Ltd
4.00 | SITC of Voice Alarm system with plena voice alarm Router having six zones . Approved Make :APOLLO/SIEMENS/BOSCH/AHUJA/PHILIPS/MOTWANE | 1.00 | Each |  | 69600.00 | 69600.00 | 80000.00 | 80000.00 | 69600.00 | Ponmani International (India) Pvt Ltd
5.00 | SITC of 6 Zone Voice Alarm keypad extension of call station with seven additional zone and zone group keys etc. Approved Make: APOLLO/SIEMENS/BOSCH/AHUJA/PHILIPS/MOTWANE | 1.00 | Each |  | 39200.00 | 39200.00 | 40500.00 | 40500.00 | 39200.00 | Ponmani International (India) Pvt Ltd
6.00 | SITC of Wireless Micro Phone with LCD, UHF transmitter having a frequency range: 722-746 MHz, selectable switch complete as required etc. Approved Make: APOLLO/SIEMENS/BOSCH/AHUJA/PHILIPS/MOTWANE | 2.00 | Each |  | 9200.00 | 18400.00 | 28000.00 | 56000.00 | 18400.00 | Ponmani International (India) Pvt Ltd
7.00 | SITC of 12W ,101db- 90db,frequency range 150Hz to 15KHz Speaker in accordance with wall mounted MDF(medium density fiber board) speaker as required. Approved Make : APOLLO/SIEMENS/BOSCH/AHUJA/PHILIPS/MOTWANE | 20.00 | Each |  | 1714.00 | 34280.00 | 3550.00 | 71000.00 | 34280.00 | Ponmani International (India) Pvt Ltd
8.00 | SITC of 21U Rack suitable for power Amplifier ,main controller and voice alarm router as required | 1.00 | Each |  | 22800.00 | 22800.00 | 35000.00 | 35000.00 | 22800.00 | Ponmani International (India) Pvt Ltd
9.00 | SITC of Control Relay Module (or) MIMIC interface card suitable for existing system (Model:Morley-Honeywell) | 20.00 | Each |  | 2890.00 | 57800.00 | 3550.00 | 71000.00 | 57800.00 | Ponmani International (India) Pvt Ltd
10.00 | SITC of Autocad drawing designing of graphic works.programming with existing FIRE ALARM CONTROL PANEL (Model:Morley-Honeywell System) | 1.00 | Job |  | 267500.00 | 267500.00 | 64000.00 | 64000.00 | 64000.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
11.00 | SITC of 3 KVA Online UPS suitable for Fire Alarm Control panel Approved Make: MICROTEK/POWER‐ONE/SOCOMEC/GREEN/NUMERIC/ SCHNEIDER/POWERWARE/EMERSON/D8POWER/APC | 1.00 | Job |  | 34800.00 | 34800.00 | 80000.00 | 80000.00 | 34800.00 | Ponmani International (India) Pvt Ltd
12.00 | Supplying & laying of 2 x 1.5 sqmm FRLS armoured cable, 600 / 1000V rated with annealed copper conductor as per applicable IS standared complete as required. Approved Make: CMI/KEI/BONTON/POLYCAB/BATRA HENLAY/RR KABLE/WREXHAM. | 600.00 | Mtrs |  | 97.00 | 58200.00 | 120.00 | 72000.00 | 58200.00 | Ponmani International (India) Pvt Ltd
13.00 | Total
| Total in Figures |  |  |  |  | 778480.00 |  | 899500.00
Lowest Amount Quoted BY: Ponmani International (India) Pvt Ltd(778480.00)

## BOQ Summary
BOQ Summary Details Tender Title: Upgrading of Existing Fire Alarm Mimic Panel and PA system of Operational Offices Building at Chennai International Airport Tender ID: 2020_AAI_64603_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Ponmani International (India) Pvt Ltd | 778480.00 | L1
| 2 | SALIMAX SYSTEMS AND CONTROLS ENGG | 899500.00 | L2