## BoQ1
Government eProcurement System Created By: Waikhom John Singh Created Date/Time: 07-Jan-2021 05:46 PM Tender Title: SITC FOR OFC RING FOR CNS FACILITIES Tender ID: 2020_AAI_64642_1
Tender Inviting Authority: AIRPORTS AUTHORITY OF INDIA
Name of Work: SITC for Communication Backbone OFC Ring Network for CNS Facilities & Ancillary Facility Monitoring with 5 Years’ Service Support at Imphal International Airport, Imphal
Contract No: 2020_AAI_64642_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Sandeep Tradex Pvt Ltd(GSTN-19AAECS0389R1ZI) |  | System Advance Technologies Pvt. Ltd.(GSTN-19AAICS2282F1Z7) |  | Suraj Informatics Pvt Ltd(GSTN-27AAICS9442B1ZA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | 24 port L3 Fully Managed switch with 12 nos. 1G copper port + 12 Nos. 1G SFP slot. | 1.00 | No. | 100.00 | 170000.00 | 170000.00 | 210000.00 | 210000.00 | 210000.00 | 210000.00 | 170000.00 | Sandeep Tradex Pvt Ltd
2.00 | 16 port L2 Fully Managed switch + 2 Nos. 1G SFP slot. | 9.00 | Nos. | 100.00 | 83000.00 | 747000.00 | 105000.00 | 945000.00 | 105000.00 | 945000.00 | 747000.00 | Sandeep Tradex Pvt Ltd
3.00 | 1G SFP module | 28.00 | Nos. | 10.00 | 5500.00 | 154000.00 | 4800.00 | 134400.00 | 6500.00 | 182000.00 | 134400.00 | System Advance Technologies Pvt. Ltd.
4.00 | Minimum 42” Large formal Display | 2.00 | Nos. | 10.00 | 49500.00 | 99000.00 | 49500.00 | 99000.00 | 51500.00 | 103000.00 | 99000.00 | Sandeep Tradex Pvt Ltd, System Advance Technologies Pvt. Ltd.
5.00 | Serial to IP converter with one 10/100BaseT (RJ45) Ethernet Interface & two RS-232/422/485 Serial interface | 10.00 | Nos. | 10.00 | 25500.00 | 255000.00 | 24300.00 | 243000.00 | 29500.00 | 295000.00 | 243000.00 | System Advance Technologies Pvt. Ltd.
6.00 | RS 232 DB9 Female to Female cable 3 Mtrs. | 10.00 | Nos. | 10.00 | 400.00 | 4000.00 | 600.00 | 6000.00 | 500.00 | 5000.00 | 4000.00 | Sandeep Tradex Pvt Ltd
7.00 | RS 232 DB9 Female to Female adaptor | 5.00 | Nos. | 10.00 | 500.00 | 2500.00 | 320.00 | 1600.00 | 500.00 | 2500.00 | 1600.00 | System Advance Technologies Pvt. Ltd.
8.00 | RS 232 DB9 male to male adaptor | 5.00 | Nos. | 10.00 | 600.00 | 3000.00 | 320.00 | 1600.00 | 500.00 | 2500.00 | 1600.00 | System Advance Technologies Pvt. Ltd.
9.00 | NAVIDS monitoring system with Server & 2 Displays of 21”. | 2.00 | Nos. | 10.00 | 350000.00 | 700000.00 | 402000.00 | 804000.00 | 390000.00 | 780000.00 | 700000.00 | Sandeep Tradex Pvt Ltd
10.00 | IP base controller for sensing humidity with software with minimum two year valid calibration certificate | 7.00 | Nos. | 10.00 | 30000.00 | 210000.00 | 33300.00 | 233100.00 | 35000.00 | 245000.00 | 210000.00 | Sandeep Tradex Pvt Ltd
11.00 | IP base controller for sensing temperature with software with minimum two year valid calibration certificate | 7.00 | Nos. | 10.00 | 85000.00 | 595000.00 | 75300.00 | 527100.00 | 95000.00 | 665000.00 | 527100.00 | System Advance Technologies Pvt. Ltd.
12.00 | Workstation for monitoring system | 2.00 | Nos. | 10.00 | 110000.00 | 220000.00 | 95000.00 | 190000.00 | 110000.00 | 220000.00 | 190000.00 | System Advance Technologies Pvt. Ltd.
13.00 | 24 Core Single Mode fiber Optic Cable (Steel armoured) | 12500.00 | Mtrs. | 10.00 | 100.00 | 1250000.00 | 110.00 | 1375000.00 | 105.00 | 1312500.00 | 1250000.00 | Sandeep Tradex Pvt Ltd
14.00 | 24 Port LIU loaded with SC SM Pigtails, SC Adaptor & Splice tray | 10.00 | Nos. | 10.00 | 17500.00 | 175000.00 | 14800.00 | 148000.00 | 14500.00 | 145000.00 | 145000.00 | Suraj Informatics Pvt Ltd
15.00 | OFC Patch cord Single Mode SC-LC Duplex OS2 | 36.00 | Nos. | 10.00 | 1800.00 | 64800.00 | 19500.00 | 702000.00 | 2000.00 | 72000.00 | 64800.00 | Sandeep Tradex Pvt Ltd
16.00 | Cat 6A UTP Cable | 3.00 | Boxes | 10.00 | 15300.00 | 45900.00 | 15700.00 | 47100.00 | 25300.00 | 75900.00 | 45900.00 | Sandeep Tradex Pvt Ltd
17.00 | 12U Wall Mount Networking Rack with all accessories | 8.00 | Nos. | 10.00 | 9500.00 | 76000.00 | 10100.00 | 80800.00 | 9500.00 | 76000.00 | 76000.00 | Sandeep Tradex Pvt Ltd, Suraj Informatics Pvt Ltd
18.00 | 27U floor Mount Networking Rack with all accessories | 1.00 | No. | 10.00 | 32400.00 | 32400.00 | 29300.00 | 29300.00 | 35400.00 | 35400.00 | 29300.00 | System Advance Technologies Pvt. Ltd.
19.00 | 60 MM GI pipe | 100.00 | Mtrs. | 10.00 | 350.00 | 35000.00 | 630.00 | 63000.00 | 350.00 | 35000.00 | 35000.00 | Sandeep Tradex Pvt Ltd, Suraj Informatics Pvt Ltd
20.00 | 40 MM HDPE Pipe | 10000.00 | Mtrs. | 10.00 | 119.00 | 1190000.00 | 100.00 | 1000000.00 | 110.00 | 1100000.00 | 1000000.00 | System Advance Technologies Pvt. Ltd.
21.00 | Smart route marker | 50.00 | Nos. | 10.00 | 2050.00 | 102500.00 | 2050.00 | 102500.00 | 2000.00 | 100000.00 | 100000.00 | Suraj Informatics Pvt Ltd
22.00 | Smart Marker Locator with In-Built GPS & Marker Database Software | 1.00 | No. | 10.00 | 399000.00 | 399000.00 | 296000.00 | 296000.00 | 389000.00 | 389000.00 | 296000.00 | System Advance Technologies Pvt. Ltd.
23.00 | Supply & installation of Physical PVC route marker | 30.00 | Nos. | 10.00 | 2780.00 | 83400.00 | 1750.00 | 52500.00 | 2700.00 | 81000.00 | 52500.00 | System Advance Technologies Pvt. Ltd.
24.00 | Laying of fiber optic cable through HDPE/ trench/ HDD/PVC conduit. | 11500.00 | Mtrs. | 10.00 | 85.00 | 977500.00 | 95.00 | 1092500.00 | 90.00 | 1035000.00 | 977500.00 | Sandeep Tradex Pvt Ltd
25.00 | Supply of PVC Conduit | 200.00 | Mtrs. | 10.00 | 50.00 | 10000.00 | 44.00 | 8800.00 | 56.00 | 11200.00 | 8800.00 | System Advance Technologies Pvt. Ltd.
26.00 | Laying of HDPE through trench/ HDD | 10000.00 | Mtrs. | 10.00 | 99.00 | 990000.00 | 50.00 | 500000.00 | 100.00 | 1000000.00 | 500000.00 | System Advance Technologies Pvt. Ltd.
27.00 | Trenching & refilling of soft soil including supply of sand & bricks as required | 1500.00 | Mtrs. | 10.00 | 450.00 | 675000.00 | 505.00 | 757500.00 | 550.00 | 825000.00 | 675000.00 | Sandeep Tradex Pvt Ltd
28.00 | Horizontal directional drilling (HDD) | 9500.00 | Mtrs. | 10.00 | 342.00 | 3249000.00 | 333.00 | 3163500.00 | 350.00 | 3325000.00 | 3163500.00 | System Advance Technologies Pvt. Ltd.
29.00 | Splicing | 360.00 | Nos. | 10.00 | 300.00 | 108000.00 | 300.00 | 108000.00 | 200.00 | 72000.00 | 72000.00 | Suraj Informatics Pvt Ltd
30.00 | Optical Time Domain Reflectometer (OTDR) for testing the integrity of fiber optic cables. | 1.00 | No. | 10.00 | 175000.00 | 175000.00 | 170600.00 | 170600.00 | 180300.00 | 180300.00 | 170600.00 | System Advance Technologies Pvt. Ltd.
31.00 | Splicing Machine for fiber optic fusion splicer | 1.00 | No. | 10.00 | 210000.00 | 210000.00 | 23300.00 | 23300.00 | 205000.00 | 205000.00 | 23300.00 | System Advance Technologies Pvt. Ltd.
32.00 | OFC joint chamber: 10-inch-thick wall with inside dimension 2’ x 2’ x 2.5’ feet. An underground chamber having 2 x 2 x 2.5 feet inner space, 10-inch thickness of brick side walls & 10mm-thick metal cover of appropriate size as chamber cover with hinge joint & locking mechanism. Minimum 20 mtr cable to kept inside the chamber | 25.00 | Nos. | 10.00 | 13980.00 | 349500.00 | 11900.00 | 297500.00 | 13500.00 | 337500.00 | 297500.00 | System Advance Technologies Pvt. Ltd.
33.00 | OFC joint chamber: 10-inch-thick wall with inside dimension 3 x 3 x 3.5 feet. An underground chamber having 3 x 3 x 3.5 feet inner space, 10-inch thickness of brick side walls & 15mm thick metal cover of appropriate size as chamber cover with hinge joint & locking mechanism. Minimum 500 mtr cable to kept inside the chamber | 1.00 | No. | 10.00 | 24300.00 | 24300.00 | 20500.00 | 20500.00 | 25000.00 | 25000.00 | 20500.00 | System Advance Technologies Pvt. Ltd.
34.00 | Installation & configuration of Switch & controller for temperature and humidity sensor system, Rack Fixing & dressing, Over all integration of all networking devices, testing, commissioning & documentation including 5 year service support . | 1.00 | No. | 10.00 | 379099.00 | 379099.00 | 495000.00 | 495000.00 | 460000.00 | 460000.00 | 379099.00 | Sandeep Tradex Pvt Ltd
| Total in Figures |  |  |  |  | 13760899.00 |  | 13928200.00 |  | 14552800.00
Lowest Amount Quoted BY: Sandeep Tradex Pvt Ltd(13760899.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC FOR OFC RING FOR CNS FACILITIES Tender ID: 2020_AAI_64642_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Sandeep Tradex Pvt Ltd | 13760899.00 | L1
| 2 | System Advance Technologies Pvt. Ltd. | 13928200.00 | L2
| 3 | Suraj Informatics Pvt Ltd | 14552800.00 | L3