## BoQ1
Government eProcurement System Created By: Pramod Soni Created Date/Time: 10-Feb-2021 02:57 PM Tender Title: Supply of ACBs for LT Panels of service block at S V Airport, Raipur Tender ID: 2020_AAI_64651_1
Tender Inviting Authority: Sr. Manager (E-E), Airports Authority of India, S.V. Airport, Raipur
Name of Work: Supply of ACB's for LT Panels of service block at S.V. Airport, Raipur
Contract No: 2020_AAI_64651
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | jaydeep agency corporation(GSTN-24ACIPP6157B1ZQ) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5) |  | shiva engineering company(GSTN-07AAZFS6813Q1Z1) |  | M/S DURGA SUPPLY AGENCIES(GSTN-21ADAPP6465D1ZV) |  | Jayant Electrical Services(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply & retrofitting of L & T make Omega Air Circuit Breaker (Retrofitting of L7T Make U Power ACB to L&T Make Omega ACB) having capacity 2500 amp - 4 pole - 65 KA with display unit, under voltage relay shunt release & common fault indication micro switch etc. including making modifications for retrofitting in existing main LT Panel and other accessories for incoming and outgoing Aluminium Bus links, Front door, ACB mounting tray, etc. with control wiring and interlocking arrangement so that newly installed ACBs will function successfully in existing panel. Note: Agency has to submit relevant test certificates, complete drawings and design of assembly, wiring diagrams, etc. | 1.00 | Each | 369896.34 | 450000.00 | 450000.00 | 312500.00 | 312500.00 | 260000.00 | 260000.00 | 300000.00 | 300000.00 | 288700.00 | 288700.00 | 276048.00 | 276048.00 | 260000.00 | Awasthi Electric Works
2.00 | Supply & retrofitting of L & T make Omega Air Circuit Breaker (Retrofitting of L7T Make U Power ACB to L&T Make Omega ACB) having capacity 1600 amp - 4 pole - 65 KA with display unit, under voltage relay shunt release & common fault indication micro switch etc. including making modifications for retrofitting in existing main LT Panel and other accessories for incoming and outgoing Aluminium Bus links, Front door, ACB mounting tray, etc. with control wiring and interlocking arrangement so that newly installed ACBs will function successfully in existing panel. Note: Agency has to submit relevant test certificates, complete drawings and design of assembly, wiring diagrams, etc. | 2.00 | Each | 318872.15 | 225000.00 | 450000.00 | 253658.00 | 507316.00 | 230000.00 | 460000.00 | 270000.00 | 540000.00 | 220500.00 | 441000.00 | 231625.00 | 463250.00 | 441000.00 | M/S DURGA SUPPLY AGENCIES
3.00 | Supply & retrofitting of L & T make Omega Air Circuit Breaker (Retrofitting of L7T Make U Power ACB to L&T Make Omega ACB) having capacity 1250 amp - 4 pole - 65 KA with display unit, under voltage relay shunt release & common fault indication micro switch etc. including making modifications for retrofitting in existing main LT Panel and other accessories for incoming and outgoing Aluminium Bus links, Front door, ACB mounting tray, etc. with control wiring and interlocking arrangement so that newly installed ACBs will function successfully in existing panel. Note: Agency has to submit relevant test certificates, complete drawings and design of assembly, wiring diagrams, etc. | 1.00 | Each | 277895.44 | 150000.00 | 150000.00 | 223907.00 | 223907.00 | 185000.00 | 185000.00 | 240000.00 | 240000.00 | 205800.00 | 205800.00 | 203403.00 | 203403.00 | 150000.00 | jaydeep agency corporation
4.00 | Supply following parts of L & T make U POWER Air Circuit Breaker having capacity 2500 amp - 4 pole - 65 KA with display unit. (1) L&T Make ACB U Power Electrical Charging motor 240V AC.110V AC/DC (2) L&T Make ACB U Power Closing coil 110V AC/DC 240V AC (3) L&T Make ACB U Power Shunt Release 240V AC .110V AC/DC (4) L&T Make ACB U Power Under Voltage Release 240V AC .110V AC/DC | 2.00 | Set | 33598.66 | 59000.00 | 118000.00 | 105000.00 | 210000.00 | 21500.00 | 43000.00 | 95000.00 | 190000.00 | 36000.00 | 72000.00 | 28360.00 | 56720.00 | 43000.00 | Awasthi Electric Works
| Total in Figures |  |  |  |  | 1168000.00 |  | 1253723.00 |  | 948000.00 |  | 1270000.00 |  | 1007500.00 |  | 999421.00
Lowest Amount Quoted BY: Awasthi Electric Works(948000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply of ACBs for LT Panels of service block at S V Airport, Raipur Tender ID: 2020_AAI_64651_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Awasthi Electric Works | 948000.00 | L1
| 2 | Jayant Electrical Services | 999421.00 | L2
| 3 | M/S DURGA SUPPLY AGENCIES | 1007500.00 | L3
| 4 | jaydeep agency corporation | 1168000.00 | L4
| 5 | Manish Electricals | 1253723.00 | L5
| 6 | shiva engineering company | 1270000.00 | L6