## BoQ1
Government eProcurement System Created By: NAMITHA K V Created Date/Time: 04-Jan-2021 11:04 AM Tender Title: SITC OF 06KVA MODULAR 1 PLUS 1 TYPE ONLINE UPS QTY.02 SETS AT MYSURU AIRPORT WITH 02 YEARS WARRANTY AND POST WARRANTY CAMC FOR 04 YEARS Tender ID: 2020_AAI_64714_1
Tender Inviting Authority: Airport Authority of India, Mysore Airport
Name of Work: SITC OF 06KVA MODULAR 1+1 TYPE ONLINE UPS QTY.02(TWO)SETS AT MYSURU AIRPORT WITH 02 (TWO) YEARS WARRANTY & POST-WARRANTY CAMC FOR 04 (FOUR) YEARS.
Contract No: Ref. AAI/MYS/CNS/ T-02/NEW UPS/2020
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CENTRAL DATA SYSTEMS PVT LTD(GSTN-29AACCC7017N1ZC) |  | Kensys(GSTN-29APWPS5565H1ZU) |  | TECHSER POWER SOLUTIONS PVT LTD(GSTN-29AABCT0359D1ZI)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | 1+1 modular 06 KVA in parallel redundant load sharing configuration & remote SNMP monitoring, with PC based software for monitoring control and with 02 years comprehensive warranty excluding of all taxes, levies, charges and duties. (UPS Make: Numeric, Legrand, Emerson, APC, Schneider, Power One) | 2.00 | Sets (Each set having 2 UPS in 1+1 configuration) | 8541.00 | 107000.00 | 214000.00 | 182560.00 | 365120.00 | 315000.00 | 630000.00 | 214000.00 | CENTRAL DATA SYSTEMS PVT LTD
2.00 | Type 3, 1 phase, 2P, SPD with accessories excluding of all taxes, levies, charges and duties. | 2.00 | Nos | 995468.00 | 37000.00 | 74000.00 | 2400.00 | 4800.00 | 3600.00 | 7200.00 | 4800.00 | Kensys
3.00 | Battery Bank(12V SMF VRLA battery, FR grade, Exide/Amarraja make) for backup upto 30 minutes or more on full load | 4.00 | Nos | 995468.00 | 36000.00 | 144000.00 | 57600.00 | 230400.00 | 45000.00 | 180000.00 | 144000.00 | CENTRAL DATA SYSTEMS PVT LTD
4.00 | Battery internal resistance meter of make B&K Precision and model 601B | 1.00 | Nos | 995468.00 | 65000.00 | 65000.00 | 31000.00 | 31000.00 | 4500.00 | 4500.00 | 4500.00 | TECHSER POWER SOLUTIONS PVT LTD
5.00 | Supply of ancillaries(Battery housing open type rack, interlinks, adjustable Rail kits) | 4.00 | Sets | 995468.00 | 5000.00 | 20000.00 | 18000.00 | 72000.00 | 6750.00 | 27000.00 | 20000.00 | CENTRAL DATA SYSTEMS PVT LTD
6.00 | Complete Installation, testing, validation, Commissioning and documentation (inclusive of all logistics and accessories) with 02 years comprehensive warranty | 1.00 | Lot | 995468.00 | 25000.00 | 25000.00 | 15000.00 | 15000.00 | 18000.00 | 18000.00 | 15000.00 | Kensys
7.00 | Cost of 04 years Comprehensive AMC after warranty. (Battery must be replaced at site with new factory sealed sets every two years at no extra cost as per the following schedule) 1st replacement – 2023 2nd replacement – 2025 3rd replacement – 2027 Batteries supplied shall not be manufactured earlier than six months from the date of supply. | 1.00 | Lot | 995468.00 | 712000.00 | 712000.00 | 280000.00 | 280000.00 | 585000.00 | 585000.00 | 280000.00 | Kensys
| Total in Figures |  |  |  |  | 1254000.00 |  | 998320.00 |  | 1451700.00
Lowest Amount Quoted BY: Kensys(998320.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC OF 06KVA MODULAR 1 PLUS 1 TYPE ONLINE UPS QTY.02 SETS AT MYSURU AIRPORT WITH 02 YEARS WARRANTY AND POST WARRANTY CAMC FOR 04 YEARS Tender ID: 2020_AAI_64714_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Kensys | 998320.00 | L1
| 2 | CENTRAL DATA SYSTEMS PVT LTD | 1254000.00 | L2
| 3 | TECHSER POWER SOLUTIONS PVT LTD | 1451700.00 | L3