## BoQ1
Government eProcurement System Created By: PRITPAL SINGH Created Date/Time: 15-Feb-2021 04:55 PM Tender Title: SITC of Public Address System at Aligarh Airport-terminal Building Tender ID: 2020_AAI_64963_1
Tender Inviting Authority: Airports Authority of India Agra Airport
Name of Work: SITC of Public Address System at Aligarh Airport-terminal Building
Contract No: 2020_AAI_64963_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | TRUE CRYSTAL BIZ SOLUTIONS PRIVATE LIMITED(GSTN-07AAGCT0710P2Z6) |  | TNS Networking Solutions Pvt Ltd(GSTN-07AACCT6872E1Z7) |  | PRIMASONIC SPECTRUM PVT LTD(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Speakers: SITC of 30 W cabinet speaker: Built –in 100v/70v transformer Wall mount type loudspeaker,5” +1.5” two ways speaker unit | 30.00 | Nos. |  | 8000.00 | 240000.00 | 5500.00 | 165000.00 | 3745.00 | 112350.00 | 112350.00 | PRIMASONIC SPECTRUM PVT LTD
2.00 | Pre Mixture and music source: SITC of Public Address pre-amplifier with five balanced MIC inputs, three AUX level inputs and one EMC (priority) level inputs. Priority muting is achieved via MIC 2 and EMC for overriding music for paging and emergency alarms. Individual gain controls are provided for MIC and AUX inputs, bass and treble controls are provided for overall tone control. | 1.00 | Nos. |  | 48000.00 | 48000.00 | 105000.00 | 105000.00 | 16319.00 | 16319.00 | 16319.00 | PRIMASONIC SPECTRUM PVT LTD
3.00 | Microphone: SITC of 50 cm gooseneck cardioid Microphone, table top type polar pattern super heart –shape sensitivity-35db frequency 60-14Khz output impedance<200 Ohm operating voltage DC 9Volt. | 2.00 | Nos. |  | 17500.00 | 35000.00 | 18650.00 | 37300.00 | 17300.00 | 34600.00 | 34600.00 | PRIMASONIC SPECTRUM PVT LTD
4.00 | Amplifier: SITC of AB class single channel 480W amplifier, THD 0.5%, S/N ratio 80db. | 2.00 | Nos. |  | 60000.00 | 120000.00 | 23700.00 | 47400.00 | 34030.00 | 68060.00 | 47400.00 | TNS Networking Solutions Pvt Ltd
5.00 | Supply of CAT 6 STP Cable | 900.00 | Mtr |  | 10.00 | 9000.00 | 55.00 | 49500.00 | 50.00 | 45000.00 | 9000.00 | TRUE CRYSTAL BIZ SOLUTIONS PRIVATE LIMITED
6.00 | Supply of 1.5 sq. mm. PVC sheathed 2 Core Twin Twisted Speaker Cable | 500.00 | Mtr |  | 25.00 | 12500.00 | 45.00 | 22500.00 | 38.00 | 19000.00 | 12500.00 | TRUE CRYSTAL BIZ SOLUTIONS PRIVATE LIMITED
7.00 | Supply of PVC Conduit | 500.00 | Mtr |  | 20.00 | 10000.00 | 45.00 | 22500.00 | 36.00 | 18000.00 | 10000.00 | TRUE CRYSTAL BIZ SOLUTIONS PRIVATE LIMITED
8.00 | Supply of Network Rack of suitable size | 1.00 | Nos. |  | 6500.00 | 6500.00 | 20000.00 | 20000.00 | 12000.00 | 12000.00 | 6500.00 | TRUE CRYSTAL BIZ SOLUTIONS PRIVATE LIMITED
9.00 | Documentation & Training | 1.00 | Set |  | 5000.00 | 5000.00 | 15000.00 | 15000.00 | 15000.00 | 15000.00 | 5000.00 | TRUE CRYSTAL BIZ SOLUTIONS PRIVATE LIMITED
10.00 | Charges for Supply Installation Testing and Commissioning | 1.00 | Job |  | 24000.00 | 24000.00 | 100000.00 | 100000.00 | 105000.00 | 105000.00 | 24000.00 | TRUE CRYSTAL BIZ SOLUTIONS PRIVATE LIMITED
| Total in Figures |  |  |  |  | 510000.00 |  | 584200.00 |  | 445329.00
Lowest Amount Quoted BY: PRIMASONIC SPECTRUM PVT LTD(445329.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of Public Address System at Aligarh Airport-terminal Building Tender ID: 2020_AAI_64963_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | PRIMASONIC SPECTRUM PVT LTD | 445329.00 | L1
| 2 | TRUE CRYSTAL BIZ SOLUTIONS PRIVATE LIMITED | 510000.00 | L2
| 3 | TNS Networking Solutions Pvt Ltd | 584200.00 | L3