## BoQ1
Government eProcurement System Created By: Saubhik Pan Created Date/Time: 08-Mar-2021 12:00 PM Tender Title: MO Power supply including standby DG sets at NSCBI Airport for 2021 to 2025 SH Round the Clock Operation and Maintenance of Electrical installations including Online UPS at CCR power House Tender ID: 2020_AAI_64974_1
Tender Inviting Authority: Airports Authority of India
Name of Work: M.O. Power supply i/c standby DG sets at NSCBI Airport for 2021 to 2025. SH: - Round the Clock Operation & Maintenance of Electrical installations including Online UPS at CCR power House.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ANIRBAN ENTERPRISE(GSTN-19AHNPB5949D1Z6) |  | Youngmen Traders(GSTN-19AEIPB6323B1ZZ) |  | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD(GSTN-19AAAAG2661G1ZU) |  | EASTERN POWER ENGINEERING(GSTN-18AGUPD0421A2ZX) |  | M/S DURGA SUPPLY AGENCIES(GSTN-21ADAPP6465D1ZV) |  | SHREE GOURI ELECTRIC ENTERPRISE(GSTN-19ADDPB4683J1ZE)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH:A - Round the clock Operation & maintenance. Round the clock operation and maintenance of the entire system viz. substation equipments, Transformers, LT panels / HT panels, DG sets, UPS etc. as provided for trouble free operation of the total system by deploying necessary manpower as per enclosed specifications and terms and conditions specified in the tender document. (a) First Year | 1.00 | year | 4203195.00 | 3550000.00 | 3550000.00 | 3560000.00 | 3560000.00 | 3840000.00 | 3840000.00 | 3391798.00 | 3391798.00 | 3456000.00 | 3456000.00 | 3758444.00 | 3758444.00 | 3391798.00 | EASTERN POWER ENGINEERING
2.00 | Round the clock operation and maintenance of the entire system viz. substation equipments, Transformers, LT panels / HT panels, DG sets, UPS etc. as provided for trouble free operation of the total system by deploying necessary manpower as per enclosed specifications and terms and conditions specified in the tender document. (b) Second year | 1.00 | year | 4203195.00 | 3550000.00 | 3550000.00 | 3560000.00 | 3560000.00 | 3840000.00 | 3840000.00 | 3391798.00 | 3391798.00 | 3457000.00 | 3457000.00 | 3983769.00 | 3983769.00 | 3391798.00 | EASTERN POWER ENGINEERING
3.00 | Round the clock operation and maintenance of the entire system viz. substation equipments, Transformers, LT panels / HT panels, DG sets, UPS etc. as provided for trouble free operation of the total system by deploying necessary manpower as per enclosed specifications and terms and conditions specified in the tender document. (c) Third year | 1.00 | year | 4203195.00 | 3550000.00 | 3550000.00 | 3560000.00 | 3560000.00 | 3840000.00 | 3840000.00 | 3391798.00 | 3391798.00 | 3457500.00 | 3457500.00 | 4222795.00 | 4222795.00 | 3391798.00 | EASTERN POWER ENGINEERING
4.00 | Round the clock operation and maintenance of the entire system viz. substation equipments, Transformers, LT panels / HT panels, DG sets, UPS etc. as provided for trouble free operation of the total system by deploying necessary manpower as per enclosed specifications and terms and conditions specified in the tender document. (d) Fourth Year | 1.00 | year | 4203195.00 | 3550000.00 | 3550000.00 | 3560000.00 | 3560000.00 | 3840000.00 | 3840000.00 | 3391798.00 | 3391798.00 | 3458000.00 | 3458000.00 | 4476162.00 | 4476162.00 | 3391798.00 | EASTERN POWER ENGINEERING
5.00 | SH:B - Comprehensive Annual Maintenance of UPS Comprehensive maintenance of 2 nos. 200 KVA On line Ups at CCR Substation i/c mandatory checks as per recommended schedule of manufacturer and preventive maintenance and checks except replacement of batteries. (a) First Year | 1.00 | year | 540000.00 | 48000.00 | 48000.00 | 48500.00 | 48500.00 | 481000.00 | 481000.00 | 567500.00 | 567500.00 | 40000.00 | 40000.00 | 480000.00 | 480000.00 | 40000.00 | M/S DURGA SUPPLY AGENCIES
6.00 | Comprehensive maintenance of 2 nos. 200 KVA On line Ups at CCR Substation i/c mandatory checks as per recommended schedule of manufacturer and preventive maintenance and checks except replacement of batteries. (b) Second year | 1.00 | year | 570000.00 | 51500.00 | 51500.00 | 52000.00 | 52000.00 | 481000.00 | 481000.00 | 567500.00 | 567500.00 | 50000.00 | 50000.00 | 504000.00 | 504000.00 | 50000.00 | M/S DURGA SUPPLY AGENCIES
7.00 | Comprehensive maintenance of 2 nos. 200 KVA On line Ups at CCR Substation i/c mandatory checks as per recommended schedule of manufacturer and preventive maintenance and checks except replacement of batteries. (c) Third year | 1.00 | year | 570000.00 | 51500.00 | 51500.00 | 52000.00 | 52000.00 | 481000.00 | 481000.00 | 567500.00 | 567500.00 | 60000.00 | 60000.00 | 529200.00 | 529200.00 | 51500.00 | ANIRBAN ENTERPRISE
8.00 | Comprehensive maintenance of 2 nos. 200 KVA On line Ups at CCR Substation i/c mandatory checks as per recommended schedule of manufacturer and preventive maintenance and checks except replacement of batteries. (d) Fourth Year | 1.00 | year | 600000.00 | 54000.00 | 54000.00 | 54500.00 | 54500.00 | 481000.00 | 481000.00 | 567500.00 | 567500.00 | 70000.00 | 70000.00 | 555660.00 | 555660.00 | 54000.00 | ANIRBAN ENTERPRISE
| Total in Figures |  |  |  |  | 14405000.00 |  | 14447000.00 |  | 17284000.00 |  | 15837192.00 |  | 14048500.00 |  | 18510030.00
Lowest Amount Quoted BY: M/S DURGA SUPPLY AGENCIES(14048500.00)

## BOQ Summary
BOQ Summary Details Tender Title: MO Power supply including standby DG sets at NSCBI Airport for 2021 to 2025 SH Round the Clock Operation and Maintenance of Electrical installations including Online UPS at CCR power House Tender ID: 2020_AAI_64974_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S DURGA SUPPLY AGENCIES | 14048500.00 | L1
| 2 | ANIRBAN ENTERPRISE | 14405000.00 | L2
| 3 | Youngmen Traders | 14447000.00 | L3
| 4 | EASTERN POWER ENGINEERING | 15837192.00 | L4
| 5 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD | 17284000.00 | L5
| 6 | SHREE GOURI ELECTRIC ENTERPRISE | 18510030.00 | L6