## BoQ1
Government eProcurement System Created By: anil kumar gupta Created Date/Time: 19-Jan-2021 12:13 PM Tender Title: Shifting of SMU NAV-AIDS from IGI Airport to RCDU Workshop, Safdarjung Airport, New Delhi - Civil workat RCDU workshop Tender ID: 2020_AAI_65028_1
Tender Inviting Authority: ASSTT. GENERAL MANAGER ENGINEERING, AIRPORTS AUTHORITY OF INDIA, SAFDARJUNG AIRPORT, NEW DELHI-110003
Name of Work: Shifting of SMU NAV- AIDS from IGI Airport to RCDU Workshop, Safdarjung Airport, New Delhi – Civil work at RCDU workshop.
Contract No: AAI/SAP/Engg(C)/SNA-CW/RCDU//2020-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SAMTA INTERIORS(GSTN-07AALPB7815K1ZJ) |  | Heera Constructions(GSTN-07ACJPH9127L1Z8) |  | kailash chawla(GSTN-07ADYPC8838P1ZG)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : a) 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | 11.00 | Cum |  | 4200.00 | 46200.00 | 4000.00 | 44000.00 | 4600.00 | 50600.00 | 44000.00 | Heera Constructions
2.00 | Brick work with common burnt clay F.P.S. (nonmodular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in: b) Cement mortar 1:6 (1 cement : 6 coarse sand) | 17.00 | Cum |  | 4700.00 | 79900.00 | 5000.00 | 85000.00 | 6000.00 | 102000.00 | 79900.00 | SAMTA INTERIORS
3.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :
3.10 | For fixed portion, Powder coated aluminium (minimum thickness of powder coating 50 micron | 50.00 | Kg |  | 320.00 | 16000.00 | 350.00 | 17500.00 | 400.00 | 20000.00 | 16000.00 | SAMTA INTERIORS
3.20 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately). a) Powder coated aluminium (minimum thickness of powder coating 50 micron | 100.00 | Kg |  | 330.00 | 33000.00 | 400.00 | 40000.00 | 470.00 | 47000.00 | 33000.00 | SAMTA INTERIORS
4.00 | Providing and fixing plain lining with necessary screws/nuts & bolts/ nails, including a coat of approved primer on one face, and fixed on wooden /steel frame work, complete as per direction of Engineer-incharge (Frame work shall be paid for separately). a) 12mm thick commercial ply conforming to IS : 1328 BWR type | 76.00 | Sqm |  | 580.00 | 44080.00 | 670.00 | 50920.00 | 800.00 | 60800.00 | 44080.00 | SAMTA INTERIORS
5.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality a) 1.0 mm thick | 76.00 | Sqm |  | 630.00 | 47880.00 | 600.00 | 45600.00 | 500.00 | 38000.00 | 38000.00 | kailash chawla
6.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineerin-charge. a) Pre-laminated particle board with decorative lamination on both sides | 5.00 | Sqm |  | 560.00 | 2800.00 | 700.00 | 3500.00 | 700.00 | 3500.00 | 2800.00 | SAMTA INTERIORS
7.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): a) With float glass panes of 5 mm thickness (weight not less than 12.50 kg/ sqm) | 5.00 | Sqm |  | 690.00 | 3450.00 | 850.00 | 4250.00 | 800.00 | 4000.00 | 3450.00 | SAMTA INTERIORS
8.00 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | 2.00 | Each |  | 160.00 | 320.00 | 325.00 | 650.00 | 520.00 | 1040.00 | 320.00 | SAMTA INTERIORS
9.00 | Providing and fixing ISI marked M.S. pressed butt hinges bright finished with necessary screws etc. complete : a) 100x58x1.90 mm | 9.00 | Each |  | 45.00 | 405.00 | 25.00 | 225.00 | 20.00 | 180.00 | 180.00 | kailash chawla
10.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : a) 300x10 mm | 3.00 | Each |  | 155.00 | 465.00 | 110.00 | 330.00 | 150.00 | 450.00 | 330.00 | Heera Constructions
11.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : a) 125 mm | 6.00 | Each |  | 28.00 | 168.00 | 20.00 | 120.00 | 35.00 | 210.00 | 120.00 | Heera Constructions
12.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 2000.00 | Kg |  | 80.00 | 160000.00 | 75.00 | 150000.00 | 90.00 | 180000.00 | 150000.00 | Heera Constructions
13.00 | 52 mm thick cement concrete flooring with concrete hardener topping, under layer 40 mm thick cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) and top layer 12 mm thick cement hardener consisting of mix 1:2 (1 cement hardener mix : 2 graded stone aggregate 6 mm nominal size) by volume, hardening compound mixed @ 2 litre per 50 kg of cement or as per manufacturer's specifications. This includes cost of cement slurry, but excluding the cost of nosing of steps etc. complete. | 46.00 | Sqm |  | 570.00 | 26220.00 | 550.00 | 25300.00 | 650.00 | 29900.00 | 25300.00 | Heera Constructions
14.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. a) Size of Tile 600x600 mm | 69.00 | Sqm |  | 800.00 | 55200.00 | 850.00 | 58650.00 | 850.00 | 58650.00 | 55200.00 | SAMTA INTERIORS
15.00 | Providing and Fixing 15 mm thick densified tegular edged eco friendly light weight calcium silicate false ceiling tiles of approved texture of size 595 x 595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanised steel sections (galvanising @ 120 grams per sqm including both side) consisting of main ‘T’ runner suitably spaced at joints to get required length and of size 24x38 mm made from 0.33 mm thick (minimum) sheet, spaced 1200 mm centre to centre, and cross “T” of size 24x28 mm made out of 0.33 mm (Minimum) sheet, 1200 mm long spaced between main’T’ at 600 mm centre to centre to form a grid of 1200x600 mm and secondary cross ‘T’ of length 600 mm and size 24 x28 mm made of 0.33 mm thick (Minimum) sheet to be inter locked at middle of the 1200x 600 mm panel to from grid of size 600x600 mm, resting on periphery walls /partitions on a Perimeter wall angle pre-coated steel of size(24x24X3000 mm made of 0.40 mm thick (minimum) sheet with the help of rawl plugs at 450 mm centre to centre with 25 mm long dry wall screws @ 230 mm interval and laying 15 mm thick densified edges calicum silicate ceiling tiles of approved texture in the grid, including, cutting/ making opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc., wherever required. Main ‘T’ runners to be suspended from ceiling using G.I. slotted cleats of size 25x35x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm G.I. adjustable rods with galvanised steel level clips of size 85 x 30 x 0.8 mm, spaced at 1200 mm centre to centre along main ‘T’, bottom exposed with 24 mm of all Tsections shall be pre-painted with polyster baked paint, for all heights, as per specifications, drawings and as directed by Engineer-in-Charge. sqm 1643.95 Note :- Only calcium silicate false ceiling area will be measured from wall to wall. No deduction shall be made for exposed frames/ opening (cut outs) having area less than 0.30 sqm.The calcium silicate ceiling tile shall have NRC value of 0.50 (Minimum), light reflection > 85%, non- combustible as per B.S. 476 part IV, 100% humidity resistance and also having thermal conductivity <0.043 w/ mK | 110.00 | Sqm |  | 1080.00 | 118800.00 | 1250.00 | 137500.00 | 1300.00 | 143000.00 | 118800.00 | SAMTA INTERIORS
16.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 fine sand) | 86.00 | Sqm |  | 200.00 | 17200.00 | 200.00 | 17200.00 | 275.00 | 23650.00 | 17200.00 | SAMTA INTERIORS, Heera Constructions
17.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix a) 1:6 (1 cement: 6 fine sand) | 70.00 | Sqm |  | 210.00 | 14700.00 | 220.00 | 15400.00 | 285.00 | 19950.00 | 14700.00 | SAMTA INTERIORS
18.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 400.00 | Sqm |  | 75.00 | 30000.00 | 70.00 | 28000.00 | 50.00 | 20000.00 | 20000.00 | kailash chawla
19.00 | Wall painting with premium acrylic emulsion paint of interior grade,having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour. a)Two coats | 360.00 | Sqm |  | 75.00 | 27000.00 | 62.00 | 22320.00 | 55.00 | 19800.00 | 19800.00 | kailash chawla
20.00 | Dismantling doors, windows andclerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead
20.10 | Of area 3 sq. metres and below | 6.00 | Each |  | 150.00 | 900.00 | 100.00 | 600.00 | 100.00 | 600.00 | 600.00 | Heera Constructions, kailash chawla
20.20 | Of area beyond 3 sq. metres | 1.00 | Each |  | 200.00 | 200.00 | 150.00 | 150.00 | 150.00 | 150.00 | 150.00 | Heera Constructions, kailash chawla
21.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. a) In cement mortar | .50 | Cum |  | 550.00 | 275.00 | 800.00 | 400.00 | 1000.00 | 500.00 | 275.00 | SAMTA INTERIORS
22.00 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | 400.00 | Sqm |  | 9.00 | 3600.00 | 5.00 | 2000.00 | 5.00 | 2000.00 | 2000.00 | Heera Constructions, kailash chawla
23.00 | Supplying and application of 2.00 mm thick ESD vinyl flooring of Tarkett or equivalent make of approved texture and colour along with earthing arrangement copper strip, adhesive etc all complete as per direction of engieer in charge | 166.00 | Sqm |  | 2550.00 | 423300.00 | 1600.00 | 265600.00 | 800.00 | 132800.00 | 132800.00 | kailash chawla
| Total in Figures |  |  |  |  | 1152063.00 |  | 1015215.00 |  | 958780.00
Lowest Amount Quoted BY: kailash chawla(958780.00)

## BOQ Summary
BOQ Summary Details Tender Title: Shifting of SMU NAV-AIDS from IGI Airport to RCDU Workshop, Safdarjung Airport, New Delhi - Civil workat RCDU workshop Tender ID: 2020_AAI_65028_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | kailash chawla | 958780.00 | L1
| 2 | Heera Constructions | 1015215.00 | L2
| 3 | SAMTA INTERIORS | 1152063.00 | L3