## BoQ1
Government eProcurement System Created By: Rahul S Mankar Created Date/Time: 08-Jan-2021 05:55 PM Tender Title: SITC of 30 kWp Solar Power Plant at Transmitting Station (GAGAN) at Nagpur Airport. Tender ID: 2020_AAI_65111_1
Tender Inviting Authority: Asstt. Gen. Manager (Engg-Elect), AAI, Nagpur
Name of Work :- SITC of 30 kWp Solar Power Plant at Transmitting Station (GAGAN) at Nagpur Airport.
Contract No: Ref:- AAI/NGP/E-E/2020-21/07/TX-SPP/NIT-04 Date: 23.12.2020
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | GoSolar Power Systems(GSTN-19ADMPB7452J1Z8) |  | Imperial Solar Solutions(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design, detailed engineering, manufacturing, supply, installation, testing and commissioning of Grid connected 30 kWp capacity Ground Mounted Solar Photo-Voltaic Power Plant as per technical specifications i/c. transportation, insurance, transit insurance, provision of NET metering facility, associated Civil foundation work, GI / aluminium module mounting structure work, etc., storage of materials, statutory clearances & approvals etc. and any other items or accessories required for successful commissioning of power plant on Turnkey/ Single responsibility basis including maintenance of the system during one year defects liability period, including but not limited to following major components and its accessories: (NOTE: Please read Special Conditions of Contract and Technical Specifications in the tender documents before quoting the rates.) | 1.00 | Job | 1505475.00 | 1410000.00 | 1410000.00 | 1499748.00 | 1499748.00 | 1410000.00 | GoSolar Power Systems
1.01 | Mono-PERC Solar Photovoltaic Modules having efficiency of 20% (min) with anti-glare coating, hydrophobic coating, bird repelling spikes as required as per technical specifications.
1.02 | NET metering i/c SITC of all energy meters, liaising, processing, testing and obtaining NOC / permits / approvals required to fulfil all statutory requirements of MSEDCL.
1.03 | Main Junction boxes for SPV modules as per technical specifications.
1.04 | Solar module array to junction box Interconnection DC cables as per technical specifications.
1.05 | Junction box to Inverter Interconnection AC cables as per technical specifications.
1.06 | All necessary required control and LT power cables up to injection point in LT panel as per technical specifications.
1.07 | DC Distribution board and AC Distribution board as required and as per technical specifications.
1.08 | Power conditioning unit / Inverter with efficiency of 98.3% (min) including provision of suitable enclosure / porta cabin in solar plant area as per technical specifications.
1.09 | Compact Weather Meteorological Station along with sensors for monitoring & logging of parameters as per technical specifications.
1.10 | Remote Plant Monitoring System for parameters as per technical specifications i/c provision of internet connectivity through wi-fi + Router etc. as required as per technical specifications.
1.11 | Lightning Protection system as per technical specifications.
1.12 | Surge Protection system as per technical specifications.
1.13 | Earthing protection system including earthing cables / flats, maintenance free gel earthing, pits etc. as per technical specifications.
1.14 | Fire fighting extinguishers (04 Nos - CO2 type - 4.5 Kg) sand buckets etc. (2 sets of 4 buckets with stand with canopy) as per technical specifications.
1.15 | Area / peripheral lighting including cabling (4 Nos. of Street light poles with LED Type fittings).
1.16 | Sprinkler based module cleaning system with necessary HDPE Storage Tank, Pump, HDPE pipe lines, valves etc. as per technical specifications.
1.17 | GI Structure of 85 Micron coating hot dip galvanised / Aluminium Structure for SPV module mounting with SS Nut bolts.
1.18 | Necessary clearing, levelling and compacting of site to make it suitable for installation of solar power plant, chain link fencing as per technical specifications.
1.19 | Mandatory sign boards etc. as required.
2.00 | Comprehensive Maintenance Contract of above Solar Photovoltaic Power Plant at Transmitting Station, Nagpur after completion of Defects Liability Period:
2.01 | 1st Year After Completion of Defects Liability Period. | 1.00 | Per Year | 28500.00 | 36000.00 | 36000.00 | 20000.00 | 20000.00 | 20000.00 | Imperial Solar Solutions
2.02 | 2nd Year After Completion of Defects Liability Period. | 1.00 | Per Year | 31350.00 | 36000.00 | 36000.00 | 20000.00 | 20000.00 | 20000.00 | Imperial Solar Solutions
2.03 | 3rd Year After Completion of Defects Liability Period. | 1.00 | Per Year | 34485.00 | 36000.00 | 36000.00 | 20000.00 | 20000.00 | 20000.00 | Imperial Solar Solutions
2.04 | 4th Year After Completion of Defects Liability Period. | 1.00 | Per Year | 37934.00 | 36000.00 | 36000.00 | 20000.00 | 20000.00 | 20000.00 | Imperial Solar Solutions
2.05 | 5th Year After Completion of Defects Liability Period. | 1.00 | Per Year | 41800.00 | 36000.00 | 36000.00 | 20000.00 | 20000.00 | 20000.00 | Imperial Solar Solutions
| Total in Figures |  |  |  |  | 1590000.00 |  | 1599748.00
Lowest Amount Quoted BY: GoSolar Power Systems(1590000.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of 30 kWp Solar Power Plant at Transmitting Station (GAGAN) at Nagpur Airport. Tender ID: 2020_AAI_65111_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | GoSolar Power Systems | 1590000.00 | L1
| 2 | Imperial Solar Solutions | 1599748.00 | L2