## BoQ1
Government eProcurement System Created By: Shabuddin Multani Created Date/Time: 25-Jan-2021 04:18 PM Tender Title: Upgrading of existing substation and provision of package substation for New Installation at Imphal Airport (Civil works) Tender ID: 2020_AAI_65188_1
Tender Inviting Authority: Senior Manager (Engg-Civil), Imphal International Airport,Imphal.
Name of Work: Upgrading of existing substation and provision of package substation for New Installation at Imphal Airport.(Civil works)
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | N.Motilal Singh(GSTN-14AVWPS6147B1Z9) |  | M/s. LAMCHAO POU(GSTN-NA) |  | M/s V.S. Nganingkhui(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. All kinds of soil | 983.00 | Cum | 100.00 | 200.00 | 196600.00 | 500.00 | 491500.00 | 227.50 | 223632.50 | 196600.00 | N.Motilal Singh
2.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering -All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size). | 93.00 | Cum | 100.00 | 8300.00 | 771900.00 | 7000.00 | 651000.00 | 10002.67 | 930248.31 | 651000.00 | M/s. LAMCHAO POU
3.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III): 3 graded stone aggregate 20 mm nominal size) | 61.00 | Cum | 100.00 | 11800.00 | 719800.00 | 8500.00 | 518500.00 | 14590.26 | 890005.86 | 518500.00 | M/s. LAMCHAO POU
4.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:1½:3 (1 Cement: 1½ coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size) | 4.00 | Cum | 100.00 | 11129.00 | 44516.00 | 8100.00 | 32400.00 | 13991.14 | 55964.56 | 32400.00 | M/s. LAMCHAO POU
5.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement :1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size) | 14.00 | Cum | 100.00 | 14364.00 | 201096.00 | 11000.00 | 154000.00 | 16463.19 | 230484.66 | 154000.00 | M/s. LAMCHAO POU
6.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size). | 14.00 | Cum | 100.00 | 15070.00 | 210980.00 | 10500.00 | 147000.00 | 17024.99 | 238349.86 | 147000.00 | M/s. LAMCHAO POU
7.00 | Filling available excavated earth (excluding rock) in trenches, plinth,sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead upto 50 m and lift upto 1.5 m. | 197.00 | Cum | 100.00 | 337.00 | 66389.00 | 250.00 | 49250.00 | 259.20 | 51062.40 | 49250.00 | M/s. LAMCHAO POU
8.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Foundations, footings, bases of columns etc. for mass concrete. | 203.00 | Sqm | 100.00 | 438.00 | 88914.00 | 310.00 | 62930.00 | 336.13 | 68234.39 | 62930.00 | M/s. LAMCHAO POU
9.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Lintels, beams, plinth beams, girders, bressumers and cantilevers. | 107.00 | Sqm | 100.00 | 850.00 | 90950.00 | 500.00 | 53500.00 | 657.94 | 70399.58 | 53500.00 | M/s. LAMCHAO POU
10.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Suspended floors, roofs, landings, balconies and access platform | 89.00 | Sqm | 100.00 | 1060.00 | 94340.00 | 700.00 | 62300.00 | 823.17 | 73262.13 | 62300.00 | M/s. LAMCHAO POU
11.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Columns, Pillars, Piers, Abutments, Posts and Struts. | 101.00 | Sqm | 100.00 | 1128.00 | 113928.00 | 650.00 | 65650.00 | 865.75 | 87440.75 | 65650.00 | M/s. LAMCHAO POU
12.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars. | 5470.00 | Kg | 100.00 | 128.00 | 700160.00 | 95.00 | 519650.00 | 99.40 | 543718.00 | 519650.00 | M/s. LAMCHAO POU
13.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending,placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars. | 2545.00 | Kg | 100.00 | 128.00 | 325760.00 | 95.00 | 241775.00 | 99.40 | 252973.00 | 241775.00 | M/s. LAMCHAO POU
14.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 18.00 | Cum | 100.00 | 9481.00 | 170658.00 | 6200.00 | 111600.00 | 14907.70 | 268338.60 | 111600.00 | M/s. LAMCHAO POU
15.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand). | 60.00 | Cum | 100.00 | 11688.00 | 701280.00 | 8200.00 | 492000.00 | 16598.66 | 995919.60 | 492000.00 | M/s. LAMCHAO POU
16.00 | Providing and fixing T-iron frames for doors, windows and ventilators of mild steel Tee-sections, joints mitred and welded, including fixing of necessary butt hinges and screws and applying a priming coat of approved steel primer. Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size). | 100.00 | Kg | 100.00 | 163.00 | 16300.00 | 130.00 | 13000.00 | 141.07 | 14107.00 | 13000.00 | M/s. LAMCHAO POU
17.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. 10.16.1 Hot finished welded type tubes | 383.90 | Kg | 100.00 | 220.00 | 84458.00 | 155.00 | 59504.50 | 169.25 | 64975.08 | 59504.50 | M/s. LAMCHAO POU
18.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 2043.02 | Kg | 100.00 | 155.00 | 316668.10 | 110.00 | 224732.20 | 132.62 | 270945.31 | 224732.20 | M/s. LAMCHAO POU
19.00 | 12 mm cement plaster of mix : 1:6 (1 Cement : 6 coarse sand). | 373.00 | Sqm | 100.00 | 405.00 | 151065.00 | 270.00 | 100710.00 | 414.22 | 154504.06 | 100710.00 | M/s. LAMCHAO POU
20.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:6 (1 Cement : 6 coarse sand) | 205.00 | Sqm | 100.00 | 466.00 | 95530.00 | 310.00 | 63550.00 | 481.96 | 98801.80 | 63550.00 | M/s. LAMCHAO POU
21.00 | 6 mm cement plaster of mix : 1:3 (1 Cement : 3 fine sand) | 275.00 | Sqm | 100.00 | 349.00 | 95975.00 | 250.00 | 68750.00 | 337.28 | 92752.00 | 68750.00 | M/s. LAMCHAO POU
22.00 | Finishing walls with Acrylic smooth exterior paint with requied shade. New work (Two or more coats applied @ 1.67 ltr/10 sqm over and including prime coat of exterior primer primer applied @ 2.20 kg/10 sqm). | 240.00 | Sqm | 100.00 | 252.00 | 60480.00 | 150.00 | 36000.00 | 224.24 | 53817.60 | 36000.00 | M/s. LAMCHAO POU
23.00 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade : New work (two or more coats) over and including water thinnable priming coat with cement primer | 536.00 | Sqm | 100.00 | 235.00 | 125960.00 | 150.00 | 80400.00 | 190.49 | 102102.64 | 80400.00 | M/s. LAMCHAO POU
24.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 776.00 | Sqm | 100.00 | 177.00 | 137352.00 | 120.00 | 93120.00 | 195.70 | 151863.20 | 93120.00 | M/s. LAMCHAO POU
25.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work. | 26.00 | Sqm | 100.00 | 186.00 | 4836.00 | 125.00 | 3250.00 | 153.12 | 3981.12 | 3250.00 | M/s. LAMCHAO POU
26.00 | Demolishing cement concrete manually/by machanical means including disposal of material within 50 metres lead as per direction of Engineer-in-charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix). | 5.00 | Cum | 100.00 | 267.00 | 1335.00 | 1700.00 | 8500.00 | 2050.19 | 10250.95 | 1335.00 | N.Motilal Singh
27.00 | Demolishing brick work manually/by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar. | 46.00 | Cum | 100.00 | 2260.00 | 103960.00 | 1500.00 | 69000.00 | 1734.47 | 79785.62 | 69000.00 | M/s. LAMCHAO POU
28.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead. Of area 3 sq. metres and below | 4.00 | Each | 100.00 | 422.00 | 1688.00 | 300.00 | 1200.00 | 323.89 | 1295.56 | 1200.00 | M/s. LAMCHAO POU
29.00 | Providing and fixing G.I. chain link fabric fencing of required width in mesh size 50x50 mm including strengthening with 2 mm dia wire or nuts, bolts and washers as required complete as per the direction of Engineer-in-charge. Made of G.I. wire of dia. 4 mm, PVC coated to achieve outer dia not less than 5 mm in required colour and shade | 408.00 | Sqm | 100.00 | 1270.00 | 518160.00 | 900.00 | 367200.00 | 973.87 | 397338.96 | 367200.00 | M/s. LAMCHAO POU
30.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. 80 mm thick C.C. paver block of M-30 grade with approved color design and pattern. | 330.00 | Sqm | 100.00 | 1467.00 | 484110.00 | 1200.00 | 396000.00 | 2506.78 | 827237.40 | 396000.00 | M/s. LAMCHAO POU
31.00 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 40 mm nominal size) in pavements, laid to required slope and camber in panels as required including consolidation finishing and tamping complete. | 40.00 | Cum | 100.00 | 10558.00 | 422320.00 | 8000.00 | 320000.00 | 12941.60 | 517664.00 | 320000.00 | M/s. LAMCHAO POU
32.00 | Supplying and fixing rolling shutters of approved make, made of required size M.S. laths, interlocked together through their entire length and jointed together at the end by end locks, mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation complete, including the cost of providing and fixing necessary 27.5 cm long wire springs manufactured from high tensile steel wire of adequate strength conforming to IS: 4454 - part 1 and M.S. top cover of required thickness for rolling shutters. 80x0.90 mm M.S. laths with 0.90 mm thick top cover | 15.00 | Sqm | 100.00 | 4087.00 | 61305.00 | 2500.00 | 37500.00 | 3164.62 | 47469.30 | 37500.00 | M/s. LAMCHAO POU
33.00 | Extra for providing mechanical device chain and crank operation for operating rolling shutters. Exceeding 10.00 sqm and upto 16.80 sqm in the area | 15.00 | Sqm | 100.00 | 1703.00 | 25545.00 | 900.00 | 13500.00 | 1460.43 | 21906.45 | 13500.00 | M/s. LAMCHAO POU
34.00 | Supplying and filling moorum/ Baalu Shingle/ suitable earth obtained from approved quarry in embankment or depressions in layers not exceeding 20cm (loose) in depth (or any thickness as approved by the Engineer-in-Charge in case vibratory roller / soil compactor is used) including breaking clods, watering, consolidating each layer with power road roller 8-10 tonnes weight or vibratory roller / soil compactor of adequate capacity under optimum moisture content condition to give at least 98% of the maximum laboratory dry density (modified proctor density) as per IS code 2720 (part VIII) complete including leveling fine dressing to the required grade, camber and slope complete as per MORTH specifications and as directed by the Engineer-in-Charge with all leads and lifts (The item includes cost of work, payment of necessary royalty, carriage of moorum / suitable earth upto work site for all leads and lifts involved from all sources acquired or arranged by the Contractor. Payment to be made for compacted quantity only). | 144.00 | Cum | 100.00 | 1101.00 | 158544.00 | 700.00 | 100800.00 | 1021.80 | 147139.20 | 100800.00 | M/s. LAMCHAO POU
35.00 | Providing and laying non-pressure NP2 class (light duty) R.C.C.pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : 250 mm dia. R.C.C. pipe | 810.00 | Mtr. | 100.00 | 2700.00 | 2187000.00 | 800.00 | 648000.00 | 1815.42 | 1470490.20 | 648000.00 | M/s. LAMCHAO POU
36.00 | Providing, laying, spreading and compacting graded stone aggregate (size range 53 mm to 0.075 mm ) to wet mix macadam (WMM) specification including premixing the material with water at OMC in for all leads & lifts, laying in uniform layers with mechanical paverfinisher in sub- base / base course on well prepared surface and compacting with vibratory roller of 8 to 10 tonne capacity to achievethe desired density, complete as per specifications and directions of Engineer-in-Charge. | 105.00 | Cum | 100.00 | 4067.00 | 427035.00 | 3000.00 | 315000.00 | 3843.09 | 403524.45 | 315000.00 | M/s. LAMCHAO POU
37.00 | Providing and applying tack coat using bitumen emulsion conforming to IS:8887, using emulsion pressure distributer including preparing the surface & cleaning with mechanical broom. With rapid setting bitumen emulsion On W.B.M / W.M.M. @ 0.4kg/sqm | 200.00 | Sqm | 100.00 | 16.00 | 3200.00 | 10.00 | 2000.00 | 21.29 | 4258.00 | 2000.00 | M/s. LAMCHAO POU
38.00 | Providing and laying bituminous macadam using crushed stone aggregates of specified grading premixed with bituminous binder, transported to site by tippers, laid over a previously prepared surface with paver finisher equiped with electronic sensor to the required grade, level and alignment and rolling with smooth wheeled, vibratory and tandem rollers as per specifications to achieve the desired compaction and density, complete as per specificatons and directions of Engineer-in-Charge. 50 to 100 mm average compacted thickness with bitumen of grade VG-30 @ 3.50% (percentage by weight of total mix) prepared in Batch Type Hot Mix Plant of 100-120 TPH capacity. | 26.25 | Cum | 100.00 | 11924.00 | 313005.00 | 9000.00 | 236250.00 | 10698.61 | 280838.51 | 236250.00 | M/s. LAMCHAO POU
39.00 | Providing and applying tack coat using hot straight run bitumen of grade VG - 10, including heating the bitumen, spraying the bitumen with mechanically operated spray unit fitted on bitumen boiler, cleaning and preparing the existing road surface as per specifications : On bituminous surface @ 0.50 Kg / sqm | 1750.00 | Sqm | 100.00 | 51.00 | 89250.00 | 50.00 | 87500.00 | 55.28 | 96740.00 | 87500.00 | M/s. LAMCHAO POU
40.00 | 4 cm thick bitumastic sheet with hot bitumen of approved quality, using stone chippings (60% with 12.5 mm nominal size and 40% with 10 mm nominal size) @ 2.60 cum per 100 sqm and coarse sand @ 2.60 cum per 100 sqm of road surface and with bitumen @ 56 kg/cum of stone chippings and @ 128 kg/cum of sand over a tack coat with hot straight run bitumen, including consolidation with road roller of 8 to 10 tonne etc. complete. (tack coat to be paid separately) : With paving asphalt grade VG - 30 with no solvent | 1750.00 | Sqm | 100.00 | 741.00 | 1296750.00 | 650.00 | 1137500.00 | 731.36 | 1279880.00 | 1137500.00 | M/s. LAMCHAO POU
41.00 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone - III) : 6 graded stone aggregate 20 mm nominal size) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | 69.00 | Sqm | 100.00 | 945.00 | 65205.00 | 600.00 | 41400.00 | 1033.00 | 71277.00 | 41400.00 | M/s. LAMCHAO POU
42.00 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. | 4.00 | Each | 100.00 | 375.00 | 1500.00 | 200.00 | 800.00 | 378.15 | 1512.60 | 800.00 | M/s. LAMCHAO POU
43.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Coupler 110 mm | 26.00 | Mtr. | 100.00 | 469.00 | 12194.00 | 260.00 | 6760.00 | 359.98 | 9359.48 | 6760.00 | M/s. LAMCHAO POU
44.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Coupler 110 mm | 4.00 | Each | 100.00 | 180.00 | 720.00 | 150.00 | 600.00 | 138.99 | 555.96 | 555.96 | M/s V.S. Nganingkhui
45.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Bend 87.5° 110 mm | 4.00 | Each | 100.00 | 189.00 | 756.00 | 150.00 | 600.00 | 153.20 | 612.80 | 600.00 | M/s. LAMCHAO POU
46.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Shoe (Plain) 110 mm | 4.00 | Each | 100.00 | 174.00 | 696.00 | 130.00 | 520.00 | 134.26 | 537.04 | 520.00 | M/s. LAMCHAO POU
47.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Single pushfit Coupler 110 mm | 4.00 | Each | 100.00 | 166.00 | 664.00 | 130.00 | 520.00 | 127.95 | 511.80 | 511.80 | M/s V.S. Nganingkhui
48.00 | 62 mm thick cement concrete flooring with concrete hardener topping, under layer 50 mm thick cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) and top layer 12mm thick cement hardener consisting of mix 1:2 (1 cement hardener mix : 2 graded stone aggregate, 6mm nominal size) by volume, hardening compound mixed @ 2 litre per 50 kg of cement or as per manufacture’s specifications. This includes cost of cement slurry, but excluding the cost of nosing of steps etc. complete. | 75.00 | Sqm | 100.00 | 1315.00 | 98625.00 | 950.00 | 71250.00 | 1328.08 | 99606.00 | 71250.00 | M/s. LAMCHAO POU
49.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 22.50 | Cum | 100.00 | 3007.00 | 67657.50 | 2000.00 | 45000.00 | 2866.54 | 64497.15 | 45000.00 | M/s. LAMCHAO POU
50.00 | Dismantling manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge : bituminous road | 200.00 | Sqm | 100.00 | 467.00 | 93400.00 | 300.00 | 60000.00 | 361.82 | 72364.00 | 60000.00 | M/s. LAMCHAO POU
51.00 | Dismantling manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge : Water bound macadam road | 200.00 | Sqm | 100.00 | 241.00 | 48200.00 | 150.00 | 30000.00 | 184.06 | 36812.00 | 30000.00 | M/s. LAMCHAO POU
52.00 | Providing gola 75x75 mm in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 stone aggregate 10 mm and down gauge), including finishing with cement mortar 1:3 (1 cement : 3 fine sand) as per standard design : In 75x75 mm deep chase | 40.00 | Mtr. | 100.00 | 365.00 | 14600.00 | 250.00 | 10000.00 | 334.62 | 13384.80 | 10000.00 | M/s. LAMCHAO POU
53.00 | Providing Structural design & foundation and super structure i/c roof slab by carrying soil investigation (if Required) for New Store Room structure by adopting IS codes by qualified personnel and vetted by Govt. Engineering colleges including submission of structural drawings (3 sets) within 30 days to Engineer-In-Charge. | 1.00 | Job | 100.00 | 400000.00 | 400000.00 | 58000.00 | 58000.00 | 597236.66 | 597236.66 | 58000.00 | M/s. LAMCHAO POU
| Total in Figures |  |  |  |  | 12483319.60 |  | 8461471.70 |  | 12541969.90
Lowest Amount Quoted BY: M/s. LAMCHAO POU(8461471.70)

## BOQ Summary
BOQ Summary Details Tender Title: Upgrading of existing substation and provision of package substation for New Installation at Imphal Airport (Civil works) Tender ID: 2020_AAI_65188_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s. LAMCHAO POU | 8461471.70 | L1
| 2 | N.Motilal Singh | 12483319.60 | L2
| 3 | M/s V.S. Nganingkhui | 12541969.90 | L3