## BoQ1
Government eProcurement System Created By: Shobhit Krishna Created Date/Time: 15-Jan-2021 11:05 AM Tender Title: Vertical Expansion of Existing CISF Barrack at M.P.airport, Udaipur S.H. Construction of 2 CISF barrack at G 2 level to accommodate 41 CISF persons Tender ID: 2020_AAI_65256_1
Tender Inviting Authority: SR. MANAGER ENGG-CIVIL
Name of Work: Vertical Expansion of Existing CISF Barrack at M.P. Airport, Udaipur. S.H.: Construction of 2 CISF barrack at G+2 level to accommodate 41 CISF persons
Contract No: 2020_AAI_65256_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Lok Shail Enterprises(GSTN-08ACXPK9891L1ZA) |  | Jay Prakashbhai Tilara(GSTN-NA) |  | SHRINATHJI INFRA ENGINEERS PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing and laying in position ready mixed M-25 grade concrete for reinforced cement concrete work, using cement content as per approved design mix, manufactured in fully automatic batching plant and transported to site of work in transit mixer for all leads, having continuous agitated mixer, manufactured as per mix design of specified grade for reinforced cement concrete work, including pumping of R.M.C. from transit mixer to site of laying , excluding the cost of centering, shuttering finishing and reinforcement, including cost of admixtures in recommended proportions as per IS : 9103 to accelerate/ retard setting of concrete, improve workability without impairing strength and durability as per direction of the Engineer - in - charge.Note :- Cement content considered in this item is @ 330 kg/cum. Excess/less cement used as per design mix is payable/recoverable separately). All works above plinth level upto floor V level | 100.60 | Cum | 100.00 | 5472.00 | 550483.20 | 5570.00 | 560342.00 | 5650.00 | 568390.00 | 550483.20 | Lok Shail Enterprises
2.00 | Add for using extra cement in the items of design mix over and abovethe specified cement content therein | 20.20 | Qtl. | 100.00 | 500.00 | 10100.00 | 730.00 | 14746.00 | 620.00 | 12524.00 | 10100.00 | Lok Shail Enterprises
3.00 | Providing, hoisting and fixing up to floor five level precast reinforced cementconcrete in shelves, including setting in cement mortar 1:3 (1 cement :3 coarse sand), cost of required centering, shuttering and finishing withneat cement punning on exposed surfaces but excluding the cost of reinforcement, with 1:2:4 (1 cement : 2 coarse sand : 4 graded stoneaggregate 12.5 mm nominal size). | 8.30 | cum | 10.00 | 6072.00 | 50397.60 | 11200.00 | 92960.00 | 7700.00 | 63910.00 | 50397.60 | Lok Shail Enterprises
4.00 | Centring and shuttering including struttting, propping etc.and removal of form for: (b) Suspended floors, roofs, balconies and access platform. | 460.40 | Sqm | 10.00 | 250.00 | 115100.00 | 300.00 | 138120.00 | 330.00 | 151932.00 | 115100.00 | Lok Shail Enterprises
5.00 | Centring and shuttering including struttting, propping etc.and removal of form for: (c) Lintels, beams,plinth beams,griders, bressumers and cantilevers. | 359.20 | Sqm | 10.00 | 250.00 | 89800.00 | 350.00 | 125720.00 | 330.00 | 118536.00 | 89800.00 | Lok Shail Enterprises
6.00 | Centring and shuttering including struttting, propping etc.and removal of form for: (d) Columns, pillars, piers, abutment,posts and struts. | 182.50 | Sqm | 10.00 | 250.00 | 45625.00 | 400.00 | 73000.00 | 330.00 | 60225.00 | 45625.00 | Lok Shail Enterprises
7.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Edges of slabs and breaks in floors and walls Under 20 cm wide | 30.00 | Mtr. | 10.00 | 150.00 | 4500.00 | 400.00 | 12000.00 | 330.00 | 9900.00 | 4500.00 | Lok Shail Enterprises
8.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars | 10338.00 | Kg | 10.00 | 68.00 | 702984.00 | 76.00 | 785688.00 | 67.00 | 692646.00 | 692646.00 | SHRINATHJI INFRA ENGINEERS PRIVATE LIMITED
9.00 | Providing precast cement concrete Jali 1:2:4 (1 cement : 2 coarse sand: 4 graded stone aggregate 6 mm nominal size), reinforced with 1.6 mmdia mild steel wire, including centering and shuttering, rougheningcleaning, fixing and finishing in cement mortar 1:3 (1 cement: 3 finesand) etc. complete, excluding plastering of the jambs, sills and soffits.50 mm thick | 14.00 | Sqm | 10.00 | 500.00 | 7000.00 | 1350.00 | 18900.00 | 900.00 | 12600.00 | 7000.00 | Lok Shail Enterprises
10.00 | Brick work with F.P.S brick of class designation 50 in superstructure above plinth level upto floor V level in all level shap & size. Cement mortar 1:6 (1 cement : 6 coarse sand). | 106.60 | Cum | 10.00 | 4800.00 | 511680.00 | 5000.00 | 533000.00 | 5150.00 | 548990.00 | 511680.00 | Lok Shail Enterprises
11.00 | Half brick masonry with F.P.S bricks of class designation 50 in superstucture above plinth level upto floor V level in: Cement mortar 1:4 (1 cement : 4 coarse sand). | 220.80 | Sqm | 10.00 | 500.00 | 110400.00 | 600.00 | 132480.00 | 600.00 | 132480.00 | 110400.00 | Lok Shail Enterprises
12.00 | Providing and fixing 18mm thick gang saw cut mirror polished premoulded and prepolished) machine cut for kitchen platforms, vanity counters, window sills , facias and similar locations of required size of approved shade, colour and texture laid over 20mm thick base cement mortar 1:4 (1 cement : 4 coarse sand) with joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edge to give high gloss finish etc. complete at all levels. Raj Nagar Plain white marble/ Udaipur green marble/ Zebra black marble, Area of slab over 0.50 sqm | 4.60 | Sqm | 10.00 | 1850.00 | 8510.00 | 2200.00 | 10120.00 | 3500.00 | 16100.00 | 8510.00 | Lok Shail Enterprises
13.00 | Extra for providing edge moulding to 18mm thick marble stone counters, Vanities, etc., including machine polishing to edge to give high gloss finish etc., complete as per design approved by Engineer-in-charge. Marble work | 10.00 | Metre | 10.00 | 150.00 | 1500.00 | 200.00 | 2000.00 | 350.00 | 3500.00 | 1500.00 | Lok Shail Enterprises
14.00 | Providing and fixing pressed steel door frames conforming to IS: 4351, manufactured from commercial mild steel sheet of 1.60 mm thickness, including hinges, jamb, lock jamb, bead and if required angle threshold of mild steel angle of section 50x25 mm, or base ties of 1.60 mm, pressed mild steel welded or rigidly fixed together by mechanical means, including M.S. pressed butt hinges 2.5 mm thick with mortar guards, lock strike- plate and shock absorbers as specified and applying a coat of approved steel primer after pre-treatment of the surface as directed by Engineer- in-charge: Profile B : Fixing with adjustable lugs with split end tail to each jamb | 137.40 | mtr | 10.00 | 300.00 | 41220.00 | 380.00 | 52212.00 | 300.00 | 41220.00 | 41220.00 | SHRINATHJI INFRA ENGINEERS PRIVATE LIMITED, Lok Shail Enterprises
15.00 | Providing and fixing pressed steel door frames conforming to IS: 4351, manufactured from commercial mild steel sheet of 1.60 mm thickness, including hinges, jamb, lock jamb, bead and if required angle threshold of mild steel angle of section 50x25 mm, or base ties of 1.60 mm, pressed mild steel welded or rigidly fixed together by mechanical means, including M.S. pressed butt hinges 2.5 mm thick with mortar guards, lock strike- plate and shock absorbers as specified and applying a coat of approved steel primer after pre-treatment of the surface as directed by Engineer- in-charge: Profile E : Fixing with adjustable lugs with split end tail to each jamb | 31.80 | mtr | 10.00 | 350.00 | 11130.00 | 520.00 | 16536.00 | 350.00 | 11130.00 | 11130.00 | SHRINATHJI INFRA ENGINEERS PRIVATE LIMITED, Lok Shail Enterprises
16.00 | Providing and fixing factory made ISI marked steel glazed doors, windows and ventilators, side /top /centre hung, with beading and all members such as F7D, F4B, K11 B and K12 B etc. complete of standard rolled steel sections, joints mitred and flash butt welded and sash bars tenoned and riveted, including providing and fixing of hinges, pivots, including priming coat of approved steel primer, but excluding the cost of other fittings, complete all as per approved design, (sectional weight of only steel members shall be measured for payment). Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) | 2147.60 | Kg. | 10.00 | 100.00 | 214760.00 | 150.00 | 322140.00 | 100.00 | 214760.00 | 214760.00 | SHRINATHJI INFRA ENGINEERS PRIVATE LIMITED, Lok Shail Enterprises
17.00 | Providing & fixing fly proof wire gauze to windows, clerestory windows & doors with M.S. Flat 15x3 mm and nuts & bolts complete.Stainless steel (grade 304) wire gauze of 0.5 mm dia wire and1.4 mm aperture on both sides. | 139.70 | Sqm | 10.00 | 700.00 | 97790.00 | 700.00 | 97790.00 | 720.00 | 100584.00 | 97790.00 | Lok Shail Enterprises, Jay Prakashbhai Tilara
18.00 | Providing & fixing glass panes with putty and glazing clips in steel doors, windows, clerestory windows, all complete with :4.0 mm thick glass panes | 139.70 | Sqm | 10.00 | 500.00 | 69850.00 | 650.00 | 90805.00 | 700.00 | 97790.00 | 69850.00 | Lok Shail Enterprises
19.00 | Extra for providing and fixing steel beading of size 10 x 10 x 1.6 mm (boxtype), approved shape and section with screws instead of glazing clipsand metal sash putty, in steel doors, windows, ventilators andcomposite units. | 236.00 | mtr | 10.00 | 40.00 | 9440.00 | 45.00 | 10620.00 | 35.00 | 8260.00 | 8260.00 | SHRINATHJI INFRA ENGINEERS PRIVATE LIMITED
20.00 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. Fixed to steel windows by welding | 2053.40 | Kg. | 10.00 | 70.00 | 143738.00 | 110.00 | 225874.00 | 100.00 | 205340.00 | 143738.00 | Lok Shail Enterprises
21.00 | Providing and fixing factory made P.V.C. door frame of size 50x47 mm with a wall thickness of 5 mm, made out of extruded 5mm rigid PVC foam sheet, mitred at corners and joined with 2 Nos of 150 mm long brackets of 15x15 mm M.S. square tube, the vertical door frame profiles to be reinforced with 19x19 mm M.S. square tube of 19 gauge, EPDM rubber gasket weather seal to be provided through out the frame. The door frame to be fixed to the wall using M.S. screws of 65/100 mm size, complete as per manufacturer’s specification and direction of Engineerin-Charge. | 108.90 | mtr | 10.00 | 400.00 | 43560.00 | 375.00 | 40837.50 | 350.00 | 38115.00 | 38115.00 | SHRINATHJI INFRA ENGINEERS PRIVATE LIMITED
22.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters : 25 mm thick (for cupboard) including ISI marked nickel plated bright finished M.S. piano hinges with necessary screws | 63.00 | Sqm | 10.00 | 1272.00 | 80136.00 | 1450.00 | 91350.00 | 2200.00 | 138600.00 | 80136.00 | Lok Shail Enterprises
23.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters : 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 13.90 | Sqm | 10.00 | 1572.00 | 21850.80 | 1550.00 | 21545.00 | 2300.00 | 31970.00 | 21545.00 | Jay Prakashbhai Tilara
24.00 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | 13.90 | Sqm | 10.00 | 300.00 | 4170.00 | 370.00 | 5143.00 | 300.00 | 4170.00 | 4170.00 | SHRINATHJI INFRA ENGINEERS PRIVATE LIMITED, Lok Shail Enterprises
25.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position: Second class teak wood | .70 | Cum | 10.00 | 90000.00 | 63000.00 | 80000.00 | 56000.00 | 110000.00 | 77000.00 | 56000.00 | Jay Prakashbhai Tilara
26.00 | Providing and fixing wire gauge shutters using stainless steel grade 304 wire gauge with wire of dia 0.5 mm and average width of aperture 1.4 mm in both directions for doors, windows and clerestory windows with necessary screws : 30 mm thick shutters With ISI marked stainless steel butt hinges of required size Second class teak wood | 13.90 | Sqm | 10.00 | 1000.00 | 13900.00 | 3500.00 | 48650.00 | 3300.00 | 45870.00 | 13900.00 | Lok Shail Enterprises
27.00 | Providing and fixing factory made panel PVC door shutter consisting of frame made out of M.S. tubes of 19 gauge thickness and size of 19 mm x 19 mm for styles and 15x15 mm for top & bottom rails. M.S. frame shall have a coat of steel primers of approved make and manufacture . M.S. frame covered with 5 mm thick heat moulded PVC 'C' channel of size 30 mm thickness, 70 mm width out of which 50 mm shall be flat and 20 mm shall be tapered in 45 degree angle on both side forming styles and 5 mm thick, 95 mm wide PVC sheet out of which 75 mm shall be flat and 20 mm shall be tapered in 45 degree on the inner side to orm top and bottom rail and 115 mm wide PVC sheet out of which 75 mm shall be flat and 20 m shall be tapered on both sides to form lock rail. Top, bottom and lock rails shall be provided both side of the panel. 10 mm (5 mm x 2 ) thick, 20 mm wide cross PVC sheet be provided as gap insert for top rail & bottom rail, paneling of 5 mm thick both side PVC sheet to be fitted in the M.S. frame welded/ sealed to the styles & rails with 7 mm (5 mm+2 mm) thick x 15 mm wide PVC sheet beading on inner side, and joined together with solvent cement adhesive. An additional 5 mm thick PVC strip of 20 mm width is to be stuck on the interior side of the 'C' Channel using PVC solvent adhesive etc. complete as per direction of Engineer-in-charge, manufacturer's specification & drawing. 30 mm thick plain PVC door shutters | 34.70 | Sqm | 10.00 | 2100.00 | 72870.00 | 2300.00 | 79810.00 | 2000.00 | 69400.00 | 69400.00 | SHRINATHJI INFRA ENGINEERS PRIVATE LIMITED
28.00 | Providing and fixing 50 mm bright finished brass cup board or wardrobe knob of approved quality with necessary screws. | 80.00 | Each | 10.00 | 50.00 | 4000.00 | 80.00 | 6400.00 | 50.00 | 4000.00 | 4000.00 | SHRINATHJI INFRA ENGINEERS PRIVATE LIMITED, Lok Shail Enterprises
29.00 | Providing and fixing magnetic catcher of approved quality in cupboard /ward robe shutters, including fixing with necessary screws etc. complete. A) Double strip (horizontal type) | 160.00 | Each | 10.00 | 20.00 | 3200.00 | 20.00 | 3200.00 | 30.00 | 4800.00 | 3200.00 | Lok Shail Enterprises, Jay Prakashbhai Tilara
30.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 6.00 | Each | 10.00 | 772.00 | 4632.00 | 1200.00 | 7200.00 | 1000.00 | 6000.00 | 4632.00 | Lok Shail Enterprises
31.00 | Providing and fixing aluminium sliding door bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade with nuts and screws etc. complete: (a) 300 x 16 mm | 18.00 | Each | 10.00 | 150.00 | 2700.00 | 200.00 | 3600.00 | 250.00 | 4500.00 | 2700.00 | Lok Shail Enterprises
32.00 | Providing and fixing aluminium sliding door bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade with nuts and screws etc. complete: (a) 250 x 16 mm | 62.00 | Each | 10.00 | 150.00 | 9300.00 | 180.00 | 11160.00 | 200.00 | 12400.00 | 9300.00 | Lok Shail Enterprises
33.00 | Providing and fixing aluminium tower bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade with necessary screws etc. complete: (a) 250x10 mm | 24.00 | Each | 10.00 | 70.00 | 1680.00 | 90.00 | 2160.00 | 100.00 | 2400.00 | 1680.00 | Lok Shail Enterprises
34.00 | Providing and fixing aluminium tower bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade with necessary screws etc. complete: (c) 150 x 10 mm | 142.00 | Each | 10.00 | 60.00 | 8520.00 | 65.00 | 9230.00 | 70.00 | 9940.00 | 8520.00 | Lok Shail Enterprises
35.00 | Providing and fixing aluminium pull bolt lock, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws bolts, nut and washers etc. complete. | 34.00 | Each | 10.00 | 60.00 | 2040.00 | 75.00 | 2550.00 | 70.00 | 2380.00 | 2040.00 | Lok Shail Enterprises
36.00 | Providing and fixing aluminium handles ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade with necessary screws etc. complete: (a) 125 mm | 24.00 | Each | 10.00 | 51.00 | 1224.00 | 50.00 | 1200.00 | 50.00 | 1200.00 | 1200.00 | SHRINATHJI INFRA ENGINEERS PRIVATE LIMITED, Jay Prakashbhai Tilara
37.00 | Providing and fixing aluminium handles ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade with necessary screws etc. complete: (b) 100 mm | 124.00 | Each | 10.00 | 45.00 | 5580.00 | 50.00 | 6200.00 | 40.00 | 4960.00 | 4960.00 | SHRINATHJI INFRA ENGINEERS PRIVATE LIMITED
38.00 | Providing and fixing aluminium hanging floor door stopper ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade with necessary screws etc. complete. single Rubber Stopper | 12.00 | Each | 10.00 | 28.00 | 336.00 | 35.00 | 420.00 | 40.00 | 480.00 | 336.00 | Lok Shail Enterprises
39.00 | Providing and fixing oxidised M.S. casement stays (straight peg type) with necessary screws etc. complete 300 mm weighing not less than 200 gms | 104.00 | Each | 10.00 | 31.00 | 3224.00 | 60.00 | 6240.00 | 50.00 | 5200.00 | 3224.00 | Lok Shail Enterprises
40.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. (a) In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 709.90 | Kg | 10.00 | 70.00 | 49693.00 | 110.00 | 78089.00 | 100.00 | 70990.00 | 49693.00 | Lok Shail Enterprises
41.00 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer. M.S. tube | 1525.00 | Kg | 10.00 | 85.00 | 129625.00 | 110.00 | 167750.00 | 100.00 | 152500.00 | 129625.00 | Lok Shail Enterprises
42.00 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : 25 mm thick | 366.20 | Sqm | 10.00 | 772.00 | 282706.40 | 870.00 | 318594.00 | 800.00 | 292960.00 | 282706.40 | Lok Shail Enterprises
43.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS : 15622 (thickness to be specified by the manufacturer) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | 271.20 | Sqm | 10.00 | 727.00 | 197162.40 | 700.00 | 189840.00 | 800.00 | 216960.00 | 189840.00 | Jay Prakashbhai Tilara
44.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in all colours, shades, except White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick bed of cement mortar 1:4 (1 Cement : 4 Coarse sand), including pointing the joints with white cement and matching pigments etc., complete. | 79.20 | Sqm | 10.00 | 727.00 | 57578.40 | 700.00 | 55440.00 | 800.00 | 63360.00 | 55440.00 | Jay Prakashbhai Tilara
45.00 | Providing and fixing on wall face unplasticised - Rigid PVC rain water pipes conforming to IS:13592 Type A including jointing with seal ring conforming to IS:5382 leaving 10 mm gap for thermal expansion. (i) Single socketed pipes, (a) 110 mm diameter | 38.60 | meter | 10.00 | 300.00 | 11580.00 | 270.00 | 10422.00 | 270.00 | 10422.00 | 10422.00 | SHRINATHJI INFRA ENGINEERS PRIVATE LIMITED, Jay Prakashbhai Tilara
46.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. (a) Bend 87.5° 110 mm bend | 6.00 | Each | 10.00 | 150.00 | 900.00 | 120.00 | 720.00 | 150.00 | 900.00 | 720.00 | Jay Prakashbhai Tilara
47.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. (b') Shoe (Plain) 110 mm Shoe | 6.00 | Each | 10.00 | 98.00 | 588.00 | 100.00 | 600.00 | 100.00 | 600.00 | 588.00 | Lok Shail Enterprises
48.00 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. 110 mm | 24.00 | Each | 10.00 | 181.00 | 4344.00 | 260.00 | 6240.00 | 250.00 | 6000.00 | 4344.00 | Lok Shail Enterprises
49.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 fine sand) | 539.70 | Sqm | 10.00 | 150.00 | 80955.00 | 185.00 | 99844.50 | 170.00 | 91749.00 | 80955.00 | Lok Shail Enterprises
50.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:6 (1 cement: 6 fine sand) | 537.40 | Sqm | 10.00 | 150.00 | 80610.00 | 210.00 | 112854.00 | 180.00 | 96732.00 | 80610.00 | Lok Shail Enterprises
51.00 | 6 mm cement plaster of mix : 1:3 (1 cement: 3 fine sand) | 450.00 | Sqm | 10.00 | 150.00 | 67500.00 | 175.00 | 78750.00 | 150.00 | 67500.00 | 67500.00 | SHRINATHJI INFRA ENGINEERS PRIVATE LIMITED, Lok Shail Enterprises
52.00 | Distempering with 1st quality acrylic distemper (ready mixed) of approved manufacturer, of required shade and colour complete, as per manufacturer’s specification Two or more coats on new work | 989.70 | Sqm | 10.00 | 50.00 | 49485.00 | 34.00 | 33649.80 | 80.00 | 79176.00 | 33649.80 | Jay Prakashbhai Tilara
53.00 | Finishing walls with water proofing cement paint of required shade : New work (Two or more coats applied @ 3.84 kg/10 sqm) | 537.40 | Sqm | 10.00 | 50.00 | 26870.00 | 45.00 | 24183.00 | 60.00 | 32244.00 | 24183.00 | Jay Prakashbhai Tilara
54.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 1027.40 | Sqm | 10.00 | 70.00 | 71918.00 | 55.00 | 56507.00 | 100.00 | 102740.00 | 56507.00 | Jay Prakashbhai Tilara
55.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete including cutting and making good the walls and floors wherever required : White Vitreous china Orissa pattern W.C. pan of size 580x440mm with integral type foot rests. | 8.00 | Each | 10.00 | 4000.00 | 32000.00 | 4500.00 | 36000.00 | 4000.00 | 32000.00 | 32000.00 | SHRINATHJI INFRA ENGINEERS PRIVATE LIMITED, Lok Shail Enterprises
56.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level P.V.C. flushing cistern with manually controlled device (handle lever), conforming to IS:7231, Parryware/ Hindware/ Seabird/ Orient (Coral) with all fittings and fixtures complete including cutting and making good the walls and floors wherever required : (a) W.C. pan with ISI marked white solid plastic seat and lid. | 4.00 | Each | 10.00 | 4000.00 | 16000.00 | 4800.00 | 19200.00 | 5500.00 | 22000.00 | 16000.00 | Lok Shail Enterprises
57.00 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm and 340x410x265 mm sizes respectively with automatic flushing cistern with standard flush pipe and C.P. brass spreaders with brass unions and G.I clamps complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required : Range of three urinal basins with 10litre white P.V.C. automatic flushing cistern | 6.00 | Each | 10.00 | 7000.00 | 42000.00 | 10500.00 | 63000.00 | 10000.00 | 60000.00 | 42000.00 | Lok Shail Enterprises
58.00 | Providing and fixing white vitreous china wash basin including making all connections but excluding the cost of fittings : Flat back wash basin of size 550x400 mm | 8.00 | Each | 10.00 | 700.00 | 5600.00 | 1000.00 | 8000.00 | 3500.00 | 28000.00 | 5600.00 | Lok Shail Enterprises
59.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Flexible pipe 32 mm dia. | 8.00 | Each | 10.00 | 75.00 | 600.00 | 100.00 | 800.00 | 100.00 | 800.00 | 600.00 | Lok Shail Enterprises
60.00 | Providing and fixing 100 mm sand cast Iron grating for gully trap. | 36.00 | Each | 10.00 | 75.00 | 2700.00 | 40.00 | 1440.00 | 50.00 | 1800.00 | 1440.00 | Jay Prakashbhai Tilara
61.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 8.00 | Each | 10.00 | 1000.00 | 8000.00 | 800.00 | 6400.00 | 1000.00 | 8000.00 | 6400.00 | Jay Prakashbhai Tilara
62.00 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing : Rectangular shape 1500x450 mm. | 4.00 | Each | 10.00 | 1500.00 | 6000.00 | 1500.00 | 6000.00 | 1000.00 | 4000.00 | 4000.00 | SHRINATHJI INFRA ENGINEERS PRIVATE LIMITED
63.00 | Providing and fixing soil, waste and vent pipes : 100 mm dia Sand cast iron S&S pipe as per IS: 1729. | 20.00 | meter | 10.00 | 865.00 | 17300.00 | 950.00 | 19000.00 | 1000.00 | 20000.00 | 17300.00 | Lok Shail Enterprises
64.00 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : 100 mm | 22.00 | Each | 10.00 | 300.00 | 6600.00 | 450.00 | 9900.00 | 400.00 | 8800.00 | 6600.00 | Lok Shail Enterprises
65.00 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. 100 mm dia Sand cast iron S&S as per IS - 1729 | 6.00 | Each | 10.00 | 341.00 | 2046.00 | 450.00 | 2700.00 | 400.00 | 2400.00 | 2046.00 | Lok Shail Enterprises
66.00 | Providing and fixing plain bend of required degree. 100 mm dia Sand cast iron S&S as per IS - 1729 | 20.00 | Each | 10.00 | 500.00 | 10000.00 | 350.00 | 7000.00 | 300.00 | 6000.00 | 6000.00 | SHRINATHJI INFRA ENGINEERS PRIVATE LIMITED
67.00 | Providing and fixing double equal plain junction of required degree. 100x100x100x100 mm Sand cast iron S&S as per IS - 1729 | 20.00 | Each | 10.00 | 600.00 | 12000.00 | 775.00 | 15500.00 | 900.00 | 18000.00 | 12000.00 | Lok Shail Enterprises
68.00 | Providing and fixing single equal plain junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. 100x100x100 mm Sand cast iron S&S as per IS - 1729 | 2.00 | Each | 10.00 | 500.00 | 1000.00 | 575.00 | 1150.00 | 500.00 | 1000.00 | 1000.00 | SHRINATHJI INFRA ENGINEERS PRIVATE LIMITED, Lok Shail Enterprises
69.00 | Providing and fixing single equal plain junction of required degree : 100x100x100 mm Sand cast iron S&S as per IS - 1729 | 2.00 | Each | 10.00 | 500.00 | 1000.00 | 480.00 | 960.00 | 500.00 | 1000.00 | 960.00 | Jay Prakashbhai Tilara
70.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge.concealed (a) 20 mm nominal outer dia Pipes | 60.00 | Metre | 10.00 | 285.00 | 17100.00 | 200.00 | 12000.00 | 425.00 | 25500.00 | 12000.00 | Jay Prakashbhai Tilara
71.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge.concealed (a) 25 mm nominal outer dia Pipes | 40.00 | Metre | 10.00 | 335.00 | 13400.00 | 220.00 | 8800.00 | 525.00 | 21000.00 | 8800.00 | Jay Prakashbhai Tilara
72.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement including testing of joints complete as per direction of Engineer in Charge.exposed on wall (a) 25 mm nominal outer dia Pipes | 80.00 | Metre | 10.00 | 200.00 | 16000.00 | 220.00 | 17600.00 | 375.00 | 30000.00 | 16000.00 | Lok Shail Enterprises
73.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement ,trenching ,refilling & testing of joints complete as per direction of Engineer in Charge. (b) 32 mm nominal outer dia Pipes | 100.00 | Metre | 10.00 | 220.00 | 22000.00 | 300.00 | 30000.00 | 485.00 | 48500.00 | 22000.00 | Lok Shail Enterprises
74.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : a) 25 mm nominal bore | 12.00 | Each | 10.00 | 428.00 | 5136.00 | 450.00 | 5400.00 | 450.00 | 5400.00 | 5136.00 | Lok Shail Enterprises
75.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : b) 32 mm nominal bore | 2.00 | Each | 10.00 | 501.00 | 1002.00 | 550.00 | 1100.00 | 550.00 | 1100.00 | 1002.00 | Lok Shail Enterprises
76.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : 20 mm nominal bore | 12.00 | Each | 10.00 | 327.00 | 3924.00 | 370.00 | 4440.00 | 350.00 | 4200.00 | 3924.00 | Lok Shail Enterprises
77.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : (a) 45 cm length 15 mm nominal bore | 20.00 | Each | 10.00 | 68.00 | 1360.00 | 80.00 | 1600.00 | 150.00 | 3000.00 | 1360.00 | Lok Shail Enterprises
78.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank ISI : 12701 marked with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. Circular tank | 4000.00 | Per Litre | 10.00 | 7.00 | 28000.00 | 10.00 | 40000.00 | 8.00 | 32000.00 | 28000.00 | Lok Shail Enterprises
79.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore | 22.00 | Each | 10.00 | 772.00 | 16984.00 | 400.00 | 8800.00 | 400.00 | 8800.00 | 8800.00 | SHRINATHJI INFRA ENGINEERS PRIVATE LIMITED, Jay Prakashbhai Tilara
80.00 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. 15 mm nominal bore. | 36.00 | Each | 10.00 | 772.00 | 27792.00 | 700.00 | 25200.00 | 550.00 | 19800.00 | 19800.00 | SHRINATHJI INFRA ENGINEERS PRIVATE LIMITED
81.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 a) 15 mm nominal bore | 26.00 | Each | 10.00 | 772.00 | 20072.00 | 650.00 | 16900.00 | 400.00 | 10400.00 | 10400.00 | SHRINATHJI INFRA ENGINEERS PRIVATE LIMITED
82.00 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/sqm. This layer will be allowed to air cure for 4 hours. b) Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry. | 95.00 | sqm | 10.00 | 298.00 | 28310.00 | 220.00 | 20900.00 | 420.00 | 39900.00 | 20900.00 | Jay Prakashbhai Tilara
83.00 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test. All above operations to be done in order and as directed and specified by the Engineer-in-Charge : With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | 502.30 | Sqm | 10.00 | 572.00 | 287315.60 | 980.00 | 492254.00 | 800.00 | 401840.00 | 287315.60 | Lok Shail Enterprises
84.00 | Providing gola 75x75 mm in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 stone aggregate 10 mm and down gauge), including finishing with cement mortar 1:3 (1 cement : 3 fine sand) as per standard design : a) In 75x75 mm deep chase | 225.30 | meter | 10.00 | 100.00 | 22530.00 | 200.00 | 45060.00 | 180.00 | 40554.00 | 22530.00 | Lok Shail Enterprises
85.00 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. | 4.00 | Each | 10.00 | 188.00 | 752.00 | 211.00 | 844.00 | 250.00 | 1000.00 | 752.00 | Lok Shail Enterprises
86.00 | Supply of 18 W, surface mounted LED batten light fitting having pressure die cast alluminium housing with epoxy powder coated finish, LEDs, inbuilt convertor, accessories etc and suitable for use on 230 volts, 50 Hz, single phase, AC supply complete as required and as per technical specifications. | 30.00 | Each | 10.00 | 472.00 | 14160.00 | 891.00 | 26730.00 | 1200.00 | 36000.00 | 14160.00 | Lok Shail Enterprises
87.00 | Supply of 15 W, 1'x1' size, surface mounted LED integral fitting having pressure die cast aluminium housing with epoxy powder coated finish, LEDs, inbuilt convertor, accessories etc and suitable for use on 230 volts, 50 Hz, single phase, AC supply complete as required and as per technical specifications. | 31.00 | Each | 10.00 | 1472.00 | 45632.00 | 1575.00 | 48825.00 | 1200.00 | 37200.00 | 37200.00 | SHRINATHJI INFRA ENGINEERS PRIVATE LIMITED
88.00 | Supply of 10 W (nominal capacity), surface mounted LED bulkhead fitting having pressure die cast aluminium housing with epoxy powder coated finish, LEDs, inbuilt convertor, accessories etc and suitable for use on 230 volts, 50 Hz, single phase, AC supply complete as required and as per technical specifications. | 40.00 | Each | 10.00 | 927.00 | 37080.00 | 765.00 | 30600.00 | 100.00 | 4000.00 | 4000.00 | SHRINATHJI INFRA ENGINEERS PRIVATE LIMITED
89.00 | Supply of 1200 mm sweep, white colour, 5 star rating energy saving ceiling fans with 30 cm down rod, canopies and other accessories but with out regulator and suitable for use on 230 volts, 50 Hz, single phase, AC supply complete as required. | 40.00 | Each | 10.00 | 2170.00 | 86800.00 | 2317.50 | 92700.00 | 2700.00 | 108000.00 | 86800.00 | Lok Shail Enterprises
90.00 | Supply of heavy duty Exhaust Fan of 300 mm dia. sweep, 900 rpm speed suitable for use on 230 volts, 50 Hz, single phase, AC supply as required. | 19.00 | Each | 10.00 | 2700.00 | 51300.00 | 2520.00 | 47880.00 | 2200.00 | 41800.00 | 41800.00 | SHRINATHJI INFRA ENGINEERS PRIVATE LIMITED
91.00 | Supply of louver for 300 mm heavy duty exhaust fan complete as required. | 19.00 | Each | 10.00 | 527.00 | 10013.00 | 900.00 | 17100.00 | 800.00 | 15200.00 | 10013.00 | Lok Shail Enterprises
92.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with piano type switch, phenolic laminated sheet, suitable size M.S. box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc. as required. | 98.00 | Point | 10.00 | 572.00 | 56056.00 | 463.50 | 45423.00 | 700.00 | 68600.00 | 45423.00 | Jay Prakashbhai Tilara
93.00 | Wiring for twin control light point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, 2 way piano type switch, phenolic laminated sheet, suitable size MS box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc. as required. | 2.00 | Point | 10.00 | 1872.00 | 3744.00 | 927.00 | 1854.00 | 950.00 | 1900.00 | 1854.00 | Jay Prakashbhai Tilara
94.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/recessed medium class PVC conduit alongwith 1 No. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 600.00 | Mtr. | 10.00 | 172.00 | 103200.00 | 117.00 | 70200.00 | 190.00 | 114000.00 | 70200.00 | Jay Prakashbhai Tilara
95.00 | Wiring for circuit/ submain wiring alongwith earth wire with the 2X2.5 sq.mm + 1X2.5 sq. mm earth wire sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. | 260.00 | Mtr. | 10.00 | 148.00 | 38480.00 | 94.50 | 24570.00 | 180.00 | 46800.00 | 24570.00 | Jay Prakashbhai Tilara
96.00 | Wiring for circuit/ submain wiring alongwith earth wire with the 4X6 sq.mm + 2X6 sq. mm earth wire sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. | 180.00 | Mtr. | 10.00 | 372.00 | 66960.00 | 198.00 | 35640.00 | 420.00 | 75600.00 | 35640.00 | Jay Prakashbhai Tilara
97.00 | Supplying and fixing 5/6 amps piano type switch on the existing switch box/ cover including connections etc. as required. | 10.00 | Each | 10.00 | 40.00 | 400.00 | 45.00 | 450.00 | 100.00 | 1000.00 | 400.00 | Lok Shail Enterprises
98.00 | Supplying and fixing 3 pin 5/6 amp piano type socket on the existing switch box/ cover including connections etc. as required. | 10.00 | Each | 10.00 | 68.00 | 680.00 | 81.00 | 810.00 | 120.00 | 1200.00 | 680.00 | Lok Shail Enterprises
99.00 | Supplying and fixing single module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 40.00 | Each | 10.00 | 272.00 | 10880.00 | 405.00 | 16200.00 | 180.00 | 7200.00 | 7200.00 | SHRINATHJI INFRA ENGINEERS PRIVATE LIMITED
100.00 | Supplying and fixing metal box of 150mm X 75mm X 60mm deep (nominal size) on surface or in recess with suitable size of phenolic laminated sheet cover in front including providing and fixing 3 pin 5/6 A socket outlet and 5/6 A piano type switch, connections, painting etc. as required. | 24.00 | Each | 10.00 | 272.00 | 6528.00 | 405.00 | 9720.00 | 250.00 | 6000.00 | 6000.00 | SHRINATHJI INFRA ENGINEERS PRIVATE LIMITED
101.00 | Supplying and fixing metal box of 180mm X 100mm X 60mm deep (nominal size) on surface or in recess with suitable size of phenolic laminated sheet cover in front including providing and fixing 6 pin 5/6 & 15/16 amps socket outlet and 15/16 amps piano type switch, connection, painting etc. as required. | 52.00 | Each | 10.00 | 372.00 | 19344.00 | 585.00 | 30420.00 | 350.00 | 18200.00 | 18200.00 | SHRINATHJI INFRA ENGINEERS PRIVATE LIMITED
102.00 | Installation, Testing and Commissioning of prewired LED light fitting of all types, complete with all accessories and driver etc. directly on ceiling / wall, including connection with 1.5 sq.mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 89.00 | Each | 10.00 | 127.00 | 11303.00 | 225.00 | 20025.00 | 200.00 | 17800.00 | 11303.00 | Lok Shail Enterprises
103.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable, including providing and fixing phenolic laminated sheet cover on the fan box etc. as required. | 40.00 | Each | 10.00 | 150.00 | 6000.00 | 67.50 | 2700.00 | 400.00 | 16000.00 | 2700.00 | Jay Prakashbhai Tilara
104.00 | Installation of exhaust fan upto 450 mm sweep in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. | 18.00 | Each | 10.00 | 272.00 | 4896.00 | 63.00 | 1134.00 | 300.00 | 5400.00 | 1134.00 | Jay Prakashbhai Tilara
105.00 | Extra for fixing the louvers/ shutters complete with frame for a exhaust fan of all sizes | 18.00 | Each | 10.00 | 127.00 | 2286.00 | 45.00 | 810.00 | 100.00 | 1800.00 | 810.00 | Jay Prakashbhai Tilara
106.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduitand earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required. | 12.00 | Point | 10.00 | 427.00 | 5124.00 | 270.00 | 3240.00 | 600.00 | 7200.00 | 3240.00 | Jay Prakashbhai Tilara
107.00 | Supplying and fixing 8 way , Double door, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without RCB/RCCB/Isolator) | 2.00 | Job | 10.00 | 1772.00 | 3544.00 | 3420.00 | 6840.00 | 2000.00 | 4000.00 | 3544.00 | Lok Shail Enterprises
108.00 | Supplying and fixing 4 way (4 + 12), Double door, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | 3.00 | Job | 10.00 | 3172.00 | 9516.00 | 5400.00 | 16200.00 | 3000.00 | 9000.00 | 9000.00 | SHRINATHJI INFRA ENGINEERS PRIVATE LIMITED
109.00 | Supplying and fixing 5 amps to 32 amps rating, 240 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of Single pole in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 54.00 | Each | 10.00 | 272.00 | 14688.00 | 166.50 | 8991.00 | 200.00 | 10800.00 | 8991.00 | Jay Prakashbhai Tilara
110.00 | Supplying and fixing of 25 Amps rating, 240 Volts, "C" curve, MCB suitable for inductive load of Single Pole and Neutral in the existing MCB DB complete with Connections, testing and commissioning etc. as requred. | 1.00 | Each | 10.00 | 472.00 | 472.00 | 1080.00 | 1080.00 | 500.00 | 500.00 | 472.00 | Lok Shail Enterprises
111.00 | Supplying and fixing 40 amps rating, 415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of Three pole and Neutral in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 4.00 | Each | 10.00 | 1472.00 | 5888.00 | 1890.00 | 7560.00 | 1000.00 | 4000.00 | 4000.00 | SHRINATHJI INFRA ENGINEERS PRIVATE LIMITED
112.00 | Supplying and fixing Cable End Box (Loose Wire Box) suitable for For 8 way, Double door SPN MCBDB single pole and neutral, sheet steel, MCB distribution board, 240 Volts, on surface/ recess, complete with testing and commissioning etc. as required. | 1.00 | Each | 10.00 | 627.00 | 627.00 | 1620.00 | 1620.00 | 1000.00 | 1000.00 | 627.00 | Lok Shail Enterprises
113.00 | Supplying and fixing Cable End Box (Loose Wire Box) suitable for For 4 way, Double door TPN MCBDB, sheet steel, MCB distribution board, 415 Volts, on surface/ recess, complete with testing and commissioning etc.as required. | 4.00 | Each | 10.00 | 772.00 | 3088.00 | 2520.00 | 10080.00 | 1000.00 | 4000.00 | 3088.00 | Lok Shail Enterprises
114.00 | Providing and fixing circular/ Hexagonal cast iron or M.S. sheet box for ceiling fan clamp, of internal dia 140 mm, 73 mm height, top lid of 1.5 mm thick M.S. sheet with its top surface hacked for proper bonding, top lid shall be screwed into the cast iron/ M.S. sheet box by means of 3.3 mm dia round headed screws, one lock at the corners. Clamp shall be made of 12 mm dia M.S. bar bent to shape as per standard drawing. | 40.00 | Each | 10.00 | 127.00 | 5080.00 | 135.00 | 5400.00 | 250.00 | 10000.00 | 5080.00 | Lok Shail Enterprises
115.00 | Supply, installation, testing & commissioning of desert cooler having 51 ltrs water tank capacity, cooling area upto 113 cum, 3 speed control alongwith trolley etc. and suitable for use on 230 volts, 50 Hz, single phase, AC supply complete as required. (Make: Symphony Jumbo 51 or equivalent) | 10.00 | Each | 10.00 | 11427.00 | 114270.00 | 19350.00 | 193500.00 | 9500.00 | 95000.00 | 95000.00 | SHRINATHJI INFRA ENGINEERS PRIVATE LIMITED
| Total in Figures |  |  |  |  | 5666008.40 |  | 6657681.80 |  | 6495029.00
Lowest Amount Quoted BY: Lok Shail Enterprises(5666008.40)

## BOQ Summary
BOQ Summary Details Tender Title: Vertical Expansion of Existing CISF Barrack at M.P.airport, Udaipur S.H. Construction of 2 CISF barrack at G 2 level to accommodate 41 CISF persons Tender ID: 2020_AAI_65256_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Lok Shail Enterprises | 5666008.40 | L1
| 2 | SHRINATHJI INFRA ENGINEERS PRIVATE LIMITED | 6495029.00 | L2
| 3 | Jay Prakashbhai Tilara | 6657681.80 | L3