## BoQ1
Government eProcurement System Created By: Gaurav Mathur Created Date/Time: 08-Jan-2021 05:55 PM Tender Title: Replacement of HPSV lights by LED lights in High Mast Towers at Jaipur International Airport, Jaipur Tender ID: 2020_AAI_65340_1
Tender Inviting Authority: Asstt. Gen. Manager (Engg-E), Jaipur Airport, Airport - 302029
Name of Work: Replacement of HPSV lights by LED lights in High Mast Towers at Jaipur International Airport, Jaipur
Contract No: AAI/JPR/ENGG(E)/F-69/2020-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | LEDURE LIGHTINGS LTD(GSTN-07AACCL8907C2ZM) |  | jaydeep agency corporation(GSTN-24ACIPP6157B1ZQ) |  | SAHA COMMERCIAL CONSTRUCTION(GSTN-19AASFS6288A1ZN) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design,Supply, installation, testing & commissioning of Nominal 350 W LED luminaries having > 110 Lumen/Watt light output with IP-66 pressure die cast aluminium alloy housing and heat resistant toughened glass cover suitable for High Mast with LED lamp, drivers,connectors, in existing high masts including wiring, providing counter weight etc. by replacing existing HPSV fitting, as per design criteria mentioned in technical specifications .complete as required. This also includes dismentaling of existing fittings and handing over the same to AAI store. | 96.00 | Job | 100.00 | 13900.00 | 1334400.00 | 18300.00 | 1756800.00 | 16500.00 | 1584000.00 | 18550.00 | 1780800.00 | 1334400.00 | LEDURE LIGHTINGS LTD
2.00 | Supply of LED type aviation obstruction light fittings with lamp. | 6.00 | Each | 100.00 | 6000.00 | 36000.00 | 3000.00 | 18000.00 | 4500.00 | 27000.00 | 6500.00 | 39000.00 | 18000.00 | jaydeep agency corporation
3.00 | Installation, testing and commissioning of LED type aviation obstruction light fitting and other accessories suitable to use with 230 volts single phase 50 hz., AC supply at the top of the masts including necessary modification, wiring in flexible metallic conduit etc.complete as required. | 6.00 | Each | 100.00 | 500.00 | 3000.00 | 1000.00 | 6000.00 | 500.00 | 3000.00 | 2550.00 | 15300.00 | 3000.00 | LEDURE LIGHTINGS LTD, SAHA COMMERCIAL CONSTRUCTION
4.00 | Supply and fixing of 6mm S.S. 304 grade wire rope including dismentaling of old wire rope suitable for high mast upto 25 mtr height with all accessories etc. complete as per OEM standards as required. | 2.00 | Job | 100.00 | 100000.00 | 200000.00 | 25000.00 | 50000.00 | 50000.00 | 100000.00 | 26000.00 | 52000.00 | 50000.00 | jaydeep agency corporation
5.00 | Supply and Fixing of 8C X 2.5 sqmm EPR PCP sheathed traling cable including dismentaling of trailing cable suitable for high mast upto 25 mtr height with all accessories etc. as per OEM standards complete as required. | 2.00 | Job | 100.00 | 70000.00 | 140000.00 | 15000.00 | 30000.00 | 35000.00 | 70000.00 | 29000.00 | 58000.00 | 30000.00 | jaydeep agency corporation
| Total in Figures |  |  |  |  | 1713400.00 |  | 1860800.00 |  | 1784000.00 |  | 1945100.00
Lowest Amount Quoted BY: LEDURE LIGHTINGS LTD(1713400.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of HPSV lights by LED lights in High Mast Towers at Jaipur International Airport, Jaipur Tender ID: 2020_AAI_65340_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | LEDURE LIGHTINGS LTD | 1713400.00 | L1
| 2 | SAHA COMMERCIAL CONSTRUCTION | 1784000.00 | L2
| 3 | jaydeep agency corporation | 1860800.00 | L3
| 4 | Manish Electricals | 1945100.00 | L4