## BoQ1
Government eProcurement System Created By: ARUN BABU R Created Date/Time: 29-Jan-2021 01:27 PM Tender Title: Replacement of Beam detector systems, Smoke detectors, Fire Alarm Panels at T1 and T4 at Chennai International Airport.SH- Replacement of VESDA system with Beam Detector. Tender ID: 2020_AAI_65728_1
Tender Inviting Authority: JGM Engg(Elect)-II,AMED-V,Operational Offices,Chennai Airport.
Name of Work: Replacement of Beam detector systems, Smoke detectors, Fire Alarm Panels at T1 & T4 at Chennai International Airport. SH: Replacement of VESDA system with Beam Detector.
Contract No: 2020/AAI/CIA/AMED-5/CPP-2/BEAM Tender Id: 2020_AAI_65728_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SALIMAX SYSTEMS AND CONTROLS ENGG(GSTN-33AFKPR7224N1ZY) |  | GLYPTIC(GSTN-19AAMFG0478J1ZY) |  | Sacaya Technologies Pvt Ltd(GSTN-29AAMCS5985R1ZX) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | Intek Security Systems Pvt Ltd(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supplying, Installing, Testing and Commissioning of UL / EN/BIS listed (Latest Version) Addressable motorised auto align Beam detector for Minimum of 100mtrs range with transmitter, receiver, multi mounting arrangement & control panel etc as per specification,complete as required. Approved Make Apollo/Edwards/Siemens/Bosch/Notifire/System Sensor/Morley IAS | 35.00 | Nos |  | 54000.00 | 1890000.00 | 49777.00 | 1742195.00 | 55000.00 | 1925000.00 | 40000.00 | 1400000.00 | 54500.00 | 1907500.00 | 1400000.00 | CENTRE TAP ENGINEERING
2.00 | Providing, installation, testing & commissioning of UL / EN /BIS listed (Latest Version) Monitor Module as per specifications (Model : SIGA-CTI of Edwards Make) | 35.00 | Nos |  | 2000.00 | 70000.00 | 3200.00 | 112000.00 | 2350.00 | 82250.00 | 4000.00 | 140000.00 | 2400.00 | 84000.00 | 70000.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
3.00 | Providing, installation, testing & commissioning of UL / EN /BIS listed Fault Isolator as per specifications(Model : SIGA-CTI of Edwards Make) | 4.00 | Nos |  | 2000.00 | 8000.00 | 3200.00 | 12800.00 | 2400.00 | 9600.00 | 2500.00 | 10000.00 | 2400.00 | 9600.00 | 8000.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
4.00 | Supply & fixing of Surge Protector Module having operating voltage of 120V AC to 240V AC, single phase continuous operating current, operating frequency of 47-63Hz as required. Approved make: Finder/L&T/Legrand/DEHN | 2.00 | Nos |  | 4000.00 | 8000.00 | 7500.00 | 15000.00 | 6000.00 | 12000.00 | 8500.00 | 17000.00 | 6000.00 | 12000.00 | 8000.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
5.00 | Providing SMPS suitable for Beam Detector with transmitter, receiver & control panel etc.as per specification,complete as required. Approved Make: Microtek/power-one/Socomec/Green/Numeric/Schneider/Powerware/Emerson/DBpower/APC | 2.00 | Nos |  | 3000.00 | 6000.00 | 7500.00 | 15000.00 | 1500.00 | 3000.00 | 8500.00 | 17000.00 | 47500.00 | 95000.00 | 3000.00 | Sacaya Technologies Pvt Ltd
6.00 | Providing, installation, testing & commissioning of 1 Loop Card having Capacity of Minimum 125 devices with necessary booster power supply in existing Fire Panel complete as required. Approved Make : Edwards | 2.00 | Job |  | 43000.00 | 86000.00 | 52750.00 | 105500.00 | 55000.00 | 110000.00 | 42000.00 | 84000.00 | 42500.00 | 85000.00 | 84000.00 | CENTRE TAP ENGINEERING
7.00 | Providing, installation, testing & commissioning of all Detectors , Modules, Programming & Testing with Fire Alarm Panel complete as required.. | 2.00 | Job |  | 30000.00 | 60000.00 | 45000.00 | 90000.00 | 50000.00 | 100000.00 | 42000.00 | 84000.00 | 15000.00 | 30000.00 | 30000.00 | Intek Security Systems Pvt Ltd
8.00 | Providing, installation, testing & commissioning of AUTOCAD software in existing PC ,including drawing designing with the existing building complete as required. | 2.00 | Job |  | 38000.00 | 76000.00 | 7500.00 | 15000.00 | 25000.00 | 50000.00 | 42000.00 | 84000.00 | 15000.00 | 30000.00 | 15000.00 | GLYPTIC
9.00 | Supply, installation, testing and commissioning of UL / EN /BIS listed loop powered addressable Hooter-cum- strobe with adjustable sound level in the range of min. 90 db to Max. 120 db at 1M distance complete with termination etc. as required and as per enclosed specification. Approved Make Apollo/Edwards(UTC)/Siemens/Bosch/Notifire/System Sensor/Morley IAS/Group 4/Minimax | 40.00 | Nos |  | 2000.00 | 80000.00 | 6700.00 | 268000.00 | 2400.00 | 96000.00 | 5000.00 | 200000.00 | 2400.00 | 96000.00 | 80000.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
10.00 | Providing, installation, testing & commissioning of UL / EN/BIS listed output Module as per specifications. Approved Make: Edwards | 40.00 | Nos |  | 2000.00 | 80000.00 | 3200.00 | 128000.00 | 2450.00 | 98000.00 | 4200.00 | 168000.00 | 2400.00 | 96000.00 | 80000.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
11.00 | Supply & laying of PVC insulated FRLS 2C x 1.5sq.mm copper conductor armoured control cabling for Fire detection & alarm devices as required. Approved Make: CMI/KEI/Bonton/Polycab/BatraHenley/RR Kable/Wrexham/Fusion Polimer | 1550.00 | Mtrs |  | 90.00 | 139500.00 | 155.00 | 240250.00 | 80.00 | 124000.00 | 100.00 | 155000.00 | 120.00 | 186000.00 | 124000.00 | Sacaya Technologies Pvt Ltd
12.00 | Wiring for circuit/ submain wiring alongwith earth wire with 2x1.5 sq.mm + 1x1.5 sq.mm of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required etc., | 675.00 | Mtrs |  | 80.00 | 54000.00 | 140.00 | 94500.00 | 120.00 | 81000.00 | 85.00 | 57375.00 | 180.00 | 121500.00 | 54000.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
13.00 | Supply and installation of S.S Clamp including SS support rod of minimum 1 mtr length complete as required etc for Beam detector and beam reflector as per site requirement | 35.00 | Nos |  | 5000.00 | 175000.00 | 1200.00 | 42000.00 | 25.00 | 875.00 | 4200.00 | 147000.00 | 6500.00 | 227500.00 | 875.00 | Sacaya Technologies Pvt Ltd
| Total in Figures |  |  |  |  | 2732500.00 |  | 2880245.00 |  | 2691725.00 |  | 2563375.00 |  | 2980100.00
Lowest Amount Quoted BY: CENTRE TAP ENGINEERING(2563375.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of Beam detector systems, Smoke detectors, Fire Alarm Panels at T1 and T4 at Chennai International Airport.SH- Replacement of VESDA system with Beam Detector. Tender ID: 2020_AAI_65728_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CENTRE TAP ENGINEERING | 2563375.00 | L1
| 2 | Sacaya Technologies Pvt Ltd | 2691725.00 | L2
| 3 | SALIMAX SYSTEMS AND CONTROLS ENGG | 2732500.00 | L3
| 4 | GLYPTIC | 2880245.00 | L4
| 5 | Intek Security Systems Pvt Ltd | 2980100.00 | L5