## BoQ1
Government eProcurement System Created By: rakesh kumar yadav Created Date/Time: 16-Jan-2021 03:44 PM Tender Title: Construction of ASR MSSR Building at Jaipur Airport, Jaipur. SH-Provision of gas suppressor system. Tender ID: 2020_AAI_65800_1
Tender Inviting Authority: Asstt. Gen. Manager (Engg-E), Jaipur Airport, Airport - 302029
Name of Work: Construction of ASR MSSR Building at Jaipur Airport, Jaipur. SH: Provision of gas suppressor system
Contract No: 2020_AAI_65800_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | advent electric technologies pvt. ltd.(GSTN-07AAJCA2055K1ZN) |  | Vasu Infosec Pvt Ltd(GSTN-27AABCV6080D1ZE) |  | Nexus Fire And Security Systems(GSTN-07AAKFN7125K1ZY) |  | FIREHUT COMMERCIAL EQUIPMENT PVT LTD(GSTN-07AAACF6139L1ZG)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply & fixing of 140 litre capacity, seamless type storage cylinder suitable for NOVEC™ 1230 gas agent with complete valve assembly, pressure gauge with all safety features, cylinder strap etc. complete as required as per technical specifications. | 3.00 | No. | 100.00 | 128500.00 | 385500.00 | 178000.00 | 534000.00 | 92987.50 | 278962.50 | 83000.00 | 249000.00 | 98600.00 | 295800.00 | 249000.00 | Nexus Fire And Security Systems
2.00 | Supply & fixing of 80 litre capacity, seamless type storage cylinder suitable for NOVEC™ 1230 gas agent with complete valve assembly, pressure gauge with all safety features, cylinder strap etc. complete as required as per technical specifications. | 3.00 | No. | 100.00 | 90000.00 | 270000.00 | 112000.00 | 336000.00 | 71380.00 | 214140.00 | 72000.00 | 216000.00 | 85600.00 | 256800.00 | 214140.00 | Vasu Infosec Pvt Ltd
3.00 | Supply & fixing of 34 litre capacity, seamless type storage cylinder suitable for NOVEC™ 1230 gas agent with complete valve assembly, pressure gauge with all safety features, cylinder strap etc. complete as required as per technical specifications. | 1.00 | No. | 10.00 | 51500.00 | 51500.00 | 92000.00 | 92000.00 | 43537.50 | 43537.50 | 48500.00 | 48500.00 | 60900.00 | 60900.00 | 43537.50 | Vasu Infosec Pvt Ltd
4.00 | Supply & filling of NOVEC™1230 gas in the existing seamleass storage cylinder complete as required as per technical specifications. | 700.00 | Kg | 10.00 | 2600.00 | 1820000.00 | 2500.00 | 1750000.00 | 2096.25 | 1467375.00 | 2225.00 | 1557500.00 | 2750.00 | 1925000.00 | 1467375.00 | Vasu Infosec Pvt Ltd
5.00 | Supply & fixing of control head suitable for operating electrically from fire detection and control panel with other master adapter kit accessories complete as required as per technical specifications. | 5.00 | No. | 10.00 | 32000.00 | 160000.00 | 12000.00 | 60000.00 | 14512.50 | 72562.50 | 34000.00 | 170000.00 | 26100.00 | 130500.00 | 60000.00 | advent electric technologies pvt. ltd.
6.00 | Supply & fixing of manually operated actuator/lever to operate the gas manually from the cylinder with all accessories complete as required as per technical specifications. | 5.00 | No. | 10.00 | 6500.00 | 32500.00 | 8000.00 | 40000.00 | 5643.75 | 28218.75 | 2000.00 | 10000.00 | 1450.00 | 7250.00 | 7250.00 | FIREHUT COMMERCIAL EQUIPMENT PVT LTD
7.00 | Supply & fixing of high pressure flexible rubber discharge hose with braided reinforcement to route the NOVEC™ 1230 gas agent from storage cylinders to the discharge piping complete as required as per technical specifications. | 6.00 | No. | 10.00 | 6500.00 | 39000.00 | 9000.00 | 54000.00 | 15265.00 | 91590.00 | 11500.00 | 69000.00 | 23200.00 | 139200.00 | 39000.00 | CENTRE TAP ENGINEERING
8.00 | Supply & fixing of high pressure flexible actuation hose to direct pressure from electrically operated control head to pressure operated control head for operation complete as required as per technical specifications. | 7.00 | No. | 10.00 | 3200.00 | 22400.00 | 5400.00 | 37800.00 | 2956.25 | 20693.75 | 25000.00 | 175000.00 | 10875.00 | 76125.00 | 20693.75 | Vasu Infosec Pvt Ltd
9.00 | Supply & fixing of suitable size discharge nozzles to provide proper flow and distribution of gas to flood hazard area complete as required as per technical specifications. | 20.00 | Each | 10.00 | 1300.00 | 26000.00 | 2800.00 | 56000.00 | 5052.50 | 101050.00 | 3300.00 | 66000.00 | 4200.00 | 84000.00 | 26000.00 | CENTRE TAP ENGINEERING
10.00 | Supply & fixing of maniflold fabricated from seamless heavy duty pipe suitable for connecting storage cylinders complete as required as per technical specifications. | 1.00 | Each | 10.00 | 19500.00 | 19500.00 | 12000.00 | 12000.00 | 18275.00 | 18275.00 | 22000.00 | 22000.00 | 21750.00 | 21750.00 | 12000.00 | advent electric technologies pvt. ltd.
11.00 | Supply & fixing of gas discharge pressure switch to trip A.C/ electrical equipment etc. complete as required as per technical specifications. | 5.00 | Job | 10.00 | 15500.00 | 77500.00 | 8000.00 | 40000.00 | 4783.75 | 23918.75 | 4500.00 | 22500.00 | 13050.00 | 65250.00 | 22500.00 | Nexus Fire And Security Systems
12.00 | Supply & fixing of manifold check valve to allow removal of any indivdual NOVEC™ 1230 gas storage cylinders from manifold while still retaining a closed circuit complete as required as per technical specifications. | 3.00 | Each | 10.00 | 6500.00 | 19500.00 | 6200.00 | 18600.00 | 12577.50 | 37732.50 | 17500.00 | 52500.00 | 13050.00 | 39150.00 | 18600.00 | advent electric technologies pvt. ltd.
13.00 | Supply & fixing of manual gas release station having manual break glass push button type call points with auxiliary contacts,hammer etc complete as required as per technical specifications. | 5.00 | Job | 10.00 | 1300.00 | 6500.00 | 1050.00 | 5250.00 | 1666.25 | 8331.25 | 1300.00 | 6500.00 | 2900.00 | 14500.00 | 5250.00 | advent electric technologies pvt. ltd.
14.00 | Supply & fixing of manual gas abort / release station having manual break glass push button type call points with auxiliary contacts, hammer gland etc complete as required as per technical specifications. | 5.00 | Job | 10.00 | 1300.00 | 6500.00 | 1050.00 | 5250.00 | 1666.25 | 8331.25 | 1300.00 | 6500.00 | 2900.00 | 14500.00 | 5250.00 | advent electric technologies pvt. ltd.
15.00 | Supply, Installation, Testing & Commissioning of 02-zone fire detection and alarm panel with one gas release module, battery backup with built in charger, hooter, provision of testing and reseting, gas release indication alarms and system wiring meeting all system requirements etc. complete as required as per technical specifications. | 5.00 | Job | 10.00 | 9000.00 | 45000.00 | 15000.00 | 75000.00 | 17200.00 | 86000.00 | 13900.00 | 69500.00 | 14500.00 | 72500.00 | 45000.00 | CENTRE TAP ENGINEERING
16.00 | Supply & Fixing of conventional type photo electric smoke detectors compatible to fire detection and gas release panel with all accessories like base , box etc complete as required as per technical specifications. | 28.00 | Each | 10.00 | 650.00 | 18200.00 | 1100.00 | 30800.00 | 1290.00 | 36120.00 | 1120.00 | 31360.00 | 850.00 | 23800.00 | 18200.00 | CENTRE TAP ENGINEERING
17.00 | Supply & Fixing of flasher sounder complete as required as per technical specifications. | 5.00 | Each | 10.00 | 1300.00 | 6500.00 | 1050.00 | 5250.00 | 1505.00 | 7525.00 | 1800.00 | 9000.00 | 2100.00 | 10500.00 | 5250.00 | advent electric technologies pvt. ltd.
18.00 | Supply & laying of 1.1 KV,PVC/XLPE insulated, FRLS PVC sheathed multi stranded copper conductor armoured cable of size 2x1.5sq mm conforming to IS:7098 (part-I) with upto date ammendments in existing pipes/surface or above ceiling etc complete as required. | 1650.00 | Mtr | 10.00 | 115.00 | 189750.00 | 130.00 | 214500.00 | 92.45 | 152542.50 | 118.00 | 194700.00 | 165.00 | 272250.00 | 152542.50 | Vasu Infosec Pvt Ltd
19.00 | Supply & fixing of 80mm dia MS seamless pipe, ASTM A-106(Sch 40), Grade B complete with all fittings and painting with one coat of redoxide and 2 coats of red enamel paint; fixing on ceiling with suspended supports, clamps anchor fastners, cutting chases / holes in valve ceiling and making good the same etc complete as required as per technical specifications of contract. | 20.00 | Mtr | 10.00 | 1300.00 | 26000.00 | 1450.00 | 29000.00 | 2406.93 | 48138.60 | 2600.00 | 52000.00 | 2050.00 | 41000.00 | 26000.00 | CENTRE TAP ENGINEERING
20.00 | Supply & fixing of 50mm dia MS seamless pipe, ASTM A-106(Sch 40), Grade B complete with all fittings and painting with one coat of redoxide and 2 coats of red enamel paint; fixing on ceiling with suspended supports, clamps anchor fastners, cutting chases / holes in valve ceiling and making good the same etc complete as required as per technical specifications of contract. | 36.00 | Mtr | 10.00 | 1000.00 | 36000.00 | 984.00 | 35424.00 | 1744.73 | 62810.28 | 2200.00 | 79200.00 | 1050.00 | 37800.00 | 35424.00 | advent electric technologies pvt. ltd.
21.00 | Supply & fixing of 32 mm dia MS seamless pipe, ASTM A-106(Sch 40), Grade B complete with all fittings and painting with one coat of redoxide and 2 coats of red enamel paint; fixing on ceiling with suspended supports, clamps anchor fastners, cutting chases / holes in valve ceiling and making good the same etc complete as required as per technical specifications of contract. | 12.00 | Mtr | 10.00 | 800.00 | 9600.00 | 696.00 | 8352.00 | 1481.35 | 17776.20 | 2000.00 | 24000.00 | 850.00 | 10200.00 | 8352.00 | advent electric technologies pvt. ltd.
22.00 | S.I.T.C of single loop fire alarm system control panel UL listed/approved complete with a) Loop card with minimum loop capacity of 198 devices (The loop card should recognize all type of detectors like heat , smoke , laser detectors etc ) b) 80 Character display unit c) Power supply unit d) 12 V, 7 Ahr Sealed maintenance free batteries 2 nos. e) Auto dialer facility withs 20 nos. dialer (U.L. Listed) | 1.00 | Each | 10.00 | 95400.00 | 95400.00 | 110000.00 | 110000.00 | 75250.00 | 75250.00 | 88000.00 | 88000.00 | 101500.00 | 101500.00 | 75250.00 | Vasu Infosec Pvt Ltd
23.00 | SITC of Analoge addressable multi criteria photo electric smokedetector complete with baseand mounting box with all mounting accessories (U.L. Listed) | 50.00 | Each | 10.00 | 2300.00 | 115000.00 | 2200.00 | 110000.00 | 2499.38 | 124969.00 | 2150.00 | 107500.00 | 1900.00 | 95000.00 | 95000.00 | FIREHUT COMMERCIAL EQUIPMENT PVT LTD
24.00 | SITC of Analoge addressable sounder cum strobe complete with base and mounting box with all mounting accessories (U.L. Listed) | 8.00 | Each | 10.00 | 5150.00 | 41200.00 | 3200.00 | 25600.00 | 2391.88 | 19135.04 | 3500.00 | 28000.00 | 4500.00 | 36000.00 | 19135.04 | Vasu Infosec Pvt Ltd
25.00 | SITC of Analoge addressable manual call point complete with back box with all mounting accessories (U.L. Listed) | 8.00 | Each | 10.00 | 2550.00 | 20400.00 | 2650.00 | 21200.00 | 2553.13 | 20425.04 | 2600.00 | 20800.00 | 4650.00 | 37200.00 | 20400.00 | CENTRE TAP ENGINEERING
26.00 | SITC of Analoge addressable monitor module complete with back box with all mounting accessories for integration of suppression system panels with main fire alarm pane | 5.00 | Each | 10.00 | 2550.00 | 12750.00 | 2700.00 | 13500.00 | 2553.13 | 12765.65 | 2350.00 | 11750.00 | 3200.00 | 16000.00 | 11750.00 | Nexus Fire And Security Systems
27.00 | SITC of remote response indicator including connections as required | 20.00 | Each | 10.00 | 65.00 | 1300.00 | 300.00 | 6000.00 | 440.75 | 8815.00 | 120.00 | 2400.00 | 250.00 | 5000.00 | 1300.00 | CENTRE TAP ENGINEERING
28.00 | Supply & Fixing ISI marked (IS:2878) Portable fire Extinguisher, Carbon-dioxide type flat base including valve, discharge hose of not less than 10 mm dia. min. 600 mm long & complete in all respects including initial fill with C02 gas confirming to IS:307-1966 filled to a filling ratio of not more than 0.667and wall suspension bracket. Capacity 4.5 Kg | 10.00 | Each | 10.00 | 6500.00 | 65000.00 | 4800.00 | 48000.00 | 5321.25 | 53212.50 | 5800.00 | 58000.00 | 5500.00 | 55000.00 | 48000.00 | advent electric technologies pvt. ltd.
29.00 | Supply & Fixing ISI marked (IS:10204) Poratable Fire Exitnguisher,Trolley mounted Mech. Foam type capacity 09 ltrs with gun-metal cap and nozzle and complete respects in all respects including initial fill and wall suspension. Capacity 9.0 ltrs | 5.00 | Each | 10.00 | 3200.00 | 16000.00 | 4900.00 | 24500.00 | 2902.50 | 14512.50 | 2000.00 | 10000.00 | 2400.00 | 12000.00 | 10000.00 | Nexus Fire And Security Systems
30.00 | Supply & Fixing G.I. Buckets of 04 nos x 9 Ltr capacity painted with red oxide and red paint and written with white paint "Fire" and mounted on MS angle iron bracket of size 50mm x 50 mm x 6 mm thick and 500 mm. long i/c. grouting in wall etc. as required i/c. filling with dry sand. | 2.00 | Set | 10.00 | 6500.00 | 13000.00 | 6800.00 | 13600.00 | 1720.00 | 3440.00 | 2600.00 | 5200.00 | 4250.00 | 8500.00 | 3440.00 | Vasu Infosec Pvt Ltd
| Total in Figures |  |  |  |  | 3647500.00 |  | 3811626.00 |  | 3158156.06 |  | 3462410.00 |  | 3964975.00
Lowest Amount Quoted BY: Vasu Infosec Pvt Ltd(3158156.06)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of ASR MSSR Building at Jaipur Airport, Jaipur. SH-Provision of gas suppressor system. Tender ID: 2020_AAI_65800_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Vasu Infosec Pvt Ltd | 3158156.06 | L1
| 2 | Nexus Fire And Security Systems | 3462410.00 | L2
| 3 | CENTRE TAP ENGINEERING | 3647500.00 | L3
| 4 | advent electric technologies pvt. ltd. | 3811626.00 | L4
| 5 | FIREHUT COMMERCIAL EQUIPMENT PVT LTD | 3964975.00 | L5