## BoQ1
Government eProcurement System Created By: Gajraj Singh Bhati Created Date/Time: 19-Feb-2021 05:01 PM Tender Title: Renovation of Fire Alarm and Detection System at Civil Enclave Jodhpur Tender ID: 2020_AAI_65853_1
Tender Inviting Authority: Senior Manager (Engg.-Elect.), AAI, Civil Enclave, Jodhpur.
Name of Work: Renovation of Fire Alarm and Detection System at Civil Enclave Jodhpur.
Contract No: AAI/ ENGG (E)/JOD/WE-118
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | advent electric technologies pvt. ltd.(GSTN-07AAJCA2055K1ZN) |  | Navyug Engineering(GSTN-08AARPG2253Q1Z4) |  | DOGRA AND DOGRA ENTERPRISES(GSTN-07AIFPD1861P2Z1) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | COOLTEK INDIA(GSTN-19ADXPB3581D1ZC) |  | TNS Networking Solutions Pvt Ltd(GSTN-07AACCT6872E1Z7)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, Testing & Commissioning of Microprocessor based 02 loop intellegent analogue Addressable Type UL/EN listed Fire Alarm Control Panel, with LCD display, The panel should be equiped of Sufficiant number of loops with loop capacity to take 125+125 intellegent addressable detectors/ devices in one loop for connecting smoke detectors, manual call points, Hooters etc suitable for operation on 230 Volts, 50 Hz AC power supply, LCD Unit to indicate fire and normal operation & power supply status, push button for accept and Reset, maintenance free batteries with minimum 30 minutes backup on alarm mode & 24 Hours on normal operation mode with automatic battery charger etc., programmable relays for AHU / power tripping, operation of Fire Hooter, shall be complete as required. Panel shall have necessary provision for connecting and functioning with auto dialer, Existing PA system etc as required. | 1.00 | Job | 0.00 | 200000.00 | 200000.00 | 74500.00 | 74500.00 | 98700.00 | 98700.00 | 150000.00 | 150000.00 | 211840.00 | 211840.00 | 195000.00 | 195000.00 | 74500.00 | Navyug Engineering
2.00 | Supply, installation, testing and commissioning of UL /EN listed intelligent Electronic Addressable type Heat Detector (Fixed cum-rate of rise type) with fixed temperature range upto 57 degree Census complete with all fixing accessories like base, base box, self adhesive sticker indicating loop number and address etc. to be installed under/above false ceiling, roof and concealed space, etc. interconnecting to loop cable complete as required. | 4.00 | Job | 0.00 | 2200.00 | 8800.00 | 1680.00 | 6720.00 | 2256.00 | 9024.00 | 3000.00 | 12000.00 | 2110.00 | 8440.00 | 2200.00 | 8800.00 | 6720.00 | Navyug Engineering
3.00 | Supply, installation, testing and commissioning of UL/EN listed intelligent analogue addressable type multi criteria (photo+heat) detector having minimum photo electric and thermal detection with built-in LED flasher with standard mounting base including accessories like base, base box etc to install under/above false ceiling with out isolator base complete as require as per technical specifications. | 247.00 | Job | 0.00 | 2300.00 | 568100.00 | 1980.00 | 489060.00 | 2632.00 | 650104.00 | 2950.00 | 728650.00 | 2347.00 | 579709.00 | 2100.00 | 518700.00 | 489060.00 | Navyug Engineering
4.00 | Supply, installation, testing and commissioning of UL Listed Intellegent Addressable type Beam detector with module to be installed above false ceiling - roof/concealed space etc., including interconnecting with loop cable complete as required. | 4.00 | Job | 0.00 | 80000.00 | 320000.00 | 33600.00 | 134400.00 | 56400.00 | 225600.00 | 35000.00 | 140000.00 | 42500.00 | 170000.00 | 35000.00 | 140000.00 | 134400.00 | Navyug Engineering
5.00 | Supply, installation, testing and commissioning of UL/EN listed Hooter cum Strobe with control module interconnecting to loop cable complete as required. The strobes shall be synchronized for better evacuation as per specification complete as required. | 9.00 | Job | 0.00 | 3200.00 | 28800.00 | 3100.00 | 27900.00 | 5734.00 | 51606.00 | 2500.00 | 22500.00 | 4715.00 | 42435.00 | 3900.00 | 35100.00 | 22500.00 | CENTRE TAP ENGINEERING
6.00 | Supply, installation, testing and commissioning of UL/EN listed Addressable type Manual Call Point (break glass type) complete with Input Module, push button, enclosed in box with provision for cable or conduit coupling, self adhesive sticker indicating loop number and address.The unit to be painted fire red outside, white inside and written 'In case of fire break glass. | 10.00 | Job | 0.00 | 2600.00 | 26000.00 | 2800.00 | 28000.00 | 3102.00 | 31020.00 | 3000.00 | 30000.00 | 3975.00 | 39750.00 | 3900.00 | 39000.00 | 26000.00 | advent electric technologies pvt. ltd.
7.00 | Supply, installation, testing and commissioning of UL/EN listed Intelligent analogue addressable control/output module complete with termination etc. complete as required for tripping of AHU and zone infication of PA system. | 6.00 | Job | 0.00 | 2400.00 | 14400.00 | 2700.00 | 16200.00 | 3384.00 | 20304.00 | 3000.00 | 18000.00 | 4390.00 | 26340.00 | 2100.00 | 12600.00 | 12600.00 | TNS Networking Solutions Pvt Ltd
8.00 | Supply, installation, testing & commissioning of UL /EN listed Fault Isolator Module as per specifications complete as required. | 2.00 | Job | 0.00 | 1800.00 | 3600.00 | 2400.00 | 4800.00 | 940.00 | 1880.00 | 3000.00 | 6000.00 | 1750.00 | 3500.00 | 2100.00 | 4200.00 | 1880.00 | DOGRA AND DOGRA ENTERPRISES
9.00 | Supplying, installation, testing & commissioning of Response Indicator (METAL CLADE) which consists of steady glowing LED. This LED shall be mounted within a M.S. box and connected in parallel to the built in indicator of the detector as per specifications. The RI shall come "ON" as soon as the detector activates complete in all respects as per specification. | 59.00 | Job | 0.00 | 200.00 | 11800.00 | 100.00 | 5900.00 | 141.00 | 8319.00 | 500.00 | 29500.00 | 315.00 | 18585.00 | 150.00 | 8850.00 | 5900.00 | Navyug Engineering
10.00 | Supply, installation, testing and commissioning of auto dialer with all necessary accessories including connections, modules if any required for integrating with Addressable Fire Alarm Panels etc complete as required. | 1.00 | Job | 0.00 | 3800.00 | 3800.00 | 12600.00 | 12600.00 | 18800.00 | 18800.00 | 10000.00 | 10000.00 | 6500.00 | 6500.00 | 9000.00 | 9000.00 | 3800.00 | advent electric technologies pvt. ltd.
11.00 | Supply, installation, testing and commissioning of maintained LED slim Exit / Egress Lights with 4 hrs Backup, Ni-Mh/Ni-Cd Rechargeable Battery, Constant Current Charger, Confirms to IS: 9583-1981, Aluminium Housing Body suitable for working on 230V, single phase, 50 hz AC supply. | 11.00 | Each | 0.00 | 3800.00 | 41800.00 | 2800.00 | 30800.00 | 5640.00 | 62040.00 | 2900.00 | 31900.00 | 6850.00 | 75350.00 | 4500.00 | 49500.00 | 30800.00 | Navyug Engineering
12.00 | Supply and drawing of 2c x 1.5 Sq.mm FRLS XLPE insulated PVC sheathed, stranded copper conductor armoured cable 1100 Volts grade as per IS 7098(part 1)1988, amended upto date complete as required. in the existing surface/ recessed steel/ PVC conduit /RCC /Hume /Metal pipe etc. complete as required. | 2000.00 | Meter | 0.00 | 150.00 | 300000.00 | 82.00 | 164000.00 | 133.00 | 266000.00 | 120.00 | 240000.00 | 175.00 | 350000.00 | 85.00 | 170000.00 | 164000.00 | Navyug Engineering
13.00 | Dismantling and removing of the old Smoke Detector, Manual Call Point, Response Indicator, Hooter system from the site and submitting to AAI store, completed as required as per site conditions. | 200.00 | Each | 0.00 | 50.00 | 10000.00 | 20.00 | 4000.00 | 47.00 | 9400.00 | 100.00 | 20000.00 | 50.00 | 10000.00 | 350.00 | 70000.00 | 4000.00 | Navyug Engineering
14.00 | Dismantling and removing of the old Fire alarm control Panel, Zone Panels from the site and submitting to AAI store, completed as required as per site conditions. | 5.00 | Each | 0.00 | 500.00 | 2500.00 | 200.00 | 1000.00 | 1880.00 | 9400.00 | 290.00 | 1450.00 | 1000.00 | 5000.00 | 6000.00 | 30000.00 | 1000.00 | Navyug Engineering
| Total in Figures |  |  |  |  | 1539600.00 |  | 999880.00 |  | 1462197.00 |  | 1440000.00 |  | 1547449.00 |  | 1290750.00
Lowest Amount Quoted BY: Navyug Engineering(999880.00)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of Fire Alarm and Detection System at Civil Enclave Jodhpur Tender ID: 2020_AAI_65853_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Navyug Engineering | 999880.00 | L1
| 2 | TNS Networking Solutions Pvt Ltd | 1290750.00 | L2
| 3 | CENTRE TAP ENGINEERING | 1440000.00 | L3
| 4 | DOGRA AND DOGRA ENTERPRISES | 1462197.00 | L4
| 5 | advent electric technologies pvt. ltd. | 1539600.00 | L5
| 6 | COOLTEK INDIA | 1547449.00 | L6