## BoQ1
Government eProcurement System Created By: Rohit Pasrija Created Date/Time: 06-Nov-2020 01:26 PM Tender Title: Drilling and Construction of EW/ OW at Hard Rock Area of Chhattisgarh Tender ID: 2020_WAPCO_59150_1
Tender Inviting Authority: WAPCOS LIMITED
Name of Work: DRILLING, CONSTRUCTION & PUMPING TEST OF EXPLORATORY WELLS & OBSERVATION WELLS IN HARD ROCK AREA OF CHATTISGARH (INDIA)
Contract No: WAP/ GWRD&M /EXP/2020-21/01
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | South West Pinnacle Exploration Limited(GSTN-06AAKCS3608R1ZR) |  | ANIL TIWARI PROP PATAL GANGA(GSTN-23AAHPT8907G2ZG) |  | R K DRILLING SERVICES(GSTN-23AAHFR6493B1Z9) |  | JAGDAMBA BOREWELL(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Drilling & Construction of Exploratory Wells
1.01 | Drilling of overburden by rock roller/ drag/ button bit to accommodate casing pipe including sample collection, preparation and submission of litholog, measurement of discharge through V-notch at various stages (depth) of drillin, collection of water sample for each aquifer formation/ fracture zone encountered adopting standard procedure in 1 litre good quality HDPE bottle | 2864.00 | Meter |  | 1000.00 | 2864000.00 | 420.00 | 1202880.00 | 850.00 | 2434400.00 | 800.00 | 2291200.00 | 1202880.00 | ANIL TIWARI PROP PATAL GANGA
1.02 | Supply and installation of ERW casing of 175 mm (7") Nominal Bore with 5.4 mm thickness pipe conforming to Table 3 of latest version of IS: 4270-2001 | 2920.00 | Meter |  | 1250.00 | 3650000.00 | 1300.00 | 3796000.00 | 1825.00 | 5329000.00 | 1800.00 | 5256000.00 | 3650000.00 | South West Pinnacle Exploration Limited
1.03 | Drilling by DTH method using appropriate sizes of button bits so as to reach targetted depth with diameter of hole not less than 165 mm at 100 m depth and final diameter not less than 152 mm at hole bottom including sample collection and preperation of litholog | 21040.00 | Meter |  | 900.00 | 18936000.00 | 420.00 | 8836800.00 | 850.00 | 17884000.00 | 800.00 | 16832000.00 | 8836800.00 | ANIL TIWARI PROP PATAL GANGA
1.04 | Caliper Logging, submission of logging graph, report | 114.00 | Job |  | 20000.00 | 2280000.00 | 48000.00 | 5472000.00 | 19000.00 | 2166000.00 | 38000.00 | 4332000.00 | 2166000.00 | R K DRILLING SERVICES
1.05 | Pumping Test incuding prepumping for 8 hours and recuperation for 24 hours, SDT (3 steps), APT for 1000 minutes and 90% or full recovery) and collection of 4 nos. water sample adopting standard procedure for basic parameter and heavy metals in 1 litre good quality HDPE bottle | 38.00 | Job |  | 75000.00 | 2850000.00 | 11000.00 | 418000.00 | 25000.00 | 950000.00 | 8000.00 | 304000.00 | 304000.00 | JAGDAMBA BOREWELL
1.06 | Preliminary yield test collection of 2 nos. water samples adopting standard procedure for basic parameter and heavy metals in 1 litre good quality HDPE bottle and submission of analysis report with data | 50.00 | Job |  | 25000.00 | 1250000.00 | 12000.00 | 600000.00 | 15000.00 | 750000.00 | 1500.00 | 75000.00 | 75000.00 | JAGDAMBA BOREWELL
1.07 | Slug test and subission of report with data | 50.00 | Job |  | 2000.00 | 100000.00 | 10000.00 | 500000.00 | 8000.00 | 400000.00 | 5000.00 | 250000.00 | 100000.00 | South West Pinnacle Exploration Limited
1.08 | Chemical analysis of water samples for 15 parameters Ph, EC, TH, TDS, Ca, Mg, Na, K, CO3, HCO3, SO4, NO3, Cl, F, & Fe, in NABL accredited labs and submission from NABL lab | 228.00 | Job |  | 2500.00 | 570000.00 | 500.00 | 114000.00 | 2500.00 | 570000.00 | 5000.00 | 1140000.00 | 114000.00 | ANIL TIWARI PROP PATAL GANGA
1.09 | Chemical analysis of water samples for Heavy metals Cr, Co, Ni, Cadmium, Lead, in NABL accredited labs and submission from NABL lab | 114.00 | Job |  | 3000.00 | 342000.00 | 500.00 | 57000.00 | 3000.00 | 342000.00 | 3000.00 | 342000.00 | 57000.00 | ANIL TIWARI PROP PATAL GANGA
1.10 | Construction of cement concrete platform 0.70 x 0.70 x 0.60 m ( 0.30 m above ground level) using concrete mix of 1:2:4 around the housing pipe welded mnimu 6 nos. anchoring plate as per drawing | 114.00 | Job |  | 15000.00 | 1710000.00 | 20000.00 | 2280000.00 | 5000.00 | 570000.00 | 6000.00 | 684000.00 | 570000.00 | R K DRILLING SERVICES
1.11 | Supply and fitting of well cap as per drawing. MS Plate size 5mm to 10mm embossed & welded with permanent marking of "CGWB EW" For Exploratory Wells & "CGWB OW" for Observation Wells should be carved with welding on outer surface of casing pipe 0.5mtrs. | 114.00 | Job |  | 3000.00 | 342000.00 | 15000.00 | 1710000.00 | 3000.00 | 342000.00 | 1500.00 | 171000.00 | 171000.00 | JAGDAMBA BOREWELL
1.12 | Supply and installation of protection box made of GI sheet of 3.15mm thickness along with Brass lock (7 lever hardened) and three keys for each lock as per drawing | 114.00 | Job |  | 9000.00 | 1026000.00 | 30000.00 | 3420000.00 | 7500.00 | 855000.00 | 4000.00 | 456000.00 | 456000.00 | JAGDAMBA BOREWELL
1.13 | Supply and installation of display board as per drawing | 114.00 | Number |  | 5000.00 | 570000.00 | 25000.00 | 2850000.00 | 4500.00 | 513000.00 | 2800.00 | 319200.00 | 319200.00 | JAGDAMBA BOREWELL
1.14 | Preparation and submission of basic data report per site (includes EW and OW) in triplicate along with logging graphs, data sheets, analysis sheet, logging graphs, chemical analysis report from NABL lab, photographs/ videos of activities of drilling, assembly lowering, pumping test, pumping test, V- notch discharge at various depth of drilling, pumping test with well discharge, copressor development, water sample collection, well site with display board well cap, protection box. The soft copy should be submitted. | 114.00 | Number |  | 20000.00 | 2280000.00 | 12000.00 | 1368000.00 | 4500.00 | 513000.00 | 10000.00 | 1140000.00 | 513000.00 | R K DRILLING SERVICES
2.00 | Drilling & Construction of Observation Wells
2.01 | Drilling of overburden by rock roller/ drag/ button bit to accommodate casing pipe including sample collection, preparation and submission of litholog, measurement of discharge through V-notch at various stages (depth) of drillin, collection of water sample for each aquifer formation/ fracture zone encountered adopting standard procedure in 1 litre good quality HDPE bottle | 950.00 | Meter |  | 1000.00 | 950000.00 | 390.00 | 370500.00 | 850.00 | 807500.00 | 800.00 | 760000.00 | 370500.00 | ANIL TIWARI PROP PATAL GANGA
2.02 | Supply and installation of ERW casing of 175 mm (7") Nominal Bore with 5.4 mm thickness pipe conforming to Table 3 of latest version of IS: 4270-2001 | 969.00 | Meter |  | 1250.00 | 1211250.00 | 1250.00 | 1211250.00 | 1825.00 | 1768425.00 | 1800.00 | 1744200.00 | 1211250.00 | South West Pinnacle Exploration Limited, ANIL TIWARI PROP PATAL GANGA
2.03 | Drilling by DTH method using appropriate sizes of button bits so as to reach targetted depth with diameter of hole not less than 165 mm at 100 m depth and final diameter not less than 152 mm at hole bottom including sample collection and preperation of litholog | 6858.00 | Meter |  | 900.00 | 6172200.00 | 390.00 | 2674620.00 | 850.00 | 5829300.00 | 800.00 | 5486400.00 | 2674620.00 | ANIL TIWARI PROP PATAL GANGA
2.04 | Caliper Logging, submission of logging graph, report | 38.00 | Job |  | 2000.00 | 76000.00 | 34000.00 | 1292000.00 | 19000.00 | 722000.00 | 38000.00 | 1444000.00 | 76000.00 | South West Pinnacle Exploration Limited
2.05 | Construction of cement concrete platform 0.70 x 0.70 x 0.60 m ( 0.30 m above ground level) using concrete mix of 1:2:4 around the housing pipe welded mnimu 6 nos. anchoring plate as per drawing | 38.00 | Job |  | 20000.00 | 760000.00 | 8000.00 | 304000.00 | 5000.00 | 190000.00 | 6000.00 | 228000.00 | 190000.00 | R K DRILLING SERVICES
2.06 | Supply and fitting of well cap as per drawing. MS Plate size 5mm to 10mm embossed & welded with permanent marking of "CGWB EW" For Exploratory Wells & "CGWB OW" for Observation Wells should be carved with welding on outer surface of casing pipe 0.5mtrs. | 38.00 | Job |  | 3000.00 | 114000.00 | 4000.00 | 152000.00 | 3000.00 | 114000.00 | 1500.00 | 57000.00 | 57000.00 | JAGDAMBA BOREWELL
2.07 | Supply and installation of protection box made of GI sheet of 3.15mm thickness along with Brass lock (7 lever hardened) and three keys for each lock as per drawing | 38.00 | Job |  | 10000.00 | 380000.00 | 8000.00 | 304000.00 | 7500.00 | 285000.00 | 4000.00 | 152000.00 | 152000.00 | JAGDAMBA BOREWELL
2.08 | Supply and installation of display board as per drawing | 38.00 | Number |  | 5000.00 | 190000.00 | 5000.00 | 190000.00 | 4500.00 | 171000.00 | 2800.00 | 106400.00 | 106400.00 | JAGDAMBA BOREWELL
| Total in Figures |  |  |  |  | 48623450.00 |  | 39123050.00 |  | 43505625.00 |  | 43570400.00
Lowest Amount Quoted BY: ANIL TIWARI PROP PATAL GANGA(39123050.00)

## BOQ Summary
BOQ Summary Details Tender Title: Drilling and Construction of EW/ OW at Hard Rock Area of Chhattisgarh Tender ID: 2020_WAPCO_59150_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ANIL TIWARI PROP PATAL GANGA | 39123050.00 | L1
| 2 | R K DRILLING SERVICES | 43505625.00 | L2
| 3 | JAGDAMBA BOREWELL | 43570400.00 | L3
| 4 | South West Pinnacle Exploration Limited | 48623450.00 | L4