## BoQ1
Government eProcurement System Created By: MAYANK YADAV Created Date/Time: 02-Feb-2022 03:29 PM Tender Title: Replacement of existing Conventional Perimeter Lights, Cables, Junction Boxes and Allied Works at Kangra Airport Tender ID: 2021_AAI_100017_1
Tender Inviting Authority: Sr.Manager Engg.- E, Airports Authority of India, Kangra Airport, Kangra
Name of Work:- "Replacement of existing Conventional Perimeter Lights, Cables, Junction Boxes and Allied Works at Kangra Airport”
Contract No: 2021_AAI_100017_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Metropolitan Infrabuild Development And Services Pvt Ltd(GSTN-09AAHCM2436Q1ZW) |  | jaydeep agency corporation(GSTN-24ACIPP6157B1ZQ) |  | Industrial Traders(GSTN-09ACJPC1773F1ZQ) |  | ANU ENGINEERING CORPORATION(GSTN-07AJDPK9181G1Z1) |  | RVD INFRA SOLUTION PVT.LTD.(GSTN-24AAGCR7767L1ZQ) |  | BR Power Control and Automation Services(GSTN-06AREPS4024K1ZP) |  | Navyug Engineering(GSTN-08AARPG2253Q1Z4) |  | Mukherjee Commercial Enterprise(GSTN-19ALVPM0307N1ZJ) |  | Anil Kumar Sharma(GSTN-01AIWPS0647K1ZU) |  | R S ELECTRICALS(GSTN-09AALFR7080G1ZS) |  | Choubay And Co.(Agencies) Pvt.Ltd.(GSTN-09AAACC6073E1ZT) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | VISHAL ELECTRICALS(GSTN-09ACYPB4483E1Z9) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | MARUTI ENTERPRISES(GSTN-19ADYPB2608N1Z0) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5) |  | M/s. Shree Gokulesh Electric and Engg CO(GSTN-24ABXPP3463E1ZC) |  | ALFA DEAL PRIVATE LIMITED(GSTN-NA) |  | RAJASTHAN CRANE SERVICES(GSTN-NA) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | RANJIT SALES CORPORATION(GSTN-NA) |  | Aditya Techno Products Private Limited(GSTN-NA) |  | JCC ENGINEERS PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of following size of 1.1 KV grade multicore aluminium conductor XLPE insulated and PVC sheathed armoured cable as per IS : 7098 : 1988 with upto date amendments.
1.10 | (a) 3.5C X 95 Sq.mm | 200.00 | Metre |  | 500.00 | 100000.00 | 550.00 | 110000.00 | 451.50 | 90300.00 | 475.00 | 95000.00 | 512.00 | 102400.00 | 430.00 | 86000.00 | 458.00 | 91600.00 | 480.00 | 96000.00 | 445.00 | 89000.00 | 475.00 | 95000.00 | 590.00 | 118000.00 | 538.92 | 107784.00 | 465.01 | 93002.00 | 460.00 | 92000.00 | 598.00 | 119600.00 | 412.00 | 82400.00 | 435.00 | 87000.00 | 458.00 | 91600.00 | 455.00 | 91000.00 | 500.00 | 100000.00 | 485.00 | 97000.00 | 425.00 | 85000.00 | 437.00 | 87400.00 | 530.00 | 106000.00 | 82400.00 | Techno Electricals
1.20 | (b) 3.5C X 70 Sq.mm | 2300.00 | Metre |  | 380.00 | 874000.00 | 400.00 | 920000.00 | 352.00 | 809600.00 | 370.00 | 851000.00 | 375.00 | 862500.00 | 338.00 | 777400.00 | 360.00 | 828000.00 | 400.00 | 920000.00 | 360.00 | 828000.00 | 371.00 | 853300.00 | 490.00 | 1127000.00 | 436.00 | 1002800.00 | 362.80 | 834440.00 | 375.00 | 862500.00 | 468.00 | 1076400.00 | 319.00 | 733700.00 | 340.00 | 782000.00 | 354.00 | 814200.00 | 355.00 | 816500.00 | 447.00 | 1028100.00 | 378.00 | 869400.00 | 350.00 | 805000.00 | 341.00 | 784300.00 | 415.55 | 955765.00 | 733700.00 | Techno Electricals
1.30 | (c) 3.5 C X 35 Sq.mm | 1700.00 | Metre |  | 260.00 | 442000.00 | 270.00 | 459000.00 | 202.00 | 343400.00 | 215.00 | 365500.00 | 212.00 | 360400.00 | 192.00 | 326400.00 | 208.00 | 353600.00 | 245.00 | 416500.00 | 195.00 | 331500.00 | 215.00 | 365500.00 | 310.00 | 527000.00 | 251.00 | 426700.00 | 208.98 | 355266.00 | 185.00 | 314500.00 | 267.80 | 455260.00 | 180.00 | 306000.00 | 215.00 | 365500.00 | 201.00 | 341700.00 | 204.00 | 346800.00 | 287.00 | 487900.00 | 218.00 | 370600.00 | 205.00 | 348500.00 | 196.00 | 333200.00 | 240.00 | 408000.00 | 306000.00 | Techno Electricals
1.40 | (d) 4C X 10 Sq.mm | 7000.00 | Metre |  | 120.00 | 840000.00 | 148.00 | 1036000.00 | 114.00 | 798000.00 | 125.00 | 875000.00 | 125.00 | 875000.00 | 105.00 | 735000.00 | 117.00 | 819000.00 | 130.00 | 910000.00 | 115.00 | 805000.00 | 125.00 | 875000.00 | 180.00 | 1260000.00 | 155.00 | 1085000.00 | 116.89 | 818230.00 | 115.00 | 805000.00 | 150.00 | 1050000.00 | 106.00 | 742000.00 | 125.00 | 875000.00 | 114.00 | 798000.00 | 114.00 | 798000.00 | 127.00 | 889000.00 | 122.00 | 854000.00 | 125.00 | 875000.00 | 110.00 | 770000.00 | 135.00 | 945000.00 | 735000.00 | BR Power Control and Automation Services
2.00 | Supply of 230 Volts, 50 Hz, 18W/20W LED Road / perimeter luminaire made of non-corrosive high Pressure die-cast aluminium alloy housing (Heat Sink) for effective thermal management, sturdiness with anti - corrosion powder coating with IP 66 protection for both optical compartment and control gear compartment meeting minimum technical specifications as laid down in the tender etc complete as required. | 450.00 | Each |  | 1400.00 | 630000.00 | 1100.00 | 495000.00 | 660.00 | 297000.00 | 1050.00 | 472500.00 | 1250.00 | 562500.00 | 1039.00 | 467550.00 | 890.00 | 400500.00 | 1500.00 | 675000.00 | 1100.00 | 495000.00 | 1060.00 | 477000.00 | 1500.00 | 675000.00 | 1248.00 | 561600.00 | 885.00 | 398250.00 | 1100.00 | 495000.00 | 2535.00 | 1140750.00 | 1393.00 | 626850.00 | 1020.00 | 459000.00 | 1015.00 | 456750.00 | 942.00 | 423900.00 | 750.00 | 337500.00 | 978.00 | 440100.00 | 2500.00 | 1125000.00 | 661.00 | 297450.00 | 755.00 | 339750.00 | 297000.00 | Industrial Traders
3.00 | Supply of following size ISI marked, HDPE pipe confirming to IS-4984-1995 with up to date amendments and confirming to tender’s technical specifications, terms & conditions i/c loading, unloading etc. complete as required.
3.10 | (a) 63 mm (OD), PN-6, PE 80 | 2300.00 | Metre |  | 190.00 | 437000.00 | 210.00 | 483000.00 | 144.00 | 331200.00 | 135.00 | 310500.00 | 140.00 | 322000.00 | 139.00 | 319700.00 | 155.00 | 356500.00 | 90.00 | 207000.00 | 120.00 | 276000.00 | 135.00 | 310500.00 | 100.00 | 230000.00 | 170.00 | 391000.00 | 138.00 | 317400.00 | 155.00 | 356500.00 | 117.00 | 269100.00 | 78.00 | 179400.00 | 105.00 | 241500.00 | 160.00 | 368000.00 | 159.00 | 365700.00 | 95.00 | 218500.00 | 153.00 | 351900.00 | 150.00 | 345000.00 | 120.00 | 276000.00 | 100.00 | 230000.00 | 179400.00 | Techno Electricals
3.20 | (b) 40 mm (OD), PN-6, PE 80 | 8500.00 | Metre |  | 130.00 | 1105000.00 | 140.00 | 1190000.00 | 55.00 | 467500.00 | 80.00 | 680000.00 | 70.00 | 595000.00 | 56.00 | 476000.00 | 62.00 | 527000.00 | 60.00 | 510000.00 | 45.00 | 382500.00 | 80.00 | 680000.00 | 80.00 | 680000.00 | 75.00 | 637500.00 | 57.50 | 488750.00 | 70.00 | 595000.00 | 52.00 | 442000.00 | 64.00 | 544000.00 | 47.00 | 399500.00 | 67.00 | 569500.00 | 67.00 | 569500.00 | 60.00 | 510000.00 | 64.00 | 544000.00 | 100.00 | 850000.00 | 49.00 | 416500.00 | 80.00 | 680000.00 | 382500.00 | Anil Kumar Sharma
4.00 | Providing & fixing the bracket / pole on the existing wall as drawing enclosed and suitable for ITC of LED street light including suitable size clamps, fastners, nut bolts, and painting of metal surface with one coat of red oxide and two coats of metal enamel paint of approved colour and shade etc. complete as required. | 400.00 | Each |  | 400.00 | 160000.00 | 2600.00 | 1040000.00 | 720.00 | 288000.00 | 1650.00 | 660000.00 | 750.00 | 300000.00 | 3857.00 | 1542800.00 | 1386.00 | 554400.00 | 250.00 | 100000.00 | 1600.00 | 640000.00 | 1650.00 | 660000.00 | 1000.00 | 400000.00 | 150.00 | 60000.00 | 1793.00 | 717200.00 | 490.00 | 196000.00 | 1500.00 | 600000.00 | 1000.00 | 400000.00 | 1300.00 | 520000.00 | 1376.00 | 550400.00 | 954.00 | 381600.00 | 750.00 | 300000.00 | 1155.00 | 462000.00 | 200.00 | 80000.00 | 656.00 | 262400.00 | 1355.00 | 542000.00 | 60000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
5.00 | Installation, Testing & Commissioning of 230 Volts, 50 Hz, LED Luminaires at existing bracket / pole including connectors, thimbles, connecting wires / cable upto 3 metre (3C x 1.5 Sq.mm) etc. complete as required. | 400.00 | Each |  | 168.00 | 67200.00 | 250.00 | 100000.00 | 240.00 | 96000.00 | 100.00 | 40000.00 | 250.00 | 100000.00 | 484.00 | 193600.00 | 100.00 | 40000.00 | 100.00 | 40000.00 | 200.00 | 80000.00 | 90.00 | 36000.00 | 300.00 | 120000.00 | 50.00 | 20000.00 | 450.00 | 180000.00 | 200.00 | 80000.00 | 860.00 | 344000.00 | 500.00 | 200000.00 | 180.00 | 72000.00 | 260.00 | 104000.00 | 294.00 | 117600.00 | 500.00 | 200000.00 | 220.00 | 88000.00 | 200.00 | 80000.00 | 204.00 | 81600.00 | 250.00 | 100000.00 | 20000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
6.00 | Laying of 40mm /63mm size. HDPE/GI pipe in the soil / ground at depth of min 0.60 Mtrs including excavation, covering and refilling the trench, consolidation and making good the surface etc. complete as required. | 11000.00 | Metre |  | 25.00 | 275000.00 | 65.00 | 715000.00 | 87.00 | 957000.00 | 120.00 | 1320000.00 | 65.00 | 715000.00 | 53.00 | 583000.00 | 90.00 | 990000.00 | 125.00 | 1375000.00 | 80.00 | 880000.00 | 125.00 | 1375000.00 | 80.00 | 880000.00 | 50.00 | 550000.00 | 85.00 | 935000.00 | 160.00 | 1760000.00 | 312.00 | 3432000.00 | 100.00 | 1100000.00 | 60.00 | 660000.00 | 139.00 | 1529000.00 | 66.00 | 726000.00 | 100.00 | 1100000.00 | 80.00 | 880000.00 | 50.00 | 550000.00 | 65.00 | 715000.00 | 70.00 | 770000.00 | 275000.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
7.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required.
7.10 | (a) Upto 35 sq. mm | 7900.00 | Metre |  | 12.00 | 94800.00 | 25.00 | 197500.00 | 24.00 | 189600.00 | 10.00 | 79000.00 | 18.00 | 142200.00 | 47.00 | 371300.00 | 30.00 | 237000.00 | 20.00 | 158000.00 | 20.00 | 158000.00 | 12.00 | 94800.00 | 35.00 | 276500.00 | 10.00 | 79000.00 | 50.00 | 395000.00 | 20.00 | 158000.00 | 192.00 | 1516800.00 | 28.00 | 221200.00 | 35.00 | 276500.00 | 17.00 | 134300.00 | 30.00 | 237000.00 | 20.00 | 158000.00 | 20.00 | 158000.00 | 50.00 | 395000.00 | 31.00 | 244900.00 | 30.00 | 237000.00 | 79000.00 | ANU ENGINEERING CORPORATION, S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
7.20 | (b) Above 35 sq. mm and upto 95 sq. mm | 2400.00 | Metre |  | 18.00 | 43200.00 | 35.00 | 84000.00 | 42.00 | 100800.00 | 10.00 | 24000.00 | 37.00 | 88800.00 | 85.00 | 204000.00 | 50.00 | 120000.00 | 40.00 | 96000.00 | 20.00 | 48000.00 | 12.00 | 28800.00 | 40.00 | 96000.00 | 30.00 | 72000.00 | 70.00 | 168000.00 | 20.00 | 48000.00 | 274.00 | 657600.00 | 35.00 | 84000.00 | 55.00 | 132000.00 | 18.00 | 43200.00 | 90.00 | 216000.00 | 30.00 | 72000.00 | 30.00 | 72000.00 | 50.00 | 120000.00 | 49.00 | 117600.00 | 35.00 | 84000.00 | 24000.00 | ANU ENGINEERING CORPORATION
8.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required.
8.10 | (a) Upto 35 sq. mm (clamped with 1mm thick saddle) | 800.00 | Metre |  | 22.00 | 17600.00 | 35.00 | 28000.00 | 60.00 | 48000.00 | 70.00 | 56000.00 | 50.00 | 40000.00 | 71.00 | 56800.00 | 60.00 | 48000.00 | 70.00 | 56000.00 | 30.00 | 24000.00 | 70.00 | 56000.00 | 40.00 | 32000.00 | 10.00 | 8000.00 | 60.00 | 48000.00 | 60.00 | 48000.00 | 98.00 | 78400.00 | 80.00 | 64000.00 | 60.00 | 48000.00 | 76.00 | 60800.00 | 36.00 | 28800.00 | 75.00 | 60000.00 | 30.00 | 24000.00 | 100.00 | 80000.00 | 37.00 | 29600.00 | 100.00 | 80000.00 | 8000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
8.20 | (b) Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 50.00 | Metre |  | 38.00 | 1900.00 | 55.00 | 2750.00 | 108.00 | 5400.00 | 100.00 | 5000.00 | 62.00 | 3100.00 | 106.00 | 5300.00 | 80.00 | 4000.00 | 110.00 | 5500.00 | 50.00 | 2500.00 | 100.00 | 5000.00 | 40.00 | 2000.00 | 30.00 | 1500.00 | 80.00 | 4000.00 | 90.00 | 4500.00 | 196.00 | 9800.00 | 100.00 | 5000.00 | 70.00 | 3500.00 | 80.00 | 4000.00 | 96.00 | 4800.00 | 100.00 | 5000.00 | 30.00 | 1500.00 | 500.00 | 25000.00 | 67.00 | 3350.00 | 200.00 | 10000.00 | 1500.00 | ABHISHEK INTEGRATIONS LIMITED, S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
9.00 | Supplying and fixing cable route marker with 10 cm X 10 cm X 5 mm thick G.I. plate with inscription there on, bolted /welded to 35 mm X 35 mm X 6 mm angle iron, 60 cm long and fixing the same in ground as required. | 40.00 | Each |  | 380.00 | 15200.00 | 285.00 | 11400.00 | 120.00 | 4800.00 | 600.00 | 24000.00 | 375.00 | 15000.00 | 885.00 | 35400.00 | 350.00 | 14000.00 | 350.00 | 14000.00 | 400.00 | 16000.00 | 610.00 | 24400.00 | 500.00 | 20000.00 | 350.00 | 14000.00 | 450.00 | 18000.00 | 450.00 | 18000.00 | 1950.00 | 78000.00 | 370.00 | 14800.00 | 350.00 | 14000.00 | 366.00 | 14640.00 | 239.00 | 9560.00 | 750.00 | 30000.00 | 400.00 | 16000.00 | 200.00 | 8000.00 | 486.00 | 19440.00 | 1200.00 | 48000.00 | 4800.00 | Industrial Traders
10.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
10.10 | (a) 3½ X 35 Sq.mm | 4.00 | Each |  | 160.00 | 640.00 | 200.00 | 800.00 | 240.00 | 960.00 | 100.00 | 400.00 | 187.00 | 748.00 | 1164.00 | 4656.00 | 250.00 | 1000.00 | 300.00 | 1200.00 | 300.00 | 1200.00 | 100.00 | 400.00 | 200.00 | 800.00 | 200.00 | 800.00 | 194.43 | 777.72 | 400.00 | 1600.00 | 211.00 | 844.00 | 325.00 | 1300.00 | 280.00 | 1120.00 | 354.00 | 1416.00 | 731.00 | 2924.00 | 500.00 | 2000.00 | 350.00 | 1400.00 | 100.00 | 400.00 | 198.00 | 792.00 | 150.00 | 600.00 | 400.00 | ANU ENGINEERING CORPORATION, R S ELECTRICALS, RANJIT SALES CORPORATION
10.20 | (b) 3½ X 70 Sq.mm | 4.00 | Each |  | 190.00 | 760.00 | 350.00 | 1400.00 | 360.00 | 1440.00 | 200.00 | 800.00 | 250.00 | 1000.00 | 1453.00 | 5812.00 | 300.00 | 1200.00 | 350.00 | 1400.00 | 350.00 | 1400.00 | 200.00 | 800.00 | 350.00 | 1400.00 | 250.00 | 1000.00 | 263.82 | 1055.28 | 500.00 | 2000.00 | 397.00 | 1588.00 | 450.00 | 1800.00 | 450.00 | 1800.00 | 448.00 | 1792.00 | 1005.00 | 4020.00 | 600.00 | 2400.00 | 400.00 | 1600.00 | 100.00 | 400.00 | 220.00 | 880.00 | 165.00 | 660.00 | 400.00 | RANJIT SALES CORPORATION
10.30 | (c) 3½ X 95 Sq.mm | 2.00 | Each |  | 330.00 | 660.00 | 450.00 | 900.00 | 471.00 | 942.00 | 250.00 | 500.00 | 375.00 | 750.00 | 1626.00 | 3252.00 | 450.00 | 900.00 | 400.00 | 800.00 | 350.00 | 700.00 | 260.00 | 520.00 | 400.00 | 800.00 | 250.00 | 500.00 | 309.13 | 618.26 | 700.00 | 1400.00 | 605.00 | 1210.00 | 550.00 | 1100.00 | 490.00 | 980.00 | 518.00 | 1036.00 | 1211.00 | 2422.00 | 750.00 | 1500.00 | 442.00 | 884.00 | 100.00 | 200.00 | 350.00 | 700.00 | 200.00 | 400.00 | 200.00 | RANJIT SALES CORPORATION
10.40 | (d) 4 X 10 Sq.mm | 800.00 | Each |  | 100.00 | 80000.00 | 170.00 | 136000.00 | 120.00 | 96000.00 | 95.00 | 76000.00 | 150.00 | 120000.00 | 325.00 | 260000.00 | 160.00 | 128000.00 | 120.00 | 96000.00 | 70.00 | 56000.00 | 90.00 | 72000.00 | 100.00 | 80000.00 | 200.00 | 160000.00 | 107.08 | 85664.00 | 200.00 | 160000.00 | 143.00 | 114400.00 | 200.00 | 160000.00 | 150.00 | 120000.00 | 325.00 | 260000.00 | 456.00 | 364800.00 | 100.00 | 80000.00 | 110.00 | 88000.00 | 10.00 | 8000.00 | 160.00 | 128000.00 | 55.00 | 44000.00 | 8000.00 | RANJIT SALES CORPORATION
11.00 | Supplying & installation of Outdoor type Cable termination / looping pole box of minimum size 155mm x 210mm x 92mm suitable for termination of 4X10 Sq. mm Al. Armoured Cables made of thermoplastic polycarbonate having minimum IP65 protection alongwith clamp i/c providing one SP 'C' series MCB, Connectors, MCB channel etc. complete as required. (Make Hansel or Equivalent). | 400.00 | Each |  | 1300.00 | 520000.00 | 1735.00 | 694000.00 | 1547.00 | 618800.00 | 1700.00 | 680000.00 | 1500.00 | 600000.00 | 954.00 | 381600.00 | 970.00 | 388000.00 | 1250.00 | 500000.00 | 1290.00 | 516000.00 | 1725.00 | 690000.00 | 1500.00 | 600000.00 | 1850.00 | 740000.00 | 1924.00 | 769600.00 | 690.00 | 276000.00 | 1833.00 | 733200.00 | 2200.00 | 880000.00 | 1390.00 | 556000.00 | 2445.00 | 978000.00 | 3248.00 | 1299200.00 | 750.00 | 300000.00 | 2020.00 | 808000.00 | 50.00 | 20000.00 | 1565.00 | 626000.00 | 850.00 | 340000.00 | 20000.00 | RANJIT SALES CORPORATION
12.00 | Design, Supply, Installation,Testing and Commissioning of outdoor type double door cubical panel suitable for 3-Phase, 415Volts, 50 Hz power supply, fabricated from 2 mm thick CRCA powder coated sheat, dust & vermin proof pedestal mounted, front openable door with locking arrangement and providing following switch gears and accessories with suitable supports etc as required including civil works for constructuction of cement concrete pedestal suitable for mounting of cubical panel: (A) INCOMER (i) 4P, 100 Amp MCCB ,breaking capacity 30 kA with adjustable overload setting Make: L&T Cat. No. DU100H or Eq. - 02 Nos. (ii) 4P, 100 Amp On Load Changeover Switch - 01 No. (iii) LED type Phase indication (RYB) - 1 Set (iv) 6 Amp Control MCBs - 1 Set (v) Daily Timer (electronic) - 1 No. (vi) Suitable (Minimum 32 Amp) Size 3P Power Contactor - 1 No. (B) Bus bars (i) Suitable for 200 A TPN,Aluminium (C) OUTGOINGS (i) MCCB 4P, 50A -6 Nos (D) Metering (i) 3 Nos. CT CL-1 15 VA 50/5 amp - 1 Set (ii) LED Display Type 3 Phase Single Function Voltmetre (iii) LED Display Type 3 Phase Single Function Ammetre | 1.00 | Each |  | 161670.00 | 161670.00 | 225000.00 | 225000.00 | 67000.00 | 67000.00 | 230000.00 | 230000.00 | 150000.00 | 150000.00 | 122813.00 | 122813.00 | 128000.00 | 128000.00 | 180000.00 | 180000.00 | 190000.00 | 190000.00 | 220000.00 | 220000.00 | 100000.00 | 100000.00 | 174825.00 | 174825.00 | 164300.00 | 164300.00 | 195800.00 | 195800.00 | 23250.00 | 23250.00 | 225000.00 | 225000.00 | 175000.00 | 175000.00 | 177000.00 | 177000.00 | 184893.00 | 184893.00 | 130000.00 | 130000.00 | 259000.00 | 259000.00 | 30000.00 | 30000.00 | 105210.00 | 105210.00 | 93410.00 | 93410.00 | 23250.00 | MARUTI ENTERPRISES
13.00 | Design, Supply, Installation,Testing and Commissioning of outdoor type double door cubical panel suitable for 3-Phase, 415Volts, 50 Hz power supply, fabricated from 2 mm thick CRCA powder coated sheat, dust & vermin proof pedestal mounted, front openable door with locking arrangement and providing following switch gears and accessories with suitable supports etc as required including civil works for constructuction of cement concrete pedestal suitable for mounting of cubical panel: (A) INCOMER (i) 4P, 50 Amp MCCB ,breaking capacity 30 kA with adjustable overload setting Make: L&T Cat. No. DU100H or Eq. - 01 Nos. (ii) LED type Phase indication (RYB) - 1 Set (iii) 6 Amp Control MCBs - Set (B) Bus bars (i) Suitable for 75 A TPN,Aluminium (C) OUTGOINGS (i) MCB 4P, 25A -4 Nos (D) Metering (i) 3 Nos. CT CL-1 15 VA 50/5 amp - 1 Set (ii) LED Display Type 3 Phase Single Function Voltmetre (iii) LED Display Type 3 Phase Single Function Ammetre | 4.00 | Each |  | 49080.00 | 196320.00 | 65000.00 | 260000.00 | 42000.00 | 168000.00 | 70000.00 | 280000.00 | 62500.00 | 250000.00 | 29836.00 | 119344.00 | 35000.00 | 140000.00 | 95000.00 | 380000.00 | 30000.00 | 120000.00 | 71000.00 | 284000.00 | 50000.00 | 200000.00 | 100275.00 | 401100.00 | 48840.00 | 195360.00 | 54000.00 | 216000.00 | 10430.00 | 41720.00 | 95000.00 | 380000.00 | 79500.00 | 318000.00 | 48734.00 | 194936.00 | 53688.00 | 214752.00 | 45000.00 | 180000.00 | 51400.00 | 205600.00 | 20000.00 | 80000.00 | 91900.00 | 367600.00 | 135555.00 | 542220.00 | 41720.00 | MARUTI ENTERPRISES
14.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 10.00 | Each |  | 4746.00 | 47460.00 | 5950.00 | 59500.00 | 8400.00 | 84000.00 | 4000.00 | 40000.00 | 10000.00 | 100000.00 | 14501.00 | 145010.00 | 4950.00 | 49500.00 | 4000.00 | 40000.00 | 5000.00 | 50000.00 | 4000.00 | 40000.00 | 2500.00 | 25000.00 | 3850.00 | 38500.00 | 7500.00 | 75000.00 | 7000.00 | 70000.00 | 2350.00 | 23500.00 | 6500.00 | 65000.00 | 6000.00 | 60000.00 | 7764.00 | 77640.00 | 4384.00 | 43840.00 | 10500.00 | 105000.00 | 4950.00 | 49500.00 | 8000.00 | 80000.00 | 3560.00 | 35600.00 | 7555.00 | 75550.00 | 23500.00 | MARUTI ENTERPRISES
15.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 20.00 | Metre |  | 165.00 | 3300.00 | 245.00 | 4900.00 | 59.00 | 1180.00 | 200.00 | 4000.00 | 500.00 | 10000.00 | 86.00 | 1720.00 | 170.00 | 3400.00 | 100.00 | 2000.00 | 200.00 | 4000.00 | 200.00 | 4000.00 | 100.00 | 2000.00 | 160.00 | 3200.00 | 550.00 | 11000.00 | 210.00 | 4200.00 | 292.00 | 5840.00 | 250.00 | 5000.00 | 225.00 | 4500.00 | 223.00 | 4460.00 | 161.00 | 3220.00 | 500.00 | 10000.00 | 149.00 | 2980.00 | 1000.00 | 20000.00 | 249.00 | 4980.00 | 155.00 | 3100.00 | 1180.00 | Industrial Traders
16.00 | Providing and fixing 6 SWG G.I. strip on surface or in recess for connections etc. as required. | 20.00 | Metre |  | 27.00 | 540.00 | 38.00 | 760.00 | 180.00 | 3600.00 | 35.00 | 700.00 | 50.00 | 1000.00 | 36.00 | 720.00 | 30.00 | 600.00 | 20.00 | 400.00 | 50.00 | 1000.00 | 35.00 | 700.00 | 15.00 | 300.00 | 30.00 | 600.00 | 20.00 | 400.00 | 80.00 | 1600.00 | 214.00 | 4280.00 | 25.00 | 500.00 | 125.00 | 2500.00 | 20.00 | 400.00 | 25.00 | 500.00 | 50.00 | 1000.00 | 99.00 | 1980.00 | 500.00 | 10000.00 | 178.00 | 3560.00 | 255.00 | 5100.00 | 300.00 | Choubay And Co.(Agencies) Pvt.Ltd.
17.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 11000.00 | Metre |  | 12.00 | 132000.00 | 35.00 | 385000.00 | 46.70 | 513700.00 | 30.00 | 330000.00 | 18.00 | 198000.00 | 24.00 | 264000.00 | 25.00 | 275000.00 | 15.00 | 165000.00 | 18.00 | 198000.00 | 28.00 | 308000.00 | 15.00 | 165000.00 | 10.00 | 110000.00 | 16.00 | 176000.00 | 25.00 | 275000.00 | 70.00 | 770000.00 | 22.00 | 242000.00 | 20.00 | 220000.00 | 20.00 | 220000.00 | 25.00 | 275000.00 | 50.00 | 550000.00 | 17.00 | 187000.00 | 6.00 | 66000.00 | 23.00 | 253000.00 | 5.00 | 55000.00 | 55000.00 | JCC ENGINEERS PRIVATE LIMITED
| Total in Figures |  |  |  |  | 6246250.00 |  | 8639910.00 |  | 6382222.00 |  | 7499900.00 |  | 6515398.00 |  | 7489177.00 |  | 6499200.00 |  | 6945800.00 |  | 6193800.00 |  | 7556720.00 |  | 7618800.00 |  | 6647409.00 |  | 7250313.26 |  | 7036600.00 |  | 12989542.00 |  | 7265050.00 |  | 6395400.00 |  | 7796770.00 |  | 7528331.00 |  | 6857900.00 |  | 6834444.00 |  | 6086500.00 |  | 5965062.00 |  | 6695555.00
Lowest Amount Quoted BY: Aditya Techno Products Private Limited(5965062.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of existing Conventional Perimeter Lights, Cables, Junction Boxes and Allied Works at Kangra Airport Tender ID: 2021_AAI_100017_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Aditya Techno Products Private Limited | 5965062.00 | L1
| 2 | RANJIT SALES CORPORATION | 6086500.00 | L2
| 3 | Anil Kumar Sharma | 6193800.00 | L3
| 4 | Metropolitan Infrabuild Development And Services Pvt Ltd | 6246250.00 | L4
| 5 | Industrial Traders | 6382222.00 | L5
| 6 | Awasthi Electric Works | 6395400.00 | L6
| 7 | Navyug Engineering | 6499200.00 | L7
| 8 | RVD INFRA SOLUTION PVT.LTD. | 6515398.00 | L8
| 9 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 6647409.00 | L9
| 10 | JCC ENGINEERS PRIVATE LIMITED | 6695555.00 | L10
| 11 | ABHISHEK INTEGRATIONS LIMITED | 6834444.00 | L11
| 12 | RAJASTHAN CRANE SERVICES | 6857900.00 | L12
| 13 | Mukherjee Commercial Enterprise | 6945800.00 | L13
| 14 | Manish Electricals | 7036600.00 | L14
| 15 | VISHAL ELECTRICALS | 7250313.26 | L15
| 16 | Techno Electricals | 7265050.00 | L16
| 17 | BR Power Control and Automation Services | 7489177.00 | L17
| 18 | ANU ENGINEERING CORPORATION | 7499900.00 | L18
| 19 | ALFA DEAL PRIVATE LIMITED | 7528331.00 | L19
| 20 | R S ELECTRICALS | 7556720.00 | L20
| 21 | Choubay And Co.(Agencies) Pvt.Ltd. | 7618800.00 | L21
| 22 | M/s. Shree Gokulesh Electric and Engg CO | 7796770.00 | L22
| 23 | jaydeep agency corporation | 8639910.00 | L23
| 24 | MARUTI ENTERPRISES | 12989542.00 | L24