## BoQ1
Government eProcurement System Created By: SUDHAKARA NAIK Created Date/Time: 24-Jan-2022 01:37 PM Tender Title: Construction of 10.5 m wide link taxi track connecting runway to the proposed FTO at Belagavi Airport. SH- Provision of Power supply cable from power house to the nearest FTO feeder pillar cable from power house to the nearest FTO feeder pillar. Tender ID: 2021_AAI_100022_1
Tender Inviting Authority: Assistant General Manager (Engg-E), AAI, Belagavi Airport. Contact No.- 9513303290 / 8217365822
Name of Work: Construction of 10.5 m wide link taxi track connecting runway to the proposed FTO at Belagavi Airport. SH- Provision of Power supply cable from power house to the nearest FTO feeder pillar.
Contract No: 2021_AAI_100022_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Taral Electricals(GSTN-24ACMPR0280M1Z9) |  | DEEPAKELECTRICALS(GSTN-33ALUPD3531C1ZI) |  | DOSHI ELECTRIC ENGG. CO.(GSTN-24AAEFD3355K1ZI) |  | C P MONCHESTER ELECTRICALS(GSTN-33AJOPP7842E1ZY) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | Shantha ELectricals and Engineers Pvt Ltd(GSTN-29AARCS2866G1ZP) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5) |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA) |  | HRI ASSOCIATES(GSTN-NA) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | OUTDOOR FEEDER PILLAR-LT Panel: Supply of LT Panel, cubicle type, made out of 14 SWG CRCA sheet steel, totally enclosed, IP-64, protection free standing, Pedestal Mounted, dust and vermin proof, Outdoor compartmentalized, powder coated painting suitable for operation on 3 Phase and neutral, 415V, 50 Hz AC supply system interconnections with suitable size of copper leads/solid aluminium strips. (Panel shall conform to IS 8623 / IEC 60439 & of Form-3b construction). INCOMER: Duty & Stand-by _2__ Nos. MCCB,__200__ Amps, 4 Pole, 35 kA with adjustable setting, thermal magnetic release with O/C & S/C protection as per specification and with following accessories. Busbars 4P aluminum bus bars of suitable capacity with heat shrinkable coloured sleeves i/c SMC bus bars supports at required intervals complete for cross section, size supports & their spacing etc. for withstanding fault level of 35 KA for 1 sec. Instruments & accessories 1 No. 96 mm x 96 mm digital type Voltmeter suitable range for 3phase,4 wire operation with LED display and selector switch backup by 3 nos of 2Amp MCB . 1 No.96 mm x 96 mm digital type Ammeter for 3 phase 4 wire operation with LED display and selector switch and CT's, 3 Nos of LED type phase indicating lamps (RYB) with controlled by 2Amp MCB. 1 Set Rotary operating mechanism and terminal extension spreaders with door interlock for all the MCCB's. SPD's of type 2 class C
1.01 | Change over Switch with Interlock 250 A, 4P 35kA MCCB with out release - 1 Nos. 1 No - Multifunction Meter with accuracy class 0.5 LED display of I ,V, Hz, Active, Reactive , Apparent Power & Energy, Power factor, %THD , Maximum demand load, (complying with IEC61557-12) with RS 485 & Ethernet port and protection MCB and required accessories to complete the system Outgoing 2_ Nos. MCCB,__100__ Amps, 4 Pole, 35 kA with adjustable setting, thermal magnetic release with O/C & S/C protection as per specification and with following accessories. 2 Nos. Isolator 4P, 40A 4 Nos. 16 A 2 pole 'C' type MCB (10KA) 1 Nos. 63 A 4 pole 'C' type MCB (10KA) | 1.00 | Each |  | 314150.00 | 314150.00 | 500000.00 | 500000.00 | 300000.00 | 300000.00 | 349000.00 | 349000.00 | 550000.00 | 550000.00 | 475000.00 | 475000.00 | 210000.00 | 210000.00 | 345000.00 | 345000.00 | 350000.00 | 350000.00 | 495000.00 | 495000.00 | 595000.00 | 595000.00 | 210000.00 | Manish Electricals
2.00 | Supplying of following sizes aluminium conductor armoured XLPE insulated, PVC sheathed power cable for working voltage upto & i/c 1.1 KV. as per IS : 7098 (Part-I), 1988 with latest amendments. a) 3.5 C x 120 sq.mm | 2811.00 | Mtr |  | 598.00 | 1680978.00 | 800.00 | 2248800.00 | 550.00 | 1546050.00 | 702.00 | 1973322.00 | 550.00 | 1546050.00 | 520.00 | 1461720.00 | 610.00 | 1714710.00 | 620.00 | 1742820.00 | 659.00 | 1852449.00 | 725.00 | 2037975.00 | 639.00 | 1796229.00 | 1461720.00 | Shantha ELectricals and Engineers Pvt Ltd
3.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. a) 75 mm dia (OD-75 mm & ID-63 mm nominal)- | 2462.00 | Mtr |  | 257.00 | 632734.00 | 190.00 | 467780.00 | 200.00 | 492400.00 | 207.00 | 509634.00 | 220.00 | 541640.00 | 235.00 | 578570.00 | 270.00 | 664740.00 | 175.00 | 430850.00 | 269.00 | 662278.00 | 150.00 | 369300.00 | 185.00 | 455470.00 | 369300.00 | HRI ASSOCIATES
4.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade & 5 KV gradeof following size in the existing RCC/HUME/STONE WARE/METAL/DWC-HDPE pipe as required. a) Above 95 sq. mm and upto 185 sq. mm | 2462.00 | Mtr |  | 56.00 | 137872.00 | 35.00 | 86170.00 | 50.00 | 123100.00 | 50.00 | 123100.00 | 65.00 | 160030.00 | 130.00 | 320060.00 | 40.00 | 98480.00 | 55.00 | 135410.00 | 120.00 | 295440.00 | 35.00 | 86170.00 | 25.00 | 61550.00 | 61550.00 | ABHISHEK INTEGRATIONS LIMITED
5.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. a) Above 95 sq. mm and upto 185 sq. mm | 219.20 | Mtr |  | 63.00 | 13809.60 | 22.00 | 4822.40 | 60.00 | 13152.00 | 50.00 | 10960.00 | 50.00 | 10960.00 | 130.00 | 28496.00 | 50.00 | 10960.00 | 40.00 | 8768.00 | 90.00 | 19728.00 | 25.00 | 5480.00 | 13.00 | 2849.60 | 2849.60 | ABHISHEK INTEGRATIONS LIMITED
6.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 120 sq. mm (45mm) | 4.00 | Each |  | 713.00 | 2852.00 | 500.00 | 2000.00 | 500.00 | 2000.00 | 1800.00 | 7200.00 | 750.00 | 3000.00 | 1200.00 | 4800.00 | 900.00 | 3600.00 | 650.00 | 2600.00 | 1200.00 | 4800.00 | 1500.00 | 6000.00 | 440.00 | 1760.00 | 1760.00 | ABHISHEK INTEGRATIONS LIMITED
7.00 | Supplying and making cable route marker with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size ) of size 60 cm X 60 cm at the bottom and 50 cm X 50 cm at the top with a thickness of 10cm including inscription duly engraved as required. | 65.00 | Each |  | 1015.00 | 65975.00 | 500.00 | 32500.00 | 300.00 | 19500.00 | 750.00 | 48750.00 | 375.00 | 24375.00 | 950.00 | 61750.00 | 400.00 | 26000.00 | 750.00 | 48750.00 | 1500.00 | 97500.00 | 500.00 | 32500.00 | 440.00 | 28600.00 | 19500.00 | DOSHI ELECTRIC ENGG. CO.
8.00 | Providing and laying in position cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size ) feeder pillar base pedestals, including form work, excavation and refilling etc. as required. | 1.00 | Job |  | 12497.40 | 12497.40 | 3826.00 | 3826.00 | 5000.00 | 5000.00 | 3070.00 | 3070.00 | 6000.00 | 6000.00 | 6500.00 | 6500.00 | 7000.00 | 7000.00 | 6500.00 | 6500.00 | 25000.00 | 25000.00 | 5000.00 | 5000.00 | 4400.00 | 4400.00 | 3070.00 | C P MONCHESTER ELECTRICALS
9.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement: 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone- III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone- III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : Inside size 120x90 cm and 90 cm deep including C.I. cover with frame (medium duty) 500 mm internal diameter, total weight of cover and frame to be not less than 116 kg (weight of cover 58 kg and weight of frame 58 kg) : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 8.00 | Each |  | 37500.00 | 300000.00 | 2800.00 | 22400.00 | 30000.00 | 240000.00 | 2000.00 | 16000.00 | 18500.00 | 148000.00 | 1500.00 | 12000.00 | 16000.00 | 128000.00 | 8500.00 | 68000.00 | 45000.00 | 360000.00 | 6500.00 | 52000.00 | 11500.00 | 92000.00 | 12000.00 | Shantha ELectricals and Engineers Pvt Ltd
10.00 | EARTHING:
10.01 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 2.00 | Each |  | 8638.00 | 17276.00 | 7000.00 | 14000.00 | 7000.00 | 14000.00 | 7200.00 | 14400.00 | 7000.00 | 14000.00 | 12000.00 | 24000.00 | 7000.00 | 14000.00 | 6500.00 | 13000.00 | 15000.00 | 30000.00 | 4500.00 | 9000.00 | 5000.00 | 10000.00 | 9000.00 | HRI ASSOCIATES
10.02 | Providing and laying of 6 SWG GI wire inside the excavated cable trench/humepipe for loop earthing etc complete as required. | 2811.00 | Mtr |  | 24.00 | 67464.00 | 40.00 | 112440.00 | 20.00 | 56220.00 | 24.00 | 67464.00 | 25.00 | 70275.00 | 100.00 | 281100.00 | 25.00 | 70275.00 | 25.00 | 70275.00 | 42.00 | 118062.00 | 15.00 | 42165.00 | 16.00 | 44976.00 | 42165.00 | HRI ASSOCIATES
10.03 | Providing and fixing 25mm X 5mm G.I. Strip in 40mm dia G.I. pipe, 0.50 meter below ground from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc., as required (Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50mm) | 35.00 | Mtr |  | 683.00 | 23905.00 | 290.00 | 10150.00 | 700.00 | 24500.00 | 620.00 | 21700.00 | 650.00 | 22750.00 | 280.00 | 9800.00 | 580.00 | 20300.00 | 650.00 | 22750.00 | 500.00 | 17500.00 | 135.00 | 4725.00 | 90.00 | 3150.00 | 3150.00 | ABHISHEK INTEGRATIONS LIMITED
10.04 | Providing and laying of 110 mm outer dia, PE80, PN6 rating HDPE pipe IS:4984, IS:14333 by Horizontal Directional Drilling including jointing/welding of HDPE pipes across the runway/taxiway and Roads by trencheless directional drilling (HDD) method by deploying HDD machines, mud mixing system, Earth movers etc. complete as required. | 160.00 | Mtr |  | 1306.00 | 208960.00 | 2400.00 | 384000.00 | 2000.00 | 320000.00 | 1800.00 | 288000.00 | 3000.00 | 480000.00 | 1900.00 | 304000.00 | 2450.00 | 392000.00 | 5500.00 | 880000.00 | 3500.00 | 560000.00 | 1250.00 | 200000.00 | 2106.00 | 336960.00 | 200000.00 | HRI ASSOCIATES
| Total in Figures |  |  |  |  | 3478473.00 |  | 3888888.40 |  | 3155922.00 |  | 3432600.00 |  | 3577080.00 |  | 3567796.00 |  | 3360065.00 |  | 3774723.00 |  | 4392757.00 |  | 3345315.00 |  | 3432944.60
Lowest Amount Quoted BY: DOSHI ELECTRIC ENGG. CO.(3155922.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of 10.5 m wide link taxi track connecting runway to the proposed FTO at Belagavi Airport. SH- Provision of Power supply cable from power house to the nearest FTO feeder pillar cable from power house to the nearest FTO feeder pillar. Tender ID: 2021_AAI_100022_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DOSHI ELECTRIC ENGG. CO. | 3155922.00 | L1
| 2 | HRI ASSOCIATES | 3345315.00 | L2
| 3 | Manish Electricals | 3360065.00 | L3
| 4 | C P MONCHESTER ELECTRICALS | 3432600.00 | L4
| 5 | ABHISHEK INTEGRATIONS LIMITED | 3432944.60 | L5
| 6 | Taral Electricals | 3478473.00 | L6
| 7 | Shantha ELectricals and Engineers Pvt Ltd | 3567796.00 | L7
| 8 | Techno Electricals | 3577080.00 | L8
| 9 | Awasthi Electric Works | 3774723.00 | L9
| 10 | DEEPAKELECTRICALS | 3888888.40 | L10
| 11 | DElite System Engineering (India) Pvt. Ltd. | 4392757.00 | L11