## BoQ1
Government eProcurement System Created By: VIVEK KUMAR SINGH Created Date/Time: 04-Feb-2022 11:53 AM Tender Title: Improvement of illumination of Apron at JPNI Airport Patna. Tender ID: 2021_AAI_100023_1
Tender Inviting Authority: Airports Authority of India, JPNI Airport Patna
Name of Work: Improvement of illumination of Apron at JPNI Airport Patna.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | RVD INFRA SOLUTION PVT.LTD.(GSTN-24AAGCR7767L1ZQ) |  | MAHESH POWER CONTROL INSTRUMENT SYSTEM(GSTN-29ABFFM8769G1ZL) |  | Yash Energy Pvt. Ltd(GSTN-24AAACY3771H1ZA) |  | RANJIT SALES CORPORATION(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 1x300W LED flood light luminaries,CCT 5700K,white light,narrow beam with all accessories including matt grey/black powder coated pressure die-cast aluminium alloy housing having effective heat sink for heat dissipation,heat resitant toughened glass with gasket and SS clips to ensure ingress protection,LED's are provide with secondary lens optics to get optimum optical performance, driver designed with built in surge voltage,open/short circuit protections & external 10KV surge protection provided for safety,MS mounting bracket fixed on housing for aiming adjustment,luminaries to be install on existing arm of Galvanised lantern carriage of flood Light highmast and suitable to works 230V,50 AC Hz supply etc complete as per tender specifications. | 18.00 | Each |  | 14000.00 | 252000.00 | 16200.00 | 291600.00 | 10995.00 | 197910.00 | 15000.00 | 270000.00 | 197910.00 | Yash Energy Pvt. Ltd
2.00 | Supply of 1x150W LED flood light luminaries,CCT 3000K,warm white light,medium beam with all accessories including matt grey/black powder coated pressure die-cast aluminium alloy housing having effective heat sink for heat dissipation,heat resitant toughened glass with gasket and SS clips to ensure ingress protection,LED's are provide with secondary lens optics to get optimum optical performance, driver designed with built in surge voltage,open/short circuit protections & external 10 KV surge protection provided for safety,MS mounting bracket fixed on housing for aiming adjustment,luminaries to be install on existing arm of Galvanised lantern carriage of flood Light highmast and suitable to works 230V,50 AC Hz supply etc complete as per tender specifications. | 20.00 | Each |  | 8000.00 | 160000.00 | 8050.00 | 161000.00 | 4712.00 | 94240.00 | 5000.00 | 100000.00 | 94240.00 | Yash Energy Pvt. Ltd
3.00 | Supply of 32A,3P,AC-3, power Contractors with 1NO Auxiliary contacts and suitable to works on 415V,3 Phase,50 Hz,AC Supply and suitable to remote operation of existing high mast flood light at apron etc complete as required.Model:LC1E3210,Make:Schneider or Equivalent. | 12.00 | Each |  | 3500.00 | 42000.00 | 5400.00 | 64800.00 | 1975.00 | 23700.00 | 3000.00 | 36000.00 | 23700.00 | Yash Energy Pvt. Ltd
4.00 | Supply of 10C x 2.5 sq mm PVC insulated and FR PVC sheathed copper conductor flexible industrial power cable of 1.1KV and confirming to IS:694 etc complete as required. | 200.00 | Mtr |  | 390.00 | 78000.00 | 395.00 | 79000.00 | 308.00 | 61600.00 | 200.00 | 40000.00 | 40000.00 | RANJIT SALES CORPORATION
5.00 | Laying of 10C x 2.5 sq mm PVC insulated and FR PVC sheathed copper conductor flexible industrial power cable as trailing cable in existing apron high mast i/c connection,termination etc complete as required. | 200.00 | Mtr |  | 60.00 | 12000.00 | 30.00 | 6000.00 | 185.00 | 37000.00 | 180.00 | 36000.00 | 6000.00 | MAHESH POWER CONTROL INSTRUMENT SYSTEM
6.00 | Installation,testing and commissioning of LED flood light fittings as mentioned in item No1&2 with provision of fixing accesories i.e. nuts,bolts,clamps,drilling of holes etc as required on existing arm of galvanised lantern carriage of apron highmast including connections with suutable 1.5 sq.mm PVC insulated copper conductor flexible cable,termination etc complete as required.Job included lowering down & up the lantern carriage for the replacement & new installtion of flood light fixtures and arrange the orientation of fixtures as per attached drawings of apron lux level improvent,balancing the lantern carriage,submission of lux level report of each way of apron etc. complete as required. | 38.00 | Each |  | 150.00 | 5700.00 | 1000.00 | 38000.00 | 3927.00 | 149226.00 | 1000.00 | 38000.00 | 5700.00 | RVD INFRA SOLUTION PVT.LTD.
7.00 | ITC of 32A power contactor including electrical & remote cable connection,dismantling of existing contactor of Apron high mast main panel etc complete as required. | 12.00 | Each |  | 100.00 | 1200.00 | 500.00 | 6000.00 | 673.00 | 8076.00 | 1500.00 | 18000.00 | 1200.00 | RVD INFRA SOLUTION PVT.LTD.
8.00 | Dismantling of existing HPSV/Halogen light fixtures of all capacties from apron high mast including electrical disconnection etc and handing over to AAI Store in good condition etc complete as required. | 30.00 | Each |  | 100.00 | 3000.00 | 400.00 | 12000.00 | 336.00 | 10080.00 | 500.00 | 15000.00 | 3000.00 | RVD INFRA SOLUTION PVT.LTD.
9.00 | Supply of suitable Electronic LED kit/driver for existing medium intensity elevated type omni directional AMA make ALED Taxiway/Apron Edge light fixtures along with suitable for operation at 2.8 Amps to 6.6 Amps series circuit supply etc complete as required. | 20.00 | Each |  | 800.00 | 16000.00 | 1400.00 | 28000.00 | 1655.00 | 33100.00 | 1500.00 | 30000.00 | 16000.00 | RVD INFRA SOLUTION PVT.LTD.
| Total in Figures |  |  |  |  | 569900.00 |  | 686400.00 |  | 614932.00 |  | 583000.00
Lowest Amount Quoted BY: RVD INFRA SOLUTION PVT.LTD.(569900.00)

## BOQ Summary
BOQ Summary Details Tender Title: Improvement of illumination of Apron at JPNI Airport Patna. Tender ID: 2021_AAI_100023_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | RVD INFRA SOLUTION PVT.LTD. | 569900.00 | L1
| 2 | RANJIT SALES CORPORATION | 583000.00 | L2
| 3 | Yash Energy Pvt. Ltd | 614932.00 | L3
| 4 | MAHESH POWER CONTROL INSTRUMENT SYSTEM | 686400.00 | L4