## BoQ1
Government eProcurement System Created By: Pankaj Wanjari Created Date/Time: 31-Jan-2022 06:23 PM Tender Title: ARMO 2021-22 SH Replacement of LT ACB in main LT panel at Goa Airport Tender ID: 2021_AAI_100171_1
Tender Inviting Authority: Asst. Gen. Manager (Engg-E), AAI, Goa Airport, Goa.
Name of Work: ARMO 2021-22, SH: Replacement of LT ACB in main LT Panel at Goa Airport.
Contract No: 2021_AAI_100171_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Industrial Traders(GSTN-09ACJPC1773F1ZQ) |  | DELHI ACB SERVICE CENTRE(GSTN-07ACNPA3726A1Z5) |  | ECS ENGINEERING PVT LTD(GSTN-09AABCE5944P1Z1) |  | Shantha ELectricals and Engineers Pvt Ltd(GSTN-29AARCS2866G1ZP) |  | switchgearcontrols(GSTN-37AHSPG9876H2ZF) |  | Metropolitan Infrabuild Development And Services Pvt Ltd(GSTN-09AAHCM2436Q1ZW) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | CHENNAI ENGINEERING SERVICES(GSTN-33AADFC4373K1ZH) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | SARASWAT ENGINEERING SERVICES(GSTN-27AAZFS6239C1ZO) |  | SKYLINE ENGINEERS(GSTN-27APZPD0679L1Z4) |  | BR Power Control and Automation Services(GSTN-06AREPS4024K1ZP) |  | ALFA DEAL PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of Air Circuit Breaker L&T make 4 Pole, EDO type, 3200A rated current capacity, 415V with high short time fault withstand capacity i.e. Icu= Ics= Icw = 65kA for 1 sec, U Power OMEGA Air circuit breaker with microprocessor based release MTX3.5EC, OLED display & capable of displaying last 10 fault history. | 3.00 | Each |  | 301500.00 | 904500.00 | 255500.00 | 766500.00 | 326000.00 | 978000.00 | 310000.00 | 930000.00 | 343200.00 | 1029600.00 | 270000.00 | 810000.00 | 298000.00 | 894000.00 | 273449.00 | 820347.00 | 264000.00 | 792000.00 | 335280.00 | 1005840.00 | 284490.00 | 853470.00 | 330000.00 | 990000.00 | 322102.00 | 966306.00 | 766500.00 | DELHI ACB SERVICE CENTRE
2.00 | Installation / Retrofitting, testing and commissioning of Air circuit breaker L&T make, 4 Pole, EDO type, 3200A, U Power OMEGA Air circuit breaker in existing LT panel no.2 installed at Power House of Goa International Airport after removing existing ACB & providing all required material like aluminium busbas of existing capacity and suitable retrofitting material including loading, unloading and any other arrangement complete as required on site. | 3.00 | Job |  | 61500.00 | 184500.00 | 75000.00 | 225000.00 | 5000.00 | 15000.00 | 40000.00 | 120000.00 | 30000.00 | 90000.00 | 55000.00 | 165000.00 | 45200.00 | 135600.00 | 74999.00 | 224997.00 | 56000.00 | 168000.00 | 35690.00 | 107070.00 | 30000.00 | 90000.00 | 23000.00 | 69000.00 | 43750.00 | 131250.00 | 15000.00 | ECS ENGINEERING PVT LTD
| Total in Figures |  |  |  |  | 1089000.00 |  | 991500.00 |  | 993000.00 |  | 1050000.00 |  | 1119600.00 |  | 975000.00 |  | 1029600.00 |  | 1045344.00 |  | 960000.00 |  | 1112910.00 |  | 943470.00 |  | 1059000.00 |  | 1097556.00
Lowest Amount Quoted BY: SKYLINE ENGINEERS(943470.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO 2021-22 SH Replacement of LT ACB in main LT panel at Goa Airport Tender ID: 2021_AAI_100171_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SKYLINE ENGINEERS | 943470.00 | L1
| 2 | Manish Electricals | 960000.00 | L2
| 3 | Metropolitan Infrabuild Development And Services Pvt Ltd | 975000.00 | L3
| 4 | DELHI ACB SERVICE CENTRE | 991500.00 | L4
| 5 | ECS ENGINEERING PVT LTD | 993000.00 | L5
| 6 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 1029600.00 | L6
| 7 | CHENNAI ENGINEERING SERVICES | 1045344.00 | L7
| 8 | Shantha ELectricals and Engineers Pvt Ltd | 1050000.00 | L8
| 9 | BR Power Control and Automation Services | 1059000.00 | L9
| 10 | Industrial Traders | 1089000.00 | L10
| 11 | ALFA DEAL PRIVATE LIMITED | 1097556.00 | L11
| 12 | SARASWAT ENGINEERING SERVICES | 1112910.00 | L12
| 13 | switchgearcontrols | 1119600.00 | L13