## BoQ1
Government eProcurement System Created By: ARUN KUMAR K Created Date/Time: 23-Feb-2021 05:03 PM Tender Title: ARMO 2020-21 SH Supply of Electrical Spares for Day to Day Maintenance at LGBI Airport, Guwahati Tender ID: 2021_AAI_66055_1
Tender Inviting Authority: Senior Manager (Engg – Elect), AAI, LGBI Airport, Guwahati, Assam – 781 015
Name of Work: ARMO 2020-21 SH: Supply of Electrical Spares for Day to Day Maintenance at LGBI Airport, Guwahati.
Contract No: AAI/ENGG/SM(E-E)/GHY/NIT-14/2020-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | DEEPAKELECTRICALS(GSTN-33ALUPD3531C1ZI) |  | Bafna Electric Corp(GSTN-33AAAFB4879L1Z8) |  | Industrial Traders(GSTN-09ACJPC1773F1ZQ) |  | SHARMA TRADE AGENCY(GSTN-18ABDFM0295M2ZV)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 6A, 1way, ISI marked, Piano type Switch suitable for 230V, 50Hz AC supply as required. (Make Anchor, cat. No. 38069 or its equivalent from list of approved makes) | 400.00 | Each |  | 11.00 | 4400.00 | 13.00 | 5200.00 | 12.34 | 4936.00 | 11.00 | 4400.00 | 4400.00 | DEEPAKELECTRICALS, SHARMA TRADE AGENCY
2.00 | Supply of 6A, ISI Marked, 3pin Socket outlet suitable for 230V, 50Hz AC supply as required.(Make Anchor, cat. No. 38342 or its equivalent from list of approved makes) | 600.00 | Each |  | 22.00 | 13200.00 | 24.00 | 14400.00 | 28.14 | 16884.00 | 20.00 | 12000.00 | 12000.00 | SHARMA TRADE AGENCY
3.00 | Supply of 20A, 1way, ISI marked, Power Switch suitable for 230V, 50Hz AC supply as required. (Make Anchor, cat. No. 39991 or its equivalent from list of approved makes) | 150.00 | Each |  | 55.00 | 8250.00 | 65.00 | 9750.00 | 64.99 | 9748.50 | 54.00 | 8100.00 | 8100.00 | SHARMA TRADE AGENCY
4.00 | Supply of 20A & 10A, Uni Socket suitable for 230V, 50Hz AC supply as required. (Make Anchor, cat. No. 39994 or its equivalent from list of approved makes) | 250.00 | Each |  | 70.00 | 17500.00 | 69.00 | 17250.00 | 68.34 | 17085.00 | 54.00 | 13500.00 | 13500.00 | SHARMA TRADE AGENCY
5.00 | Supply of 20 & 10 A Combined unit of Switch and Socket having shuttered along with box and four fixing holes suitable for 230V, 50Hz AC supply as required. (Make Anchor, cat. No. 39593 or its equivalent from list of approved makes) | 50.00 | Each |  | 100.00 | 5000.00 | 121.00 | 6050.00 | 119.94 | 5997.00 | 105.00 | 5250.00 | 5000.00 | DEEPAKELECTRICALS
6.00 | Supply of single module Dummy (Blanking) plate suitable for all makes of Distribution board. | 500.00 | Each |  | 90.00 | 45000.00 | 11.00 | 5500.00 | 11.25 | 5625.00 | 10.00 | 5000.00 | 5000.00 | SHARMA TRADE AGENCY
7.00 | Supply of 6 Amp, 3 pin Plug Top, ISI marked suitable for 230V, 50Hz AC supply as required. (Make Anchor, cat. No. 39571/51348 or its equivalent from list of approved makes) | 110.00 | Each |  | 80.00 | 8800.00 | 40.00 | 4400.00 | 45.56 | 5011.60 | 38.00 | 4180.00 | 4180.00 | SHARMA TRADE AGENCY
8.00 | Supply of 16 Amp, 3 pin Plug Top, ISI marked suitable for 230V, 50Hz AC supply as required. (Make Anchor, cat. No. 39582/51395 or its equivalent from list of approved makes) | 110.00 | Each |  | 45.00 | 4950.00 | 53.00 | 5830.00 | 60.30 | 6633.00 | 49.00 | 5390.00 | 4950.00 | DEEPAKELECTRICALS
9.00 | Supply of call bell piano type switch (push button type) ISI marked, suitable for 230 volt, 50Hz, AC supply as required. (Make Anchor, cat. No. 38091 or its equivalent from list of approved makes) | 50.00 | Each |  | 22.00 | 1100.00 | 24.00 | 1200.00 | 23.45 | 1172.50 | 21.00 | 1050.00 | 1050.00 | SHARMA TRADE AGENCY
10.00 | Supply of Battery operated/Wireless Door bell having tune selector and volume controller button. (Make Anchor, cat. No. 22750 or its equivalent) | 10.00 | Each |  | 400.00 | 4000.00 | 475.00 | 4750.00 | 495.00 | 4950.00 | 520.00 | 5200.00 | 4000.00 | DEEPAKELECTRICALS
11.00 | Supply of 20W, T-8 LED tube lamp (6500 K) suitable to operate on 230 volt, 50Hz, AC supply as required. | 170.00 | Each |  | 250.00 | 42500.00 | 225.00 | 38250.00 | 237.50 | 40375.00 | 200.00 | 34000.00 | 34000.00 | SHARMA TRADE AGENCY
12.00 | Supply of 9W LED bulb (Pin type) (6500 K) suitable to operate on 230 volt, 50Hz, AC supply as required. | 120.00 | Each |  | 120.00 | 14400.00 | 73.00 | 8760.00 | 100.00 | 12000.00 | 80.00 | 9600.00 | 8760.00 | Bafna Electric Corp
13.00 | Supply of Universal batten fittings suitable for T8 LED tubes and operate on 230 volt, 50Hz AC supply as required (without tube). | 50.00 | Each |  | 220.00 | 11000.00 | 190.00 | 9500.00 | 237.50 | 11875.00 | 180.00 | 9000.00 | 9000.00 | SHARMA TRADE AGENCY
14.00 | Supply of 6A, angle holder (with metal ring), suitable to operate on 230 volt, 50Hz, AC supply as required.(Make Anchor, cat. No. 39797 or its equivalent from list of approved makes) | 60.00 | Each |  | 21.00 | 1260.00 | 27.00 | 1620.00 | 26.13 | 1567.80 | 23.00 | 1380.00 | 1260.00 | DEEPAKELECTRICALS
15.00 | Supply of 6A, battern holder (with metal ring), suitable to operate on 230 volt, 50Hz, AC supply as required. (Make Anchor, cat. No. 39800 or its equivalent from list of approved makes) | 50.00 | Each |  | 21.00 | 1050.00 | 27.00 | 1350.00 | 26.13 | 1306.50 | 23.00 | 1150.00 | 1050.00 | DEEPAKELECTRICALS
16.00 | Supply of following width and thick uPVC mini trunking, ISI marked confirming to IS:14927(Part-2) as required
16.01 | a) 20 X 12 mm (Make Precision Cat No. PT 2012 or its equivalent) | 400.00 | Meter |  | 21.00 | 8400.00 | 21.00 | 8400.00 | 50.43 | 20172.00 | 24.00 | 9600.00 | 8400.00 | DEEPAKELECTRICALS, Bafna Electric Corp
16.02 | b) 25 X 12 mm (Make Precision Cat No. PT 2512 or its equivalent) | 400.00 | Meter |  | 23.00 | 9200.00 | 26.00 | 10400.00 | 60.51 | 24204.00 | 30.00 | 12000.00 | 9200.00 | DEEPAKELECTRICALS
17.00 | Supply of PVC switch Box complete with cover plate of following sizes as required.
17.01 | a) 4" x 4" (Make Anchor, cat. No. PB0404AW or its equivalent from list of approved makes) | 80.00 | Each |  | 31.00 | 2480.00 | 51.00 | 4080.00 | 46.88 | 3750.40 | 36.00 | 2880.00 | 2480.00 | DEEPAKELECTRICALS
17.02 | b) 4" x 7" (Make Anchor, cat. No. PB0407AW or its equivalent from list of approved makes) | 50.00 | Each |  | 41.00 | 2050.00 | 69.00 | 3450.00 | 63.48 | 3174.00 | 53.00 | 2650.00 | 2050.00 | DEEPAKELECTRICALS
17.03 | c) 6" x 8" (Make Anchor, cat. No. PB0608AW or its equivalent from list of approved makes) | 35.00 | Each |  | 61.00 | 2135.00 | 97.00 | 3395.00 | 89.58 | 3135.30 | 73.00 | 2555.00 | 2135.00 | DEEPAKELECTRICALS
17.04 | d) 8" x 10" (Make Anchor, cat. No. PB0810AW or its equivalent from list of approved makes) | 15.00 | Each |  | 90.00 | 1350.00 | 136.00 | 2040.00 | 125.76 | 1886.40 | 100.00 | 1500.00 | 1350.00 | DEEPAKELECTRICALS
18.00 | Supply of following sizes of Modular Plates with base(inner) plate and cover(outer) plate.
18.01 | a) 3 Modular Plate (Make Anchor, cat. No. 35300WH) | 10.00 | Each |  | 60.00 | 600.00 | 60.00 | 600.00 | 63.93 | 639.30 | 60.00 | 600.00 | 600.00 | DEEPAKELECTRICALS, Bafna Electric Corp, SHARMA TRADE AGENCY
18.02 | b) 4 Modular Plate (Make Anchor, cat. No. 35311WH) | 10.00 | Each |  | 70.00 | 700.00 | 75.00 | 750.00 | 78.54 | 785.40 | 70.00 | 700.00 | 700.00 | DEEPAKELECTRICALS, SHARMA TRADE AGENCY
18.03 | c) 6 Modular Plate (Make Anchor, cat. No. 35322WH) | 10.00 | Each |  | 100.00 | 1000.00 | 107.00 | 1070.00 | 112.64 | 1126.40 | 110.00 | 1100.00 | 1000.00 | DEEPAKELECTRICALS
19.00 | Supply of PVC switch Box complete with cover plate of following sizes as required.
19.01 | a) Red | 10.00 | Each |  | 80.00 | 800.00 | 93.00 | 930.00 | 103.75 | 1037.50 | 77.00 | 770.00 | 770.00 | SHARMA TRADE AGENCY
19.02 | b) Yellow | 10.00 | Each |  | 80.00 | 800.00 | 93.00 | 930.00 | 103.75 | 1037.50 | 77.00 | 770.00 | 770.00 | SHARMA TRADE AGENCY
19.03 | c) Blue | 10.00 | Each |  | 135.00 | 1350.00 | 162.00 | 1620.00 | 180.00 | 1800.00 | 130.00 | 1300.00 | 1300.00 | SHARMA TRADE AGENCY
19.04 | d) Green | 10.00 | Each |  | 80.00 | 800.00 | 93.00 | 930.00 | 103.75 | 1037.50 | 77.00 | 770.00 | 770.00 | SHARMA TRADE AGENCY
19.05 | e) White | 10.00 | Each |  | 135.00 | 1350.00 | 162.00 | 1620.00 | 180.00 | 1800.00 | 130.00 | 1300.00 | 1300.00 | SHARMA TRADE AGENCY
19.06 | f) Amber | 10.00 | Each |  | 80.00 | 800.00 | 93.00 | 930.00 | 103.75 | 1037.50 | 77.00 | 770.00 | 770.00 | SHARMA TRADE AGENCY
20.00 | Supply of following colour 110V DC LED indication lamps of Cluster design suitable to install in the existing panel cut of sizes 22.5/30mm etc as required.
20.01 | a) Red | 15.00 | Each |  | 80.00 | 1200.00 | 93.00 | 1395.00 | 103.75 | 1556.25 | 77.00 | 1155.00 | 1155.00 | SHARMA TRADE AGENCY
20.02 | b) Yellow | 15.00 | Each |  | 80.00 | 1200.00 | 93.00 | 1395.00 | 103.75 | 1556.25 | 77.00 | 1155.00 | 1155.00 | SHARMA TRADE AGENCY
20.03 | c) Blue | 15.00 | Each |  | 135.00 | 2025.00 | 162.00 | 2430.00 | 180.00 | 2700.00 | 130.00 | 1950.00 | 1950.00 | SHARMA TRADE AGENCY
20.04 | d) Green | 15.00 | Each |  | 80.00 | 1200.00 | 93.00 | 1395.00 | 103.75 | 1556.25 | 77.00 | 1155.00 | 1155.00 | SHARMA TRADE AGENCY
20.05 | e) White | 15.00 | Each |  | 135.00 | 2025.00 | 93.00 | 1395.00 | 180.00 | 2700.00 | 130.00 | 1950.00 | 1395.00 | Bafna Electric Corp
20.06 | f) Amber | 15.00 | Each |  | 80.00 | 1200.00 | 93.00 | 1395.00 | 103.75 | 1556.25 | 77.00 | 1155.00 | 1155.00 | SHARMA TRADE AGENCY
21.00 | Supply of following colour 240 VAC LED indication lamps of Cluster design suitable to install in the existing panel cut of sizes 22.5/30mm etc as required.
21.01 | a) Red | 35.00 | Each |  | 80.00 | 2800.00 | 93.00 | 3255.00 | 103.75 | 3631.25 | 77.00 | 2695.00 | 2695.00 | SHARMA TRADE AGENCY
21.02 | b) Yellow | 35.00 | Each |  | 80.00 | 2800.00 | 93.00 | 3255.00 | 103.75 | 3631.25 | 77.00 | 2695.00 | 2695.00 | SHARMA TRADE AGENCY
21.03 | c) Blue | 35.00 | Each |  | 135.00 | 4725.00 | 162.00 | 5670.00 | 180.00 | 6300.00 | 130.00 | 4550.00 | 4550.00 | SHARMA TRADE AGENCY
21.04 | d) Green | 30.00 | Each |  | 80.00 | 2400.00 | 93.00 | 2790.00 | 103.75 | 3112.50 | 77.00 | 2310.00 | 2310.00 | SHARMA TRADE AGENCY
22.00 | Supply of following ratings 'B' series, ISI marked, 10 kA, Miniature Circuit Breaker(MCB) suitable to operate in 240/415 Volt, 50 Hz, AC supply as required
22.01 | a) 6 Amp, SP MCB | 48.00 | Each |  | 165.00 | 7920.00 | 100.00 | 4800.00 | 107.50 | 5160.00 | 95.00 | 4560.00 | 4560.00 | SHARMA TRADE AGENCY
22.02 | b) 10 Amp, SP MCB | 36.00 | Each |  | 165.00 | 5940.00 | 100.00 | 3600.00 | 107.50 | 3870.00 | 95.00 | 3420.00 | 3420.00 | SHARMA TRADE AGENCY
22.03 | c) 16 Amp, SP MCB | 36.00 | Each |  | 165.00 | 5940.00 | 100.00 | 3600.00 | 107.50 | 3870.00 | 95.00 | 3420.00 | 3420.00 | SHARMA TRADE AGENCY
22.04 | d) 20 Amp, SP MCB | 60.00 | Each |  | 165.00 | 9900.00 | 100.00 | 6000.00 | 107.50 | 6450.00 | 95.00 | 5700.00 | 5700.00 | SHARMA TRADE AGENCY
22.05 | e) 32 Amp, SP MCB | 60.00 | Each |  | 165.00 | 9900.00 | 100.00 | 6000.00 | 107.50 | 6450.00 | 95.00 | 5700.00 | 5700.00 | SHARMA TRADE AGENCY
22.06 | f) 20 Amp, DP MCB | 48.00 | Each |  | 475.00 | 22800.00 | 352.00 | 16896.00 | 357.50 | 17160.00 | 380.00 | 18240.00 | 16896.00 | Bafna Electric Corp
22.07 | g) 32 Amp, DP MCB | 48.00 | Each |  | 475.00 | 22800.00 | 352.00 | 16896.00 | 357.50 | 17160.00 | 380.00 | 18240.00 | 16896.00 | Bafna Electric Corp
23.00 | Supply of following ratings 'C' series, ISI marked, 10 kA, Miniature Circuit Breaker(MCB) suitable to operate in 240/415 Volt, 50 Hz, AC supply as required.
23.01 | a) 2 Amp, SP MCB | 24.00 | Each |  | 250.00 | 6000.00 | 179.00 | 4296.00 | 125.00 | 3000.00 | 190.00 | 4560.00 | 3000.00 | Industrial Traders
23.02 | b) 6 Amp, SP MCB | 48.00 | Each |  | 165.00 | 7920.00 | 105.00 | 5040.00 | 107.00 | 5136.00 | 115.00 | 5520.00 | 5040.00 | Bafna Electric Corp
23.03 | c) 16 Amp, SP MCB | 48.00 | Each |  | 165.00 | 7920.00 | 105.00 | 5040.00 | 107.00 | 5136.00 | 115.00 | 5520.00 | 5040.00 | Bafna Electric Corp
23.04 | d) 20 Amp, SP MCB | 60.00 | Each |  | 165.00 | 9900.00 | 105.00 | 6300.00 | 107.00 | 6420.00 | 115.00 | 6900.00 | 6300.00 | Bafna Electric Corp
23.05 | e) 32 Amp, SP MCB | 48.00 | Each |  | 165.00 | 7920.00 | 105.00 | 5040.00 | 107.00 | 5136.00 | 115.00 | 5520.00 | 5040.00 | Bafna Electric Corp
23.06 | f) 20 Amp,DP MCB | 36.00 | Each |  | 465.00 | 16740.00 | 370.00 | 13320.00 | 356.56 | 12836.16 | 380.00 | 13680.00 | 12836.16 | Industrial Traders
23.07 | g) 32 Amp,DP MCB | 36.00 | Each |  | 465.00 | 16740.00 | 370.00 | 13320.00 | 356.56 | 12836.16 | 380.00 | 13680.00 | 12836.16 | Industrial Traders
23.08 | h) 40 Amp, DP MCB | 36.00 | Each |  | 750.00 | 27000.00 | 550.00 | 19800.00 | 326.25 | 11745.00 | 550.00 | 19800.00 | 11745.00 | Industrial Traders
23.09 | i) 63 Amp, DP MCB | 24.00 | Each |  | 750.00 | 18000.00 | 625.00 | 15000.00 | 597.00 | 14328.00 | 600.00 | 14400.00 | 14328.00 | Industrial Traders
23.10 | j) 32 Amp, TP MCB | 24.00 | Each |  | 790.00 | 18960.00 | 580.00 | 13920.00 | 573.00 | 13752.00 | 600.00 | 14400.00 | 13752.00 | Industrial Traders
23.11 | k) 63 Amp, TP MCB | 24.00 | Each |  | 900.00 | 21600.00 | 900.00 | 21600.00 | 886.00 | 21264.00 | 900.00 | 21600.00 | 21264.00 | Industrial Traders
23.12 | l) 40 Amp, FP MCB | 24.00 | Each |  | 1200.00 | 28800.00 | 1120.00 | 26880.00 | 1088.00 | 26112.00 | 1100.00 | 26400.00 | 26112.00 | Industrial Traders
23.13 | m) 63 Amp, FP MCB | 24.00 | Each |  | 1200.00 | 28800.00 | 1150.00 | 27600.00 | 1125.00 | 27000.00 | 1150.00 | 27600.00 | 27000.00 | Industrial Traders
24.00 | Supply of 100 Amp, Four pole Isolator, ISI marked, suitable to operate in 415 Volt, 50 Hz, AC supply as required. | 10.00 | Each |  | 800.00 | 8000.00 | 670.00 | 6700.00 | 640.00 | 6400.00 | 700.00 | 7000.00 | 6400.00 | Industrial Traders
25.00 | Supply of Aluminium In Line Connectors suitable for the following sizes of XLPE insulated Aluminium conductor cable.
25.01 | a) 16 sqmm | 30.00 | Each |  | 1.50 | 45.00 | 2.00 | 60.00 | 1.90 | 57.00 | 2.50 | 75.00 | 45.00 | DEEPAKELECTRICALS
25.02 | b) 25 sqmm | 30.00 | Each |  | 2.50 | 75.00 | 4.00 | 120.00 | 2.61 | 78.30 | 3.50 | 105.00 | 75.00 | DEEPAKELECTRICALS
25.03 | c) 35 sqmm | 20.00 | Each |  | 3.50 | 70.00 | 4.00 | 80.00 | 3.33 | 66.60 | 4.50 | 90.00 | 66.60 | Industrial Traders
25.04 | d) 50 sqmm | 20.00 | Each |  | 7.00 | 140.00 | 6.00 | 120.00 | 4.92 | 98.40 | 6.50 | 130.00 | 98.40 | Industrial Traders
25.05 | e) 95 sqmm | 20.00 | Each |  | 10.00 | 200.00 | 12.00 | 240.00 | 9.25 | 185.00 | 11.00 | 220.00 | 185.00 | Industrial Traders
25.06 | f) 120 sqmm (long barrel) | 30.00 | Each |  | 45.00 | 1350.00 | 41.00 | 1230.00 | 12.55 | 376.50 | 32.00 | 960.00 | 376.50 | Industrial Traders
25.07 | g) 185 sqmm (long barrel) | 30.00 | Each |  | 65.00 | 1950.00 | 81.00 | 2430.00 | 22.00 | 660.00 | 60.00 | 1800.00 | 660.00 | Industrial Traders
25.08 | h)240 sqmm (long barrel) | 30.00 | Each |  | 100.00 | 3000.00 | 116.00 | 3480.00 | 36.00 | 1080.00 | 90.00 | 2700.00 | 1080.00 | Industrial Traders
25.09 | i) 300 sqmm (long barrel) | 30.00 | Each |  | 120.00 | 3600.00 | 150.00 | 4500.00 | 52.00 | 1560.00 | 100.00 | 3000.00 | 1560.00 | Industrial Traders
26.00 | Supply of Aluminium Tubular Terminals suitable for the following sizes of XLPE insulated Aluminium conductor cable.
26.01 | a) 16 Sqmm | 50.00 | Each |  | 2.50 | 125.00 | 3.00 | 150.00 | 2.50 | 125.00 | 3.00 | 150.00 | 125.00 | DEEPAKELECTRICALS, Industrial Traders
26.02 | b) 25 sqmm | 50.00 | Each |  | 3.00 | 150.00 | 5.00 | 250.00 | 3.23 | 161.50 | 4.00 | 200.00 | 150.00 | DEEPAKELECTRICALS
26.03 | c) 35 sqmm | 30.00 | Each |  | 4.00 | 120.00 | 6.00 | 180.00 | 4.26 | 127.80 | 5.00 | 150.00 | 120.00 | DEEPAKELECTRICALS
26.04 | d) 50 Sqmm | 30.00 | Each |  | 6.50 | 195.00 | 8.00 | 240.00 | 6.33 | 189.90 | 7.00 | 210.00 | 189.90 | Industrial Traders
26.05 | e) 70 sqmm | 30.00 | Each |  | 10.00 | 300.00 | 13.00 | 390.00 | 9.32 | 279.60 | 11.00 | 330.00 | 279.60 | Industrial Traders
26.06 | f) 95 sqmm | 30.00 | Each |  | 11.00 | 330.00 | 14.00 | 420.00 | 10.55 | 316.50 | 14.00 | 420.00 | 316.50 | Industrial Traders
26.07 | g) 120 Sqmm | 20.00 | Each |  | 15.00 | 300.00 | 19.00 | 380.00 | 14.64 | 292.80 | 18.00 | 360.00 | 292.80 | Industrial Traders
26.08 | h) 150 Sqmm | 20.00 | Each |  | 22.00 | 440.00 | 24.00 | 480.00 | 18.94 | 378.80 | 23.00 | 460.00 | 378.80 | Industrial Traders
26.09 | i) 185 Sqmm | 20.00 | Each |  | 33.00 | 660.00 | 30.00 | 600.00 | 23.82 | 476.40 | 28.00 | 560.00 | 476.40 | Industrial Traders
26.10 | j) 240 Sqmm | 10.00 | Each |  | 55.00 | 550.00 | 52.00 | 520.00 | 41.00 | 410.00 | 48.00 | 480.00 | 410.00 | Industrial Traders
27.00 | Supply of Heavy duty Copper Reducer Terminals suitable for the following sizes of XLPE insulated Copper conductors cable.
27.01 | a) 6 Sqmm | 20.00 | Each |  | 11.00 | 220.00 | 13.00 | 260.00 | 11.00 | 220.00 | 12.00 | 240.00 | 220.00 | DEEPAKELECTRICALS, Industrial Traders
27.02 | b) 10 Sqmm | 20.00 | Each |  | 11.00 | 220.00 | 13.00 | 260.00 | 16.00 | 320.00 | 13.00 | 260.00 | 220.00 | DEEPAKELECTRICALS
27.03 | c) 16 Sqmm | 20.00 | Each |  | 35.00 | 700.00 | 29.00 | 580.00 | 27.00 | 540.00 | 28.00 | 560.00 | 540.00 | Industrial Traders
27.04 | d) 25 sqmm | 20.00 | Each |  | 39.00 | 780.00 | 34.00 | 680.00 | 30.00 | 600.00 | 30.00 | 600.00 | 600.00 | Industrial Traders, SHARMA TRADE AGENCY
28.00 | Supply of Heavy duty Copper Tubular Terminals suitable to the following sizes of XLPE insulated Copper conductors cable.
28.01 | a) 6 Sqmm | 20.00 | Each |  | 11.00 | 220.00 | 6.00 | 120.00 | 4.11 | 82.20 | 6.00 | 120.00 | 82.20 | Industrial Traders
28.02 | b) 10 Sqmm | 20.00 | Each |  | 12.00 | 240.00 | 9.00 | 180.00 | 5.19 | 103.80 | 8.00 | 160.00 | 103.80 | Industrial Traders
28.03 | c) 16 Sqmm | 20.00 | Each |  | 13.00 | 260.00 | 11.00 | 220.00 | 6.92 | 138.40 | 9.00 | 180.00 | 138.40 | Industrial Traders
28.04 | d) 25 sqmm | 20.00 | Each |  | 22.00 | 440.00 | 17.00 | 340.00 | 12.00 | 240.00 | 17.00 | 340.00 | 240.00 | Industrial Traders
29.00 | Supply of following sizes Flame retardant Low smoke (FRLS) PVC insulated single core unsheathed industrial (multistrand) flexible cable of copper conductor suitable for voltage grade of 1100 volts, conforming to IS:694 as required.
29.01 | a) 1.5 Sq.mm | 900.00 | Meter |  | 21.00 | 18900.00 | 12.00 | 10800.00 | 16.00 | 14400.00 | 13.00 | 11700.00 | 10800.00 | Bafna Electric Corp
29.02 | b) 2.5 Sq.mm | 450.00 | Meter |  | 24.00 | 10800.00 | 20.00 | 9000.00 | 25.00 | 11250.00 | 21.00 | 9450.00 | 9000.00 | Bafna Electric Corp
29.03 | c) 4.0 Sq.mm | 180.00 | Meter |  | 41.00 | 7380.00 | 45.00 | 8100.00 | 35.00 | 6300.00 | 31.00 | 5580.00 | 5580.00 | SHARMA TRADE AGENCY
29.04 | d) 16.0 Sq.mm | 100.00 | Meter |  | 170.00 | 17000.00 | 123.00 | 12300.00 | 155.00 | 15500.00 | 131.00 | 13100.00 | 12300.00 | Bafna Electric Corp
30.00 | Supply of following sizes Three core Flat Cables for Submersible Pump Motors PVC/XLPE insulated and PVC sheathed, copper conductor (flexible) industrial cable for voltage grade 1100 Volts, conforming to IS:694 as required..
30.01 | (a) 4 sq.mm | 200.00 | Meter |  | 135.00 | 27000.00 | 112.00 | 22400.00 | 123.00 | 24600.00 | 125.00 | 25000.00 | 22400.00 | Bafna Electric Corp
30.02 | (b) 6 Sq.mm | 200.00 | Meter |  | 180.00 | 36000.00 | 165.00 | 33000.00 | 182.00 | 36400.00 | 163.00 | 32600.00 | 32600.00 | SHARMA TRADE AGENCY
31.00 | Supply of following sizes Flame retardant Low smoke (FRLS) Three core PVC insulated, PVC sheathed copper conductor (flexible) industrial cable for voltage grade 1100 Volts, conforming to IS:694 as required..
31.01 | (a) 1.5 sq.mm | 900.00 | Meter |  | 44.00 | 39600.00 | 42.00 | 37800.00 | 52.84 | 47556.00 | 42.00 | 37800.00 | 37800.00 | Bafna Electric Corp, SHARMA TRADE AGENCY
31.02 | (b) 2.5 Sq.mm | 500.00 | Meter |  | 75.00 | 37500.00 | 68.00 | 34000.00 | 85.00 | 42500.00 | 68.00 | 34000.00 | 34000.00 | Bafna Electric Corp, SHARMA TRADE AGENCY
31.03 | (c) 4.0 Sq.mm | 200.00 | Meter |  | 120.00 | 24000.00 | 105.00 | 21000.00 | 131.00 | 26200.00 | 110.00 | 22000.00 | 21000.00 | Bafna Electric Corp
32.00 | Supply of following sizes Flame retardant Low smoke (FRLS) Four core PVC insulated, round sheathed copper conductor (flexible) industrial cable for voltage grade 1100 Volts, conforming to IS:694 as required.
32.01 | (a) 4.0 Sq.mm | 200.00 | Meter |  | 170.00 | 34000.00 | 138.00 | 27600.00 | 171.00 | 34200.00 | 141.00 | 28200.00 | 27600.00 | Bafna Electric Corp
32.02 | (b) 6.0 Sq.mm | 200.00 | Meter |  | 250.00 | 50000.00 | 206.00 | 41200.00 | 256.00 | 51200.00 | 210.00 | 42000.00 | 41200.00 | Bafna Electric Corp
32.03 | (c) 10.0 Sq.mm | 100.00 | Meter |  | 410.00 | 41000.00 | 348.00 | 34800.00 | 431.00 | 43100.00 | 352.00 | 35200.00 | 34800.00 | Bafna Electric Corp
33.00 | Supply of following sizes of ISI marked, XLPE insulated & PVC sheathed, armoured aluminium conductor cable of 1.1KV grade as per IS 7098-1988 Part1 with upto date amendments complete as required.
33.01 | a) 4C x 6 sqmm | 200.00 | Meter |  | 100.00 | 20000.00 | 86.00 | 17200.00 | 95.00 | 19000.00 | 85.00 | 17000.00 | 17000.00 | SHARMA TRADE AGENCY
33.02 | b) 4C x 16 sqmm | 200.00 | Meter |  | 140.00 | 28000.00 | 120.00 | 24000.00 | 128.00 | 25600.00 | 118.00 | 23600.00 | 23600.00 | SHARMA TRADE AGENCY
34.00 | Supply of 3 Phase Digital Voltmeter, Flush mounted type of size 96 x 96mm, having inbuilt selector switch for 3 phases, display of parameters of Voltage in the range of 50 - 520 VAC (P-P) with accuracy class of 1.0, suitable to operate in Aux supply 80-300 VAC/DC and programmable PT at site (L&T make Cat no.WL132010OOOO or its equivalent from list of approved makes) | 5.00 | Each |  | 1000.00 | 5000.00 | 930.00 | 4650.00 | 988.00 | 4940.00 | 750.00 | 3750.00 | 3750.00 | SHARMA TRADE AGENCY
35.00 | Supply of 3 Phase Digital Ammeter, Flush mounted type of size 96 x 96mm, having inbuilt selector switch for 3 phases, display of parameters of Current, with accuracy class of 1.0, suitable to operate in Aux supply 80-300 VAC/DC and programmable CT at site of 1A/5A complete (L&T make Cat no.WL131010OOOO or its equivalent from list of approved makes) | 5.00 | Each |  | 1000.00 | 5000.00 | 930.00 | 4650.00 | 988.00 | 4940.00 | 750.00 | 3750.00 | 3750.00 | SHARMA TRADE AGENCY
36.00 | Supply of 3 Phase Digital KWH meter with RS485, Flush mounted type of size 96 x 96mm for measuring the 3phase energy consumption with accuracy class of 1.0, suitable to operate in Aux supply 80-300 VAC/DC and programmable CT/PT set of 1A/5A complete (L&T make Cat no.WC400011OOOO or its equivalent from list of approved makes) | 20.00 | Each |  | 2500.00 | 50000.00 | 2400.00 | 48000.00 | 2491.00 | 49820.00 | 1950.00 | 39000.00 | 39000.00 | SHARMA TRADE AGENCY
37.00 | Supply of 3 Phase Digital Multifunction meter with RS485, Flush mounted type of size 96 x 96mm for measuring the 3phase multi parameters of Voltage, Amperes, Frequency, Power Factor, KW, KVA, KWh, KVAh etc., with accuracy class of 1.0, suitable to operate in Aux supply 80-300 VAC/DC and programmable CT/PT set of 1A/5A complete (L&T make Cat no.WL440511OOOO or its equivalent from list of approved makes) | 20.00 | Each |  | 4500.00 | 90000.00 | 4250.00 | 85000.00 | 4430.00 | 88600.00 | 3500.00 | 70000.00 | 70000.00 | SHARMA TRADE AGENCY
38.00 | Supply of 500ml CRC bottle for maintenance of panel and switch board. | 20.00 | Each |  | 350.00 | 7000.00 | 310.00 | 6200.00 | 225.00 | 4500.00 | 280.00 | 5600.00 | 4500.00 | Industrial Traders
39.00 | Supplying of straight through heat shrinkable cable jointing kit for following size of XLPE insulated and PVC sheathed aluminium conductor cable of 1.1 KV grade including ferrules and other jointing materials etc. as required
39.01 | a) 3½ X 35 sq. mm | 2.00 | Each |  | 1200.00 | 2400.00 | 870.00 | 1740.00 | 1632.31 | 3264.62 | 1400.00 | 2800.00 | 1740.00 | Bafna Electric Corp
39.02 | b) 3½ X 70 sq. mm | 2.00 | Each |  | 1800.00 | 3600.00 | 1200.00 | 2400.00 | 2356.00 | 4712.00 | 2000.00 | 4000.00 | 2400.00 | Bafna Electric Corp
39.03 | c) 3½ X 95 sq. mm | 2.00 | Each |  | 1800.00 | 3600.00 | 1220.00 | 2440.00 | 2356.00 | 4712.00 | 2000.00 | 4000.00 | 2440.00 | Bafna Electric Corp
39.04 | d) 3½ X 120 sq. mm | 2.00 | Each |  | 2400.00 | 4800.00 | 1220.00 | 2440.00 | 3191.00 | 6382.00 | 2300.00 | 4600.00 | 2440.00 | Bafna Electric Corp
39.05 | e) 3½ X 150 sq. mm | 2.00 | Each |  | 2500.00 | 5000.00 | 1600.00 | 3200.00 | 3191.00 | 6382.00 | 2700.00 | 5400.00 | 3200.00 | Bafna Electric Corp
39.06 | f) 3½ X 185 sq. mm | 2.00 | Each |  | 2500.00 | 5000.00 | 1640.00 | 3280.00 | 3191.00 | 6382.00 | 2700.00 | 5400.00 | 3280.00 | Bafna Electric Corp
39.07 | g) 3½ X 240 sq. mm | 2.00 | Each |  | 3300.00 | 6600.00 | 2500.00 | 5000.00 | 3500.00 | 7000.00 | 3000.00 | 6000.00 | 5000.00 | Bafna Electric Corp
39.08 | h) 3½ X 300 sq. mm | 2.00 | Each |  | 3700.00 | 7400.00 | 2200.00 | 4400.00 | 4200.00 | 8400.00 | 3600.00 | 7200.00 | 4400.00 | Bafna Electric Corp
39.09 | i) 3½ X 400 sq. mm | 2.00 | Each |  | 4500.00 | 9000.00 | 3100.00 | 6200.00 | 5725.00 | 11450.00 | 4900.00 | 9800.00 | 6200.00 | Bafna Electric Corp
39.10 | j) 4 X 16 sq. mm | 2.00 | Each |  | 1000.00 | 2000.00 | 820.00 | 1640.00 | 1375.00 | 2750.00 | 1200.00 | 2400.00 | 1640.00 | Bafna Electric Corp
40.00 | Supplying of straight through heat shrinkable cable jointing kit for following sizes of XLPE aluminium conductor cable of 11 KV grade complete with all accessories including ferrules etc. as required.
40.01 | a) 3 X 120 sq. mm | 5.00 | Each |  | 17000.00 | 85000.00 | 8875.00 | 44375.00 | 9012.00 | 45060.00 | 9000.00 | 45000.00 | 44375.00 | Bafna Electric Corp
40.02 | b) 3 X 185 sq. mm | 2.00 | Each |  | 17000.00 | 34000.00 | 8890.00 | 17780.00 | 9012.00 | 18024.00 | 9000.00 | 18000.00 | 17780.00 | Bafna Electric Corp
41.00 | Supplying of straight through heat shrinkable cable jointing kit for following sizes of XLPE aluminium conductor cable of 33 KV grade complete with all accessories including ferrules etc. as required.
41.01 | a) 3 X 185 sq. mm | 1.00 | Each |  | 55000.00 | 55000.00 | 29860.00 | 29860.00 | 36250.00 | 36250.00 | 36000.00 | 36000.00 | 29860.00 | Bafna Electric Corp
41.02 | b) 3 X 300 sq. mm | 2.00 | Each |  | 75000.00 | 150000.00 | 33500.00 | 67000.00 | 26250.00 | 52500.00 | 37000.00 | 74000.00 | 52500.00 | Industrial Traders
42.00 | Supplying of end termination kit (Indoor type) for following sizes of XLPE aluminium conductor cable of 11 KV grade complete with all accessories including ferrules etc. as required.
42.01 | a) 3 X 120 sq. mm | 2.00 | Each |  | 11000.00 | 22000.00 | 3500.00 | 7000.00 | 4032.00 | 8064.00 | 4200.00 | 8400.00 | 7000.00 | Bafna Electric Corp
42.02 | b) 3 X 185 sq. mm | 2.00 | Each |  | 11000.00 | 22000.00 | 3520.00 | 7040.00 | 4032.00 | 8064.00 | 4200.00 | 8400.00 | 7040.00 | Bafna Electric Corp
43.00 | Supplying of end termination kit for following sizes of XLPE aluminium conductor cable of 33 KV grade complete with all accessories including ferrules etc. as required.
43.01 | a) 3 X 185 sq. mm (indoor type) | 2.00 | Each |  | 24000.00 | 48000.00 | 7800.00 | 15600.00 | 10358.00 | 20716.00 | 11000.00 | 22000.00 | 15600.00 | Bafna Electric Corp
43.02 | b) 3 X 185 sq. mm (outdoor type) | 2.00 | Each |  | 30000.00 | 60000.00 | 10600.00 | 21200.00 | 11515.00 | 23030.00 | 15000.00 | 30000.00 | 21200.00 | Bafna Electric Corp
43.03 | c) 3 X 300 sq. mm (outdoor type) | 2.00 | Each |  | 39000.00 | 78000.00 | 13900.00 | 27800.00 | 15241.00 | 30482.00 | 20000.00 | 40000.00 | 27800.00 | Bafna Electric Corp
44.00 | Supply of following MCCB with terminal-Magnetic Release having Ics=100% Icu, with over load setting: 0.8-1.0 x In with breaking capacity of following ratings.
44.01 | a) 63A, TP MCCB , 16kA | 6.00 | Each |  | 2900.00 | 17400.00 | 4025.00 | 24150.00 | 1917.00 | 11502.00 | 2100.00 | 12600.00 | 11502.00 | Industrial Traders
44.02 | b) 63A, FP MCCB , 16kA | 5.00 | Each |  | 3900.00 | 19500.00 | 5600.00 | 28000.00 | 2386.00 | 11930.00 | 2800.00 | 14000.00 | 11930.00 | Industrial Traders
44.03 | c) 125A, TP MCCB , 25kA | 9.00 | Each |  | 4800.00 | 43200.00 | 5500.00 | 49500.00 | 3163.00 | 28467.00 | 3950.00 | 35550.00 | 28467.00 | Industrial Traders
44.04 | d) 125A, FP MCCB , 25kA | 7.00 | Each |  | 6200.00 | 43400.00 | 6600.00 | 46200.00 | 4211.00 | 29477.00 | 5000.00 | 35000.00 | 29477.00 | Industrial Traders
45.00 | Supply of Finned Strip space Heaters of 500 Watt capacity of 228mm length, width 65mm and thickness of 35mm complying to IS 3724 suitable to operate on 230 Volts, 50Hz, AC supply (Make GIRISHEGO Model No. SERF- 9 or its equivalent) | 100.00 | Each |  | 310.00 | 31000.00 | 380.00 | 38000.00 | 362.00 | 36200.00 | 380.00 | 38000.00 | 31000.00 | DEEPAKELECTRICALS
46.00 | Supply of space Heaters of 200 Watt capacity of 275mm length, having stainless steel shreated cartridge heating elements in perforated sheet metal enclosure and porcelain terminal block is provided for electrical connection suitable to operate on 230 Volts, 50Hz, AC supply (Make GIRISHEGO Model No. SH/020/275 CE or its equivalent) | 30.00 | Each |  | 230.00 | 6900.00 | 310.00 | 9300.00 | 306.00 | 9180.00 | 340.00 | 10200.00 | 6900.00 | DEEPAKELECTRICALS
47.00 | Supply of 2.5 microfarad ceiling fan type capacitor suitable to operate on 230 volt, 50Hz, AC supply as required. | 80.00 | Each |  | 29.00 | 2320.00 | 20.00 | 1600.00 | 17.50 | 1400.00 | 18.00 | 1440.00 | 1400.00 | Industrial Traders
48.00 | Supply of 25Amps, 3 Pole Power Contactors along with Side mounting 1NO and 1 NC Auxiliary contacts Blocks suitable for operation on 440 V, 50 HZ, 3 phase AC supply etc. as required. (Make L&T MNX25 Cat No. CS94110 or its equivalent from list of approved makes) | 15.00 | Each |  | 1000.00 | 15000.00 | 8640.00 | 129600.00 | 1035.00 | 15525.00 | 1275.00 | 19125.00 | 15000.00 | DEEPAKELECTRICALS
49.00 | Supply of 40Amps 3 Pole Power Contactors along with Side mounting 1NO and 1 NC Auxiliary contacts Blocks suitable for operation on 440 V, 50 HZ, 3 phase AC supply etc. as required. (Make L&T MNX40 Cat No. CS94190 or its equivalent from list of approved makes) | 10.00 | Each |  | 3500.00 | 35000.00 | 3000.00 | 30000.00 | 3576.00 | 35760.00 | 3950.00 | 39500.00 | 30000.00 | Bafna Electric Corp
50.00 | Supply of Astronomical Time Switch for automatic switching of High Mast & Street Lights complete as required. (Make L&T Cat No. AUTS02AST00 or its equivalent from list of approved makes) | 10.00 | Each |  | 3700.00 | 37000.00 | 2700.00 | 27000.00 | 3258.00 | 32580.00 | 2500.00 | 25000.00 | 25000.00 | SHARMA TRADE AGENCY
51.00 | Supply of following ratings, 4 Pole motorised automatic transfer switch along with controller with wire harness and protections suitable for operation on 440V, 50Hz, AC supply
51.01 | a) 100A (Open execution) | 1.00 | Each |  | 40000.00 | 40000.00 | 28700.00 | 28700.00 | 42000.00 | 42000.00 | 33000.00 | 33000.00 | 28700.00 | Bafna Electric Corp
51.02 | b) 160A (Open execution) | 1.00 | Each |  | 50000.00 | 50000.00 | 36700.00 | 36700.00 | 46375.00 | 46375.00 | 36000.00 | 36000.00 | 36000.00 | SHARMA TRADE AGENCY
51.03 | c) 100A (In sheet steel enclosure) with Auto Mains Failure (AMF) facility | 1.00 | Each |  | 45000.00 | 45000.00 | 32400.00 | 32400.00 | 54437.00 | 54437.00 | 45000.00 | 45000.00 | 32400.00 | Bafna Electric Corp
52.00 | Supply of MOV based Surge Protection module having Imax=40kA, In=20kA, Uc 5000V, Up=21kV and Ts=25ns for CCR output | 12.00 | Each |  | 20000.00 | 240000.00 | 20200.00 | 242400.00 | 8090.00 | 97080.00 | 8000.00 | 96000.00 | 96000.00 | SHARMA TRADE AGENCY
53.00 | Supply of following sizes of PVC MCB enclosures complete with din rail
53.01 | a) 2 Module | 30.00 | Each |  | 111.00 | 3330.00 | 80.00 | 2400.00 | 125.00 | 3750.00 | 120.00 | 3600.00 | 2400.00 | Bafna Electric Corp
53.02 | b) 4 Module | 25.00 | Each |  | 170.00 | 4250.00 | 110.00 | 2750.00 | 150.00 | 3750.00 | 180.00 | 4500.00 | 2750.00 | Bafna Electric Corp
54.00 | Supply of Electrical panel door lock (Stainless steel) suitable for installation on existing panels and for 20mm dia nominal hole size | 200.00 | Each |  | 22.00 | 4400.00 | 630.00 | 126000.00 | 187.00 | 37400.00 | 26.00 | 5200.00 | 4400.00 | DEEPAKELECTRICALS
55.00 | Supply of Giant Indian National flag of size 20'x 30' in 100% knitted polyester with reinforced super-strong nylon webbing on all 3 sides & eye lets and Flag shall confirm to the Flag code of India, 2002. | 3.00 | Each |  | 20000.00 | 60000.00 | 11500.00 | 34500.00 | 31250.00 | 93750.00 | 20000.00 | 60000.00 | 34500.00 | Bafna Electric Corp
56.00 | Supply of Heavy duty Power factor correction capacitors of following rating suitable to operate in 3Ph, 415V, 50Hz AC supply with voltage rated of 440V, over current withstand capability of 1.8times rated current confirming to IS:13340-1993, IS:13341:1992 etc., as required.
56.01 | a) 25 kVAr (Box type) | 3.00 | Each |  | 7000.00 | 21000.00 | 5120.00 | 15360.00 | 7750.00 | 23250.00 | 5600.00 | 16800.00 | 15360.00 | Bafna Electric Corp
56.02 | b) 10 kVAr (Box type) | 3.00 | Each |  | 2500.00 | 7500.00 | 2100.00 | 6300.00 | 3125.00 | 9375.00 | 2400.00 | 7200.00 | 6300.00 | Bafna Electric Corp
56.03 | c) 5 kVAr (Box type) | 3.00 | Each |  | 1300.00 | 3900.00 | 1100.00 | 3300.00 | 1562.00 | 4686.00 | 1150.00 | 3450.00 | 3300.00 | Bafna Electric Corp
57.00 | Supply of constant current LED driver (Make: Bajaj, cat no : BGD 36 240 5Y) compatable for existing 90W Bajaj make LED street light fitting of model /cat. No. BRTFG 44 LED 90W and suitable for operation on 230V, 1Ph, 50Hz AC supply as required. | 10.00 | Each |  | 3000.00 | 30000.00 | 1800.00 | 18000.00 | 625.00 | 6250.00 | 1500.00 | 15000.00 | 6250.00 | Industrial Traders
58.00 | Supply of constant current LED driver (Make: Bajaj, cat no : BGD 66 210 5Y) compatable for existing 150 W 'DURANTO' highbay luminaire light fitting of model /cat. No. BGHB 150W LED and suitable for operation on 230V, 1Ph, 50Hz AC supply as required. | 10.00 | Each |  | 3500.00 | 35000.00 | 2300.00 | 23000.00 | 2125.00 | 21250.00 | 1950.00 | 19500.00 | 19500.00 | SHARMA TRADE AGENCY
59.00 | Supply of constant current LED driver (Make: Bajaj, cat no : BGD 36 10 OI) compatable for existing 36 W Recess mounted 2x2 luminaire LED light fitting of model /cat. No. BZRSQL 36W GZ WH and suitable for operation on 230V, 1Ph, 50Hz AC supply as required. | 10.00 | Each |  | 900.00 | 9000.00 | 650.00 | 6500.00 | 625.00 | 6250.00 | 525.00 | 5250.00 | 5250.00 | SHARMA TRADE AGENCY
60.00 | Supply of constant current LED driver (Make: Bajaj, cat no : BGD 36 05 OI) compatable for existing 18W Bajaj make Surface mounted 1x1 LED luminaire LED light fitting of model /cat. No. BZRSQL 18W WH and suitable for operation on 230V, 1Ph, 50Hz AC supply as required. | 10.00 | Each |  | 900.00 | 9000.00 | 520.00 | 5200.00 | 437.00 | 4370.00 | 580.00 | 5800.00 | 4370.00 | Industrial Traders
61.00 | Supply of constant current LED driver (Make: Bajaj, cat no : BGD 50 035) compatable for existing 18W Bajaj make Recess mounted downlighter LED light fitting of model /cat. No. BZSLH 18W WH and suitable for operation on 230V, 1Ph, 50Hz AC supply as required. | 10.00 | Each |  | 550.00 | 5500.00 | 350.00 | 3500.00 | 437.00 | 4370.00 | 300.00 | 3000.00 | 3000.00 | SHARMA TRADE AGENCY
62.00 | Supply of constant current LED driver (Make: Bajaj, cat no : BGD 36 035) compatable for existing 12W Bajaj make Recess mounted downlighter LED light fitting of model /cat. No. BZSLH 12W WH and suitable for operation on 230V, 1Ph, 50Hz AC supply as required. | 10.00 | Each |  | 550.00 | 5500.00 | 750.00 | 7500.00 | 437.00 | 4370.00 | 300.00 | 3000.00 | 3000.00 | SHARMA TRADE AGENCY
63.00 | Supply of transformer oil conforming to IS 335:1993 with update amendments in a sealed drums as intended to use as coolant in the transformers including submission of test report as required | 840.00 | Litre |  | 100.00 | 84000.00 | 110.00 | 92400.00 | 187.00 | 157080.00 | 106.00 | 89040.00 | 84000.00 | DEEPAKELECTRICALS
64.00 | Supply of Silica gel suitable for power transformers Breathers | 30.00 | Kg |  | 300.00 | 9000.00 | 275.00 | 8250.00 | 375.00 | 11250.00 | 240.00 | 7200.00 | 7200.00 | SHARMA TRADE AGENCY
65.00 | Supply of EPDM / Rubber gasket of 3-5mm suitable for installation on existing panel doors | 200.00 | Mtr |  | 45.00 | 9000.00 | 30.00 | 6000.00 | 13.00 | 2600.00 | 40.00 | 8000.00 | 2600.00 | Industrial Traders
66.00 | Supply of heavy duty Cast Iron/Galvanised iron Earth Pit Cover of size 300mm x 300mm with frame. | 25.00 | Each |  | 220.00 | 5500.00 | 375.00 | 9375.00 | 437.00 | 10925.00 | 300.00 | 7500.00 | 5500.00 | DEEPAKELECTRICALS
67.00 | Supply of followings ratio of indoor resin cast ring type low tension current transformors of burden 15VA, Accuracy class 1.0.
67.01 | a) 400/5A CT's (Set of 3 Nos) | 5.00 | Set |  | 2200.00 | 11000.00 | 1650.00 | 8250.00 | 2625.00 | 13125.00 | 1500.00 | 7500.00 | 7500.00 | SHARMA TRADE AGENCY
67.02 | b) 250/5A CT's (Set of 3 Nos) | 10.00 | Set |  | 2250.00 | 22500.00 | 1150.00 | 11500.00 | 2812.00 | 28120.00 | 1500.00 | 15000.00 | 11500.00 | Bafna Electric Corp
67.03 | c) 100/5A CT's (Set of 3 Nos) | 10.00 | Set |  | 2500.00 | 25000.00 | 920.00 | 9200.00 | 4425.00 | 44250.00 | 1500.00 | 15000.00 | 9200.00 | Bafna Electric Corp
68.00 | Supply of 33KV Complete Pole Assembly (single pole) compatable for installation on existing 33 KV VCB of Kirloskar Electric Company Ltd make & Type VRK 36-3 complete with factory fitted vaccum interruptor, arm contacts all internal and external accessories etc complete for operation on 33 KV, 3 Phase, 50Hz A.C. supply | 2.00 | Each |  | 115000.00 | 230000.00 | 172000.00 | 344000.00 | 87500.00 | 175000.00 | 200000.00 | 400000.00 | 175000.00 | Industrial Traders
69.00 | Supply of Cast resin moulded Dual core Current Transformer (Make : PRAGATI ELECTRICALS PVT LTD) suitable for 33KV HT VCB Panel (Make : Kirloskar Electric Company Ltd, Type : S36 VCB) and for operation on 33 KV, 3 Phase, 50Hz A.C. supply of following specifications ( Set of 3 nos) (a) Ratio : 100/1 (Core 1), 100/1 (Core 2) (b) VA : 15 (Core 1), 15 (Core 2) (c) S Term : 1S1-1S2, 2S1-2S2 (d) Class 1.0, 5P10 (e) Type (Des) : 33E (f) Model : A1720-1 (g) Type : Wound (h) IL : 36/70/170 KVp (i) HSV : 36 KV (j) STC : 25 kA for 3 sec (k) Freq : 50 Hz (l) Insulation Class : B (m) Standard : IS : 2705/1992 | 1.00 | Set |  | 110000.00 | 110000.00 | 138000.00 | 138000.00 | 28125.00 | 28125.00 | 135000.00 | 135000.00 | 28125.00 | Industrial Traders
70.00 | Supply of Cast resin moulded Earthed type Potential Transformer (Make : PRAGATI ELECTRICALS PVT LTD) suitable for 33KV HT VCB Panel (Make : Kirloskar Electric Company Ltd, Type : S36 VCB) and for operation on 33 KV, 3 Phase, 50Hz A.C. supply of following specifications ( Set of 3 nos) (a) Type : Earthed (b) Pri (Volts) : 33000/V3 (c) Winding : Sec1 (d) Volts : 110/V3 (e) VA/PH : 200 (f) Model : A1720-3 (g) Class : 1.0 (h) IL : 36/70/170 KVp (i) V.F : 1.2 Cont & 1.9 for 8 hrs (j) Freq : 50 Hz (k) Phase : 1 (l) Insulation Class : B (m) Standard : IS : 3156/1992 | 1.00 | Set |  | 110000.00 | 110000.00 | 155250.00 | 155250.00 | 26250.00 | 26250.00 | 155000.00 | 155000.00 | 26250.00 | Industrial Traders
71.00 | Supply of 110V DC Closing Coil suitable for 630A, 33KV Vacuum Circuit Breaker of Kirloskar Electric Company Ltd make & Type VRK 36-3 | 4.00 | Each |  | 2300.00 | 9200.00 | 3200.00 | 12800.00 | 1000.00 | 4000.00 | 5000.00 | 20000.00 | 4000.00 | Industrial Traders
72.00 | Supply of 110V DC Tripping Coil suitable for 630A, 33KV Vacuum Circuit Breaker of Kirloskar Electric Company Ltd make & Type VRK 36-3 | 4.00 | Each |  | 2300.00 | 9200.00 | 3200.00 | 12800.00 | 1000.00 | 4000.00 | 5000.00 | 20000.00 | 4000.00 | Industrial Traders
73.00 | Supply of Push Button Assembly (Set of ON & OFF Push Buttons) suitable for 630A, 33KV Vacuum Circuit Breaker of Kirloskar Electric Company Ltd make & Type VRK 36-3 | 4.00 | Set |  | 900.00 | 3600.00 | 1150.00 | 4600.00 | 875.00 | 3500.00 | 3500.00 | 14000.00 | 3500.00 | Industrial Traders
74.00 | Supply of 230V AC Spring Charging Motor suitable for 630A, 33KV Vacuum Circuit Breaker of Kirloskar Electric Company Ltd make & Type VRK 36-3 | 1.00 | Each |  | 30000.00 | 30000.00 | 34500.00 | 34500.00 | 15000.00 | 15000.00 | 25000.00 | 25000.00 | 15000.00 | Industrial Traders
75.00 | Supply of Cast resin moulded Dual core Current Transformer (Make : KAPPA ELECTRICALS) suitable for 11KV HT VCB Panel of Kirloskar Electric Company Ltd make & Type : A12650 VCB and operation on 11 KV, 3 Phase, 50Hz A.C. supply of following specifications (Set of 3 nos) (a) Core 1 : Metering, IS1-IS2 : 100/1 A, 15VA / 1 (b) Core2 : Protection, 2S1-2S2 : 100/1 A, 15VA/5P10 (c) Type ref : CW 370 (d) HSV : 12 KV (e) ILV : 28/75 KV (f) STR : 25 kA for 1 sec (g) Freq : 50 Hz (h) Standard : IS : 2705/1992 | 1.00 | Set |  | 55000.00 | 55000.00 | 69000.00 | 69000.00 | 15000.00 | 15000.00 | 68000.00 | 68000.00 | 15000.00 | Industrial Traders
76.00 | Supply of Cast resin moulded Potential Transformer (Make : KAPPA ELECTRICALS) suitable for 11KV HT VCB Panel of Kirloskar Electric Company Ltd make & Type : A12650 VCB and operation on 11 KV, 3 Phase, 50Hz A.C. supply of following specifications (Set of 3 nos) (a) Type : VEC-213-07 (b) Ratio : 11kV/RT3/110V/RT3 (c) HSV : 12 KV (d) Burden : 100 VA (e) Class : 1.0 (f) ILV : 28/75 KV (g) V.F : 1.2 Cont & 1.5 for 30 sec (h) Freq : 50 Hz (i) Phase : 1 (j) Standard : IS : 3156/1992 | 1.00 | Set |  | 70000.00 | 70000.00 | 95500.00 | 95500.00 | 12500.00 | 12500.00 | 85000.00 | 85000.00 | 12500.00 | Industrial Traders
77.00 | Supply of 110V DC Closing Coil for 1250A, 11KV Vacuum Circuit Breaker of Kirloskar Electric Company Ltd make & Type C-500 | 5.00 | Each |  | 1900.00 | 9500.00 | 2500.00 | 12500.00 | 1000.00 | 5000.00 | 2800.00 | 14000.00 | 5000.00 | Industrial Traders
78.00 | Supply of 24V DC Closing Coil for 630A, 11KV Vacuum Circuit Breaker of Kirloskar Electric Company Ltd make & Type C-500 | 2.00 | Each |  | 1900.00 | 3800.00 | 2500.00 | 5000.00 | 1000.00 | 2000.00 | 2800.00 | 5600.00 | 2000.00 | Industrial Traders
79.00 | Supply of 110V DC Tripping Coil for 1250A, 11KV Vacuum Circuit Breaker of Kirloskar Electric Company Ltd make & Type C-500 | 5.00 | Each |  | 1900.00 | 9500.00 | 2500.00 | 12500.00 | 1000.00 | 5000.00 | 2800.00 | 14000.00 | 5000.00 | Industrial Traders
80.00 | Supply of 24V DC Tripping Coil for 630A, 11KV Vacuum Circuit Breaker of Kirloskar Electric Company Ltd make & Type C-500 | 2.00 | Each |  | 1900.00 | 3800.00 | 2500.00 | 5000.00 | 1000.00 | 2000.00 | 2800.00 | 5600.00 | 2000.00 | Industrial Traders
81.00 | Supply of Push Button Assembly (Set of ON & OFF Push Buttons) for 1250A, 11KV Vacuum Circuit Breaker of Kirloskar Electric Company Ltd make & Type C-500 | 5.00 | Set |  | 900.00 | 4500.00 | 1150.00 | 5750.00 | 875.00 | 4375.00 | 3500.00 | 17500.00 | 4375.00 | Industrial Traders
82.00 | Supply of 230V AC Spring Charging Motor for 1250A, 11KV Vacuum Circuit Breaker of Kirloskar Electric Company Ltd make & Type C-500 | 1.00 | Each |  | 25000.00 | 25000.00 | 28000.00 | 28000.00 | 16000.00 | 16000.00 | 30000.00 | 30000.00 | 16000.00 | Industrial Traders
83.00 | Supply of 2 Amps, 80KA HRC Fuse Link of offset staggered fixing method, HG type suitable to operate on 415 volts, 50 Hz, AC supply etc., complete as required (Make : L & T, Cat No. ST30725 or or its equivalent from list of approved makes) | 10.00 | Each |  | 40.00 | 400.00 | 33.00 | 330.00 | 57.00 | 570.00 | 32.00 | 320.00 | 320.00 | SHARMA TRADE AGENCY
84.00 | Supply of 12 stage APFC relay with CT secondary 1 A / 5 A (Site selectable) & Measurement of individual Current and Voltage harmonic (THD) up to 15th Order, Capacitor failure indication, Suitable for LT as well as HT side sensing, Communicable on Modbus through RS485 Plug-in Module etc suitable for operation on 415V, 3Ph, 50Hz AC supply as required. (Make : L & T, Cat No. ETACONM008R+ETACONEXP2R+ETACONEXP2R or its equivalent) | 1.00 | Each |  | 16000.00 | 16000.00 | 15473.00 | 15473.00 | 17292.00 | 17292.00 | 13000.00 | 13000.00 | 13000.00 | SHARMA TRADE AGENCY
85.00 | Supply of Numerical Overcurrent protection relay with 3 O/C and 1 E/F consisting of Input Module, Power Supply and Output Relay module, Measuring Module and Front Fascia (Make : Easun Reyrolle, Model no-MIT 114) | 1.00 | Each |  | 13000.00 | 13000.00 | 13700.00 | 13700.00 | 15625.00 | 15625.00 | 15000.00 | 15000.00 | 13000.00 | DEEPAKELECTRICALS
86.00 | Supply of following type of selector switches
86.01 | a) Ammeter selector switch (Make : Kaycee, Type : SRP136MA60 or its equivalent as per list of approved makes) | 15.00 | Each |  | 400.00 | 6000.00 | 520.00 | 7800.00 | 187.00 | 2805.00 | 300.00 | 4500.00 | 2805.00 | Industrial Traders
86.02 | b) Ammeter selector switch (Make : Kaycee, Type : 4S39AP (10Amp) or its equivalent as per list of approved makes) | 15.00 | Each |  | 300.00 | 4500.00 | 380.00 | 5700.00 | 187.00 | 2805.00 | 250.00 | 3750.00 | 2805.00 | Industrial Traders
86.03 | c) Voltmeter selector switch (Make : Kaycee, Type : SRP135VS or its equivalent as per list of approved makes) | 15.00 | Each |  | 350.00 | 5250.00 | 475.00 | 7125.00 | 187.00 | 2805.00 | 280.00 | 4200.00 | 2805.00 | Industrial Traders
86.04 | d) Voltmeter selector switch (Make : Kaycee, Type : 3S39VP (10Amp) or its equivalent as per list of approved makes) | 15.00 | Each |  | 200.00 | 3000.00 | 265.00 | 3975.00 | 187.00 | 2805.00 | 190.00 | 2850.00 | 2805.00 | Industrial Traders
86.05 | e) Trip-Neutral-Close switch (Make : Kaycee, Product code : BCD01P006K154 or its equivalent as per list of approved makes) | 15.00 | Each |  | 800.00 | 12000.00 | 2465.00 | 36975.00 | 15000.00 | 225000.00 | 750.00 | 11250.00 | 11250.00 | SHARMA TRADE AGENCY
87.00 | Supply of panel mounting flush head spring return boot push buttons actuator with NO/NC contact blocks suitable to operate on 230V, 50Hz, AC supply as required.
87.01 | a) Red | 15.00 | Each |  | 100.00 | 1500.00 | 95.00 | 1425.00 | 137.00 | 2055.00 | 80.00 | 1200.00 | 1200.00 | SHARMA TRADE AGENCY
87.02 | b) Green | 15.00 | Each |  | 100.00 | 1500.00 | 95.00 | 1425.00 | 137.00 | 2055.00 | 80.00 | 1200.00 | 1200.00 | SHARMA TRADE AGENCY
87.03 | c) Black | 15.00 | Each |  | 100.00 | 1500.00 | 95.00 | 1425.00 | 137.00 | 2055.00 | 80.00 | 1200.00 | 1200.00 | SHARMA TRADE AGENCY
87.04 | d) Yellow | 15.00 | Each |  | 100.00 | 1500.00 | 95.00 | 1425.00 | 137.00 | 2055.00 | 80.00 | 1200.00 | 1200.00 | SHARMA TRADE AGENCY
88.00 | Supplying of following rating Industrial type plugs and socket outlet in sheet steel enclosure with suitable MCB cutout and suitable for universable mounting
88.01 | a) 20A, 230V, 2P + E pin plug & socket | 5.00 | Each |  | 600.00 | 3000.00 | 550.00 | 2750.00 | 548.00 | 2740.00 | 550.00 | 2750.00 | 2740.00 | Industrial Traders
88.02 | b) 30A, 440V, 3P + E Pin plug & socket | 5.00 | Each |  | 1900.00 | 9500.00 | 1830.00 | 9150.00 | 1686.00 | 8430.00 | 1300.00 | 6500.00 | 6500.00 | SHARMA TRADE AGENCY
89.00 | Supply of following rating Industrial type Plugs suitable for connections to Industrial type metal clad socket.
89.01 | a) 20A, 230V, 2P + E pin plug | 5.00 | Each |  | 130.00 | 650.00 | 98.00 | 490.00 | 88.00 | 440.00 | 470.00 | 2350.00 | 440.00 | Industrial Traders
89.02 | b) 30A, 440V, 3P + E pin plug | 5.00 | Each |  | 300.00 | 1500.00 | 235.00 | 1175.00 | 218.00 | 1090.00 | 230.00 | 1150.00 | 1090.00 | Industrial Traders
90.00 | Supply of HT HRC fuse of 3.15 Amps rating suitable for HT Potential Transformers of following voltage ratings
90.01 | a) 11KV | 6.00 | Each |  | 900.00 | 5400.00 | 790.00 | 4740.00 | 1000.00 | 6000.00 | 2100.00 | 12600.00 | 4740.00 | Bafna Electric Corp
90.02 | b) 33KV | 6.00 | Each |  | 900.00 | 5400.00 | 2600.00 | 15600.00 | 1000.00 | 6000.00 | 2800.00 | 16800.00 | 5400.00 | DEEPAKELECTRICALS
| Total in Figures |  |  |  |  | 3480360.00 |  | 3400301.00 |  | 2897167.54 |  | 3085160.00
Lowest Amount Quoted BY: Industrial Traders(2897167.54)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO 2020-21 SH Supply of Electrical Spares for Day to Day Maintenance at LGBI Airport, Guwahati Tender ID: 2021_AAI_66055_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Industrial Traders | 2897167.54 | L1
| 2 | SHARMA TRADE AGENCY | 3085160.00 | L2
| 3 | Bafna Electric Corp | 3400301.00 | L3
| 4 | DEEPAKELECTRICALS | 3480360.00 | L4