## BoQ1
Government eProcurement System Created By: ORATHY PERUMAL ELUMALAI Created Date/Time: 03-Feb-2021 05:00 PM Tender Title: O and M of E and M Installations at Power House, OTB, Ancillary Buildings, Perimeter Lighting and Residential Colony, AMC of Solar Powered Obstacle Lights at various hills at Tirupati Airport Tender ID: 2021_AAI_66072_1
Tender Inviting Authority: The Asst.General Manager(Engg-E), AAI, Tirupati Airport.
NAME OF WORK: ARMO of E&M Installations at Tirupati Airport for the year 2020 -22. SUB HEAD: O & M of E & M Installations at Power House, OTB, Ancillary Buildings, Perimeter Lighting and Residential Colony & AMC of Solar Powered Obstacle Lights at various hills at Tirupati Airport.
Contract No: AAI/TPT/ENGG(E)/M-05/2020-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SHRADDHA ENGINEERING AND FACILITY SERVICES(GSTN-37ABZFS0350H1ZR) |  | CHENNAI ENGINEERING SERVICES(GSTN-33AADFC4373K1ZH) |  | Manjunatha Engineers(GSTN-29AMQPG2258Q2Z6) |  | LAKSHMI ELECTRICAL ENTERPRISES(GSTN-33AACFL6352N1Z4) |  | SRI VASUKI POWER SYSTEMS PVT LTD(GSTN-29AAUCS9791D1ZE) |  | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED(GSTN-37AACCJ7269H1Z7) |  | ABHISHEK ASSOCIATES(GSTN-24ADZPD4239Q1ZT) |  | KALKI ELECTRICALS(GSTN-29AGGPD2370J1ZE) |  | LRVi Enginnering Solutions Pvt Ltd(GSTN-33AACCL5189N1Z1) |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Job Contract for Operation and Maintenance of Electrical and Mechanical installations at 33/0.433KV Power house, NAV-AIDS, Ground Lighting Facilities, Fire Station, MT section including minor additions and alterations as directed by Engineer-in-charge on all days including Sundays and Holidays as per Special Conditions of Contract attached. | 24.00 | Month |  | 286369.00 | 6872856.00 | 269999.00 | 6479976.00 | 281961.00 | 6767064.00 | 251204.00 | 6028896.00 | 306326.00 | 7351824.00 | 298496.00 | 7163904.00 | 279555.00 | 6709320.00 | 266000.00 | 6384000.00 | 259670.00 | 6232080.00 | 283361.00 | 6800664.00 | 6028896.00 | LAKSHMI ELECTRICAL ENTERPRISES
2.00 | Job Contract for Operation and Maintenance of Electrical and Mechanical installations at Old Terminal Buliding (OTB), Technical Block & Pump House, Perimeter Lighting and CISF Barracks including minor additions and alterations as directed by Engineer-in-charge on all days including Sundays and Holidays as per Special Conditions of Contract attached. | 24.00 | Month |  | 190796.00 | 4579104.00 | 179189.00 | 4300536.00 | 189536.00 | 4548864.00 | 184651.00 | 4431624.00 | 163216.00 | 3917184.00 | 186002.00 | 4464048.00 | 173333.00 | 4159992.00 | 176000.00 | 4224000.00 | 177515.00 | 4260360.00 | 198807.00 | 4771368.00 | 3917184.00 | SRI VASUKI POWER SYSTEMS PVT LTD
3.00 | Job Contract for Operation and Maintenance of Electrical and Mechanical installations at AAI Residential Colony including minor additions and alterations as directed by Engineer-in-charge on all days including Sundays and Holidays as per Special Conditions of Contract attached. | 24.00 | Month |  | 67492.00 | 1619808.00 | 52009.00 | 1248216.00 | 54142.00 | 1299408.00 | 45285.00 | 1086840.00 | 46508.00 | 1116192.00 | 47977.00 | 1151448.00 | 59333.00 | 1423992.00 | 56000.00 | 1344000.00 | 54328.00 | 1303872.00 | 49895.00 | 1197480.00 | 1086840.00 | LAKSHMI ELECTRICAL ENTERPRISES
4.00 | Job contract for Operation and Maintenance of Fire detection & Alarm system and Fire Hydrant System at Old Terminal Buliding (OTB), Technical Block and NAV-AIDS including minor additions and alterations as directed by Engineer-in-charge on all days including Sundays and Holidays as per Special Conditions of Contract attached. | 24.00 | Month |  | 54638.00 | 1311312.00 | 59959.00 | 1439016.00 | 59976.00 | 1439424.00 | 66416.00 | 1593984.00 | 51453.00 | 1234872.00 | 54089.00 | 1298136.00 | 60666.00 | 1455984.00 | 60000.00 | 1440000.00 | 59404.00 | 1425696.00 | 73174.00 | 1756176.00 | 1234872.00 | SRI VASUKI POWER SYSTEMS PVT LTD
5.00 | Job Contract for routine Maintenance / servicing / monitoring of serviceability of Solar Powered Obstacle Light(SPOL) and attending breakdown servicing provided at following 5 Hill tops : SPOL Hills upto 500 Mtr. Height i.Gopalagutta ii. Suddhakalva-I iii. Suddhakalva-II iv. Kuppuchandrapeta v. Karakambadi | 120.00 | Job |  | 8000.00 | 960000.00 | 1499.00 | 179880.00 | 1500.00 | 180000.00 | 1500.00 | 180000.00 | 1600.00 | 192000.00 | 1600.00 | 192000.00 | 1500.00 | 180000.00 | 1000.00 | 120000.00 | 6000.00 | 720000.00 | 3999.00 | 479880.00 | 120000.00 | KALKI ELECTRICALS
6.00 | Job contract for routine Maintenance / servicing / monitoring of serviceability of Solar Powered Obstacle Light(SPOL) and attending breakdown servicing provided at following 7 Hill tops : SPOL Hills above 500 Mtr. Height i.Erpedu ii.Kandadu Konda iii.Sanambatla Konda [Pedda Durga] iv.Tirupati [Gantamandapam] v.Sadasiva Konda vi.Rangaswamy Konda vii.Battanaiah Konda | 168.00 | Job |  | 10500.00 | 1764000.00 | 1669.00 | 280392.00 | 1500.00 | 252000.00 | 1400.00 | 235200.00 | 2000.00 | 336000.00 | 1600.00 | 268800.00 | 1500.00 | 252000.00 | 1500.00 | 252000.00 | 6000.00 | 1008000.00 | 3999.00 | 671832.00 | 235200.00 | LAKSHMI ELECTRICAL ENTERPRISES
7.00 | Testing of stack DG set (750KVA DG set / 25KVA / 10KVA) for Stack emissions of NOx , NMHC , PM , CO , SO2 under Environmental Monitoring Services and submission of test analysis reports as per CPCB, MoE&F, GOI. | 10.00 | Job |  | 5000.00 | 50000.00 | 2499.00 | 24990.00 | 1000.00 | 10000.00 | 3000.00 | 30000.00 | 1000.00 | 10000.00 | 12000.00 | 120000.00 | 2000.00 | 20000.00 | 1600.00 | 16000.00 | 22000.00 | 220000.00 | 9000.00 | 90000.00 | 10000.00 | Manjunatha Engineers, SRI VASUKI POWER SYSTEMS PVT LTD
8.00 | Supply of Silica gel crystals for Power Transformer as and when required. | 32.00 | Kg |  | 450.00 | 14400.00 | 299.00 | 9568.00 | 800.00 | 25600.00 | 300.00 | 9600.00 | 65.00 | 2080.00 | 350.00 | 11200.00 | 300.00 | 9600.00 | 500.00 | 16000.00 | 150.00 | 4800.00 | 600.00 | 19200.00 | 2080.00 | SRI VASUKI POWER SYSTEMS PVT LTD
9.00 | Testing of transformer oil sample with H.T. B.D.V Kit and submission of test certificate etc. as required. | 8.00 | Job |  | 1650.00 | 13200.00 | 699.00 | 5592.00 | 500.00 | 4000.00 | 600.00 | 4800.00 | 750.00 | 6000.00 | 1500.00 | 12000.00 | 1000.00 | 8000.00 | 500.00 | 4000.00 | 3500.00 | 28000.00 | 2000.00 | 16000.00 | 4000.00 | Manjunatha Engineers, KALKI ELECTRICALS
10.00 | Supply of Transformer Oil for Topup of for 2 Nos. of 2 MVA, 33kV/433V Transformers with OLTC, which are installed at Tirupati Airport. | 200.00 | Liter |  | 100.00 | 20000.00 | 99.00 | 19800.00 | 120.00 | 24000.00 | 115.00 | 23000.00 | 120.00 | 24000.00 | 500.00 | 100000.00 | 110.00 | 22000.00 | 150.00 | 30000.00 | 25.00 | 5000.00 | 199.00 | 39800.00 | 5000.00 | LRVi Enginnering Solutions Pvt Ltd
11.00 | Dehydration/filteration of transformer oil to attain acceptable di-electric strength by hot streamline process for 33/0.433kV indoor transformers including transportation of filteration equipment, submission of BDV test reports etc. as required. i) 2x2MVA Transformers-(2420 Ltr per each) ii) 2xOLTC-(700 Ltr per each) | 12480.00 | Liter |  | 9.00 | 112320.00 | 3.99 | 49795.20 | 12.00 | 149760.00 | 5.00 | 62400.00 | 4.00 | 49920.00 | 6.00 | 74880.00 | 6.00 | 74880.00 | 5.00 | 62400.00 | 15.00 | 187200.00 | 9.00 | 112320.00 | 49795.20 | CHENNAI ENGINEERING SERVICES
12.00 | Job contract for servicing of On-Load tap Changer (Make: CTR) used for 33/0.433KV, Transformer including removal of oil, cleaning of selector switch (for removal of carbon), tightning of all loose connections, cleaning of OLTC tank and re-filling of fresh/filtered oil having suitable BDV to the required level and complete as required. (New Oil shall be supplied by AAI, incase of topup requirement). | 4.00 | Job |  | 15000.00 | 60000.00 | 9999.00 | 39996.00 | 40000.00 | 160000.00 | 6600.00 | 26400.00 | 6500.00 | 26000.00 | 35000.00 | 140000.00 | 7000.00 | 28000.00 | 5000.00 | 20000.00 | 45000.00 | 180000.00 | 19000.00 | 76000.00 | 20000.00 | KALKI ELECTRICALS
13.00 | Calibration and testing of following relays at 33KV H.T.Panel using Relay testing kit / primary / secondary injection kit including transportation of testing kits, adjustment of plug settings, if any and submission of test reports etc. i) Overcurrent & Earth fault relay: 7 Nos. ii) Trip Circuit Supervision Relay: 7 Nos. iii) Transformer Auxiliary Relay: 4 Nos. | 2.00 | Set |  | 25000.00 | 50000.00 | 14999.00 | 29998.00 | 60000.00 | 120000.00 | 35000.00 | 70000.00 | 15000.00 | 30000.00 | 54000.00 | 108000.00 | 14500.00 | 29000.00 | 3000.00 | 6000.00 | 15000.00 | 30000.00 | 15000.00 | 30000.00 | 6000.00 | KALKI ELECTRICALS
14.00 | Annual Service Contract of Kirloskar make, 33KV, Vaccum Circuit Breakers (VCB) of capacity 1250A (Total: 7 Nos) by carring out preventive maintenance checks (once in a year) as per OEM's recommendations and as per Special conditions of contract attached. (Service contract is excluding spares.) | 2.00 | Job |  | 35000.00 | 70000.00 | 52499.00 | 104998.00 | 105000.00 | 210000.00 | 40000.00 | 80000.00 | 42000.00 | 84000.00 | 35000.00 | 70000.00 | 70000.00 | 140000.00 | 76000.00 | 152000.00 | 155000.00 | 310000.00 | 61999.00 | 123998.00 | 70000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES, JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
15.00 | Job contract for attending breakdown service for Kirloskar make, 33KV, Vaccum Circuit Breakers (VCB) of capacity 1250A (Qty: 1 No)as per OEM's recommendations and as per Special Conditions of Contract attached. (Service contract is excluding spares.) | 4.00 | Job |  | 5500.00 | 22000.00 | 9999.00 | 39996.00 | 16000.00 | 64000.00 | 8999.00 | 35996.00 | 6000.00 | 24000.00 | 10000.00 | 40000.00 | 5000.00 | 20000.00 | 10000.00 | 40000.00 | 35000.00 | 140000.00 | 7500.00 | 30000.00 | 20000.00 | ABHISHEK ASSOCIATES
16.00 | Annual Service Contract of ABB make Low Voltage Air Ciruit Breakers (ACB) of capacities ranging from 800A to 3200A (Model: SACE Emax, Total: 31 Nos) by carring out preventive maintenance checks (once in six months) as per OEM's recommendations and attending breakdown calls as and when required and as per Special conditions of contract attached.(Service contract is excluding spares.) | 2.00 | Job |  | 45000.00 | 90000.00 | 77499.00 | 154998.00 | 248000.00 | 496000.00 | 55000.00 | 110000.00 | 62000.00 | 124000.00 | 70000.00 | 140000.00 | 155000.00 | 310000.00 | 120000.00 | 240000.00 | 205000.00 | 410000.00 | 62000.00 | 124000.00 | 90000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
17.00 | Painting (two or more coats) on existing street light pole (Approx. 8m Ht.)with synthetic enamel paint of approved brand and manufacture and required colour including making numbering for each pole at Tirupati Airport and complete as required. | 54.00 | Job |  | 180.00 | 9720.00 | 799.00 | 43146.00 | 200.00 | 10800.00 | 400.00 | 21600.00 | 500.00 | 27000.00 | 500.00 | 27000.00 | 600.00 | 32400.00 | 500.00 | 27000.00 | 8000.00 | 432000.00 | 1999.00 | 107946.00 | 9720.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
18.00 | Painting (two or more coats) on existing street light pole (Approx. 5m Ht.)with synthetic enamel paint of approved brand and manufacture and required colour including making numbering for each pole at AAI Residential Colony and complete as required. | 34.00 | Job |  | 150.00 | 5100.00 | 499.00 | 16966.00 | 180.00 | 6120.00 | 350.00 | 11900.00 | 300.00 | 10200.00 | 300.00 | 10200.00 | 250.00 | 8500.00 | 400.00 | 13600.00 | 6000.00 | 204000.00 | 1999.00 | 67966.00 | 5100.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
19.00 | Execution of any item of work as per CPWD Delhi Schedule of Rates (E&M)-2018 as and when required. | 100000.00 | % |  | .80 | 80000.00 | 1.05 | 105000.00 | .90 | 90000.00 | .85 | 85000.00 | .10 | 10000.00 | .95 | 95000.00 | .90 | 90000.00 | .95 | 95000.00 | 1.00 | 100000.00 | 1.05 | 105000.00 | 10000.00 | SRI VASUKI POWER SYSTEMS PVT LTD
| Total in Figures |  |  |  |  | 17703820.00 |  | 14572859.20 |  | 15857040.00 |  | 14127240.00 |  | 14575272.00 |  | 15486616.00 |  | 14973668.00 |  | 14486000.00 |  | 17201008.00 |  | 16619630.00
Lowest Amount Quoted BY: LAKSHMI ELECTRICAL ENTERPRISES(14127240.00)

## BOQ Summary
BOQ Summary Details Tender Title: O and M of E and M Installations at Power House, OTB, Ancillary Buildings, Perimeter Lighting and Residential Colony, AMC of Solar Powered Obstacle Lights at various hills at Tirupati Airport Tender ID: 2021_AAI_66072_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | LAKSHMI ELECTRICAL ENTERPRISES | 14127240.00 | L1
| 2 | KALKI ELECTRICALS | 14486000.00 | L2
| 3 | CHENNAI ENGINEERING SERVICES | 14572859.20 | L3
| 4 | SRI VASUKI POWER SYSTEMS PVT LTD | 14575272.00 | L4
| 5 | ABHISHEK ASSOCIATES | 14973668.00 | L5
| 6 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED | 15486616.00 | L6
| 7 | Manjunatha Engineers | 15857040.00 | L7
| 8 | DElite System Engineering (India) Pvt. Ltd. | 16619630.00 | L8
| 9 | LRVi Enginnering Solutions Pvt Ltd | 17201008.00 | L9
| 10 | SHRADDHA ENGINEERING AND FACILITY SERVICES | 17703820.00 | L10