## BoQ1
Government eProcurement System Created By: Pankaj Wanjari Created Date/Time: 21-Jan-2021 03:29 PM Tender Title: Bi-Annual Maintenance Contract of Fire Alarm Fire fighting system at Birsi Airport NIATAM, Gondia, for the year 2020-22 Tender ID: 2021_AAI_66134_1
Tender Inviting Authority: <AGM (E-E), AAI, Birsi Airport, Gondia>
Name of Work: <Bi-Annual Maintenance Contract of Fire Alarm & Fire fighting system at birsi Airport & NIATAM, Gondia, for the year 2020-22 >
Tender ID : 2021_AAI_66134_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SALIMAX SYSTEMS AND CONTROLS ENGG(GSTN-33AFKPR7224N1ZY) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Sub Head-I
1.10 | Annual Maintenance of Fire Hydrant sytem including pumps, panels, cables, complete inlcudes repair and maintenance, attending to complaints/ faults/ breakdowns and taking rectification action, ensuring serviceability/ satisfactory working conditions of the ssystem, preventive maintenance of all records, documentation,etc. as per the detailed specifications, terms and conditions covered under this contract on all days including holidays as per requirements of AAI. For ATC cum Technical Block, Passenger Lounge and NIATAM | 24.00 | Month |  | 40000.00 | 960000.00 | 19995.00 | 479880.00 | 479880.00 | Manish Electricals
1.20 | Annual Maintenance of intelligent analogue adressable fire alarm annunciation system at Gondia Airport for checking, maintaining of all smoke detectors, heat detectors, reponse indicators, manual call points, hooters, carrying out the repairing, servicing, testing, including the main control panel, wiring, etc. maintenance attending to complaints/Faults brake down and taking rectification action, ensuring serviceability/satisfactory working conditions of the system, preventive maintenance of all records, documentation, etc. as per detailed specifications, terms and conditions covered under this contract on all days including holidays except as per requirements of AAI. For ATC cum Technical Block, Glide Path, DVOR, Localizer, Passenger Lounge and NIATAM | 24.00 | Month |  | 5000.00 | 120000.00 | 21900.00 | 525600.00 | 120000.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
2.00 | Sub Head-II
2.01 | Refilling & testing of Co2 type, 4.5 Kg capacity type fire extinguisher including providing of inspection card. | 104.00 | Each |  | 400.00 | 41600.00 | 280.00 | 29120.00 | 29120.00 | Manish Electricals
2.02 | Refilling & testing of Water type, 9 Ltr. capacity type fire extinguisher including providing of inspection card. | 88.00 | Each |  | 400.00 | 35200.00 | 280.00 | 24640.00 | 24640.00 | Manish Electricals
2.03 | Refilling & testing of Mechanical foam type, 9 Ltr. capacity type fire extinguisher including providing of inspection card: | 2.00 | Each |  | 500.00 | 1000.00 | 450.00 | 900.00 | 900.00 | Manish Electricals
2.04 | Rewinding of the Motor for 7.5HP to 12.5HP Capacity 2900rpm for fire pumps of following capacity, suitable to operate on 415V, 50Hz, 3Ø AC supply, with suitable gauge copper wire i/c varnishing, baking etc as required. (Dismantled Material belongs to the contractor). | 1.00 | Each |  | 15000.00 | 15000.00 | 5500.00 | 5500.00 | 5500.00 | Manish Electricals
2.05 | Supply of Cast Iron foot valve of size 100 mm suitable for 7.5 HP capacity Jockey pump, as per latest IS specifications, etc. Complete as required. (Make : ZOLOTO/CRANE/JOHNSON CONTROL/DANFOSS/VTM/EMERALD/ADVANCE/CASTLE/SANT/KIRLOSKAR/LEADER/KILBURN/AUDCO/SARKAR/DIVINE/C&R) | 1.00 | Each |  | 2000.00 | 2000.00 | 2100.00 | 2100.00 | 2000.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
2.06 | Supply of Cast Iron foot valve of size 200 mm suitable for 105 HP capacity Diesel Engine pumpset/3 Φ, 415 V, 100 HP pump , as per latest IS specifications, etc. Complete as required . (Make : ZOLOTO/CRANE/JOHNSON CONTROL/DANFOSS/VTM/EMERALD/ADVANCE/CASTLE/SANT/KIRLOSKAR/LEADER/KILBURN/AUDCO/SARKAR/DIVINE/C&R) | 1.00 | Each |  | 3000.00 | 3000.00 | 3900.00 | 3900.00 | 3000.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
2.07 | Supply of Cast Iron foot valve of size 32 mm dia. suitable for fire fighting piping as per latest IS specifications complete as required. (Make : ZOLOTO/CRANE/JOHNSON CONTROL/DANFOSS/VTM/EMERALD/ADVANCE/CASTLE/SANT/KIRLOSKAR/LEADER/KILBURN/AUDCO/SARKAR/DIVINE/C&R) | 10.00 | Each |  | 1000.00 | 10000.00 | 400.00 | 4000.00 | 4000.00 | Manish Electricals
2.08 | Supply of Cast Iron foot valve of size 25 mm dia. suitable for fire fighting piping as per latest IS specifications complete as required. (Make : ZOLOTO/CRANE/JOHNSON CONTROL/DANFOSS/VTM/EMERALD/ADVANCE/CASTLE/SANT/KIRLOSKAR/LEADER/KILBURN/AUDCO/SARKAR/DIVINE/C&R) | 10.00 | Each |  | 650.00 | 6500.00 | 400.00 | 4000.00 | 4000.00 | Manish Electricals
2.09 | Supply of 4 way inlet hydrant valve, gun metal of with 63 mm outlet complete with red coating and as per latest IS specifications complete as required. (Make : ZOLOTO/CRANE/JOHNSON CONTROL/DANFOSS/VTM/EMERALD/ADVANCE/CASTLE/SANT/KIRLOSKAR/LEADER/KILBURN/AUDCO/SARKAR/DIVINE/C&R) | 1.00 | Each |  | 10000.00 | 10000.00 | 4000.00 | 4000.00 | 4000.00 | Manish Electricals
2.10 | Supply of Gun Metal Wheel suitable for valves of size 150 mm dia complete as per latest IS specifications. (Make : ZOLOTO/CRANE/JOHNSON CONTROL/DANFOSS/VTM/EMERALD/ADVANCE/CASTLE/SANT/KIRLOSKAR/LEADER/KILBURN/AUDCO/SARKAR/DIVINE/C&R) | 1.00 | Each |  | 250.00 | 250.00 | 1200.00 | 1200.00 | 250.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
2.11 | Supply of smoke detectors for fire alarm and detection complete as per latest IS specifications complete as required. (Make EST Model: SIGA-PS) | 5.00 | Each |  | 1800.00 | 9000.00 | 1500.00 | 7500.00 | 7500.00 | Manish Electricals
2.12 | Supply of smoke detectors for fire alarm and detection complete as per latest IS specifications complete as required. (Make Morley Model: MI-PSE) | 3.00 | Each |  | 1800.00 | 5400.00 | 1500.00 | 4500.00 | 4500.00 | Manish Electricals
2.13 | Supply of smoke detectors for fire alarm and detection complete as per latest IS specifications complete as required. (Make System Sensor Model: 2351E) | 3.00 | Each |  | 1000.00 | 3000.00 | 1200.00 | 3600.00 | 3000.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
2.14 | Supply of hooter as per latest IS specifications. Make: Morley IAS/Systems Sensor | 1.00 | Each |  | 2000.00 | 2000.00 | 2000.00 | 2000.00 | 2000.00 | SALIMAX SYSTEMS AND CONTROLS ENGG, Manish Electricals
2.15 | Supply of gun metal shut off nozzle suitable for hose reel of size 20 mm dia. Complete as per latest IS specifications. | 13.00 | Each |  | 650.00 | 8450.00 | 1200.00 | 15600.00 | 8450.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
2.16 | Supply of 12 V, 7 AH, Sealed Maintenance Free Battery for intelligent analogue adressable fire alarm annunciation system. (Make:Kirloskar/Exide/AMCO/PRESTOLITE/AMARON/GENPRO/STANDARD FURUKAWA/LUCAS/HBL NIFE) | 10.00 | Each |  | 1250.00 | 12500.00 | 1500.00 | 15000.00 | 12500.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
| Total in Figures |  |  |  |  | 1244900.00 |  | 1133040.00
Lowest Amount Quoted BY: Manish Electricals(1133040.00)

## BOQ Summary
BOQ Summary Details Tender Title: Bi-Annual Maintenance Contract of Fire Alarm Fire fighting system at Birsi Airport NIATAM, Gondia, for the year 2020-22 Tender ID: 2021_AAI_66134_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manish Electricals | 1133040.00 | L1
| 2 | SALIMAX SYSTEMS AND CONTROLS ENGG | 1244900.00 | L2