## BoQ1
Government eProcurement System Created By: D Boominathan Created Date/Time: 02-Feb-2021 04:29 PM Tender Title: Replacement of conventional light fittings into LED at OTB, Fire Station and Power House at Trichy Airport Tender ID: 2021_AAI_66156_1
Tender Inviting Authority: Assistant General Manager (E-E)
Name of Work: Replacement of conventional Light Fittings into LED at OTB, Fire station and Power House at Trichy Airport
Contract No: CW-09/TRY/20-21 Tender ID: 2020_AAI_66156_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | vk sam engineering(GSTN-33AMZPS4037L1ZA) |  | POWER ELECTRICAL WORKS(GSTN-33AADPT3125C1Z8) |  | LEDURE LIGHTINGS LTD(GSTN-07AACCL8907C2ZM) |  | jaydeep agency corporation(GSTN-24ACIPP6157B1ZQ) |  | BR Power Control and Automation Services(GSTN-06AREPS4024K1ZP) |  | CHENNAI ENGINEERING SERVICES(GSTN-33AADFC4373K1ZH) |  | K.S.ELECTRICALS(GSTN-33AHFPR7136L1Z0) |  | PREMIER ENGINEERING TECHNICS PVT. LTD.(GSTN-27AADCP1420F1ZW)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of LED luminaries suitable for canopy/ high bay application having, minimum lumen output of 16500lm , system efficacy not less than 110 lumen/watt, suitable optics for uniform light distribution, integral control driver with minimum 4kV surge suppressor, fitting made up of high pressure die cast aluminium/ standard alloy suitable thermal management arrangement, toughened glass with IP65 protection, suitable to operate on 230V, 50 Hz, single phase AC supply, hook/eye bolt for mounting the fixture inline with technical specifications attached with 5 years warrenty complete as required. | 30.00 | Each |  | 6060.00 | 181800.00 | 7150.00 | 214500.00 | 5500.00 | 165000.00 | 6840.00 | 205200.00 | 7004.00 | 210120.00 | 7799.00 | 233970.00 | 6600.00 | 198000.00 | 7475.00 | 224250.00 | 165000.00 | LEDURE LIGHTINGS LTD
2.00 | Supply of LED luminaries suitable for high mast application having, minimum lumen output of 19800lm , system efficacy not less than 110 lumen/watt, suitable optics for uniform light distribution, integral control driver with minimum 4kv surge suppressor, fitting made up of high pressure die-cast aluminium/ standard alloy with suitable thermal mangement arrangement with IP 65 protection, suitable to operate on 230V, 50 Hz, single phase AC supply, mounting provision with all accessories inline with technical specifications attached with 5 years warrenty etc. as required. | 10.00 | Each |  | 7655.00 | 76550.00 | 8525.00 | 85250.00 | 6200.00 | 62000.00 | 8750.00 | 87500.00 | 8846.00 | 88460.00 | 9479.00 | 94790.00 | 8300.00 | 83000.00 | 6325.00 | 63250.00 | 62000.00 | LEDURE LIGHTINGS LTD
3.00 | Supply of LED Flood Light luminaries having, minimum lumen output of 22000lm , system efficacy not less than 110 lumen/watt, suitable optics for uniform light distribution, integral control driver with minimum 4kV surge suppressor, fitting made up of high pressure die cast aluminium/ standard alloy suitable thermal management arrangement, toughened glass with IP65 protection, suitable to operate on 230V, 50 Hz, single phase AC supply, hook/eye bolt for mounting the fixture inline with technical specifications attached with 5 years warrenty complete as required. | 20.00 | Each |  | 7845.00 | 156900.00 | 8525.00 | 170500.00 | 6200.00 | 124000.00 | 10210.00 | 204200.00 | 9057.00 | 181140.00 | 11759.00 | 235180.00 | 8200.00 | 164000.00 | 10350.00 | 207000.00 | 124000.00 | LEDURE LIGHTINGS LTD
4.00 | Supply of LED Flood Light luminaries having, minimum lumen output of 7700lm , system efficacy not less than 110 lumen/watt, suitable optics for uniform light distribution, integral control driver with minimum 4kV surge suppressor, fitting made up of high pressure die cast aluminium/ standard alloy suitable thermal management arrangement, toughened glass with IP65 protection, suitable to operate on 230V, 50 Hz, single phase AC supply, hook/eye bolt for mounting the fixture inline with technical specifications attached with 5 years warrenty complete as required. | 40.00 | Each |  | 4060.00 | 162400.00 | 4125.00 | 165000.00 | 2400.00 | 96000.00 | 5680.00 | 227200.00 | 4680.00 | 187200.00 | 4849.00 | 193960.00 | 3900.00 | 156000.00 | 4025.00 | 161000.00 | 96000.00 | LEDURE LIGHTINGS LTD
5.00 | Supply of LED luminaries suitable for canopy/ high bay application having, minimum lumen output of 4400lm , system efficacy not less than 110 lumen/watt, suitable optics for uniform light distribution, integral control driver with minimum 4kV surge suppressor, fitting made up of high pressure die cast aluminium/ standard alloy suitable thermal management arrangement, toughened glass with IP65 protection, suitable to operate on 230V, 50 Hz, single phase AC supply, hook/eye bolt for mounting the fixture inline with technical specifications attached with 5 years warrenty complete as required. | 20.00 | Each |  | 1650.00 | 33000.00 | 1650.00 | 33000.00 | 1500.00 | 30000.00 | 2420.00 | 48400.00 | 5132.00 | 102640.00 | 5499.00 | 109980.00 | 3800.00 | 76000.00 | 3565.00 | 71300.00 | 30000.00 | LEDURE LIGHTINGS LTD
6.00 | Supply of LED luminaries of size 2X2, recess mounted having minimum lumen output of 3600 lm, system efficacy not less than 100lumen/watt, control driver with minimum 2kV surge suppressor, fitting made up of extruded aluminium/CRCA / standard alloy white powder coated housing, PMMA profile diffuser for uniform light distribution with IP20 protection suitable to operate on 230V, 50 Hz, single phase AC supply inline with technical specifications attached with 5 years warrenty complete as required. | 40.00 | Each |  | 1605.00 | 64200.00 | 2002.00 | 80080.00 | 1500.00 | 60000.00 | 1980.00 | 79200.00 | 1850.00 | 74000.00 | 2339.00 | 93560.00 | 1950.00 | 78000.00 | 1898.00 | 75920.00 | 60000.00 | LEDURE LIGHTINGS LTD
7.00 | Supply of LED luminaries of size 2X2, surface mounted having minimum lumen output of 3600lm, system efficacy not less than 100 lumen/watt, control driver with minimum 2kV surge suppressor, fitting made up of extruded aluminium/CRCA / standard alloy white powder coated housing, PMMA profile diffuser for uniform light distribution with IP20 protection suitable to operate on 230V, 50 Hz, single phase AC supply inline with technical specifications attached with 5 years warrenty complete as required. | 20.00 | Each |  | 2310.00 | 46200.00 | 2761.00 | 55220.00 | 2000.00 | 40000.00 | 1980.00 | 39600.00 | 2664.00 | 53280.00 | 3449.00 | 68980.00 | 2200.00 | 44000.00 | 1898.00 | 37960.00 | 37960.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
8.00 | Supply of LED luminaries of size 4X1, surface mounted having minimum lumen output of 3600 lm, system efficacy not less than 100lumen/watt, control driver with minimum 2kV surge suppressor, fitting made up of extruded aluminium/CRCA / standard alloy white powder coated housing, PMMA profile diffuser for uniform light distribution with IP20 protection suitable to operate on 230V, 50 Hz, single phase AC supply inline with technical specifications attached with 5 years warrenty complete as required. | 20.00 | Each |  | 2355.00 | 47100.00 | 3053.00 | 61060.00 | 2800.00 | 56000.00 | 3235.00 | 64700.00 | 2664.00 | 53280.00 | 3449.00 | 68980.00 | 1700.00 | 34000.00 | 3220.00 | 64400.00 | 34000.00 | K.S.ELECTRICALS
9.00 | Supply of LED luminaries of size 1X1, surface mounted having minimum lumen output of 1800lm, system efficacy not less than 100 lumen/watt, control driver with minimum 2kV surge suppressor, fitting made up of extruded aluminium/CRCA / standard alloy white powder coated housing, PMMA profile diffuser for uniform light distribution with IP20 protection suitable to operate on 230V, 50 Hz, single phase AC supply inline with technical specifications attached with 5 years warrenty complete as required. | 20.00 | Each |  | 1235.00 | 24700.00 | 1232.00 | 24640.00 | 1500.00 | 30000.00 | 2156.00 | 43120.00 | 1585.00 | 31700.00 | 1699.00 | 33980.00 | 1350.00 | 27000.00 | 1668.00 | 33360.00 | 24640.00 | POWER ELECTRICAL WORKS
10.00 | Supply of LED luminaries of round shaped, recessed mounted having minimum lumen output of 1800lm, system efficacy not less than 100 lumen/watt, control driver with minimum 2kV surge suppressor, fitting made up of extruded aluminium/CRCA / standard alloy white powder coated housing, PMMA profile diffuser for uniform light distribution with IP20 protection suitable to operate on 230V, 50 Hz, single phase AC supply inline with technical specifications attached with 5 years warrenty complete as required. | 70.00 | Each |  | 847.00 | 59290.00 | 932.00 | 65240.00 | 500.00 | 35000.00 | 1132.00 | 79240.00 | 974.00 | 68180.00 | 1019.00 | 71330.00 | 850.00 | 59500.00 | 840.00 | 58800.00 | 35000.00 | LEDURE LIGHTINGS LTD
11.00 | Supply of LED Bulk head luminaries, surface mounted having minimum lumen output of 1000lm, system efficacy not less than 100 lumen/watt, with IP20 protection suitable to operate on 230V, 50 Hz, single phase AC supply inline with technical specifications attached with 5 years warrenty complete as required. | 20.00 | Each |  | 770.00 | 15400.00 | 770.00 | 15400.00 | 1000.00 | 20000.00 | 1080.00 | 21600.00 | 929.00 | 18580.00 | 1089.00 | 21780.00 | 700.00 | 14000.00 | 1208.00 | 24160.00 | 14000.00 | K.S.ELECTRICALS
12.00 | Supply with all accessories of surface/ wall mounted 4 feet LED Tube Light Fixture with aluminium housing and integrated electronic driver complete with all accesories having minimum lumen output of 2000lm suitable to operate on 230 V single phase, 50Hz AC supply in line with tender specifications with 5 years warrenty complete as required. | 20.00 | Each |  | 715.00 | 14300.00 | 770.00 | 15400.00 | 350.00 | 7000.00 | 980.00 | 19600.00 | 778.00 | 15560.00 | 619.00 | 12380.00 | 390.00 | 7800.00 | 1265.00 | 25300.00 | 7000.00 | LEDURE LIGHTINGS LTD
13.00 | Supply of LED tube light suitable to retrofit in the existing 2 X 36 W /1X 36 FTL fixtures having minimum lumen output of 2000 lm per tube light, system efficacy not less than 100 lumen/watt, suitable to operate on 230 V single phase, 50Hz AC supply in line with tender specifications with 5 years warrenty complete as required. | 1150.00 | Each |  | 500.00 | 575000.00 | 450.00 | 517500.00 | 350.00 | 402500.00 | 385.00 | 442750.00 | 324.00 | 372600.00 | 409.00 | 470350.00 | 330.00 | 379500.00 | 397.00 | 456550.00 | 372600.00 | BR Power Control and Automation Services
14.00 | Supply of LED strip of 3 x 1W LED module having 100 LED module (1W x 3 x 100) in each bundle, suitable for operating on 12 V DC supply as required in line with tender specifications with 5 years warrenty complete as required. | 50.00 | Each |  | 1000.00 | 50000.00 | 1100.00 | 55000.00 | 4800.00 | 240000.00 | 700.00 | 35000.00 | 1143.00 | 57150.00 | 1469.00 | 73450.00 | 1250.00 | 62500.00 | 900.00 | 45000.00 | 35000.00 | jaydeep agency corporation
15.00 | Installation, testing and commissioning of all type of LED Highbay/ canopy/ street light/ flood light fixtures including all necessary accessories / clamp / nuts&blots/ washers on Truss / Recess / Surface / wall mounted complete with all accessories including connections etc. as required. | 110.00 | Each |  | 200.00 | 22000.00 | 200.00 | 22000.00 | 800.00 | 88000.00 | 100.00 | 11000.00 | 221.00 | 24310.00 | 149.00 | 16390.00 | 150.00 | 16500.00 | 350.00 | 38500.00 | 11000.00 | jaydeep agency corporation
16.00 | Installation, testing and commissioning of all type of LED luminaries of 2 x 2, 1 x 1, 4 x 1, round shaped and bulk head LED fixtures (except LED tube light) including all necessary accessories / clamp / nuts&blots/ washers on Truss / Recess / Surface / wall mounted complete with all accessories including connections etc. as required. | 210.00 | Each |  | 100.00 | 21000.00 | 100.00 | 21000.00 | 800.00 | 168000.00 | 50.00 | 10500.00 | 144.00 | 30240.00 | 99.00 | 20790.00 | 120.00 | 25200.00 | 350.00 | 73500.00 | 10500.00 | jaydeep agency corporation
17.00 | Fixing and testing of LED tube light in existing 2X36W/1X36 W FTL fitting along with connections and removal of existing tube light, choke/ballast etc.,and shifting of dismantled materials to AAI store as required. | 1150.00 | Each |  | 150.00 | 172500.00 | 50.00 | 57500.00 | 150.00 | 172500.00 | 25.00 | 28750.00 | 110.00 | 126500.00 | 19.00 | 21850.00 | 140.00 | 161000.00 | 195.00 | 224250.00 | 21850.00 | CHENNAI ENGINEERING SERVICES
18.00 | Dismantling of existing old light fixtures of different types in Highbay / false ceiling / truss / recess / surface / wall mounted and shifting the Same to AAI store as required. | 210.00 | Each |  | 125.00 | 26250.00 | 50.00 | 10500.00 | 200.00 | 42000.00 | 15.00 | 3150.00 | 111.00 | 23310.00 | 49.00 | 10290.00 | 120.00 | 25200.00 | 100.00 | 21000.00 | 3150.00 | jaydeep agency corporation
19.00 | Wiring for Circuit/submain wiring along with the 2 X 1.5sqmm+ 1 X 1.5 sqmm earth wire of FRLS PVC insulated copper conductor, single core cable in surface/ recessed in medium class PVC conduit as required. | 250.00 | Mtr |  | 100.00 | 25000.00 | 110.00 | 27500.00 | 100.00 | 25000.00 | 95.00 | 23750.00 | 85.00 | 21250.00 | 139.00 | 34750.00 | 160.00 | 40000.00 | 150.00 | 37500.00 | 21250.00 | BR Power Control and Automation Services
20.00 | Wiring for Circuit/submain wiring along with the 2 X 2.5sqmm+ 1 X 2.5 sqmm earth wire of FRLS PVC insulated copper conductor, single core cable in surface/ recessed in medium class PVC conduit as required. | 250.00 | Mtr |  | 125.00 | 31250.00 | 140.00 | 35000.00 | 100.00 | 25000.00 | 132.00 | 33000.00 | 95.00 | 23750.00 | 149.00 | 37250.00 | 260.00 | 65000.00 | 196.00 | 49000.00 | 23750.00 | BR Power Control and Automation Services
| Total in Figures |  |  |  |  | 1804840.00 |  | 1731290.00 |  | 1888000.00 |  | 1707460.00 |  | 1763250.00 |  | 1923990.00 |  | 1716200.00 |  | 1992000.00
Lowest Amount Quoted BY: jaydeep agency corporation(1707460.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of conventional light fittings into LED at OTB, Fire Station and Power House at Trichy Airport Tender ID: 2021_AAI_66156_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | jaydeep agency corporation | 1707460.00 | L1
| 2 | K.S.ELECTRICALS | 1716200.00 | L2
| 3 | POWER ELECTRICAL WORKS | 1731290.00 | L3
| 4 | BR Power Control and Automation Services | 1763250.00 | L4
| 5 | vk sam engineering | 1804840.00 | L5
| 6 | LEDURE LIGHTINGS LTD | 1888000.00 | L6
| 7 | CHENNAI ENGINEERING SERVICES | 1923990.00 | L7
| 8 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 1992000.00 | L8