## BoQ1
Government eProcurement System Created By: Ajay Kumar Deswal Created Date/Time: 09-Mar-2021 02:48 PM Tender Title: Providing Maintenance Services for E and M Installations of A and B Block at R.G. Bhawan, New Delhi. (Year 2021-23) Tender ID: 2021_AAI_66298_1
Tender Inviting Authority: AGM (Engg. – Elect)-I- IMU, AAI, CHQ, R.G. Bhawan, New Delhi-110003
Name of Work:Providing Maintenance Services for E & M Installations of A & B Block at R. G. Bhawan, New Delhi. (Year 2021-23)
Contract No AAI/CHQ/IMU/AGME (E)-I/E-NIT-06/20-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ANAND AND COMPANTY(GSTN-07ADWPA8366N1ZP) |  | SHRADDHA ENGINEERING AND FACILITY SERVICES(GSTN-37ABZFS0350H1ZR) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | R. D. ENGINEERS(GSTN-07AAOPG1416G1ZZ) |  | royal electrical co(GSTN-07AMFPS1780E1Z0) |  | SRS ENGINEERS(GSTN-07AETPG0981P1ZR) |  | NATIONAL SAFETY ENGINEERS(GSTN-07ADCPT3599E3Z6) |  | S. N ELECTRICALS(GSTN-07AKEPG8675R2Z9) |  | JCC ENGINEERS PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | (SH-I from Sl. No. 1-16) Providing Annual Maintenance Services of internal and external Electrical & Mechanical installations of A&B block, Pump house, sub-station block, car parking, approach road, other ancillary building etc. covering the scope of repairs and maintenance, attending faults / breakdowns, rectifications, ensuring servicibility/ satisfactory working condition of the systems, attending the complaints and follow up, preventive maintennace on daily/ weekly/ monthly/ quarterly/ half yearly/ yearly basis. Job also includes to provide the services for collecting spares from AAI stores for attending the complaints and carrying out preventive maintenance activities as mentioned in special conditions of contract .The contractor shall ensure to provide maintenance services with adequate man power for the work as per special conditions and annexure - A of the Special Conditions of the contract as required at site and as per direction of Engineer-in-charge. ( Refer clause no 14 a, b & c at SCC Page No. 06 and 07 and Annexure - A at Page SCC-14 also for quoting the rate ) | 2.00 | Job / Year | 10.00 | 4300000.00 | 8600000.00 | 6107090.00 | 12214180.00 | 5592229.00 | 11184458.00 | 5696290.00 | 11392580.00 | 2749260.00 | 5498520.00 | 5649240.00 | 11298480.00 | 5983000.00 | 11966000.00 | 4620000.00 | 9240000.00 | 5400555.00 | 10801110.00 | 5498520.00 | royal electrical co
2.00 | Providing Annual maintenance service facility of the 6 nos. passenger lifts which includes day to day checking of lifts as per OEM guidelines for healthiness of electrical & mechanical system & parameters including all safeties, cleanliness of the lift car including shaft, pit and machine room, maintaining of relevent records as per OEM guidelines and log books by providing the adequate manpower in shift as per special conditions of the contract etc as required at site as per direction of Engineer-in-charge. (Refer clause no 14 a, b, & c at SCC Page No. 06 and 07 and Annexure - A at Page SCC-14 also for quoting the Rate ) | 2.00 | Job / Year | 10.00 | 1550000.00 | 3100000.00 | 1828209.00 | 3656418.00 | 1654517.00 | 3309034.00 | 1996030.00 | 3992060.00 | 4350260.00 | 8700520.00 | 1933728.00 | 3867456.00 | 2056000.00 | 4112000.00 | 2412000.00 | 4824000.00 | 1700555.00 | 3401110.00 | 3100000.00 | ANAND AND COMPANTY
3.00 | Rates for extra hours for providing services for Eletrical Installation as mentiond in Item no. (1) and/or (2) above etc. as required
3.01 | Highly Skilled Manpower | 60.00 | Hrs. | 10.00 | 1.00 | 60.00 | 116.00 | 6960.00 | 105.00 | 6300.00 | 106.00 | 6360.00 | 100.00 | 6000.00 | 845.00 | 50700.00 | 105.00 | 6300.00 | 201.00 | 12060.00 | 115.00 | 6900.00 | 60.00 | ANAND AND COMPANTY
3.02 | Skilled Manpower | 60.00 | Hrs. | 10.00 | 1.00 | 60.00 | 107.00 | 6420.00 | 97.00 | 5820.00 | 97.00 | 5820.00 | 100.00 | 6000.00 | 777.00 | 46620.00 | 97.00 | 5820.00 | 107.00 | 6420.00 | 110.00 | 6600.00 | 60.00 | ANAND AND COMPANTY
3.03 | Semi-Skilled Manpower | 500.00 | Hrs. | 10.00 | 1.00 | 500.00 | 97.00 | 48500.00 | 88.00 | 44000.00 | 88.00 | 44000.00 | 100.00 | 50000.00 | 707.00 | 353500.00 | 88.00 | 44000.00 | 97.00 | 48500.00 | 100.00 | 50000.00 | 500.00 | ANAND AND COMPANTY
3.04 | Un-Skilled Manpower | 300.00 | Hrs. | 10.00 | 1.00 | 300.00 | 88.00 | 26400.00 | 79.00 | 23700.00 | 80.00 | 24000.00 | 100.00 | 30000.00 | 639.00 | 191700.00 | 80.00 | 24000.00 | 88.00 | 26400.00 | 95.00 | 28500.00 | 300.00 | ANAND AND COMPANTY
4.00 | Generation & submission of electrical parameters status reports such as breakdown reports, maintenance schedule reports, daily reports, material issued to work & dismantle material, to upkeep the office record by providing one no. computer higly skilled manpower. ( computer shall be provided by AAI). (Refer clause no 14 a, b, & c at SCC page no 06 & 07 and Annexure - A at Page SCC-14 also for quoting the rate ) | 2.00 | Job / Year | 10.00 | 301604.16 | 603208.32 | 383922.00 | 767844.00 | 305067.00 | 610134.00 | 289640.00 | 579280.00 | 240000.00 | 480000.00 | 292236.00 | 584472.00 | 312000.00 | 624000.00 | 276750.00 | 553500.00 | 355555.00 | 711110.00 | 480000.00 | royal electrical co
5.00 | Re-painting of L.T. panels, chequered plate, electrical installations etc. with approved quality enamel paint of required colour in one or more coat with spray gun i/c scrapping & cleaning the surface complete as required at site and as per direction of Engineer-in-charge | 100.00 | Sq.mtr | 10.00 | 150.00 | 15000.00 | 150.00 | 15000.00 | 180.00 | 18000.00 | 250.00 | 25000.00 | 250.00 | 25000.00 | 80.00 | 8000.00 | 50.00 | 5000.00 | 150.00 | 15000.00 | 100.00 | 10000.00 | 5000.00 | NATIONAL SAFETY ENGINEERS
6.00 | Rewinding of following fans as per original characteristics with super enameled copper wire and `E' class insulation material, replacement of the worn out bearing etc. as required i/c dismantling, making arrangment for transportation to workshop and reinstallation of the same at site, making supply connection, providing and fixing of necessary nut & bolts etc. (To be carried out as & when required). (The dismantled material will be taken by the contractor).
6.01 | Exhaust fan upto 300 mm | 40.00 | Each | 10.00 | 300.00 | 12000.00 | 450.00 | 18000.00 | 700.00 | 28000.00 | 425.00 | 17000.00 | 490.00 | 19600.00 | 300.00 | 12000.00 | 300.00 | 12000.00 | 150.00 | 6000.00 | 300.00 | 12000.00 | 6000.00 | S. N ELECTRICALS
6.02 | Ceiling fan upto 1400 mm | 10.00 | Each | 10.00 | 300.00 | 3000.00 | 400.00 | 4000.00 | 600.00 | 6000.00 | 425.00 | 4250.00 | 350.00 | 3500.00 | 200.00 | 2000.00 | 200.00 | 2000.00 | 150.00 | 1500.00 | 350.00 | 3500.00 | 1500.00 | S. N ELECTRICALS
6.03 | Wall mounted fan up to 450mm | 50.00 | Each | 10.00 | 300.00 | 15000.00 | 500.00 | 25000.00 | 700.00 | 35000.00 | 425.00 | 21250.00 | 350.00 | 17500.00 | 220.00 | 11000.00 | 250.00 | 12500.00 | 150.00 | 7500.00 | 300.00 | 15000.00 | 7500.00 | S. N ELECTRICALS
6.04 | Cooler fan | 20.00 | Each | 10.00 | 400.00 | 8000.00 | 400.00 | 8000.00 | 600.00 | 12000.00 | 425.00 | 8500.00 | 350.00 | 7000.00 | 250.00 | 5000.00 | 250.00 | 5000.00 | 150.00 | 3000.00 | 300.00 | 6000.00 | 3000.00 | S. N ELECTRICALS
7.00 | Lettering with one coat of approved shade of synthetic enamel paint in following sizes on different places in English or Hindi etc. as reqd.
7.01 | 1" size (one word including special characters & digits) | 50.00 | Nos. | 10.00 | 5.00 | 250.00 | 15.00 | 750.00 | 50.00 | 2500.00 | 100.00 | 5000.00 | 5.00 | 250.00 | 1.00 | 50.00 | 20.00 | 1000.00 | 15.00 | 750.00 | 5.00 | 250.00 | 50.00 | SRS ENGINEERS
7.02 | 2" size (one word including special characters & digits) | 50.00 | Nos. | 10.00 | 5.00 | 250.00 | 18.00 | 900.00 | 60.00 | 3000.00 | 100.00 | 5000.00 | 5.00 | 250.00 | 1.50 | 75.00 | 35.00 | 1750.00 | 25.00 | 1250.00 | 5.00 | 250.00 | 75.00 | SRS ENGINEERS
8.00 | Re-painting of cable tray of all sizes (upto 600 mm wide) i/c supports etc. with good quality of Aluminium paint in one or more coats including scraping, cleaning etc. of outer surface only complete as per site condition and direction of EIC. | 80.00 | R. mtr. | 10.00 | 150.00 | 12000.00 | 100.00 | 8000.00 | 140.00 | 11200.00 | 250.00 | 20000.00 | 100.00 | 8000.00 | 45.00 | 3600.00 | 60.00 | 4800.00 | 150.00 | 12000.00 | 50.00 | 4000.00 | 3600.00 | SRS ENGINEERS
9.00 | Repainting of 03 mtr post top lantern poles with metal connection boxes, if any with 2 or more coats of silver paint and numbering of poles etc i/c scrapping & cleaning the surface complete as per site requirement and direction of E-I-C. | 120.00 | each | 10.00 | 80.00 | 9600.00 | 200.00 | 24000.00 | 180.00 | 21600.00 | 50.00 | 6000.00 | 85.00 | 10200.00 | 30.00 | 3600.00 | 200.00 | 24000.00 | 75.00 | 9000.00 | 50.00 | 6000.00 | 3600.00 | SRS ENGINEERS
10.00 | Repainting of 9 to 12 mtr street light poles with metal connection boxes, if any with 2 or more coats of silver paint and numbering of poles etc i/c scrapping & cleaning the surface complete as per site requirement and direction of E-I-C. | 80.00 | each | 10.00 | 300.00 | 24000.00 | 250.00 | 20000.00 | 350.00 | 28000.00 | 200.00 | 16000.00 | 245.00 | 19600.00 | 40.00 | 3200.00 | 500.00 | 40000.00 | 150.00 | 12000.00 | 50.00 | 4000.00 | 3200.00 | SRS ENGINEERS
11.00 | Providing of theme lighting by LED Lights including insulated wire, cables,connectors & other accessories etc. as required at site on hiring basis for 3 days at C Block and CAP Dte. R.G. Bhawan, Safdarjung Airport, New Delhi on the occasion of Independence day after prior approval of competent authority as per the direction of Engineer-in-charge. | 2.00 | JOB | 10.00 | 7500.00 | 15000.00 | 15000.00 | 30000.00 | 35000.00 | 70000.00 | 10000.00 | 20000.00 | 30000.00 | 60000.00 | 8000.00 | 16000.00 | 10000.00 | 20000.00 | 20000.00 | 40000.00 | 45555.00 | 91110.00 | 15000.00 | ANAND AND COMPANTY
12.00 | Providing of LED bulb ladi / LED ladi lighting in different color (i.e. white, orange, green & yellow etc.) including insulated wire, cables, connectors & other accessories etc. as required on hiring basis for 3 days at A and B Block , IN and OUT gate area, CAP office of R.G. Bhawan, Safdarjung Airport, New Delhi on the occasion of Independence day after prior approval of competent authority as per the direction of Engineer-in-charge. | 2.00 | JOB | 10.00 | 10000.00 | 20000.00 | 15000.00 | 30000.00 | 35000.00 | 70000.00 | 10000.00 | 20000.00 | 30000.00 | 60000.00 | 12000.00 | 24000.00 | 25000.00 | 50000.00 | 20000.00 | 40000.00 | 35555.00 | 71110.00 | 20000.00 | ANAND AND COMPANTY, R. D. ENGINEERS
13.00 | Providing of LED bulb ladi/ LED ladi lighting in different colour (i.e. white, orange, green & yellow etc.) including insulated wire, cables, connectors & other accessories etc. as required on hiring basis for 3 days at AERA building, safdarjung airport, new delhi on the occasion of Independence day after prior approval of competent authority as per the direction of Engineer-in-charge. | 2.00 | JOB | 10.00 | 7500.00 | 15000.00 | 15000.00 | 30000.00 | 25000.00 | 50000.00 | 10000.00 | 20000.00 | 30000.00 | 60000.00 | 3000.00 | 6000.00 | 5000.00 | 10000.00 | 20000.00 | 40000.00 | 22555.00 | 45110.00 | 6000.00 | SRS ENGINEERS
14.00 | Providing of theme lighting by LED Lights including insulated wire, cables,connectors & other accessories etc. as required at site on hiring basis for 5 days at C Block and CAP Dte. R.G. Bhawan, Safdarjung Airport, New Delhi on the occasion of Republic day after prior approval of competent authority as per the direction of Engineer-in-charge. | 2.00 | JOB | 10.00 | 7500.00 | 15000.00 | 18000.00 | 36000.00 | 25000.00 | 50000.00 | 15000.00 | 30000.00 | 30000.00 | 60000.00 | 8000.00 | 16000.00 | 10000.00 | 20000.00 | 35000.00 | 70000.00 | 53555.00 | 107110.00 | 15000.00 | ANAND AND COMPANTY
15.00 | Providing of LED bulb ladi / LED ladi lighting in different color (i.e. white, orange, green & yellow etc.) including insulated wire, cables, connectors & other accessories etc. as required on hiring basis for 5 days at A and B Block , IN and OUT gate area, CAP office of R.G. Bhawan, Safdarjung Airport, New Delhi on the occasion of Republic day after prior approval of competent authority as per the direction of Engineer-in-charge. | 2.00 | JOB | 10.00 | 10000.00 | 20000.00 | 18000.00 | 36000.00 | 40000.00 | 80000.00 | 15000.00 | 30000.00 | 30000.00 | 60000.00 | 12000.00 | 24000.00 | 25000.00 | 50000.00 | 35000.00 | 70000.00 | 47555.00 | 95110.00 | 20000.00 | ANAND AND COMPANTY
16.00 | Providing of LED bulb ladi/ LED ladi lighting in different colour (i.e. white, orange, green & yellow etc.) including insulated wire, cables, connectors & other accessories etc. as required on hiring basis for 5 days at AERA building, safdarjung airport, new delhi on the occasion of Republic day after prior approval of competent authority as per the direction of Engineer-in-charge. | 2.00 | JOB | 10.00 | 7500.00 | 15000.00 | 18000.00 | 36000.00 | 40000.00 | 80000.00 | 15000.00 | 30000.00 | 30000.00 | 60000.00 | 3000.00 | 6000.00 | 5000.00 | 10000.00 | 35000.00 | 70000.00 | 28555.00 | 57110.00 | 6000.00 | SRS ENGINEERS
17.00 | (SH-II Supply of Spares as and when required Basis from SI. No.17-68) Supply of following size single core (FR-LSH) (IS:694) PVC insulated Copper conductor industrial Cable, 1100V, and PVC sheathed for cables-90 meter standard length and Red, Blue, Black & Green colour.
17.01 | 1.5mm² single core | 32.00 | Coil | 10.00 | 1100.00 | 35200.00 | 1250.00 | 40000.00 | 1335.00 | 42720.00 | 2500.00 | 80000.00 | 1300.00 | 41600.00 | 910.00 | 29120.00 | 500.00 | 16000.00 | 1300.00 | 41600.00 | 600.00 | 19200.00 | 16000.00 | NATIONAL SAFETY ENGINEERS
17.02 | 2.5 mm² single core | 12.00 | Coil | 10.00 | 1700.00 | 20400.00 | 2200.00 | 26400.00 | 2151.00 | 25812.00 | 4000.00 | 48000.00 | 1700.00 | 20400.00 | 1470.00 | 17640.00 | 600.00 | 7200.00 | 2094.00 | 25128.00 | 1000.00 | 12000.00 | 7200.00 | NATIONAL SAFETY ENGINEERS
17.03 | 4 mm² single core | 8.00 | Coil | 10.00 | 2200.00 | 17600.00 | 3200.00 | 25600.00 | 3171.00 | 25368.00 | 4000.00 | 32000.00 | 2100.00 | 16800.00 | 2200.00 | 17600.00 | 700.00 | 5600.00 | 3090.00 | 24720.00 | 1500.00 | 12000.00 | 5600.00 | NATIONAL SAFETY ENGINEERS
17.04 | 6 mm² single core | 4.00 | Coil | 10.00 | 3800.00 | 15200.00 | 5000.00 | 20000.00 | 4743.00 | 18972.00 | 6000.00 | 24000.00 | 2500.00 | 10000.00 | 3300.00 | 13200.00 | 800.00 | 3200.00 | 4652.00 | 18608.00 | 2300.00 | 9200.00 | 3200.00 | NATIONAL SAFETY ENGINEERS
18.00 | Supply of following size multi core (IS:694) PVC insulated Copper conductor (flexible) industrial Cable, 1100V, and PVC round sheathed for cables-100m standard length.
18.01 | 2 x 1.5 sq mm cable | 5.00 | Coil | 10.00 | 3500.00 | 17500.00 | 3500.00 | 17500.00 | 3200.00 | 16000.00 | 2500.00 | 12500.00 | 2920.00 | 14600.00 | 2400.00 | 12000.00 | 800.00 | 4000.00 | 3000.00 | 15000.00 | 1600.00 | 8000.00 | 4000.00 | NATIONAL SAFETY ENGINEERS
18.02 | 2 x 2.5 sq mm cable | 5.00 | Coil | 10.00 | 3800.00 | 19000.00 | 5800.00 | 29000.00 | 5200.00 | 26000.00 | 4500.00 | 22500.00 | 4698.00 | 23490.00 | 3800.00 | 19000.00 | 1000.00 | 5000.00 | 5000.00 | 25000.00 | 2600.00 | 13000.00 | 5000.00 | NATIONAL SAFETY ENGINEERS
18.03 | 3 x 1.5 Sq. mm cable | 15.00 | Coil | 10.00 | 4200.00 | 63000.00 | 5500.00 | 82500.00 | 6500.00 | 97500.00 | 3500.00 | 52500.00 | 5000.00 | 75000.00 | 4400.00 | 66000.00 | 1500.00 | 22500.00 | 4600.00 | 69000.00 | 2200.00 | 33000.00 | 22500.00 | NATIONAL SAFETY ENGINEERS
18.04 | 3 x 2.5 Sq. mm cable | 15.00 | Coil | 10.00 | 6700.00 | 100500.00 | 7500.00 | 112500.00 | 9500.00 | 142500.00 | 4000.00 | 60000.00 | 9500.00 | 142500.00 | 5300.00 | 79500.00 | 2500.00 | 37500.00 | 7400.00 | 111000.00 | 3600.00 | 54000.00 | 37500.00 | NATIONAL SAFETY ENGINEERS
18.05 | 3 x 4.0 Sq. mm cable | 5.00 | Coil | 10.00 | 10000.00 | 50000.00 | 11500.00 | 57500.00 | 11500.00 | 57500.00 | 8000.00 | 40000.00 | 14100.00 | 70500.00 | 8200.00 | 41000.00 | 4000.00 | 20000.00 | 12000.00 | 60000.00 | 5500.00 | 27500.00 | 20000.00 | NATIONAL SAFETY ENGINEERS
19.00 | Supplying of MS conduit Medium class of nominal diameter 25mm as required at site. | 100.00 | mtr | 10.00 | 25.00 | 2500.00 | 60.00 | 6000.00 | 60.00 | 6000.00 | 68.00 | 6800.00 | 125.00 | 12500.00 | 125.00 | 12500.00 | 40.00 | 4000.00 | 125.00 | 12500.00 | 40.00 | 4000.00 | 2500.00 | ANAND AND COMPANTY
20.00 | Supplying of MS conduit Medium class of nominal diameter 32mm as required at site. | 100.00 | mtr | 10.00 | 40.00 | 4000.00 | 71.00 | 7100.00 | 90.00 | 9000.00 | 97.00 | 9700.00 | 180.00 | 18000.00 | 125.00 | 12500.00 | 50.00 | 5000.00 | 135.00 | 13500.00 | 70.00 | 7000.00 | 4000.00 | ANAND AND COMPANTY
21.00 | Supplying of F.R.L.S. PVC Conduit medium class of nominal diameter 25mm as required at site. | 200.00 | mtr | 10.00 | 20.00 | 4000.00 | 30.00 | 6000.00 | 30.00 | 6000.00 | 33.00 | 6600.00 | 45.00 | 9000.00 | 100.00 | 20000.00 | 15.00 | 3000.00 | 45.00 | 9000.00 | 20.00 | 4000.00 | 3000.00 | NATIONAL SAFETY ENGINEERS
22.00 | Supplying of F.R.L.S. PVC conduit medium class of nominal diameter 32mm as required at site. | 200.00 | mtr | 10.00 | 22.00 | 4400.00 | 35.00 | 7000.00 | 35.00 | 7000.00 | 36.00 | 7200.00 | 70.00 | 14000.00 | 90.00 | 18000.00 | 20.00 | 4000.00 | 75.00 | 15000.00 | 30.00 | 6000.00 | 4000.00 | NATIONAL SAFETY ENGINEERS
23.00 | Casing caping 20x12mm, ISI marked (one unit length is 2 mtrs) | 300.00 | mtr | 10.00 | 20.00 | 6000.00 | 40.00 | 12000.00 | 40.00 | 12000.00 | 20.00 | 6000.00 | 25.00 | 7500.00 | 25.00 | 7500.00 | 10.00 | 3000.00 | 2.00 | 600.00 | 10.00 | 3000.00 | 600.00 | S. N ELECTRICALS
24.00 | Casing caping 25x16mm, ISI marked (one unit length is 2 mtrs) | 300.00 | mtr | 10.00 | 25.00 | 7500.00 | 45.00 | 13500.00 | 50.00 | 15000.00 | 23.00 | 6900.00 | 30.00 | 9000.00 | 32.00 | 9600.00 | 15.00 | 4500.00 | 30.00 | 9000.00 | 10.00 | 3000.00 | 3000.00 | JCC ENGINEERS PRIVATE LIMITED
25.00 | Casing caping 32x16mm, ISI marked (one unit length is 2 mtrs) | 300.00 | mtr | 10.00 | 30.00 | 9000.00 | 52.00 | 15600.00 | 60.00 | 18000.00 | 35.00 | 10500.00 | 45.00 | 13500.00 | 40.00 | 12000.00 | 20.00 | 6000.00 | 40.00 | 12000.00 | 20.00 | 6000.00 | 6000.00 | JCC ENGINEERS PRIVATE LIMITED, NATIONAL SAFETY ENGINEERS
26.00 | Supply of Retrofit 4 feet, 20W-22W , Ultra bright LED polycarbonate Tubelight with <10% THD, very high efficacy suited for installation in existing T8 tubelight with G13 lamp holders to give glare free light with life expectancy of min 50,000 burning hrs for LEDs and suitable built in/external LED Driver as per tender specifications & special conditions complete in all respect etc. as required. (Refer Annexure-D at SCC Page No. 23 and 24 for quoting the rate) | 100.00 | each | 10.00 | 300.00 | 30000.00 | 715.00 | 71500.00 | 525.00 | 52500.00 | 300.00 | 30000.00 | 425.00 | 42500.00 | 275.00 | 27500.00 | 300.00 | 30000.00 | 600.00 | 60000.00 | 240.00 | 24000.00 | 24000.00 | JCC ENGINEERS PRIVATE LIMITED
27.00 | Supply of Retrofit 4 feet, 18W-20W, Ultra bright LED Tubelight with <10% THD, aluminium heat sink & polycarbonate diffuser having high efficacy suited for installation in existing T5 tubelight with G5 lamp holders to give glare free light with life expectancy of min 50,000 burning hrs for LEDs and suitable built in/external LED Driver as per tender specifications & special conditions complete in all respect etc. as required. (Refer Annexure-D at SCC Page No. 23 and 24 for quoting the rate) | 100.00 | each | 10.00 | 300.00 | 30000.00 | 400.00 | 40000.00 | 525.00 | 52500.00 | 300.00 | 30000.00 | 310.00 | 31000.00 | 220.00 | 22000.00 | 250.00 | 25000.00 | 450.00 | 45000.00 | 300.00 | 30000.00 | 22000.00 | SRS ENGINEERS
28.00 | Supply of LED type surface batton light fixtures with nominal wattage of 18-22W (Max), System Lumens - 100 lumens/watt (Min.) with non-removable LED tube (LED Strip with diffuser), housing made of Al /extruded Al/ PMMA/ Frosted/ acrylic diffuser with life expectancy of min 50,000 burning hrs for LEDs and suitable built in/external LED Driver as per tender specifications & special conditions complete in all respect etc. as required. (Refer Annexure-D at SCC Page No. 23 and 24 for quoting the rate) | 200.00 | each | 10.00 | 300.00 | 60000.00 | 300.00 | 60000.00 | 525.00 | 105000.00 | 300.00 | 60000.00 | 310.00 | 62000.00 | 345.00 | 69000.00 | 200.00 | 40000.00 | 380.00 | 76000.00 | 450.00 | 90000.00 | 40000.00 | NATIONAL SAFETY ENGINEERS
29.00 | Supply of LED type recess light fixtures 2'x2' type with wattage of 36 W (Max.) with system lumen- 100 lumens/watt (Min.) having housing made of CRCA powder coated sheet/ PDC Aluminium with poly carbonate/ opal/ PMMA acrylic diffuser with life expectancy of min 50,000 burning hrs for LEDs and suitable built in/external LED Driver as per tender specifications & special conditions complete in all respect etc. as required. (Refer Annexure-D at SCC Page No. 23 and 24 for quoting the rate) | 40.00 | each | 10.00 | 2200.00 | 88000.00 | 2500.00 | 100000.00 | 2200.00 | 88000.00 | 300.00 | 12000.00 | 2750.00 | 110000.00 | 1650.00 | 66000.00 | 1500.00 | 60000.00 | 1350.00 | 54000.00 | 1180.00 | 47200.00 | 12000.00 | R. D. ENGINEERS
30.00 | Supply of LED type recess light fixtures 4'x1' type with wattage of 36 W (Max.) with system lumen- 100 lumens/watt (Min.) having housing made of CRCA powder coated sheet/ PDC Aluminium with poly carbonate/ opal/ PMMA acrylic diffuser with life expectancy of min 50,000 burning hrs for LEDs and suitable built in LED Driver as per tender specifications & special conditions complete in all respect etc. as required. (Refer Annexure-D at SCC Page No. 23 and 24 for quoting the rate) | 40.00 | each | 10.00 | 1200.00 | 48000.00 | 2600.00 | 104000.00 | 1200.00 | 48000.00 | 500.00 | 20000.00 | 2450.00 | 98000.00 | 750.00 | 30000.00 | 1600.00 | 64000.00 | 3850.00 | 154000.00 | 1200.00 | 48000.00 | 20000.00 | R. D. ENGINEERS
31.00 | Supply of LED type recess round shape downlight fixture having 185-225 mm cut out diamater with wattage of 18 W (Min), system lumens -100 lumens/watt (Min.) having housing made of powder coated dye cast Aluminium and Opal/ Acrylic/ High eff. translucence diffuser with life expectancy of min 50,000 burning hrs for LEDs and suitable built in/external LED Driver as per tender specifications & special conditions complete in all respect etc. as required. (Refer Annexure-D at SCC Page No. 23 and 24 for quoting the rate) | 40.00 | each | 10.00 | 500.00 | 20000.00 | 700.00 | 28000.00 | 900.00 | 36000.00 | 600.00 | 24000.00 | 1250.00 | 50000.00 | 400.00 | 16000.00 | 650.00 | 26000.00 | 450.00 | 18000.00 | 620.00 | 24800.00 | 16000.00 | SRS ENGINEERS
32.00 | Supply of LED type recess round shape adjustable spotlight fixture having 90 mm cut out diamater with wattage of 12 W (Min), system lumens -100 lumens/watt (Min.) having housing made of powder coated dye cast Aluminium and Opal/ Acrylic/ High eff. translucence diffuser with life expectancy of min 50,000 burning hrs for LEDs and suitable built in/external LED Driver as per tender specifications & special conditions complete in all respect etc. as required. (Refer Annexure-D at SCC Page No. 23 and 24 for quoting the rate) | 40.00 | each | 10.00 | 450.00 | 18000.00 | 650.00 | 26000.00 | 950.00 | 38000.00 | 500.00 | 20000.00 | 1250.00 | 50000.00 | 350.00 | 14000.00 | 550.00 | 22000.00 | 450.00 | 18000.00 | 770.00 | 30800.00 | 14000.00 | SRS ENGINEERS
33.00 | Supply of Exhaust Fan metallic body, 300mm, 1400 rpm industrial heavy duty. | 10.00 | each | 10.00 | 1800.00 | 18000.00 | 2200.00 | 22000.00 | 3200.00 | 32000.00 | 2000.00 | 20000.00 | 2650.00 | 26500.00 | 1800.00 | 18000.00 | 1500.00 | 15000.00 | 1850.00 | 18500.00 | 1500.00 | 15000.00 | 15000.00 | JCC ENGINEERS PRIVATE LIMITED, NATIONAL SAFETY ENGINEERS
34.00 | Supply of Exhaust Fan, metallic body 450mm, 1400 rpm industrial heavy duty. | 5.00 | each | 10.00 | 2200.00 | 11000.00 | 3150.00 | 15750.00 | 4500.00 | 22500.00 | 3000.00 | 15000.00 | 4570.00 | 22850.00 | 2100.00 | 10500.00 | 2000.00 | 10000.00 | 2150.00 | 10750.00 | 1690.00 | 8450.00 | 8450.00 | JCC ENGINEERS PRIVATE LIMITED
35.00 | Supply of Modular exhaust fan 230 mm (9") in metal body. | 10.00 | each | 10.00 | 1500.00 | 15000.00 | 1700.00 | 17000.00 | 2800.00 | 28000.00 | 900.00 | 9000.00 | 1475.00 | 14750.00 | 1500.00 | 15000.00 | 1100.00 | 11000.00 | 1800.00 | 18000.00 | 755.00 | 7550.00 | 7550.00 | JCC ENGINEERS PRIVATE LIMITED
36.00 | Supply of Modular exhaust fan 300 mm (12") in metal body. | 10.00 | each | 10.00 | 1500.00 | 15000.00 | 1600.00 | 16000.00 | 3200.00 | 32000.00 | 1000.00 | 10000.00 | 1150.00 | 11500.00 | 1500.00 | 15000.00 | 1200.00 | 12000.00 | 1950.00 | 19500.00 | 855.00 | 8550.00 | 8550.00 | JCC ENGINEERS PRIVATE LIMITED
37.00 | Supply of Modular ventilating fan 200 mm (8") in PVC body. | 25.00 | each | 10.00 | 1200.00 | 30000.00 | 1250.00 | 31250.00 | 1800.00 | 45000.00 | 800.00 | 20000.00 | 1150.00 | 28750.00 | 1050.00 | 26250.00 | 900.00 | 22500.00 | 1090.00 | 27250.00 | 780.00 | 19500.00 | 19500.00 | JCC ENGINEERS PRIVATE LIMITED
38.00 | Supply of Modular ventilating fan 250 mm (10") in PVC body. | 25.00 | each | 10.00 | 1200.00 | 30000.00 | 1500.00 | 37500.00 | 2400.00 | 60000.00 | 900.00 | 22500.00 | 1150.00 | 28750.00 | 1100.00 | 27500.00 | 1000.00 | 25000.00 | 1250.00 | 31250.00 | 590.00 | 14750.00 | 14750.00 | JCC ENGINEERS PRIVATE LIMITED
39.00 | Supply of Wall mounted fan, 400 mm sweep, high speed, swing pull cord type, three speed pull cord etc. | 50.00 | each | 10.00 | 1900.00 | 95000.00 | 1700.00 | 85000.00 | 4500.00 | 225000.00 | 1500.00 | 75000.00 | 2150.00 | 107500.00 | 1800.00 | 90000.00 | 1700.00 | 85000.00 | 2850.00 | 142500.00 | 955.00 | 47750.00 | 47750.00 | JCC ENGINEERS PRIVATE LIMITED
40.00 | Supply of Pedestal fan, 450 mm sweep, high speed, swing pull cord type, three speed pull cord etc. | 30.00 | each | 10.00 | 3000.00 | 90000.00 | 5000.00 | 150000.00 | 6500.00 | 195000.00 | 1900.00 | 57000.00 | 6350.00 | 190500.00 | 2300.00 | 69000.00 | 3000.00 | 90000.00 | 2850.00 | 85500.00 | 1355.00 | 40650.00 | 40650.00 | JCC ENGINEERS PRIVATE LIMITED
41.00 | Supply of following MCBs / RCCBs, C Curve of following rating working on 240V/ 415V, 10KA as required.
41.01 | S.P.MCB- 6 Amps | 50.00 | No | 10.00 | 110.00 | 5500.00 | 185.00 | 9250.00 | 150.00 | 7500.00 | 118.00 | 5900.00 | 125.00 | 6250.00 | 115.00 | 5750.00 | 115.00 | 5750.00 | 115.00 | 5750.00 | 85.00 | 4250.00 | 4250.00 | JCC ENGINEERS PRIVATE LIMITED
41.02 | S.P.MCB- 16 Amps | 50.00 | No | 10.00 | 110.00 | 5500.00 | 185.00 | 9250.00 | 160.00 | 8000.00 | 118.00 | 5900.00 | 125.00 | 6250.00 | 115.00 | 5750.00 | 115.00 | 5750.00 | 115.00 | 5750.00 | 85.00 | 4250.00 | 4250.00 | JCC ENGINEERS PRIVATE LIMITED
41.03 | S.P.MCB- 20 Amps | 50.00 | No | 10.00 | 110.00 | 5500.00 | 185.00 | 9250.00 | 160.00 | 8000.00 | 118.00 | 5900.00 | 125.00 | 6250.00 | 115.00 | 5750.00 | 115.00 | 5750.00 | 115.00 | 5750.00 | 85.00 | 4250.00 | 4250.00 | JCC ENGINEERS PRIVATE LIMITED
41.04 | S.P.MCB- 25 Amps | 50.00 | No | 10.00 | 110.00 | 5500.00 | 185.00 | 9250.00 | 160.00 | 8000.00 | 118.00 | 5900.00 | 125.00 | 6250.00 | 115.00 | 5750.00 | 115.00 | 5750.00 | 115.00 | 5750.00 | 85.00 | 4250.00 | 4250.00 | JCC ENGINEERS PRIVATE LIMITED
41.05 | S.P.MCB- 32 Amps | 50.00 | No | 10.00 | 110.00 | 5500.00 | 185.00 | 9250.00 | 160.00 | 8000.00 | 118.00 | 5900.00 | 125.00 | 6250.00 | 115.00 | 5750.00 | 115.00 | 5750.00 | 115.00 | 5750.00 | 85.00 | 4250.00 | 4250.00 | JCC ENGINEERS PRIVATE LIMITED
41.06 | DP MCB- 32 amps. | 50.00 | No | 10.00 | 350.00 | 17500.00 | 410.00 | 20500.00 | 450.00 | 22500.00 | 385.00 | 19250.00 | 275.00 | 13750.00 | 420.00 | 21000.00 | 200.00 | 10000.00 | 350.00 | 17500.00 | 255.00 | 12750.00 | 10000.00 | NATIONAL SAFETY ENGINEERS
41.07 | DP MCB- 40 amps. | 50.00 | No | 10.00 | 425.00 | 21250.00 | 600.00 | 30000.00 | 740.00 | 37000.00 | 618.00 | 30900.00 | 325.00 | 16250.00 | 500.00 | 25000.00 | 230.00 | 11500.00 | 350.00 | 17500.00 | 385.00 | 19250.00 | 11500.00 | NATIONAL SAFETY ENGINEERS
41.08 | DP MCB- 63 amps | 20.00 | No | 10.00 | 550.00 | 11000.00 | 650.00 | 13000.00 | 780.00 | 15600.00 | 618.00 | 12360.00 | 385.00 | 7700.00 | 600.00 | 12000.00 | 250.00 | 5000.00 | 580.00 | 11600.00 | 455.00 | 9100.00 | 5000.00 | NATIONAL SAFETY ENGINEERS
41.09 | FP MCB- 32 amps | 30.00 | No | 10.00 | 350.00 | 10500.00 | 850.00 | 25500.00 | 970.00 | 29100.00 | 846.00 | 25380.00 | 475.00 | 14250.00 | 450.00 | 13500.00 | 450.00 | 13500.00 | 880.00 | 26400.00 | 555.00 | 16650.00 | 10500.00 | ANAND AND COMPANTY
41.10 | FP MCB- 40 amps | 30.00 | No | 10.00 | 1200.00 | 36000.00 | 1300.00 | 39000.00 | 1280.00 | 38400.00 | 1220.00 | 36600.00 | 475.00 | 14250.00 | 1200.00 | 36000.00 | 500.00 | 15000.00 | 1250.00 | 37500.00 | 755.00 | 22650.00 | 14250.00 | royal electrical co
41.11 | FP MCB- 63 Amps | 30.00 | No | 10.00 | 1200.00 | 36000.00 | 1300.00 | 39000.00 | 1300.00 | 39000.00 | 1220.00 | 36600.00 | 525.00 | 15750.00 | 1200.00 | 36000.00 | 550.00 | 16500.00 | 1250.00 | 37500.00 | 755.00 | 22650.00 | 15750.00 | royal electrical co
41.12 | DP RCCB 63 Amps, 300 mA Sensitivity, 415V | 5.00 | No | 10.00 | 1200.00 | 6000.00 | 2100.00 | 10500.00 | 2750.00 | 13750.00 | 2000.00 | 10000.00 | 2150.00 | 10750.00 | 1850.00 | 9250.00 | 1700.00 | 8500.00 | 1950.00 | 9750.00 | 1295.00 | 6475.00 | 6000.00 | ANAND AND COMPANTY
41.13 | FP RCCB 63 Amps, 300 mA Sensitivity, 415V | 5.00 | No | 10.00 | 2000.00 | 10000.00 | 3600.00 | 18000.00 | 2850.00 | 14250.00 | 2000.00 | 10000.00 | 2150.00 | 10750.00 | 1850.00 | 9250.00 | 2000.00 | 10000.00 | 2920.00 | 14600.00 | 1295.00 | 6475.00 | 6475.00 | JCC ENGINEERS PRIVATE LIMITED
42.00 | Providing of following size of DLP plastic U-PVC trunking (Make: Legrand) of following items i/c accessories as required.
42.01 | Plastic trunking (cat no. 0104 22) without cover 105 mm X 50 mm | 300.00 | Mtr | 10.00 | 500.00 | 150000.00 | 70.00 | 21000.00 | 480.00 | 144000.00 | 500.00 | 150000.00 | 825.00 | 247500.00 | 450.00 | 135000.00 | 430.00 | 129000.00 | 389.00 | 116700.00 | 155.00 | 46500.00 | 21000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
42.02 | Plastic trunking cover (cat no. 0105 22) suitable for 105 mm X 50 mm | 300.00 | Mtr | 10.00 | 225.00 | 67500.00 | 30.00 | 9000.00 | 220.00 | 66000.00 | 500.00 | 150000.00 | 325.00 | 97500.00 | 220.00 | 66000.00 | 193.00 | 57900.00 | 176.00 | 52800.00 | 85.00 | 25500.00 | 9000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
42.03 | Separation (cat no. 0105 82) suitable for trunking size 105mmx50mm | 100.00 | Mtr | 10.00 | 100.00 | 10000.00 | 35.00 | 3500.00 | 120.00 | 12000.00 | 100.00 | 10000.00 | 125.00 | 12500.00 | 80.00 | 8000.00 | 113.00 | 11300.00 | 103.00 | 10300.00 | 55.00 | 5500.00 | 3500.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
42.04 | Body joint for aligning bases during installation (cat No. 0106 91) suitable for trunking size 105mmx50mm | 50.00 | No | 10.00 | 50.00 | 2500.00 | 52.00 | 2600.00 | 50.00 | 2500.00 | 280.00 | 14000.00 | 290.00 | 14500.00 | 25.00 | 1250.00 | 38.00 | 1900.00 | 110.00 | 5500.00 | 35.00 | 1750.00 | 1250.00 | SRS ENGINEERS
42.05 | Internal Angle adjusted from 800-1000 angle suitable for truncking size 105mm x 50 mm (cat No. 0106 02) | 30.00 | No | 10.00 | 80.00 | 2400.00 | 250.00 | 7500.00 | 280.00 | 8400.00 | 75.00 | 2250.00 | 290.00 | 8700.00 | 190.00 | 5700.00 | 245.00 | 7350.00 | 223.00 | 6690.00 | 185.00 | 5550.00 | 2250.00 | R. D. ENGINEERS
42.06 | External Angle adjusted from 600-1200 angle suitable for truncking size 105mm x 50 mm (cat No. 0106 22) | 30.00 | No | 10.00 | 80.00 | 2400.00 | 250.00 | 7500.00 | 280.00 | 8400.00 | 160.00 | 4800.00 | 290.00 | 8700.00 | 190.00 | 5700.00 | 240.00 | 7200.00 | 223.00 | 6690.00 | 185.00 | 5550.00 | 2400.00 | ANAND AND COMPANTY
42.07 | Flat Angle - 900 suitable for truncking size 105mm x 50 mm (cat no. 0107 85) | 30.00 | No | 10.00 | 300.00 | 9000.00 | 350.00 | 10500.00 | 380.00 | 11400.00 | 240.00 | 7200.00 | 325.00 | 9750.00 | 320.00 | 9600.00 | 354.00 | 10620.00 | 322.00 | 9660.00 | 255.00 | 7650.00 | 7200.00 | R. D. ENGINEERS
42.08 | End caps suitable for trunking size 105mmx50mm (cat no. 107 02) | 100.00 | No | 10.00 | 75.00 | 7500.00 | 100.00 | 10000.00 | 70.00 | 7000.00 | 190.00 | 19000.00 | 325.00 | 32500.00 | 70.00 | 7000.00 | 88.00 | 8800.00 | 80.00 | 8000.00 | 85.00 | 8500.00 | 7000.00 | Manish Electricals, SRS ENGINEERS
42.09 | Plastic trunking with cover & without central partition 32 mm X 20 mm (cat no. 0300 17) | 200.00 | Mtr | 10.00 | 75.00 | 15000.00 | 70.00 | 14000.00 | 90.00 | 18000.00 | 100.00 | 20000.00 | 225.00 | 45000.00 | 65.00 | 13000.00 | 83.00 | 16600.00 | 76.00 | 15200.00 | 55.00 | 11000.00 | 11000.00 | JCC ENGINEERS PRIVATE LIMITED
42.10 | End caps suitable for trunking size 32mmx20mm (cat no. 0312 09) | 100.00 | No | 10.00 | 40.00 | 4000.00 | 105.00 | 10500.00 | 90.00 | 9000.00 | 60.00 | 6000.00 | 325.00 | 32500.00 | 50.00 | 5000.00 | 68.00 | 6800.00 | 60.00 | 6000.00 | 55.00 | 5500.00 | 4000.00 | ANAND AND COMPANTY
42.11 | Changeable Flat Angle suitable for trunking size 32mmx20mm (cat no. 0302 73) | 50.00 | No | 10.00 | 250.00 | 12500.00 | 200.00 | 10000.00 | 60.00 | 3000.00 | 130.00 | 6500.00 | 524.00 | 26200.00 | 50.00 | 2500.00 | 55.00 | 2750.00 | 57.00 | 2850.00 | 55.00 | 2750.00 | 2500.00 | SRS ENGINEERS
42.12 | Changeable Internal-external Angle suitable for trunking size 32mmx20mm (cat no. 0302 71) | 50.00 | No | 10.00 | 250.00 | 12500.00 | 200.00 | 10000.00 | 70.00 | 3500.00 | 100.00 | 5000.00 | 156.00 | 7800.00 | 50.00 | 2500.00 | 65.00 | 3250.00 | 57.00 | 2850.00 | 55.00 | 2750.00 | 2500.00 | SRS ENGINEERS
43.00 | Supplying following Modular base , cover plate & insulation unit DLP trunking (for 85 mm cover) etc. as required. (MAKE: Legrand)
43.01 | 1 or 2 Module (Cat No. 0109 92) | 100.00 | No | 10.00 | 75.00 | 7500.00 | 80.00 | 8000.00 | 110.00 | 11000.00 | 89.00 | 8900.00 | 85.00 | 8500.00 | 50.00 | 5000.00 | 90.00 | 9000.00 | 77.00 | 7700.00 | 55.00 | 5500.00 | 5000.00 | SRS ENGINEERS
43.02 | 3 Module (Cat No. 0109 93) | 300.00 | No | 10.00 | 100.00 | 30000.00 | 85.00 | 25500.00 | 130.00 | 39000.00 | 116.00 | 34800.00 | 125.00 | 37500.00 | 125.00 | 37500.00 | 125.00 | 37500.00 | 112.00 | 33600.00 | 85.00 | 25500.00 | 25500.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES, JCC ENGINEERS PRIVATE LIMITED
43.03 | 4 Module (Cat No. 0109 94) | 100.00 | No | 10.00 | 50.00 | 5000.00 | 115.00 | 11500.00 | 140.00 | 14000.00 | 129.00 | 12900.00 | 145.00 | 14500.00 | 135.00 | 13500.00 | 136.00 | 13600.00 | 115.00 | 11500.00 | 95.00 | 9500.00 | 5000.00 | ANAND AND COMPANTY
43.04 | 6 Module (Cat No. 0109 96) | 600.00 | No | 10.00 | 130.00 | 78000.00 | 155.00 | 93000.00 | 190.00 | 114000.00 | 150.00 | 90000.00 | 180.00 | 108000.00 | 150.00 | 90000.00 | 173.00 | 103800.00 | 151.00 | 90600.00 | 155.00 | 93000.00 | 78000.00 | ANAND AND COMPANTY
44.00 | Supply of following modular switch/socket/accessories on the existing DLP trunking i/c connection but excluding modular plate & cover etc. as required.
44.01 | 01 module telephone jack with shutter -RJ11 (make: Legrand, cat no. 5734 26) | 100.00 | No | 10.00 | 100.00 | 10000.00 | 65.00 | 6500.00 | 60.00 | 6000.00 | 83.00 | 8300.00 | 120.00 | 12000.00 | 70.00 | 7000.00 | 78.00 | 7800.00 | 85.80 | 8580.00 | 95.00 | 9500.00 | 6000.00 | Manish Electricals
44.02 | 01 module double telephone jack with shutter -Double RJ11 (make: Legrand, cat no. 5734 27) | 50.00 | No | 10.00 | 175.00 | 8750.00 | 110.00 | 5500.00 | 170.00 | 8500.00 | 140.00 | 7000.00 | 210.00 | 10500.00 | 150.00 | 7500.00 | 135.00 | 6750.00 | 85.80 | 4290.00 | 155.00 | 7750.00 | 4290.00 | S. N ELECTRICALS
44.03 | 01 module blanking plate (make: Legrand, cat no. 5734 49) | 200.00 | No | 10.00 | 25.00 | 5000.00 | 50.00 | 10000.00 | 20.00 | 4000.00 | 16.00 | 3200.00 | 10.00 | 2000.00 | 20.00 | 4000.00 | 16.00 | 3200.00 | 17.80 | 3560.00 | 10.00 | 2000.00 | 2000.00 | royal electrical co, JCC ENGINEERS PRIVATE LIMITED
44.04 | 1 module RJ45 port (Cat 6 UTP) (make: Legrand, cat no. 5734 28) | 100.00 | No | 10.00 | 300.00 | 30000.00 | 60.00 | 6000.00 | 210.00 | 21000.00 | 270.00 | 27000.00 | 490.00 | 49000.00 | 290.00 | 29000.00 | 290.00 | 29000.00 | 316.70 | 31670.00 | 325.00 | 32500.00 | 6000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
44.05 | 6 Amp. One way module switch (make: Legrand, Cat no. 5734 00 ) | 300.00 | No | 10.00 | 80.00 | 24000.00 | 85.00 | 25500.00 | 40.00 | 12000.00 | 80.00 | 24000.00 | 125.00 | 37500.00 | 66.00 | 19800.00 | 63.00 | 18900.00 | 68.80 | 20640.00 | 110.00 | 33000.00 | 12000.00 | Manish Electricals
44.06 | 20 Amp. One way module switch (make: Legrand, Cat no. 5734 10 ) | 600.00 | No | 10.00 | 130.00 | 78000.00 | 150.00 | 90000.00 | 90.00 | 54000.00 | 90.00 | 54000.00 | 175.00 | 105000.00 | 120.00 | 72000.00 | 116.00 | 69600.00 | 126.50 | 75900.00 | 155.00 | 93000.00 | 54000.00 | Manish Electricals, R. D. ENGINEERS
44.07 | 25 Amp. One way module switch (make: Legrand, Cat no. 5734 17) | 200.00 | No | 10.00 | 130.00 | 26000.00 | 250.00 | 50000.00 | 210.00 | 42000.00 | 130.00 | 26000.00 | 205.00 | 41000.00 | 145.00 | 29000.00 | 155.00 | 31000.00 | 178.00 | 35600.00 | 195.00 | 39000.00 | 26000.00 | ANAND AND COMPANTY, R. D. ENGINEERS
44.08 | 6/16 Amp. Twin socket heavy duty (2 module) (make:Legrand, cat no. 5734 71) | 600.00 | No | 10.00 | 130.00 | 78000.00 | 250.00 | 150000.00 | 105.00 | 63000.00 | 130.00 | 78000.00 | 188.00 | 112800.00 | 125.00 | 75000.00 | 153.00 | 91800.00 | 166.50 | 99900.00 | 185.00 | 111000.00 | 63000.00 | Manish Electricals
44.09 | 6 Amp. Modular type socket (two module) (make: Legrand, Cat no. 5734 70) | 300.00 | No | 10.00 | 130.00 | 39000.00 | 125.00 | 37500.00 | 90.00 | 27000.00 | 112.00 | 33600.00 | 188.00 | 56400.00 | 110.00 | 33000.00 | 115.00 | 34500.00 | 125.80 | 37740.00 | 155.00 | 46500.00 | 27000.00 | Manish Electricals
44.10 | 25 Amp. Modular type socket (two module) (make: Legrand, Cat no. 5734 66) | 200.00 | No | 10.00 | 230.00 | 46000.00 | 140.00 | 28000.00 | 170.00 | 34000.00 | 160.00 | 32000.00 | 270.00 | 54000.00 | 210.00 | 42000.00 | 190.00 | 38000.00 | 204.00 | 40800.00 | 255.00 | 51000.00 | 28000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
45.00 | Supply of following piano switch/sockets of following rating and makes as mentioned and suitable for working on 240V, single phase, 50 Hz AC comlete as required.
45.01 | 6 amp Socket, similar to Anchor Penta Cat No. 14303 | 50.00 | No | 10.00 | 20.00 | 1000.00 | 65.00 | 3250.00 | 28.00 | 1400.00 | 20.00 | 1000.00 | 40.00 | 2000.00 | 19.00 | 950.00 | 28.00 | 1400.00 | 24.20 | 1210.00 | 25.00 | 1250.00 | 950.00 | SRS ENGINEERS
45.02 | 20 & 10 amp Socket, similar to Anchor Penta Cat No. 14307 | 50.00 | No | 10.00 | 50.00 | 2500.00 | 110.00 | 5500.00 | 60.00 | 3000.00 | 58.00 | 2900.00 | 90.00 | 4500.00 | 52.00 | 2600.00 | 64.00 | 3200.00 | 51.70 | 2585.00 | 55.00 | 2750.00 | 2500.00 | ANAND AND COMPANTY
45.03 | 6 amp one way Switch, similar to Anchor Penta Cat No. 14111 | 50.00 | No | 10.00 | 15.00 | 750.00 | 70.00 | 3500.00 | 22.00 | 1100.00 | 12.00 | 600.00 | 18.00 | 900.00 | 10.00 | 500.00 | 15.00 | 750.00 | 10.80 | 540.00 | 55.00 | 2750.00 | 500.00 | SRS ENGINEERS
45.04 | 20 amp one way Switch, similar to Anchor Penta Cat No. 14401 | 50.00 | No | 10.00 | 40.00 | 2000.00 | 110.00 | 5500.00 | 60.00 | 3000.00 | 55.00 | 2750.00 | 90.00 | 4500.00 | 45.00 | 2250.00 | 60.00 | 3000.00 | 48.40 | 2420.00 | 55.00 | 2750.00 | 2000.00 | ANAND AND COMPANTY
45.05 | 6 amp Surface Bell Push Switch, similar to Anchor Penta Cat No. 14113 | 20.00 | No | 10.00 | 25.00 | 500.00 | 85.00 | 1700.00 | 20.00 | 400.00 | 25.00 | 500.00 | 37.00 | 740.00 | 25.00 | 500.00 | 22.00 | 440.00 | 18.70 | 374.00 | 55.00 | 1100.00 | 374.00 | S. N ELECTRICALS
45.06 | Switch/Socket combined 6 A with box (Anchor Cat No. 38841 or similar Crabtree/ Havells etc) | 500.00 | each | 10.00 | 65.00 | 32500.00 | 250.00 | 125000.00 | 140.00 | 70000.00 | 65.00 | 32500.00 | 100.00 | 50000.00 | 60.00 | 30000.00 | 71.00 | 35500.00 | 65.00 | 32500.00 | 55.00 | 27500.00 | 27500.00 | JCC ENGINEERS PRIVATE LIMITED
45.07 | Switch/Socket combined 20 & 10 A with box (Anchor Cat No. 14616 or similar Crabtree/ Havells etc) | 500.00 | each | 10.00 | 95.00 | 47500.00 | 350.00 | 175000.00 | 180.00 | 90000.00 | 98.00 | 49000.00 | 150.00 | 75000.00 | 90.00 | 45000.00 | 110.00 | 55000.00 | 85.00 | 42500.00 | 85.00 | 42500.00 | 42500.00 | JCC ENGINEERS PRIVATE LIMITED, S. N ELECTRICALS
46.00 | Supply of following modular switch/sockets of following rating and makes as mentioned and suitable for working on 240V, single phase, 50 Hz AC comlete as required.
46.01 | 6 amp. 5 pin multi Socket modular, Similar to ROMA Classic Cat No. 30373 | 300.00 | No | 10.00 | 65.00 | 19500.00 | 125.00 | 37500.00 | 90.00 | 27000.00 | 69.00 | 20700.00 | 130.00 | 39000.00 | 65.00 | 19500.00 | 74.00 | 22200.00 | 55.00 | 16500.00 | 75.00 | 22500.00 | 16500.00 | S. N ELECTRICALS
46.02 | 6/16 A. 5 pin Twin Socket modular heavy duty, Similar to ROMA Classic Cat No. 30828 | 500.00 | No | 10.00 | 75.00 | 37500.00 | 185.00 | 92500.00 | 120.00 | 60000.00 | 117.00 | 58500.00 | 180.00 | 90000.00 | 50.00 | 25000.00 | 125.00 | 62500.00 | 100.00 | 50000.00 | 95.00 | 47500.00 | 25000.00 | SRS ENGINEERS
46.03 | 10/25 amp. 5 pin Twin Socket modular heavy duty, Similar to ROMA Classic Cat No. 34374 | 200.00 | No | 10.00 | 100.00 | 20000.00 | 215.00 | 43000.00 | 120.00 | 24000.00 | 113.00 | 22600.00 | 180.00 | 36000.00 | 85.00 | 17000.00 | 122.00 | 24400.00 | 90.00 | 18000.00 | 105.00 | 21000.00 | 17000.00 | SRS ENGINEERS
46.04 | 10 amp One way Switch modular, Similar to Anchor Rider Cat No.21011 | 300.00 | No | 10.00 | 35.00 | 10500.00 | 125.00 | 37500.00 | 40.00 | 12000.00 | 30.00 | 9000.00 | 110.00 | 33000.00 | 25.00 | 7500.00 | 32.00 | 9600.00 | 29.00 | 8700.00 | 55.00 | 16500.00 | 7500.00 | SRS ENGINEERS
46.05 | 16 amp One way Switch modular, Similar to Anchor ROMA Classic Cat No. 21066 | 500.00 | No | 10.00 | 75.00 | 37500.00 | 165.00 | 82500.00 | 60.00 | 30000.00 | 66.00 | 33000.00 | 125.00 | 62500.00 | 60.00 | 30000.00 | 71.00 | 35500.00 | 55.00 | 27500.00 | 85.00 | 42500.00 | 27500.00 | S. N ELECTRICALS
46.06 | 25 amp One way Switch modular, Similar to Anchor ROMA Classic Cat No. 22014 | 200.00 | No | 10.00 | 75.00 | 15000.00 | 210.00 | 42000.00 | 120.00 | 24000.00 | 100.00 | 20000.00 | 130.00 | 26000.00 | 40.00 | 8000.00 | 108.00 | 21600.00 | 85.00 | 17000.00 | 95.00 | 19000.00 | 8000.00 | SRS ENGINEERS
46.07 | 10 amp Bell Push Switch modular, Similar to Anchor ROMA Classic Cat No. 21044 | 50.00 | No | 10.00 | 65.00 | 3250.00 | 125.00 | 6250.00 | 50.00 | 2500.00 | 61.00 | 3050.00 | 80.00 | 4000.00 | 40.00 | 2000.00 | 66.00 | 3300.00 | 55.00 | 2750.00 | 55.00 | 2750.00 | 2000.00 | SRS ENGINEERS
46.08 | RJ 11 modular, Similar to ROMA Classic Cat No. 20857 | 200.00 | No | 10.00 | 75.00 | 15000.00 | 140.00 | 28000.00 | 190.00 | 38000.00 | 58.00 | 11600.00 | 90.00 | 18000.00 | 50.00 | 10000.00 | 62.00 | 12400.00 | 57.00 | 11400.00 | 55.00 | 11000.00 | 10000.00 | SRS ENGINEERS
46.09 | RJ 45 modem Jack for computer with shutter modular, Similar to ROMA Classic Cat No. 35763 | 200.00 | No | 10.00 | 150.00 | 30000.00 | 165.00 | 33000.00 | 220.00 | 44000.00 | 235.00 | 47000.00 | 200.00 | 40000.00 | 70.00 | 14000.00 | 260.00 | 52000.00 | 238.00 | 47600.00 | 165.00 | 33000.00 | 14000.00 | SRS ENGINEERS
46.10 | Blanking Plate, Similar to ROMA Classic Cat No. 21598 | 200.00 | No | 10.00 | 10.00 | 2000.00 | 65.00 | 13000.00 | 5.00 | 1000.00 | 14.00 | 2800.00 | 15.00 | 3000.00 | 10.00 | 2000.00 | 15.00 | 3000.00 | 4.00 | 800.00 | 10.00 | 2000.00 | 800.00 | S. N ELECTRICALS
46.11 | 1 & 2 Modular front plates with base frame Similar to ROMA Classic Cat No. 30227WH | 50.00 | No | 10.00 | 50.00 | 2500.00 | 85.00 | 4250.00 | 40.00 | 2000.00 | 41.00 | 2050.00 | 86.00 | 4300.00 | 30.00 | 1500.00 | 44.00 | 2200.00 | 40.00 | 2000.00 | 35.00 | 1750.00 | 1500.00 | SRS ENGINEERS
46.12 | 3 Modular front plates with base frame Similar to ROMA Classic Cat No.30238WH | 100.00 | No | 10.00 | 60.00 | 6000.00 | 135.00 | 13500.00 | 80.00 | 8000.00 | 54.00 | 5400.00 | 90.00 | 9000.00 | 45.00 | 4500.00 | 56.00 | 5600.00 | 50.00 | 5000.00 | 55.00 | 5500.00 | 4500.00 | SRS ENGINEERS
46.13 | 4 Modular front plates with base frame Similar to ROMA Classic Cat No.30249WH | 50.00 | No | 10.00 | 70.00 | 3500.00 | 165.00 | 8250.00 | 90.00 | 4500.00 | 63.00 | 3150.00 | 100.00 | 5000.00 | 50.00 | 2500.00 | 65.00 | 3250.00 | 60.00 | 3000.00 | 55.00 | 2750.00 | 2500.00 | SRS ENGINEERS
46.14 | 6 Modular front plates with base frame Similar to ROMA Classic Cat No.30250WH | 300.00 | No | 10.00 | 80.00 | 24000.00 | 250.00 | 75000.00 | 120.00 | 36000.00 | 86.00 | 25800.00 | 155.00 | 46500.00 | 70.00 | 21000.00 | 91.00 | 27300.00 | 86.00 | 25800.00 | 55.00 | 16500.00 | 16500.00 | JCC ENGINEERS PRIVATE LIMITED
46.15 | 8 Modular front plates with base frame Similar to ROMA Classic Cat No.30284WH | 50.00 | No | 10.00 | 100.00 | 5000.00 | 450.00 | 22500.00 | 140.00 | 7000.00 | 110.00 | 5500.00 | 150.00 | 7500.00 | 90.00 | 4500.00 | 117.00 | 5850.00 | 111.00 | 5550.00 | 70.00 | 3500.00 | 3500.00 | JCC ENGINEERS PRIVATE LIMITED
46.16 | 1 & 2 Modular Surface mounting Plastic Box modular base frame and cover Similar to Crabtree Classic Cat No. ACNXMIZ 01 | 100.00 | No | 10.00 | 125.00 | 12500.00 | 110.00 | 11000.00 | 60.00 | 6000.00 | 25.00 | 2500.00 | 60.00 | 6000.00 | 150.00 | 15000.00 | 43.00 | 4300.00 | 36.00 | 3600.00 | 35.00 | 3500.00 | 2500.00 | R. D. ENGINEERS
46.17 | 3 Modular Surface mounting Plastic Box modular base frame and cover Similar to Crabtree Classic Cat No. ACNXMIZ 03 | 200.00 | No | 10.00 | 140.00 | 28000.00 | 135.00 | 27000.00 | 90.00 | 18000.00 | 40.00 | 8000.00 | 125.00 | 25000.00 | 200.00 | 40000.00 | 53.00 | 10600.00 | 45.00 | 9000.00 | 35.00 | 7000.00 | 7000.00 | JCC ENGINEERS PRIVATE LIMITED
46.18 | 6 Modular Surface mounting Plastic Box modular base frame and cover Similar to Crabtree Classic Cat No. ACNXMIZ 06 | 300.00 | No | 10.00 | 250.00 | 75000.00 | 210.00 | 63000.00 | 180.00 | 54000.00 | 75.00 | 22500.00 | 145.00 | 43500.00 | 250.00 | 75000.00 | 77.00 | 23100.00 | 65.00 | 19500.00 | 55.00 | 16500.00 | 16500.00 | JCC ENGINEERS PRIVATE LIMITED
46.19 | 20A Mini Moduler MCB SP Similar to ROMA Classic Cat No.98072 | 50.00 | No | 10.00 | 140.00 | 7000.00 | 250.00 | 12500.00 | 60.00 | 3000.00 | 140.00 | 7000.00 | 2210.00 | 110500.00 | 130.00 | 6500.00 | 118.00 | 5900.00 | 110.00 | 5500.00 | 95.00 | 4750.00 | 3000.00 | Manish Electricals
46.20 | 25A Mini Moduler MCB SP Similar to ROMA Classic Cat No.98073 | 50.00 | No | 10.00 | 140.00 | 7000.00 | 300.00 | 15000.00 | 80.00 | 4000.00 | 140.00 | 7000.00 | 210.00 | 10500.00 | 130.00 | 6500.00 | 118.00 | 5900.00 | 110.00 | 5500.00 | 95.00 | 4750.00 | 4000.00 | Manish Electricals
46.21 | 32A Mini Moduler MCB SP Similar to ROMA Classic Cat No.98074 | 50.00 | No | 10.00 | 140.00 | 7000.00 | 350.00 | 17500.00 | 90.00 | 4500.00 | 140.00 | 7000.00 | 210.00 | 10500.00 | 145.00 | 7250.00 | 118.00 | 5900.00 | 110.00 | 5500.00 | 95.00 | 4750.00 | 4500.00 | Manish Electricals
46.22 | 100 Watt 240 V, AC 50 Hz. Fan Step Regulator Single modular, Similar to ROMA Classic Cat No 22546 | 100.00 | No | 10.00 | 180.00 | 18000.00 | 250.00 | 25000.00 | 180.00 | 18000.00 | 143.00 | 14300.00 | 300.00 | 30000.00 | 180.00 | 18000.00 | 156.00 | 15600.00 | 150.00 | 15000.00 | 155.00 | 15500.00 | 14300.00 | R. D. ENGINEERS
46.23 | 100 Watt 240 V, AC 50 Hz. Fan Step Reglator two modular, Similar to ROMA Classic Cat No 21496 | 100.00 | No | 10.00 | 210.00 | 21000.00 | 300.00 | 30000.00 | 180.00 | 18000.00 | 200.00 | 20000.00 | 350.00 | 35000.00 | 220.00 | 22000.00 | 218.00 | 21800.00 | 209.00 | 20900.00 | 185.00 | 18500.00 | 18000.00 | Manish Electricals
46.24 | Modular box with 25 Amp.mini Modular MCB plasitc Encloser and 25 Amp Top Similar to ROMA Classic Cat No.98484 | 50.00 | No | 10.00 | 380.00 | 19000.00 | 450.00 | 22500.00 | 140.00 | 7000.00 | 400.00 | 20000.00 | 50.00 | 2500.00 | 350.00 | 17500.00 | 421.00 | 21050.00 | 398.00 | 19900.00 | 355.00 | 17750.00 | 2500.00 | royal electrical co
46.25 | 3 Pin Plug top 5/6A, ISI marked (Crabtree Cat no.: ACAGXXW063 or similar Anchor /Havells/ GM) | 150.00 | each | 10.00 | 45.00 | 6750.00 | 95.00 | 14250.00 | 35.00 | 5250.00 | 39.00 | 5850.00 | 70.00 | 10500.00 | 40.00 | 6000.00 | 99.00 | 14850.00 | 38.00 | 5700.00 | 55.00 | 8250.00 | 5250.00 | Manish Electricals
46.26 | 3 pin Plug top 15/16A, ISI marked(Crabtree Cat no. ACAGXXW163 or similar Anchor /Havells/ GM) | 200.00 | each | 10.00 | 50.00 | 10000.00 | 150.00 | 30000.00 | 60.00 | 12000.00 | 48.00 | 9600.00 | 115.00 | 23000.00 | 55.00 | 11000.00 | 138.00 | 27600.00 | 48.00 | 9600.00 | 55.00 | 11000.00 | 9600.00 | R. D. ENGINEERS, S. N ELECTRICALS
46.27 | 3 pin Plug top 25A, ISI marked(Crabtree Cat no. ACAGXXW253 or similar Anchor /Havells/ GM) | 200.00 | each | 10.00 | 80.00 | 16000.00 | 185.00 | 37000.00 | 90.00 | 18000.00 | 120.00 | 24000.00 | 115.00 | 23000.00 | 65.00 | 13000.00 | 155.00 | 31000.00 | 84.00 | 16800.00 | 85.00 | 17000.00 | 13000.00 | SRS ENGINEERS
46.28 | Universal Multiplug Adaptor 10A | 100.00 | each | 10.00 | 45.00 | 4500.00 | 185.00 | 18500.00 | 90.00 | 9000.00 | 100.00 | 10000.00 | 625.00 | 62500.00 | 70.00 | 7000.00 | 130.00 | 13000.00 | 80.00 | 8000.00 | 95.00 | 9500.00 | 4500.00 | ANAND AND COMPANTY
47.00 | Electronic wireless Remote Bell (electrical socket powered) with One No. Remote Switch and LED indicator (Make:- Orient model 45WA000409 or equivalent). | 300.00 | No | 10.00 | 400.00 | 120000.00 | 300.00 | 90000.00 | 180.00 | 54000.00 | 400.00 | 120000.00 | 320.00 | 96000.00 | 450.00 | 135000.00 | 250.00 | 75000.00 | 660.00 | 198000.00 | 315.00 | 94500.00 | 54000.00 | Manish Electricals
48.00 | Electronic wireless Digital Remote Bell (battery powered) with One No. Remote Switch and LED indicator with 150 mtr operating range (Make:- Orient model 45WA000410 or equivalent). | 200.00 | No | 10.00 | 500.00 | 100000.00 | 350.00 | 70000.00 | 220.00 | 44000.00 | 500.00 | 100000.00 | 320.00 | 64000.00 | 525.00 | 105000.00 | 250.00 | 50000.00 | 820.00 | 164000.00 | 555.00 | 111000.00 | 44000.00 | Manish Electricals
49.00 | 20 Amp 2 pin Metal industrial plug top (Make: CRS or equivalent) | 20.00 | each | 10.00 | 110.00 | 2200.00 | 250.00 | 5000.00 | 240.00 | 4800.00 | 90.00 | 1800.00 | 90.00 | 1800.00 | 85.00 | 1700.00 | 150.00 | 3000.00 | 45.00 | 900.00 | 85.00 | 1700.00 | 900.00 | S. N ELECTRICALS
50.00 | 20 Amp 2 pin Metal industrial Socket(Make: CRS or equivalent) | 20.00 | each | 10.00 | 130.00 | 2600.00 | 200.00 | 4000.00 | 240.00 | 4800.00 | 90.00 | 1800.00 | 90.00 | 1800.00 | 110.00 | 2200.00 | 150.00 | 3000.00 | 45.00 | 900.00 | 85.00 | 1700.00 | 900.00 | S. N ELECTRICALS
51.00 | 20 amp. Indusrial AC Plug & Socket, SP&N enclosure with 2 pole and Earh Metal Plug & Socket for incorporating 20 A SPN/DP MCB | 20.00 | each | 10.00 | 650.00 | 13000.00 | 350.00 | 7000.00 | 900.00 | 18000.00 | 720.00 | 14400.00 | 210.00 | 4200.00 | 450.00 | 9000.00 | 1400.00 | 28000.00 | 750.00 | 15000.00 | 385.00 | 7700.00 | 4200.00 | royal electrical co
52.00 | 30 amp. Indusrial AC Plug & Socket, TP&N enclosure with 3 pole and Earh Metal Plug & Socket for incorporating TPN MCB | 10.00 | each | 10.00 | 900.00 | 9000.00 | 300.00 | 3000.00 | 1500.00 | 15000.00 | 2400.00 | 24000.00 | 425.00 | 4250.00 | 600.00 | 6000.00 | 1600.00 | 16000.00 | 750.00 | 7500.00 | 1155.00 | 11550.00 | 3000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
53.00 | 16 Amp. Single phase (2P+E) Straight Plugs IP 66/67 | 10.00 | each | 10.00 | 200.00 | 2000.00 | 100.00 | 1000.00 | 480.00 | 4800.00 | 1200.00 | 12000.00 | 100.00 | 1000.00 | 165.00 | 1650.00 | 400.00 | 4000.00 | 75.00 | 750.00 | 155.00 | 1550.00 | 750.00 | S. N ELECTRICALS
54.00 | 32 Amp. Single phase (2P+E) Straight Plugs IP 66/67 | 20.00 | each | 10.00 | 350.00 | 7000.00 | 150.00 | 3000.00 | 550.00 | 11000.00 | 3600.00 | 72000.00 | 100.00 | 2000.00 | 200.00 | 4000.00 | 500.00 | 10000.00 | 75.00 | 1500.00 | 255.00 | 5100.00 | 1500.00 | S. N ELECTRICALS
55.00 | 16 Amp. Three phase (3P+N+E) Straight Plugs IP 66/67 | 10.00 | each | 10.00 | 700.00 | 7000.00 | 140.00 | 1400.00 | 850.00 | 8500.00 | 3600.00 | 36000.00 | 223.00 | 2230.00 | 600.00 | 6000.00 | 500.00 | 5000.00 | 75.00 | 750.00 | 185.00 | 1850.00 | 750.00 | S. N ELECTRICALS
56.00 | 32 Amp. Three phase (3P+N+E) Straight Plugs IP 66/67 | 20.00 | each | 10.00 | 800.00 | 16000.00 | 200.00 | 4000.00 | 1050.00 | 21000.00 | 4200.00 | 84000.00 | 223.00 | 4460.00 | 800.00 | 16000.00 | 550.00 | 11000.00 | 75.00 | 1500.00 | 255.00 | 5100.00 | 1500.00 | S. N ELECTRICALS
57.00 | 16 Amp. Single phase (2P+E) Combined unit with interlocked switched sockets and surface mounting box IP 66/67 with DIN rail for 5 module protection. | 10.00 | each | 10.00 | 1800.00 | 18000.00 | 400.00 | 4000.00 | 900.00 | 9000.00 | 1001.00 | 10010.00 | 135.00 | 1350.00 | 1400.00 | 14000.00 | 700.00 | 7000.00 | 75.00 | 750.00 | 1955.00 | 19550.00 | 750.00 | S. N ELECTRICALS
58.00 | 32 Amp. Single phase (2P+E) Combined unit with interlocked switched sockets and surface mounting box IP 66/67 with DIN rail for 5 module protection. | 20.00 | each | 10.00 | 2500.00 | 50000.00 | 450.00 | 9000.00 | 1200.00 | 24000.00 | 2000.00 | 40000.00 | 135.00 | 2700.00 | 1700.00 | 34000.00 | 900.00 | 18000.00 | 75.00 | 1500.00 | 2555.00 | 51100.00 | 1500.00 | S. N ELECTRICALS
59.00 | 16 Amp. Three phase (3P+N+E) Combined unit with interlocked switched sockets and surface mounting box IP 66/67 with DIN rail for 5 module protection. | 10.00 | each | 10.00 | 2500.00 | 25000.00 | 550.00 | 5500.00 | 1800.00 | 18000.00 | 1000.00 | 10000.00 | 155.00 | 1550.00 | 2100.00 | 21000.00 | 1000.00 | 10000.00 | 75.00 | 750.00 | 2755.00 | 27550.00 | 750.00 | S. N ELECTRICALS
60.00 | 32 Amp. Three phase (3P+N+E) Combined unit with interlocked switched sockets and surface mounting box IP 66/67 with DIN rail for 5 module protection. | 20.00 | each | 10.00 | 2800.00 | 56000.00 | 650.00 | 13000.00 | 1800.00 | 36000.00 | 1000.00 | 20000.00 | 155.00 | 3100.00 | 2400.00 | 48000.00 | 1100.00 | 22000.00 | 75.00 | 1500.00 | 3555.00 | 71100.00 | 1500.00 | S. N ELECTRICALS
61.00 | Pencil Cell AA size (Make: Duracell, 10 times longer lasting power) | 500.00 | No. | 10.00 | 25.00 | 12500.00 | 10.00 | 5000.00 | 10.00 | 5000.00 | 40.00 | 20000.00 | 20.00 | 10000.00 | 10.00 | 5000.00 | 40.00 | 20000.00 | 34.00 | 17000.00 | 55.00 | 27500.00 | 5000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES, Manish Electricals, SRS ENGINEERS
62.00 | Pencil Cell AAA size (Make: Duracell, 10 times longer lasting power) | 500.00 | No. | 10.00 | 25.00 | 12500.00 | 10.00 | 5000.00 | 15.00 | 7500.00 | 40.00 | 20000.00 | 20.00 | 10000.00 | 10.00 | 5000.00 | 45.00 | 22500.00 | 26.00 | 13000.00 | 35.00 | 17500.00 | 5000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES, SRS ENGINEERS
63.00 | Heavy Duty Battery, 9V (Make: Duracell) | 100.00 | No. | 10.00 | 75.00 | 7500.00 | 25.00 | 2500.00 | 35.00 | 3500.00 | 240.00 | 24000.00 | 25.00 | 2500.00 | 65.00 | 6500.00 | 270.00 | 27000.00 | 95.00 | 9500.00 | 155.00 | 15500.00 | 2500.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES, royal electrical co
64.00 | GP Heavy Duty Battery, 12V, 23A | 100.00 | No. | 10.00 | 175.00 | 17500.00 | 250.00 | 25000.00 | 4500.00 | 450000.00 | 120.00 | 12000.00 | 350.00 | 35000.00 | 30.00 | 3000.00 | 230.00 | 23000.00 | 100.00 | 10000.00 | 45.00 | 4500.00 | 3000.00 | SRS ENGINEERS
65.00 | 15/16 amp. Power Strip 4 socket without shutter with one switch with 5 meter cord and fuse in metal body. (Make Hylex or equivalent.) | 500.00 | No | 10.00 | 500.00 | 250000.00 | 600.00 | 300000.00 | 650.00 | 325000.00 | 300.00 | 150000.00 | 450.00 | 225000.00 | 275.00 | 137500.00 | 500.00 | 250000.00 | 550.00 | 275000.00 | 385.00 | 192500.00 | 137500.00 | SRS ENGINEERS
66.00 | 5/6 amp. Power Strip 4 socket without shutter with one switch with 5 meter cord and fuse in matel body (Make: Hylex or equivalent.) | 500.00 | No | 10.00 | 400.00 | 200000.00 | 500.00 | 250000.00 | 350.00 | 175000.00 | 200.00 | 100000.00 | 450.00 | 225000.00 | 200.00 | 100000.00 | 350.00 | 175000.00 | 450.00 | 225000.00 | 255.00 | 127500.00 | 100000.00 | R. D. ENGINEERS, SRS ENGINEERS
67.00 | 2.5 mm Heat proof wire | 200.00 | mtr | 10.00 | 25.00 | 5000.00 | 125.00 | 25000.00 | 60.00 | 12000.00 | 400.00 | 80000.00 | 15.00 | 3000.00 | 12.00 | 2400.00 | 30.00 | 6000.00 | 65.00 | 13000.00 | 45.00 | 9000.00 | 2400.00 | SRS ENGINEERS
68.00 | 18W LED Bulb with B22 Base holder. (Refer Annexure-D at SCC Page No. 23 and 24 for quoting the rate) | 50.00 | each | 10.00 | 150.00 | 7500.00 | 240.00 | 12000.00 | 210.00 | 10500.00 | 280.00 | 14000.00 | 120.00 | 6000.00 | 85.00 | 4250.00 | 160.00 | 8000.00 | 160.00 | 8000.00 | 95.00 | 4750.00 | 4250.00 | SRS ENGINEERS
69.00 | (SH-III DSR ITEM) Execution of works as per CPWD Delhi Schedule of Rate (E&M) 2018 and specification as and when reqd. Percentage above or below on the rates of DSR (E&M) 2018-(CPWD )-Electrical items worth totaling to Rs. 300000.00 as mentioned below. (Note: Rate shall be quoted in the Indian Rupees only payment of DSR item will be released on the basis of percentage calculation of quoted amount and fixed amount of Rs. 300000/- as clarified below: For Example: If desired to quote 5% above on DSR-2018 rates, the rate column shall be filled as Rs.315000/- If desired to quote 5% below on DSR-2018 rates, the rate column shall be filled as Rs.285000/-) (Rates are inclusive of Cess@1% on Rs.3,00,000/-) | 1.00 | JOB | 10.00 | 140000.00 | 140000.00 | 300000.00 | 300000.00 | 240000.00 | 240000.00 | 300000.00 | 300000.00 | 275000.00 | 275000.00 | 300000.00 | 300000.00 | 240000.00 | 240000.00 | 210000.00 | 210000.00 | 250000.00 | 250000.00 | 140000.00 | ANAND AND COMPANTY
| Total in Figures |  |  |  |  | 16043378.32 |  | 21561272.00 |  | 20492468.00 |  | 20000000.00 |  | 19877360.00 |  | 19815413.00 |  | 20238930.00 |  | 18939235.00 |  | 18562290.00
Lowest Amount Quoted BY: ANAND AND COMPANTY(16043378.32)

## BOQ Summary
BOQ Summary Details Tender Title: Providing Maintenance Services for E and M Installations of A and B Block at R.G. Bhawan, New Delhi. (Year 2021-23) Tender ID: 2021_AAI_66298_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ANAND AND COMPANTY | 16043378.32 | L1
| 2 | JCC ENGINEERS PRIVATE LIMITED | 18562290.00 | L2
| 3 | S. N ELECTRICALS | 18939235.00 | L3
| 4 | SRS ENGINEERS | 19815413.00 | L4
| 5 | royal electrical co | 19877360.00 | L5
| 6 | R. D. ENGINEERS | 20000000.00 | L6
| 7 | NATIONAL SAFETY ENGINEERS | 20238930.00 | L7
| 8 | Manish Electricals | 20492468.00 | L8
| 9 | SHRADDHA ENGINEERING AND FACILITY SERVICES | 21561272.00 | L9