## BoQ1
Government eProcurement System Created By: Bijendra Singh Meena Created Date/Time: 03-Feb-2021 01:01 PM Tender Title: Provision of Shifting of CCRs from old CCR hall to new CCR hall at Tezu Airport Tender ID: 2021_AAI_66344_1
Tender Inviting Authority: Sr. Manager (Engg. Elect.), AAI, Dibrugarh Airport.
Name of Work: Provision of Shifting of CCRs from old CCR hall to new CCR hall at Tezu Airport.
Contract No: AAI/TEZU/ENGG(E)/ NIT-02/2020-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | jaydeep agency corporation(GSTN-24ACIPP6157B1ZQ) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of Al. conductor XLPE insulated (Inner sheath extruded) PVC sheathed galvanised steel strip armoured anti termite and anti rodent treated UG cable suitable for 5 KV grade conforming to IS 7098 (Part-2) as amended upto date and as specified in particular specifications of size 2x25 sqmm. | 4000.00 | Mtrs | 100.00 | 289.00 | 1156000.00 | 255.00 | 1020000.00 | 325.00 | 1300000.00 | 1020000.00 | Techno Electricals
2.00 | Supply of 1.1 kV Al. conductor XLPE insulated PVC sheathed armoured cable conforming to IS 7098 as amended upto date and as specified in particular specifications of sizes 3.5C X 240 Sqmm | 1500.00 | Mtrs | 100.00 | 1151.00 | 1726500.00 | 780.00 | 1170000.00 | 890.00 | 1335000.00 | 1170000.00 | Techno Electricals
3.00 | Supply of 1.1 kV Al. conductor XLPE insulated PVC sheathed armoured cable conforming to IS 7098 as amended upto date and as specified in particular specifications of sizes 3.5C X 400 Sqmm | 1500.00 | Mtrs | 100.00 | 1767.00 | 2650500.00 | 1207.00 | 1810500.00 | 1360.00 | 2040000.00 | 1810500.00 | Techno Electricals
4.00 | Supply of 1.1 kV Al. conductor XLPE insulated PVC sheathed armoured cable conforming to IS 7098 as amended upto date and as specified in particular specifications of sizes 4 C X10 Sqmm | 2000.00 | Mtrs | 100.00 | 125.00 | 250000.00 | 90.00 | 180000.00 | 98.00 | 196000.00 | 180000.00 | Techno Electricals
5.00 | Supply of 1.1 kV Al. conductor XLPE insulated PVC sheathed armoured cable conforming to IS 7098 as amended upto date and as specified in particular specifications of sizes 3.5 C X 50 Sqmm | 200.00 | Mtrs | 100.00 | 293.00 | 58600.00 | 206.00 | 41200.00 | 245.00 | 49000.00 | 41200.00 | Techno Electricals
6.00 | Supply of 1 x 50 sq.mm XLPE insulated single core multistrand copper conductor flexible cable of 1.1 KV grade. | 100.00 | Mtrs | 100.00 | 736.00 | 73600.00 | 425.00 | 42500.00 | 620.00 | 62000.00 | 42500.00 | Techno Electricals
7.00 | Supply of control cables 10 core x 1.5 sq.mm solid annealed plain copper conductor PVC insulated, extruded PVC inner sheathed, single layer of armoured and over all PVC sheathed 1.1KV grade confirming IS 1554 amended upto date as required. | 200.00 | Mtrs | 100.00 | 241.00 | 48200.00 | 182.00 | 36400.00 | 220.00 | 44000.00 | 36400.00 | Techno Electricals
8.00 | Supplying and laying of size 120 mm dia (OD-120 mm & ID-103 mm nominal) DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (125cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required. | 2700.00 | Mtrs | 100.00 | 177.00 | 477900.00 | 210.00 | 567000.00 | 280.00 | 756000.00 | 477900.00 | jaydeep agency corporation
9.00 | Supplying and laying of size 63 mm dia (OD-63 mm & ID-51 mm nominal) DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (125cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required. | 10000.00 | Mtrs | 100.00 | 65.00 | 650000.00 | 162.00 | 1620000.00 | 195.00 | 1950000.00 | 650000.00 | jaydeep agency corporation
10.00 | Supplying and making end termination with brass compression gland and aluminium lugs for size 2 X 25 sq. mm of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 20.00 | Set | 100.00 | 150.00 | 3000.00 | 250.00 | 5000.00 | 200.00 | 4000.00 | 3000.00 | jaydeep agency corporation
11.00 | Supplying and making end termination with brass compression gland and aluminium lugs for size 3.5X 240 sq. mm of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 2.00 | Set | 100.00 | 800.00 | 1600.00 | 700.00 | 1400.00 | 800.00 | 1600.00 | 1400.00 | Techno Electricals
12.00 | Supplying and making end termination with brass compression gland and aluminium lugs for size 3.5X 400 sq. mm of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 2.00 | Set | 100.00 | 1200.00 | 2400.00 | 800.00 | 1600.00 | 1200.00 | 2400.00 | 1600.00 | Techno Electricals
13.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for size 2C X 25 sq. mm of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 5 KV grade as required. | 30.00 | Each | 100.00 | 400.00 | 12000.00 | 1200.00 | 36000.00 | 800.00 | 24000.00 | 12000.00 | jaydeep agency corporation
14.00 | Supplying and making end termination with brass compression gland and aluminium lugs for size 3.5X 50 sq. mm of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 20.00 | Set | 100.00 | 200.00 | 4000.00 | 350.00 | 7000.00 | 350.00 | 7000.00 | 4000.00 | jaydeep agency corporation
15.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for size 3.5C X 240 sq. mm of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 5.00 | Each | 100.00 | 4800.00 | 24000.00 | 3500.00 | 17500.00 | 3000.00 | 15000.00 | 15000.00 | Manish Electricals
16.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for size 3.5C X 400 sq. mm of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 5.00 | Each | 100.00 | 7800.00 | 39000.00 | 4000.00 | 20000.00 | 4000.00 | 20000.00 | 20000.00 | Techno Electricals, Manish Electricals
17.00 | Providing and fixing 6 SWG dia G.I. wire on ground, surface or in recess for loop earthing along with existing ground/suface/ recessed conduit/ submain wiring/ cable as required | 14500.00 | Mtrs | 100.00 | 28.00 | 406000.00 | 20.00 | 290000.00 | 25.00 | 362500.00 | 290000.00 | Techno Electricals
18.00 | Earthing with copper earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 10.00 | Set | 100.00 | 9800.00 | 98000.00 | 12500.00 | 125000.00 | 16500.00 | 165000.00 | 98000.00 | jaydeep agency corporation
19.00 | Providing and fixing 25 mm X 5 mm copper strip in 40 mm dia G.I. pipe from earth electrode including connection with brass nut, bolt, spring, washer excavation and re-filling etc. as required. | 200.00 | Mtrs | 100.00 | 1250.00 | 250000.00 | 1000.00 | 200000.00 | 950.00 | 190000.00 | 190000.00 | Manish Electricals
20.00 | Dismantling, shifting & reinstallation of 4 KW CCR from existing CCR room to new CCR room including carriage, disconnection all power & control cable (incoming & outgoing), earthing etc and safely placing of 4 KW CCR at required place in new CCR Room including connection of power & control cables (incoming and outgoings), earthing connections and successful commissioning of the CCR complete as required as per satisfaction of Engineer-in-charge | 2.00 | Job | 100.00 | 16500.00 | 33000.00 | 4000.00 | 8000.00 | 10000.00 | 20000.00 | 8000.00 | Techno Electricals
21.00 | Dismantling, shifting & reinstallation of 7.5 KW CCR from existing CCR room to new CCR room including carriage, disconnection all power & control cable (incoming & outgoing), earthing etc and safely placing of 7.5KW CCR at required place in new CCR Room including connection of power & control cables (incoming and outgoings), earthing connections and successful commissioning of the CCR complete as required as per satisfaction of Engineer-in-charge | 4.00 | Job | 100.00 | 18500.00 | 74000.00 | 5000.00 | 20000.00 | 10000.00 | 40000.00 | 20000.00 | Techno Electricals
22.00 | Dismantling, shifting & reinstallation of 30 KW CCR from existing CCR room to new CCR room including carriage, disconnection all power & control cable (incoming & outgoing), earthing etc and safely placing of 30 KW CCR at required place in new CCR Room including connection of power & control cables (incoming and outgoings), earthing connections and successful commissioning of the CCR complete as required as per satisfaction of Engineer-in-charge | 3.00 | Job | 100.00 | 25500.00 | 76500.00 | 6000.00 | 18000.00 | 10000.00 | 30000.00 | 18000.00 | Techno Electricals
23.00 | Dismantling, shifting & reinstallation of mimic backup indication panel for visual lighting aids from existing CCR room to new CCR room including carriage, disconnection all power & control cable (incoming & outgoing), earthing etc and safely placing of mimic backup indication panel for visual lighting aids at required place in new CCR Room including connection of power & control cables (incoming and outgoings), earthing connections and successful commissioning of the same complete as required as per satisfaction of Engineer-in-charge | 1.00 | Job | 100.00 | 90000.00 | 90000.00 | 15000.00 | 15000.00 | 15000.00 | 15000.00 | 15000.00 | Techno Electricals, Manish Electricals
24.00 | Dismantling, shifting & reinstallation of 3 Phase input 3 Phase output PWM IGBT based 60 KVA UPS from existing CCR room to new CCR room including carriage, disconnection all power & control cable (incoming & outgoing), earthing etc and safely placing of 3 Phase input 3 Phase output PWM IGBT based 60 KVA UPS at required place in new CCR Room including connection of power & control cables (incoming and outgoings), earthing connections and successful commissioning of the same complete as required as per satisfaction of Engineer-in-charge | 2.00 | Job | 100.00 | 48700.00 | 97400.00 | 12500.00 | 25000.00 | 30000.00 | 60000.00 | 25000.00 | Techno Electricals
25.00 | Dismantling, shifting & reinstallation of 415 V 3 phase, 4 wire 50 Hz AC supply floor mounted,free standing cubicle type L T panel from existing CCR room to new CCR room including carriage, disconnection all power & control cable (incoming & outgoing), earthing etc and safely placing of 415 V 3 phase, 4 wire 50 Hz AC supply floor mounted,free standing cubicle type L T panel at required place in new CCR Room including connection of power & control cables (incoming and outgoings), earthing connections and successful commissioning of the same complete as required as per satisfaction of Engineer-in-charge | 1.00 | Job | 100.00 | 25000.00 | 25000.00 | 15000.00 | 15000.00 | 25000.00 | 25000.00 | 15000.00 | Techno Electricals
26.00 | Dismantling, shifting & reinstallation of battery stand of 12 V, 120 AH 80 Nos dry type batteries & transient type volage surge suppressor from existing CCR room to new CCR room including carriage, disconnection all power & control cable (incoming & outgoing), earthing etc and safely placing of battery stand of 12 V, 120 AH 80 Nos dry type batteries & transient type volage surge suppressor at required place in new CCR Room including connection of power & control cables (incoming and outgoings), earthing connections and successful commissioning of the same complete as required as per satisfaction of Engineer-in-charge | 1.00 | Job | 100.00 | 30800.00 | 30800.00 | 12000.00 | 12000.00 | 20000.00 | 20000.00 | 12000.00 | Techno Electricals
27.00 | Dismantling, shifting & reinstallation of remote control desk with mimic display for visual lighting aids from existing ATC tower to new ATC Tower including carriage, disconnection all power & control cable (incoming & outgoing), earthing etc and safely placing of remote control desk with mimic display for visual lighting aids at required place in new ATC Tower including connection of power & control cables (incoming and outgoings), earthing connections and successful commissioning of the same complete as required as per satisfaction of Engineer-in-charge | 1.00 | Job | 100.00 | 57000.00 | 57000.00 | 12500.00 | 12500.00 | 25000.00 | 25000.00 | 12500.00 | Techno Electricals
28.00 | Supply & Laying of 63 mm HDPE with HDD trenchless method direct in ground upto 2 mtrs in all type soil including suitable size PP rope coupling of pipe, etc. Complete in all respect as per specification. (HDPE Pipe is not inclusive) | 400.00 | Mtrs | 100.00 | 550.00 | 220000.00 | 1500.00 | 600000.00 | 1800.00 | 720000.00 | 220000.00 | jaydeep agency corporation
29.00 | Supply & Laying of 120 mm HDPE with HDD trenchless method direct in ground in all type soil including suitable size PP rope coupling of pipe, etc. Complete in all respect as per specification. | 100.00 | Mtrs | 100.00 | 950.00 | 95000.00 | 2500.00 | 250000.00 | 3500.00 | 350000.00 | 95000.00 | jaydeep agency corporation
30.00 | Laying of one number XLPE insulated and PVC sheathed / XLPE power cable of 1.1 KV grade Above 35 sq. mm and upto 95 sq. mm in the existing RCC/ HUME/ METAL/HDPE/DWC pipe as required | 1000.00 | Mtrs | 100.00 | 40.00 | 40000.00 | 30.00 | 30000.00 | 40.00 | 40000.00 | 30000.00 | Techno Electricals
31.00 | Laying of one number XLPE insulated and PVC sheathed / XLPE power cable of 1.1 KV grade Above 95 sq. mm and upto 185 sq. mm in the existing RCC/ HUME/ METAL/HDPE/DWC pipe as required | 300.00 | Mtrs | 100.00 | 70.00 | 21000.00 | 30.00 | 9000.00 | 60.00 | 18000.00 | 9000.00 | Techno Electricals
| Total in Figures |  |  |  |  | 8791000.00 |  | 8205600.00 |  | 9886500.00
Lowest Amount Quoted BY: Techno Electricals(8205600.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Shifting of CCRs from old CCR hall to new CCR hall at Tezu Airport Tender ID: 2021_AAI_66344_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Techno Electricals | 8205600.00 | L1
| 2 | jaydeep agency corporation | 8791000.00 | L2
| 3 | Manish Electricals | 9886500.00 | L3