## BoQ1
Government eProcurement System Created By: Rajesh Tamrakar Created Date/Time: 02-Mar-2021 03:18 PM Tender Title: CONSTRUCTION OF B TYPE RESIDENTIAL STAFF QUARTERS 128 Nos IN AAI PHHL COLONY AT JUHU AIRPORT SH SITC OF 10 PAX ELEVATORS INCLUDING ACMC FOR 05 FIVE YEARS Tender ID: 2021_AAI_66347_1
Tender Inviting Authority: AAI
Name of work: CONSTRUCTION OF 'B' - TYPE RESIDENTIAL STAFF QUARTERS (128 Nos.) IN AAI-PHHL COLONY AT JUHU AIRPORT. Sub Head: - SITC OF 10 PAX ELEVATORS INCLUDING ACMC FOR 05 (FIVE) YEARS
Contract No: 2020_AAI_66347
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Johnson Lifts Pvt Ltd(GSTN-33AAACJ0838Q1ZD) |  | OMEGA ELEVATORS(GSTN-24ADFPD4986L1Z9)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.10 | Supply, installation, testing & commissioning of following capacity Machine Room electric traction type passenger elevators suitable for following travel height, stops & openings and entrance on all the serving floors, automatic centre / side opening door, car enclosure provided with scratch resistant finish stainless steel and round hairline stainless steel handrail on rear side of car suitable for operation on 415 V, 3 phase, 50 Hz AC supply, having AC variable voltage and variable frequency type traction control, speed of 1.50 Mtr/sec, electromagnetic brake system, Duplex collective selective operations, operating panel with luminous buttons, overload warning indicator, battery operated emergency alarm bell, LED type emergency light, intercom suitable for hook up to AAI’s EPABX system, infrared ray sensing door protection for suitable height, reverse phase relay on controller, fireman’s switch at ground floor, digital car position indicator in car and landing at all floors with pre-announcing indicator UP/DOWN direction, LED type light luminaries, ventilation fan complete with all accessories including automatic rescue device etc. The traction motor of Machine Room (MR) shall be of gearless type and complete as per technical specifications. The elevator shall confirm to the detailed specifications attached. 10 Passenger (minimum) capacity, 680 kg approx. having automatic center / side opening stainless steel doors with glass window (car & landing doors), 27 mtr travel height (Approx), 9 stops & 9 opening ( Stilt + 8 floors) on same side suitable for shaft size of 1900mm x 1900mm. | 8.00 | Job |  | 1476000.00 | 11808000.00 | 1548000.00 | 12384000.00 | 11808000.00 | Johnson Lifts Pvt Ltd
1.20 | All inclusive Comprehensive maintenance of 8 Nos of Eleevators 10 passenger of capacity 680 Kg. approx. MR lift which include routine, preventive and breakdown maintenance for the following period including repair/replacement of worn out items with minimum downtime and warranty & guarantee of repaired/replaced items after completion of one year of defect liability Period ( Guarantee period) 2 rd Year | 12.00 | Month |  | 34440.00 | 413280.00 | 4500.00 | 54000.00 | 54000.00 | OMEGA ELEVATORS
1.30 | 3 rd Year | 12.00 | Month |  | 34440.00 | 413280.00 | 4700.00 | 56400.00 | 56400.00 | OMEGA ELEVATORS
1.40 | 4 th Year | 12.00 | Month |  | 36160.00 | 433920.00 | 5200.00 | 62400.00 | 62400.00 | OMEGA ELEVATORS
1.50 | 5 th Year | 12.00 | Month |  | 36160.00 | 433920.00 | 5700.00 | 68400.00 | 68400.00 | OMEGA ELEVATORS
1.60 | 6 th Year | 12.00 | Month |  | 38328.00 | 459936.00 | 6300.00 | 75600.00 | 75600.00 | OMEGA ELEVATORS
| Total in Figures |  |  |  |  | 13962336.00 |  | 12700800.00
Lowest Amount Quoted BY: OMEGA ELEVATORS(12700800.00)

## BOQ Summary
BOQ Summary Details Tender Title: CONSTRUCTION OF B TYPE RESIDENTIAL STAFF QUARTERS 128 Nos IN AAI PHHL COLONY AT JUHU AIRPORT SH SITC OF 10 PAX ELEVATORS INCLUDING ACMC FOR 05 FIVE YEARS Tender ID: 2021_AAI_66347_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | OMEGA ELEVATORS | 12700800.00 | L1
| 2 | Johnson Lifts Pvt Ltd | 13962336.00 | L2