## BoQ1
Government eProcurement System Created By: rakesh kumar yadav Created Date/Time: 27-Jan-2021 05:54 PM Tender Title: Construction of ASR MSSR Building at Jaipur Airport, Jaipur. SH SITC of DG set, LT Panel, Cable and Associated Electrical works Tender ID: 2021_AAI_66415_1
Tender Inviting Authority: Asstt. Gen. Manager (Engg-E), Jaipur Airport, Airport - 302029
Name of Work: Name of Work: Construction of ASR MSSR Building at Jaipur Airport, Jaipur. SH: SITC of DG set, LT Panel, Cable and Associated Electrical works.
Contract No: 2021_AAI_66415_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | SAHA COMMERCIAL CONSTRUCTION(GSTN-19AASFS6288A1ZN) |  | DOSHI ELECTRIC ENGG. CO.(GSTN-24AAEFD3355K1ZI) |  | EVERCREST PROJECTS PVT LTD(GSTN-24AADCE7826L1ZE) |  | ECS ENGINEERING PVT LTD(GSTN-09AABCE5944P1Z1) |  | Leo Air and Power Solution Pvt Ltd.,(GSTN-07AABCL1931F1ZW) |  | Choubay And Co.(Agencies) Pvt.Ltd.(GSTN-09AAACC6073E1ZT) |  | MEC ENGINEERS(GSTN-09AABFM1296R1ZM) |  | POMERA AND CO LTD(GSTN-06AABCP2062P1Z9) |  | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION(GSTN-09AOTPS2578C1ZC) |  | VIJAYPOWER GENERATORS LIMITED(GSTN-07AAACV0191N1Z4) |  | JCC ENGINEERS PRIVATE LIMITED(GSTN-NA) |  | AT AND T ENGINEERS PVT LTD(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design, Supply, Installing, Testing and Commissioning of Silent Type 180 KVA Diesel Generating set alongwith prime power rating of suitable capacity, 415 Volts at 1500 RPM, 0.8 lagging power factor 50 Hz., 3-Phase system suitable for synchronous operation consisting of the followings : Diesel Engine : Diesel Engine 4 Stroke, electric start of suitable BHP at 1500 RPM suitable for above output of alternator at 40 degree C, 50% RH & at 1000 meter MSL and conforming to BS 5514, BS 649, IS 10000, capable of taking 10% over loading for one hour after 12 hours of continuous operation. The engine will be fitted completed with all the required accessories. Engine mounted Instrument Panel fitted with and having digital display for following : Start-Sop switch with key, Water temperature indication, Lubrication oil pressure indication, Lubrication oil temperature indication, Battery charging indication, RPM indication, Over speed indication, Low Lub.oil trip indication, Engine Hourse indication. Alternator : Synchronous, alternator out put rated at suitable rating, 415 Volts at 1500 RPM, 3-Phase 50 Hz., AC Supply with 0.8 lagging power factor at 40 Degree C, 50% RH & at 1000 Meter MSL. The alternator shall be having SPDP enclosure, brushless, continuous duty, self-excited and self-regulated through AVR conforming to IS: 4772/BS 2613 suitable for tropical conditions and with class-F/H insulation.
1.10 | Base Frame & Foundation : Both the engine and alternator shall be mounted on suitable base frame made of MS channel with necessary reinforcement which shall be installed on suitable cement concrete foundation and vibration isolation arrangement as per recommendations of manufacturer. Fuel Tank : Daily Service Fuel tank of 990 liters capacity fabricated out of 3 mm thick M.S. sheet complete with all standard accessories and fuel piping between fuel tank and diesel engine with MS class 'C' pipes of suitable dia. Complete with valves, level indications and accessories as required as per specifications. The tank is to be separtly fabricated apart from the inbuilt tank of DG set. Exhaust System : Dry exhaust mainfold with hospital exhaust silencer and catalytic convertor with structure for MS support for exhaust piping including rope wrapping insulation and aluminium clading as required. Starting System : 12V/24V DC starting system comprising of starter motors: Voltage regulator and arrangement for initial excitation complete with suitable nos. of batteries (25 plates, 180 amp. Hour capacity lead acid type or as per the OEM standard) as required as per specifications. Accoustic and weather proof enclosure with arrangement for fresh air intake for cooling of the engine and alternator, extraction, discharging hot air into the atmosphere as per specifications. | 2.00 | Set | 100.00 | 1243500.00 | 2487000.00 | 1225000.00 | 2450000.00 | 1400000.00 | 2800000.00 | 1461925.00 | 2923850.00 | 1140000.00 | 2280000.00 | 1109750.00 | 2219500.00 | 1400000.00 | 2800000.00 | 1415000.00 | 2830000.00 | 1342000.00 | 2684000.00 | 1400000.00 | 2800000.00 | 1439000.00 | 2878000.00 | 1250000.00 | 2500000.00 | 1449825.00 | 2899650.00 | 2219500.00 | Leo Air and Power Solution Pvt Ltd.,
2.00 | Supplying, installation, testing and commissioning of Synchronisation cum Essential LT distribution Panel (TTA) suitable for 415V, 3-Phase, 4-Wire, 50 Hz., AC supply system fabricated in cubical type compartmentalized CRCA sheet steel of 2 mm thick for frame work and 3 mm thick for gland plated i/c. cleaning and finishing complete with powder coating in approved shade, having 600 Amp. capacity extensible type 4- pole Aluminium alloy bus-bars of high conductivity, DMC/SMC bus bar supports with short circuit withstand capacity of 31 MVA for 1 Sec., bottom base channel of MS section not less than 100 mmx50mmx5 mm thick, fabrication shall be done in transportable sections, entire panel shall have a common GI earth bar of size 50 mmx5mm at the rear with 2 nos. earth stud, solid connections from main bus bar to switch gears with required size of Alu. busbars and control wiring with 2.5 sq.mm. FRLS PVC insulated copper conductor, cable alleys, cable gland plates in two half i/c. providing following switch gears :-
2.10 | Incoming : (i) 4 Nos. 630 Amps, Four pole horizontal drawout type Air Circuit Breaker(ACB)of fault breaking capacity 50 KA (Ics=100%Icu=Icw(1sec.)) EDO, fitted with interlocked, Electrically and mechanically ON/OFF and service/test/isolated position indicators and frame earthing contact, conforming to IS:13947-2; 1993 as amended upto date complete with following accessories for each ACB. (2 Nos DG + 2Nos from power House) (ii) Independent electrical and mechanical spring closing mechanism - 4 Nos. (iii) Microprocessor release for over current, earth fault & short circuit protection with display- 4 Set. Under voltage release - 4 set (iv) Digital Multifunction meter with RS 485 port - 4 set (v) 96 mm square flush pattern digital type voltmeter (0-500 V) with selector switch & backup HRC fuses/MCBs-4 Set. (vi) 96 mm square flush pattern digital type Ammeter (0-600 A) with selector switch & one set of 3 Nos. CTs of ratio 600 /5A Class-I accuracy & 15 VA burden-4 Set. (vii) 6 Nos. Phase indication LED Lamps with 2 Amp. Back up MCBe, breaker, including ON, OFF indications (4 Set). Bus coupler : (i) 630 Amps, Four pole horizontal drawout type air circuit breaker of fault breaking capacity 50 KA (Ics=100%Icu=Icw(1sec.)) EDO, fitted with interlocked, Electrically and mechanically ON/OFF and service/test/isolated position indicators and frame earthing contact, conforming to IS:13947-2; 1993 as amended upto date complete with following accessories for each ACB. (ii) Independent electrical and mechanical spring closing mechanism . (iii) Breaker 'ON' LED indicating light with back up 2 A MCBs | 1.00 | Job | 10.00 | 2285000.00 | 2285000.00 | 2000000.00 | 2000000.00 | 2700000.00 | 2700000.00 | 1912000.00 | 1912000.00 | 1876000.00 | 1876000.00 | 2044125.00 | 2044125.00 | 2600000.00 | 2600000.00 | 1780000.00 | 1780000.00 | 2017000.00 | 2017000.00 | 1600000.00 | 1600000.00 | 2100000.00 | 2100000.00 | 2200000.00 | 2200000.00 | 1480584.00 | 1480584.00 | 1480584.00 | AT AND T ENGINEERS PVT LTD
2.20 | Bus-Bars : 4-Pole Aluminium bus bars of minimum of 600 Amps. Capacity with heat shrinkable coloured sleeves & i/c. DMC /SMC bus bars supports at required intervals complete for cross section, size supports and their spacing etc. for with standing fault level of 31 MVA for 1-Sec. Synchronization PLC : Complete PLC based auto synchronising system for DG sets supply including all accessories for manual and auto mode individually -1 set Outgoings : 125 Amp., 4 Pole, MCCB having variable current settings (Ics=100%Icu, 25 kA), Microprocessor Release for over current, short circuit current with indications, spreader links and extendable ON/OFF rotary handle - 3 Nos. 63 Amp., 4 Pole, MCCB having variable current settings (Ics=100%Icu, 25 kA), Microprocessor Release for over current, short circuit current with indications, spreader links and extendable ON/OFF rotary handle - 11 Nos. 40 Amp., 4 Pole, MCCB having variable current settings (Ics=100%Icu, 25 kA), Microprocessor Release for over current, short circuit current with indications, spreader links and extendable ON/OFF rotary handle - 9 Nos Three pahse durge protection device (SPD) having nominal discharge 100 kA (8/20 μs) maximum discharge current 15 kA (10/350 μs), peak 150 kA (8/20 μs) lightning impluse value current 40 kA (10/350 μs) with protection level of 1.9 kV - 2 Nos.
3.00 | Supply of 3.5 x 300 sqmm size 1.1 KV grade XLPE insulated PVC sheathed armoured aluminium conductor power cable confirming to IS 7098 (part-1) 1988 amended upto date complete as required. | 3500.00 | Meter | 10.00 | 980.00 | 3430000.00 | 925.00 | 3237500.00 | 850.00 | 2975000.00 | 785.00 | 2747500.00 | 958.00 | 3353000.00 | 950.00 | 3325000.00 | 1000.00 | 3500000.00 | 930.00 | 3255000.00 | 1000.00 | 3500000.00 | 1000.00 | 3500000.00 | 933.00 | 3265500.00 | 1100.00 | 3850000.00 | 950.00 | 3325000.00 | 2747500.00 | EVERCREST PROJECTS PVT LTD
4.00 | Supply of 4 x 16 sqmm size 1.1 KV grade XLPE insulated PVC sheathed armoured copper conductor power cable confirming to IS 7098 (part-1) 1988 amended upto date complete as required. | 100.00 | Meter | 10.00 | 550.00 | 55000.00 | 115.00 | 11500.00 | 120.00 | 12000.00 | 440.00 | 44000.00 | 518.00 | 51800.00 | 570.00 | 57000.00 | 120.00 | 12000.00 | 500.00 | 50000.00 | 577.00 | 57700.00 | 106.00 | 10600.00 | 87.00 | 8700.00 | 600.00 | 60000.00 | 602.00 | 60200.00 | 8700.00 | VIJAYPOWER GENERATORS LIMITED
5.00 | Fabricating and installing 375 mm width x 50 mm depth x 2.0 mm thickness size of perforated M.S. Cable trays including horizontal and vertical bends, reducers, tees, cross members and other accessories as required. and duly suspended from the ciling with M.S. suspenders, including painting etc. as required. | 20.00 | Meter | 10.00 | 1100.00 | 22000.00 | 550.00 | 11000.00 | 800.00 | 16000.00 | 929.00 | 18580.00 | 750.00 | 15000.00 | 580.00 | 11600.00 | 850.00 | 17000.00 | 715.00 | 14300.00 | 1000.00 | 20000.00 | 5200.00 | 104000.00 | 800.00 | 16000.00 | 1000.00 | 20000.00 | 687.00 | 13740.00 | 11000.00 | SAHA COMMERCIAL CONSTRUCTION
6.00 | Supply and making End Termination with brass compression gland and aluminium lugs for 3.5 X 300 sq.mm. sizes of PVC insulated and PVC sheathed / XLPE aluminium conductor code of 1.1 KV grade as required. | 12.00 | Set | 10.00 | 900.00 | 10800.00 | 950.00 | 11400.00 | 700.00 | 8400.00 | 2151.00 | 25812.00 | 1260.00 | 15120.00 | 750.00 | 9000.00 | 800.00 | 9600.00 | 2000.00 | 24000.00 | 1000.00 | 12000.00 | 150.00 | 1800.00 | 750.00 | 9000.00 | 1000.00 | 12000.00 | 2974.00 | 35688.00 | 1800.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
7.00 | Supplying and laying of 120 mm dia size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. | 2900.00 | Meter | 10.00 | 270.00 | 783000.00 | 325.00 | 942500.00 | 193.00 | 559700.00 | 250.00 | 725000.00 | 250.00 | 725000.00 | 227.00 | 658300.00 | 150.00 | 435000.00 | 155.00 | 449500.00 | 199.00 | 577100.00 | 550.00 | 1595000.00 | 150.00 | 435000.00 | 200.00 | 580000.00 | 220.00 | 638000.00 | 435000.00 | Choubay And Co.(Agencies) Pvt.Ltd., VIJAYPOWER GENERATORS LIMITED
8.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of 3.5 x 300 sq.mm. size in the existing RCC/ HUME/ METAL pipe as required. | 2900.00 | Meter | 10.00 | 40.00 | 116000.00 | 100.00 | 290000.00 | 40.00 | 116000.00 | 125.00 | 362500.00 | 90.00 | 261000.00 | 45.00 | 130500.00 | 40.00 | 116000.00 | 50.00 | 145000.00 | 100.00 | 290000.00 | 100.00 | 290000.00 | 75.00 | 217500.00 | 30.00 | 87000.00 | 86.00 | 249400.00 | 87000.00 | JCC ENGINEERS PRIVATE LIMITED
9.00 | Mechanized laying of PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of 3.5 X 300 sq.mm. size through horizontal direct drilling(HDD) Upto depth of 6.5 mtr complete as required. | 400.00 | Meter | 10.00 | 900.00 | 360000.00 | 550.00 | 220000.00 | 300.00 | 120000.00 | 450.00 | 180000.00 | 800.00 | 320000.00 | 575.00 | 230000.00 | 800.00 | 320000.00 | 100.00 | 40000.00 | 550.00 | 220000.00 | 270.00 | 108000.00 | 1000.00 | 400000.00 | 500.00 | 200000.00 | 572.00 | 228800.00 | 40000.00 | MEC ENGINEERS
10.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of 300 sq. mm size in the existing masonry open duct as required. | 50.00 | Meter | 10.00 | 40.00 | 2000.00 | 90.00 | 4500.00 | 40.00 | 2000.00 | 125.00 | 6250.00 | 100.00 | 5000.00 | 40.00 | 2000.00 | 20.00 | 1000.00 | 60.00 | 3000.00 | 100.00 | 5000.00 | 90.00 | 4500.00 | 50.00 | 2500.00 | 30.00 | 1500.00 | 86.00 | 4300.00 | 1000.00 | Choubay And Co.(Agencies) Pvt.Ltd.
11.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of 300 sq. mm size on wall surface as required. | 50.00 | Meter | 10.00 | 40.00 | 2000.00 | 115.00 | 5750.00 | 100.00 | 5000.00 | 125.00 | 6250.00 | 100.00 | 5000.00 | 80.00 | 4000.00 | 100.00 | 5000.00 | 80.00 | 4000.00 | 199.00 | 9950.00 | 90.00 | 4500.00 | 100.00 | 5000.00 | 30.00 | 1500.00 | 86.00 | 4300.00 | 1500.00 | JCC ENGINEERS PRIVATE LIMITED
12.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of 300 sq. mm size on cable tray as required | 50.00 | Meter | 10.00 | 40.00 | 2000.00 | 90.00 | 4500.00 | 80.00 | 4000.00 | 125.00 | 6250.00 | 100.00 | 5000.00 | 80.00 | 4000.00 | 100.00 | 5000.00 | 100.00 | 5000.00 | 100.00 | 5000.00 | 100.00 | 5000.00 | 100.00 | 5000.00 | 30.00 | 1500.00 | 86.00 | 4300.00 | 1500.00 | JCC ENGINEERS PRIVATE LIMITED
13.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE aluminum/copper power cable of 1.1 KV grade upto 35 sq. mm size on cable tray/wall surface/steel sturcture as required. | 50.00 | Meter | 10.00 | 20.00 | 1000.00 | 35.00 | 1750.00 | 60.00 | 3000.00 | 60.00 | 3000.00 | 50.00 | 2500.00 | 50.00 | 2500.00 | 30.00 | 1500.00 | 100.00 | 5000.00 | 73.00 | 3650.00 | 100.00 | 5000.00 | 50.00 | 2500.00 | 30.00 | 1500.00 | 86.00 | 4300.00 | 1000.00 | Manish Electricals
14.00 | Excavation of the cable trenches in hard rock not exceeding 1.5 metres in width, and lift upto 1.5 metres, including getting out the excavated soil and disposal of excavated soil as directed within a lead of 50 metres. | 10.00 | Cum | 10.00 | 300.00 | 3000.00 | 350.00 | 3500.00 | 500.00 | 5000.00 | 1800.00 | 18000.00 | 3000.00 | 30000.00 | 175.00 | 1750.00 | 200.00 | 2000.00 | 1215.00 | 12150.00 | 100.00 | 1000.00 | 350.00 | 3500.00 | 1000.00 | 10000.00 | 2000.00 | 20000.00 | 343.00 | 3430.00 | 1000.00 | POMERA AND CO LTD
15.00 | Supplying and fixing of nominal 2.0 mm thick Electric Insulated Synthetic Mat of conforming to IS:15652:2006 and meeting the requirements of IS 5216, IS 8437, IEC-479 Pub-1, alongwith suitable adhesive /chemibound, pu-resin, water proofing compound and sealing material as per in service recommendations of Annexure-'A' 'Clause C' of IS:15652 and Suitable for Class - A upto 3.3 KV AC & 240 V DC without HT Trolley movement. | 20.00 | Sq.m. | 10.00 | 900.00 | 18000.00 | 950.00 | 19000.00 | 900.00 | 18000.00 | 651.00 | 13020.00 | 1000.00 | 20000.00 | 900.00 | 18000.00 | 1500.00 | 30000.00 | 5500.00 | 110000.00 | 1000.00 | 20000.00 | 2800.00 | 56000.00 | 900.00 | 18000.00 | 3000.00 | 60000.00 | 916.00 | 18320.00 | 13020.00 | EVERCREST PROJECTS PVT LTD
16.00 | Supply of First Aid Box with medicines, accessories as approved by St.John Ambulance Brigade/Indian Red Cross conforming to IS:2217-1963 | 1.00 | Set | 10.00 | 900.00 | 900.00 | 850.00 | 850.00 | 1000.00 | 1000.00 | 3675.00 | 3675.00 | 2000.00 | 2000.00 | 1000.00 | 1000.00 | 1000.00 | 1000.00 | 2000.00 | 2000.00 | 1000.00 | 1000.00 | 960.00 | 960.00 | 550.00 | 550.00 | 3000.00 | 3000.00 | 5779.00 | 5779.00 | 550.00 | VIJAYPOWER GENERATORS LIMITED
17.00 | Supply and fixing of Shock treatment chart of standared size at least two language( Hindi & English) with aluminium frame and transparent polycarbonate cover sheet as required. | 4.00 | Nos. | 10.00 | 200.00 | 800.00 | 3500.00 | 14000.00 | 400.00 | 1600.00 | 678.00 | 2712.00 | 500.00 | 2000.00 | 1500.00 | 6000.00 | 500.00 | 2000.00 | 2000.00 | 8000.00 | 1000.00 | 4000.00 | 1200.00 | 4800.00 | 1000.00 | 4000.00 | 1000.00 | 4000.00 | 5779.00 | 23116.00 | 800.00 | Manish Electricals
18.00 | Providing and fixing Medium voltage danger notice plate 200 mm x 150 mm made of M.S. sheet atleast 2 mm thick and vitreous enamelled white on both sides and with inscription in single red colour on front side as required. | 10.00 | Nos. | 10.00 | 250.00 | 2500.00 | 250.00 | 2500.00 | 200.00 | 2000.00 | 208.00 | 2080.00 | 400.00 | 4000.00 | 232.00 | 2320.00 | 100.00 | 1000.00 | 250.00 | 2500.00 | 190.00 | 1900.00 | 350.00 | 3500.00 | 150.00 | 1500.00 | 300.00 | 3000.00 | 343.00 | 3430.00 | 1000.00 | Choubay And Co.(Agencies) Pvt.Ltd.
19.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer and two coat of approved colour all complete as required. | 800.00 | Kg | 10.00 | 80.00 | 64000.00 | 90.00 | 72000.00 | 130.00 | 104000.00 | 120.00 | 96000.00 | 100.00 | 80000.00 | 90.00 | 72000.00 | 80.00 | 64000.00 | 125.00 | 100000.00 | 100.00 | 80000.00 | 110.00 | 88000.00 | 150.00 | 120000.00 | 120.00 | 96000.00 | 97.00 | 77600.00 | 64000.00 | Manish Electricals, Choubay And Co.(Agencies) Pvt.Ltd.
20.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer and two coat of approved colour, including welding and bolted with special shaped washers etc. complete as required. Hot finished welded type tubes | 500.00 | Kg | 10.00 | 80.00 | 40000.00 | 95.00 | 47500.00 | 140.00 | 70000.00 | 141.00 | 70500.00 | 110.00 | 55000.00 | 90.00 | 45000.00 | 80.00 | 40000.00 | 175.00 | 87500.00 | 109.00 | 54500.00 | 110.00 | 55000.00 | 150.00 | 75000.00 | 115.00 | 57500.00 | 121.00 | 60500.00 | 40000.00 | Manish Electricals, Choubay And Co.(Agencies) Pvt.Ltd.
21.00 | Providing corrugated G.S. sheet roofing including vertical / curved surface fixed with polymer coated J or L hooks, bolts and nuts 8 mm diameter with bitumen and G.I. limpet washers or with G.I. limpet washers filled with white lead, including a coat of approved steel primer and two coats of approved paint on overlapping of sheets complete (up to any pitch in horizontal/ vertical or curved surfaces), excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. 0.80 mm thick with zinc coating not less than 275 gm/m² | 50.00 | Sq.m. | 10.00 | 1800.00 | 90000.00 | 950.00 | 47500.00 | 450.00 | 22500.00 | 1325.00 | 66250.00 | 1000.00 | 50000.00 | 552.00 | 27600.00 | 550.00 | 27500.00 | 1275.00 | 63750.00 | 820.00 | 41000.00 | 100.00 | 5000.00 | 580.00 | 29000.00 | 1350.00 | 67500.00 | 401.00 | 20050.00 | 5000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
22.00 | Providing ridges or hips of width 60 cm overall width plain G.S. sheet fixed with polymer coated J or L hooks, bolts and nuts 8 mm dia G.I. limpet and bitumen washers complete. 0.80 mm thick with zinc coating not less than 275 gm/m² | 10.00 | Meter | 10.00 | 1800.00 | 18000.00 | 850.00 | 8500.00 | 600.00 | 6000.00 | 546.00 | 5460.00 | 2500.00 | 25000.00 | 209.00 | 2090.00 | 300.00 | 3000.00 | 940.00 | 9400.00 | 460.00 | 4600.00 | 50.00 | 500.00 | 580.00 | 5800.00 | 1250.00 | 12500.00 | 687.00 | 6870.00 | 500.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
23.00 | Supply and fixing of single line diagram illuminated sleek board of size 4 feet x 3 feet, the illumination to be provided through translite, complete with frame work hanging arrangement etc. complete as required. | 1.00 | Job | 10.00 | 4000.00 | 4000.00 | 6500.00 | 6500.00 | 15000.00 | 15000.00 | 11575.00 | 11575.00 | 15000.00 | 15000.00 | 1500.00 | 1500.00 | 3000.00 | 3000.00 | 2500.00 | 2500.00 | 10000.00 | 10000.00 | 2000.00 | 2000.00 | 5000.00 | 5000.00 | 10000.00 | 10000.00 | 5836.00 | 5836.00 | 1500.00 | Leo Air and Power Solution Pvt Ltd.,
24.00 | Earthing with Copper earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. with charcoal/ coke and salt as required. | 4.00 | Set | 10.00 | 14000.00 | 56000.00 | 17500.00 | 70000.00 | 18000.00 | 72000.00 | 22925.00 | 91700.00 | 12000.00 | 48000.00 | 15000.00 | 60000.00 | 10000.00 | 40000.00 | 12000.00 | 48000.00 | 10000.00 | 40000.00 | 8500.00 | 34000.00 | 1400.00 | 5600.00 | 16000.00 | 64000.00 | 25177.00 | 100708.00 | 5600.00 | VIJAYPOWER GENERATORS LIMITED
25.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. with charcoal/ coke and salt as required. | 6.00 | Set | 10.00 | 7000.00 | 42000.00 | 15500.00 | 93000.00 | 8000.00 | 48000.00 | 13843.00 | 83058.00 | 6000.00 | 36000.00 | 4000.00 | 24000.00 | 4000.00 | 24000.00 | 6500.00 | 39000.00 | 5500.00 | 33000.00 | 6500.00 | 39000.00 | 7000.00 | 42000.00 | 7000.00 | 42000.00 | 11444.00 | 68664.00 | 24000.00 | Leo Air and Power Solution Pvt Ltd.,, Choubay And Co.(Agencies) Pvt.Ltd.
26.00 | Providing and fixing 25mm X 5mm copper strip on surface or in recess for connections etc. as required | 20.00 | Meter | 10.00 | 850.00 | 17000.00 | 850.00 | 17000.00 | 900.00 | 18000.00 | 916.00 | 18320.00 | 910.00 | 18200.00 | 906.00 | 18120.00 | 780.00 | 15600.00 | 810.00 | 16200.00 | 1000.00 | 20000.00 | 350.00 | 7000.00 | 966.00 | 19320.00 | 800.00 | 16000.00 | 909.00 | 18180.00 | 7000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
27.00 | Providing and fixing 25mm X 5mm copper strip at 0.5 m below ground level in 40 mm dia B class G.I. Pipe as strip erath Eletrode including soldering etc. as required. | 20.00 | Meter | 10.00 | 900.00 | 18000.00 | 1050.00 | 21000.00 | 1200.00 | 24000.00 | 926.00 | 18520.00 | 1600.00 | 32000.00 | 1227.00 | 24540.00 | 1100.00 | 22000.00 | 1135.00 | 22700.00 | 1360.00 | 27200.00 | 250.00 | 5000.00 | 341.00 | 6820.00 | 1250.00 | 25000.00 | 1555.00 | 31100.00 | 5000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
28.00 | Providing and fixing 25mm X 5mm GI strip on surface or in recess for connections etc. as required | 40.00 | Meter | 10.00 | 160.00 | 6400.00 | 175.00 | 7000.00 | 100.00 | 4000.00 | 151.00 | 6040.00 | 135.00 | 5400.00 | 107.00 | 4280.00 | 150.00 | 6000.00 | 110.00 | 4400.00 | 127.00 | 5080.00 | 250.00 | 10000.00 | 156.00 | 6240.00 | 150.00 | 6000.00 | 121.00 | 4840.00 | 4000.00 | DOSHI ELECTRIC ENGG. CO.
29.00 | Providing and Fixing 25mm X5mm GI Strip at 0.5m below ground level in 40 mm dia class B GI pipe as strip earth electrode including soldering etc.as required. | 40.00 | Meter | 10.00 | 450.00 | 18000.00 | 350.00 | 14000.00 | 250.00 | 10000.00 | 592.00 | 23680.00 | 735.00 | 29400.00 | 428.00 | 17120.00 | 470.00 | 18800.00 | 440.00 | 17600.00 | 505.00 | 20200.00 | 200.00 | 8000.00 | 447.00 | 17880.00 | 500.00 | 20000.00 | 761.00 | 30440.00 | 8000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
30.00 | Supply of 165 ltr nominal capacity 5 star rated single compartment portable refrigerator with compressor,thermostate,indication with 3 Pin plug top and three core lead of Cu wire as per OEM suitable for single phase 230 volt, 50Hz AC supply etc with all accessories as required. | 1.00 | Each | 10.00 | 25000.00 | 25000.00 | 17500.00 | 17500.00 | 17000.00 | 17000.00 | 22050.00 | 22050.00 | 15000.00 | 15000.00 | 13938.00 | 13938.00 | 9000.00 | 9000.00 | 25000.00 | 25000.00 | 10000.00 | 10000.00 | 20000.00 | 20000.00 | 15800.00 | 15800.00 | 20000.00 | 20000.00 | 13733.00 | 13733.00 | 9000.00 | Choubay And Co.(Agencies) Pvt.Ltd.
31.00 | Supply of 25 ltr nominal capacity microwaveoven with 3 pin plug top and three core lead of Cu wire as per OEM suitable for single phase 230 volt, 50Hz AC supply etc with all accessories as required. | 1.00 | Each | 10.00 | 14500.00 | 14500.00 | 8500.00 | 8500.00 | 10000.00 | 10000.00 | 15225.00 | 15225.00 | 13500.00 | 13500.00 | 6969.00 | 6969.00 | 11500.00 | 11500.00 | 15000.00 | 15000.00 | 10000.00 | 10000.00 | 18000.00 | 18000.00 | 13856.00 | 13856.00 | 15000.00 | 15000.00 | 15449.00 | 15449.00 | 6969.00 | Leo Air and Power Solution Pvt Ltd.,
32.00 | Supply of Induction Cook top of 1500 W nominal capacity with push button controls, suitable for single phase 230 volt, 50Hz AC supply etc with all accessories as required. (Make: Philips/Havells/Usha/Bajaj/Prestige) | 1.00 | Each | 10.00 | 3500.00 | 3500.00 | 2000.00 | 2000.00 | 2265.00 | 2265.00 | 3675.00 | 3675.00 | 2500.00 | 2500.00 | 2323.00 | 2323.00 | 2000.00 | 2000.00 | 2332.00 | 2332.00 | 2800.00 | 2800.00 | 5400.00 | 5400.00 | 3750.00 | 3750.00 | 5000.00 | 5000.00 | 3948.00 | 3948.00 | 2000.00 | SAHA COMMERCIAL CONSTRUCTION, Choubay And Co.(Agencies) Pvt.Ltd.
33.00 | Supply of Stainless Steel 1.5 ltrs nominal capacity electrical kettel of 1500 W ,suitable for single phase 230 volt, 50Hz AC supply etc with all accessories as required. (Make: Philips/Bajaj/Havells/Inalsa) | 1.00 | Each | 10.00 | 1200.00 | 1200.00 | 1750.00 | 1750.00 | 1500.00 | 1500.00 | 1575.00 | 1575.00 | 1200.00 | 1200.00 | 1742.00 | 1742.00 | 2600.00 | 2600.00 | 1650.00 | 1650.00 | 1000.00 | 1000.00 | 2500.00 | 2500.00 | 2400.00 | 2400.00 | 1000.00 | 1000.00 | 916.00 | 916.00 | 916.00 | AT AND T ENGINEERS PVT LTD
34.00 | Supply & Installation of nominal screen size of 42 inch LED Type Smart TV,suitable for single phase 230 volt, 50Hz AC supply etc with all accessories including DTH connection as required. (Make: Sony/LG/Samsung/Philips) | 1.00 | Each | 10.00 | 42000.00 | 42000.00 | 37500.00 | 37500.00 | 40000.00 | 40000.00 | 38250.00 | 38250.00 | 26000.00 | 26000.00 | 29613.00 | 29613.00 | 26000.00 | 26000.00 | 50000.00 | 50000.00 | 32500.00 | 32500.00 | 28000.00 | 28000.00 | 45000.00 | 45000.00 | 40000.00 | 40000.00 | 34905.00 | 34905.00 | 26000.00 | ECS ENGINEERING PVT LTD, Choubay And Co.(Agencies) Pvt.Ltd.
35.00 | Supply and fixing of instant electrically operated regular duty hand dryer for public toilets suitable for single phase 230 volt, 50Hz AC supply complete with three pin plug top and standard 3 core PVC insulated Cu conductor lead, wall mounting arrangment etc with all accessories complete as required. | 2.00 | Each | 10.00 | 14000.00 | 28000.00 | 3500.00 | 7000.00 | 5200.00 | 10400.00 | 16725.00 | 33450.00 | 3000.00 | 6000.00 | 4180.00 | 8360.00 | 5000.00 | 10000.00 | 15620.00 | 31240.00 | 19000.00 | 38000.00 | 10000.00 | 20000.00 | 3600.00 | 7200.00 | 4000.00 | 8000.00 | 5150.00 | 10300.00 | 6000.00 | ECS ENGINEERING PVT LTD
36.00 | SITC of 50 L.P.H. Capacity R.O. System Units with membrances, sediment filter, iodine based post resin carbon filter, bacteria's removing system , auto flush timer etc. as per manufacturers specifications i/c. making inlet and outlet water connections complete as per specificatioin etc. as required. | 1.00 | Job | 10.00 | 33000.00 | 33000.00 | 15000.00 | 15000.00 | 11000.00 | 11000.00 | 27750.00 | 27750.00 | 16000.00 | 16000.00 | 15088.00 | 15088.00 | 38000.00 | 38000.00 | 50000.00 | 50000.00 | 64000.00 | 64000.00 | 20000.00 | 20000.00 | 75000.00 | 75000.00 | 25000.00 | 25000.00 | 16594.00 | 16594.00 | 11000.00 | DOSHI ELECTRIC ENGG. CO.
37.00 | SITC of hot & cold water dispenser suitable for operation on 230 V+/- 10% single phase, 50 Hz AC supply of following capacity. Nominal cooling capacity 2.50 Ltr./ Hr. Nominal Heating capacity 5 Ltr/ Hr. (Make: Bluestar/Sidwal/Voltas/Usha) | 1.00 | Job | 10.00 | 12000.00 | 12000.00 | 7500.00 | 7500.00 | 7500.00 | 7500.00 | 10925.00 | 10925.00 | 10500.00 | 10500.00 | 8476.00 | 8476.00 | 7000.00 | 7000.00 | 11000.00 | 11000.00 | 10000.00 | 10000.00 | 45000.00 | 45000.00 | 9900.00 | 9900.00 | 10000.00 | 10000.00 | 10872.00 | 10872.00 | 7000.00 | Choubay And Co.(Agencies) Pvt.Ltd.
38.00 | Supply, Installation, Testing & Commissioning of 125 Amps multistage 3 Phase Series Power Filter consist of inductance wounded in ferrite core ,capacitance with MOV 70kA+40KA in transverse and common mode ,rating 125 Amps continuous per phase in IP55 grade Power coated metal enclosure with safety circuit breaker and 125 Amps service bypass changeover switch and inter connecting cables, end termination etc. as required to be installed in the input of the UPS. | 2.00 | Nos. | 10.00 | 125000.00 | 250000.00 | 32500.00 | 65000.00 | 170000.00 | 340000.00 | 200000.00 | 400000.00 | 125000.00 | 250000.00 | 116150.00 | 232300.00 | 200000.00 | 400000.00 | 272000.00 | 544000.00 | 100000.00 | 200000.00 | 9500.00 | 19000.00 | 133000.00 | 266000.00 | 260000.00 | 520000.00 | 53189.00 | 106378.00 | 19000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
39.00 | Supply, Installation, testing and commissioning of Digital Grounding Device 120 kA 1 phase 3 wire Portable type with built in Low Impedance equipment Grounding & bonding system. Provides 100% protection against Lightning Surges, static charge, Noises, ESD, EPR and eliminates abnormal electrical distribances which enter from power and other service lines and ensuring clear bonding potential (earth to Neutral voltage) less than 1.0V having a digital 6 digit lightening surge counter, self health visual status indicator, built in Aerosol based fire Extinguisher in a Pre-wired pulverulent body painted metal enclosure to be connected in parallel to the power supply circuit, Conforming to IEC , CE Marked, ISO 9000 & ISO 14001-2015 certified. | 2.00 | Nos. | 10.00 | 124000.00 | 248000.00 | 175000.00 | 350000.00 | 160000.00 | 320000.00 | 350000.00 | 700000.00 | 158000.00 | 316000.00 | 209070.00 | 418140.00 | 120000.00 | 240000.00 | 140000.00 | 280000.00 | 100000.00 | 200000.00 | 28500.00 | 57000.00 | 186000.00 | 372000.00 | 125000.00 | 250000.00 | 321606.00 | 643212.00 | 57000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
40.00 | Supply of one no. Digital online electric Clamp meter capable for measuring AC current upto 1000 Amp., AC/DC Voltage, resistance, continuity & data hold function, one no. 1 KV grade insulation tester and 0-10 ohm earth tester complete as required. | 1.00 | Job | 10.00 | 9000.00 | 9000.00 | 1500.00 | 1500.00 | 3000.00 | 3000.00 | 141225.00 | 141225.00 | 2600.00 | 2600.00 | 11615.00 | 11615.00 | 3200.00 | 3200.00 | 15000.00 | 15000.00 | 7300.00 | 7300.00 | 6500.00 | 6500.00 | 8000.00 | 8000.00 | 10000.00 | 10000.00 | 3434.00 | 3434.00 | 1500.00 | SAHA COMMERCIAL CONSTRUCTION
41.00 | Supply of one no. 180cm x 90cm x 50cm, one no. 120cm x 90cm x 40cm Almirah, one no. 6' x 3' executive table and three executive chairs complete as required (Make - Godrej or Equivalent). | 1.00 | Job | 10.00 | 13800.00 | 13800.00 | 125000.00 | 125000.00 | 72150.00 | 72150.00 | 78750.00 | 78750.00 | 50000.00 | 50000.00 | 75323.00 | 75323.00 | 70000.00 | 70000.00 | 150000.00 | 150000.00 | 55000.00 | 55000.00 | 15000.00 | 15000.00 | 81000.00 | 81000.00 | 45000.00 | 45000.00 | 12589.00 | 12589.00 | 12589.00 | AT AND T ENGINEERS PVT LTD
42.00 | Earthing pit with two nos. Copper earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. with charcoal/ coke and salt as required. | 4.00 | Set | 10.00 | 14500.00 | 58000.00 | 17500.00 | 70000.00 | 18000.00 | 72000.00 | 22925.00 | 91700.00 | 24000.00 | 96000.00 | 15000.00 | 60000.00 | 18000.00 | 72000.00 | 12000.00 | 48000.00 | 19000.00 | 76000.00 | 5000.00 | 20000.00 | 12000.00 | 48000.00 | 30000.00 | 120000.00 | 25177.00 | 100708.00 | 20000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
43.00 | Providing and fixing copper earth conductor of AWG No. 2/0 in 40mm dia HDPE pipe at 0.5m below ground level/surface for connections etc. complete as required | 200.00 | Meter | 10.00 | 56.00 | 11200.00 | 150.00 | 30000.00 | 380.00 | 76000.00 | 399.00 | 79800.00 | 575.00 | 115000.00 | 162.00 | 32400.00 | 450.00 | 90000.00 | 120.00 | 24000.00 | 370.00 | 74000.00 | 320.00 | 64000.00 | 150.00 | 30000.00 | 200.00 | 40000.00 | 230.00 | 46000.00 | 11200.00 | Manish Electricals
44.00 | SITC of 6 mtr GI pole (150 mm dia and 4.8 mm thick) including supply and fixing of solar all in one street light of system wattage 30 watt, solar panel 48 watt, battery 12 Volt, 24 Ah, charge controller complete in all respect, scope include excavation foundation complete in all respect as per technical specification. | 15.00 | Job | 10.00 | 41000.00 | 615000.00 | 40000.00 | 600000.00 | 30000.00 | 450000.00 | 62775.00 | 941625.00 | 33000.00 | 495000.00 | 38896.00 | 583440.00 | 18500.00 | 277500.00 | 40000.00 | 600000.00 | 37000.00 | 555000.00 | 30000.00 | 450000.00 | 19000.00 | 285000.00 | 38000.00 | 570000.00 | 38603.00 | 579045.00 | 277500.00 | Choubay And Co.(Agencies) Pvt.Ltd.
45.00 | Providing and fixing of lightning conductor finial, made of 25 mm dia 300 mm long, G.I. tube, having single prong at top, with 85 mm dia 6 mm thick G.I. base plate including holes etc. complete as required. | 10.00 | Nos. | 10.00 | 800.00 | 8000.00 | 850.00 | 8500.00 | 500.00 | 5000.00 | 29275.00 | 292750.00 | 1000.00 | 10000.00 | 383.00 | 3830.00 | 1200.00 | 12000.00 | 538.00 | 5380.00 | 730.00 | 7300.00 | 650.00 | 6500.00 | 402.00 | 4020.00 | 2000.00 | 20000.00 | 2575.00 | 25750.00 | 3830.00 | Leo Air and Power Solution Pvt Ltd.,
46.00 | Providing and fixing G.I. tape 20 mm X 3 mm thick on parapet or surface of wall for lightning conductor complete as required.(For horizontal run). | 120.00 | Meter | 10.00 | 160.00 | 19200.00 | 90.00 | 10800.00 | 30.00 | 3600.00 | 130.00 | 15600.00 | 95.00 | 11400.00 | 87.00 | 10440.00 | 70.00 | 8400.00 | 125.00 | 15000.00 | 199.00 | 23880.00 | 90.00 | 10800.00 | 81.00 | 9720.00 | 100.00 | 12000.00 | 71.00 | 8520.00 | 3600.00 | DOSHI ELECTRIC ENGG. CO.
47.00 | Providing and fixing G.I. tape 20 mm X 3 mm thick on parapet or surface of wall for lightning conductor complete as required.(For vertical run). | 80.00 | Meter | 10.00 | 160.00 | 12800.00 | 140.00 | 11200.00 | 40.00 | 3200.00 | 135.00 | 10800.00 | 125.00 | 10000.00 | 87.00 | 6960.00 | 60.00 | 4800.00 | 195.00 | 15600.00 | 199.00 | 15920.00 | 75.00 | 6000.00 | 81.00 | 6480.00 | 100.00 | 8000.00 | 71.00 | 5680.00 | 3200.00 | DOSHI ELECTRIC ENGG. CO.
48.00 | Providing and fixing testing joint, made of 20 mm X 3 mm thick G.I. strip, 125 mm long, with 4 nos. of G.I. bolts, nuts, chuck nuts and spring washers etc. complete as required. | 10.00 | Nos. | 10.00 | 150.00 | 1500.00 | 350.00 | 3500.00 | 200.00 | 2000.00 | 235.00 | 2350.00 | 400.00 | 4000.00 | 336.00 | 3360.00 | 50.00 | 500.00 | 122.00 | 1220.00 | 550.00 | 5500.00 | 200.00 | 2000.00 | 110.00 | 1100.00 | 300.00 | 3000.00 | 41.00 | 410.00 | 410.00 | AT AND T ENGINEERS PVT LTD
| Total in Figures |  |  |  |  | 11360100.00 |  | 11006500.00 |  | 11188815.00 |  | 12399082.00 |  | 10817120.00 |  | 10547162.00 |  | 11406500.00 |  | 11034922.00 |  | 11153080.00 |  | 11166360.00 |  | 10995636.00 |  | 11743500.00 |  | 11065568.00
Lowest Amount Quoted BY: Leo Air and Power Solution Pvt Ltd.,(10547162.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of ASR MSSR Building at Jaipur Airport, Jaipur. SH SITC of DG set, LT Panel, Cable and Associated Electrical works Tender ID: 2021_AAI_66415_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Leo Air and Power Solution Pvt Ltd., | 10547162.00 | L1
| 2 | ECS ENGINEERING PVT LTD | 10817120.00 | L2
| 3 | VIJAYPOWER GENERATORS LIMITED | 10995636.00 | L3
| 4 | SAHA COMMERCIAL CONSTRUCTION | 11006500.00 | L4
| 5 | MEC ENGINEERS | 11034922.00 | L5
| 6 | AT AND T ENGINEERS PVT LTD | 11065568.00 | L6
| 7 | POMERA AND CO LTD | 11153080.00 | L7
| 8 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION | 11166360.00 | L8
| 9 | DOSHI ELECTRIC ENGG. CO. | 11188815.00 | L9
| 10 | Manish Electricals | 11360100.00 | L10
| 11 | Choubay And Co.(Agencies) Pvt.Ltd. | 11406500.00 | L11
| 12 | JCC ENGINEERS PRIVATE LIMITED | 11743500.00 | L12
| 13 | EVERCREST PROJECTS PVT LTD | 12399082.00 | L13