## BoQ1
Government eProcurement System Created By: Gaurav Mathur Created Date/Time: 22-Jan-2021 04:46 PM Tender Title: Annual Operation and Comprehensive Maintenance of HVAC System installed in Terminal-2 at Jaipur International Airport, Jaipur (2020-21). Tender ID: 2021_AAI_66441_1
Tender Inviting Authority: Asstt. Gen. Manager (Engg-E), Jaipur Airport, Airport - 302029
Name of Work: Annual Operation & Comprehensive Maintenance of HVAC System installed in Terminal-2 at Jaipur International Airport, Jaipur (2020-21).
Contract No: AAI/JPR/ENGG(E)/F-70/2020-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Supertech Engineers(GSTN-07AAMPS2459M1ZZ) |  | Blue Star Ltd.(GSTN-08AAACB4487D1ZS) |  | VOLTAS LIMITED(GSTN-07AAACV2809D1ZO) |  | Tirupati Construction Company(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation of HVAC system of T-2 building comprising of 4x500 TR capacity HVAC system and BMS alongwith all associated accessories e.g. 3x300 KW hot water generator, Chillers, cooling tower, chilled water pump, condensers pump, AHUs, FCUs, tower type AC, etc. on all days including sunday and holidays of the month on round the clock basis complete as required. The contractor is required to deploy minimum manpower in each shift of eight hours as mentioned in Special Condition of Contract. | 12.00 | Month | 100.00 | 344000.00 | 4128000.00 | 338813.00 | 4065756.00 | 413367.50 | 4960410.00 | 265050.00 | 3180600.00 | 3180600.00 | Tirupati Construction Company
2.00 | All inclusive comprehensive maintenance of 3x500 TR HVAC system, 2x300 KW hot water generator, Chillers, cooling tower, chilled water pump, condensers pump, AHUs, FCUs, tower type AC, Cassette type ACs, electrical panel, cabling, sliding door etc. as per inventory mentioned in technical specification including prepair, replacement of defective componentes, carrying preventive maintenance as per manufacturers and AAI guidailines, maintenance of records/documentation etc. complete as required. | 12.00 | Month | 100.00 | 97000.00 | 1164000.00 | 236540.00 | 2838480.00 | 55625.00 | 667500.00 | 139500.00 | 1674000.00 | 667500.00 | VOLTAS LIMITED
3.00 | All inclusive comprehensive maintenance of 1x500 TR HVAC system, 1x300 KW hot water generator, Chillers, cooling tower, chilled water pumps, condensers pumps, AHUs, electrical panel, cabling etc. as per inventory mentioned in technical specification including prepair, replacement of defective componentes, carrying preventive maintenance as per manufacturers and AAI guidailines, maintenance of records/documentation etc. complete as required. | 7.00 | Month | 100.00 | 7000.00 | 49000.00 | 42441.00 | 297087.00 | 18541.67 | 129791.69 | 51150.00 | 358050.00 | 49000.00 | Supertech Engineers
4.00 | Comprehensive maintenance of different make 1.5/ 2.0 TR Hi-wall split type airconditioner including comprehensive maintenance of voltage stablizer (01 Job = ONE UNIT PER MONTH). | 132.00 | Job | 100.00 | 60.00 | 7920.00 | 150.00 | 19800.00 | 303.03 | 39999.96 | 2046.00 | 270072.00 | 7920.00 | Supertech Engineers
5.00 | Comprehensive maintenance of different Variable Refrigerant Flow/ volume airconditioning outdoor units of 20 HP capacity with indoor and outdoor units, i/c connection , controllers, all accessories refrigerant gas and oil, control cabling etc.complete as required. (01 Job= ONE UNIT PER MONTH).
5.10 | 20 HP | 24.00 | Job | 100.00 | 800.00 | 19200.00 | 2500.00 | 60000.00 | 2500.00 | 60000.00 | 44640.00 | 1071360.00 | 19200.00 | Supertech Engineers
5.20 | 10 HP | 12.00 | Job | 100.00 | 600.00 | 7200.00 | 1250.00 | 15000.00 | 1250.00 | 15000.00 | 22320.00 | 267840.00 | 7200.00 | Supertech Engineers
6.00 | Dismentalling / shifting / Re-installation / Testing and Commissioning of 1.5/2.0 TR Spilt Airconditioners suitable for operation on 230V, 50Hz, A. C. Supply on wall i/c gas charging, accociated Civil Works and making all arangement for successful ITC of AC Units etc. complete as required. | 5.00 | Each | 100.00 | 1000.00 | 5000.00 | 1500.00 | 7500.00 | 1700.00 | 8500.00 | 3720.00 | 18600.00 | 5000.00 | Supertech Engineers
| Total in Figures |  |  |  |  | 5380320.00 |  | 7303623.00 |  | 5881201.65 |  | 6840522.00
Lowest Amount Quoted BY: Supertech Engineers(5380320.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Operation and Comprehensive Maintenance of HVAC System installed in Terminal-2 at Jaipur International Airport, Jaipur (2020-21). Tender ID: 2021_AAI_66441_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Supertech Engineers | 5380320.00 | L1
| 2 | VOLTAS LIMITED | 5881201.65 | L2
| 3 | Tirupati Construction Company | 6840522.00 | L3
| 4 | Blue Star Ltd. | 7303623.00 | L4