## BoQ1
Government eProcurement System Created By: Duja Nayak Jatothu Created Date/Time: 23-Feb-2021 04:32 PM Tender Title: ARMO of E and M Installation at Begumpet Airport Hyderabad. Sub head - Job Contract of Operation and Maintenance of Ground Lighting Facilities including Miscellaneous electrical works 2021-23 Tender ID: 2021_AAI_66540_1
Tender Inviting Authority: Asst.General Manager(E-E), AAI, Begumpet Airport.
Name of Work: ARMO of E&M Installation at Hyderabad Airport, Begumpet. Sub head: Job Contract of Operation & Maintenance of Ground Lighting Facilities (GLF) including Miscellaneous electrical works-2021-23
Contract No: 2021_AAI_66540_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Swati Airport Support Services Pvt Ltd(GSTN-36AARCS2870G1ZY) |  | ASHWANI REFRIGERATION AND ELECTRICALS(GSTN-36ACAPG1851D1Z7) |  | M/s T and C ENGINEERS PVT LTD(GSTN-33AADCT6406B1ZV) |  | Ascent Electrification Engineers(GSTN-24AAOFA2574R1ZU) |  | SRI VASUKI POWER SYSTEMS PVT LTD(GSTN-29AAUCS9791D1ZE) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | KALKI ELECTRICALS(GSTN-29AGGPD2370J1ZE) |  | SHIVARAM INFRA(GSTN-37ACSFS3505N1ZG) |  | SWAS AND IT PRIVATE LIMITED(GSTN-NA) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Job contract for operation and maintenance of ground lighting facilities, Apron Flood lights and E&M Installations of Substaions I&II in operational areas including carrying out the preventive maintenance and breakdown maintenance daily on round the clock basis as directed by engineer-in-charge including covering of the Weekly off duty/sundays & holidays as per the special conditions/Technical specifications. | 24.00 | Months |  | 203400.00 | 4881600.00 | 182786.00 | 4386864.00 | 300000.00 | 7200000.00 | 190581.00 | 4573944.00 | 185906.00 | 4461744.00 | 225810.00 | 5419440.00 | 220263.00 | 5286312.00 | 206000.00 | 4944000.00 | 230000.00 | 5520000.00 | 199000.00 | 4776000.00 | 250000.00 | 6000000.00 | 4386864.00 | ASHWANI REFRIGERATION AND ELECTRICALS
2.00 | Job Contract for operation & Maintenance of 500KWp Rooftop Solar plant and Perimeter Lighting at Begumpet Airport, Hyderabad as per the technical specifications/special conditions. | 24.00 | Months |  | 131080.00 | 3145920.00 | 100790.67 | 2418976.08 | 50000.00 | 1200000.00 | 121836.00 | 2924064.00 | 97758.00 | 2346192.00 | 119215.00 | 2861160.00 | 115669.00 | 2776056.00 | 108000.00 | 2592000.00 | 130000.00 | 3120000.00 | 99000.00 | 2376000.00 | 110000.00 | 2640000.00 | 1200000.00 | M/s T and C ENGINEERS PVT LTD
3.00 | Painting of Transformer housing box / adapter/ fittings of all shapes and sizes of the runway /Taxiway / Approach / PAPI fittings etc. complete as required. Job includes removal and refixing of fittings. | 200.00 | Job |  | 135.00 | 27000.00 | 358.00 | 71600.00 | 250.00 | 50000.00 | 350.00 | 70000.00 | 250.00 | 50000.00 | 100.00 | 20000.00 | 100.00 | 20000.00 | 100.00 | 20000.00 | 300.00 | 60000.00 | 350.00 | 70000.00 | 2000.00 | 400000.00 | 20000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, Techno Electricals, KALKI ELECTRICALS
4.00 | Painting of panels / landing "T" with one or more coats of synthetic enamel paint to obtain even and stain free smooth surface with approved make and colour by arranging spray Gun and compressor including scrapping the existing point, applying Putty etc. whenever required. | 50.00 | Sq. Mtr |  | 236.00 | 11800.00 | 456.00 | 22800.00 | 150.00 | 7500.00 | 425.00 | 21250.00 | 75.00 | 3750.00 | 150.00 | 7500.00 | 150.00 | 7500.00 | 160.00 | 8000.00 | 100.00 | 5000.00 | 400.00 | 20000.00 | 110.00 | 5500.00 | 3750.00 | SRI VASUKI POWER SYSTEMS PVT LTD
5.00 | Testing and calibration of all makes and following types of protective relays by secondary injection method by the licensed testing laboratory / firm at site including hire, to and fro transportation charges of testing equipment and accessories and issue. a)Electromagnetic Type Single element relay (type CDG 11 , VAAZIZG8502F(M) , ASHIDAAVA 215 & VAGM) | 12.00 | Each |  | 1500.00 | 18000.00 | 250.00 | 3000.00 | 5000.00 | 60000.00 | 12500.00 | 150000.00 | 1500.00 | 18000.00 | 1500.00 | 18000.00 | 800.00 | 9600.00 | 800.00 | 9600.00 | 700.00 | 8400.00 | 550.00 | 6600.00 | 2000.00 | 24000.00 | 3000.00 | ASHWANI REFRIGERATION AND ELECTRICALS
6.00 | Testing and calibration of all makes and following types of protective relays by secondary injection method by the licensed testing laboratory / firm at site including hire, to and fro transportation charges of testing equipment and accessories and issue. b)Electromagnetic TypeThree element relay (Type CDG 31 & VXL INDUSTRIES TYPE IOT-3N MODEL R - 8002). | 10.00 | Each |  | 2000.00 | 20000.00 | 500.00 | 5000.00 | 5000.00 | 50000.00 | 12500.00 | 125000.00 | 1500.00 | 15000.00 | 1000.00 | 10000.00 | 500.00 | 5000.00 | 1000.00 | 10000.00 | 1000.00 | 10000.00 | 1600.00 | 16000.00 | 2500.00 | 25000.00 | 5000.00 | ASHWANI REFRIGERATION AND ELECTRICALS, Techno Electricals
7.00 | Testing and calibration of all makes and following types of protective relays by secondary injection method by the licensed testing laboratory / firm at site including hire, to and fro transportation charges of testing equipment and accessories and issue. c).4 Element IDMT Relay ( Type ASHIDA - ADR 241A AM810). | 12.00 | Each |  | 2500.00 | 30000.00 | 600.00 | 7200.00 | 6000.00 | 72000.00 | 12500.00 | 150000.00 | 1000.00 | 12000.00 | 1000.00 | 12000.00 | 1000.00 | 12000.00 | 1200.00 | 14400.00 | 1000.00 | 12000.00 | 1600.00 | 19200.00 | 3000.00 | 36000.00 | 7200.00 | ASHWANI REFRIGERATION AND ELECTRICALS
8.00 | Servicing of following LT Aircircuit Breakers and HT Bulk Oil Circuit breakers of different makes ( L&T, GE & Crompton Greaves, KEL, Southern Switchgear Ltd) at site as per the recommendations of the manufacturer and attached scope with Manufacturer authorised service dealer etc. complete as required. a).Manual draw out type Air cicuit Breakers Upto 2500 A. | 22.00 | Each |  | 5000.00 | 110000.00 | 1500.00 | 33000.00 | 2500.00 | 55000.00 | 1735.00 | 38170.00 | 6000.00 | 132000.00 | 1500.00 | 33000.00 | 2500.00 | 55000.00 | 2500.00 | 55000.00 | 500.00 | 11000.00 | 3200.00 | 70400.00 | 4000.00 | 88000.00 | 11000.00 | SHIVARAM INFRA
9.00 | Servicing of following LT Aircircuit Breakers and HT Bulk Oil Circuit breakers of different makes ( L&T, GE & Crompton Greaves, KEL, Southern Switchgear Ltd) at site as per the recommendations of the manufacturer and attached scope with Manufacturer authorised service dealer etc. complete as required. b).11 KV Bulk oil circuit breakers. | 10.00 | Each |  | 5000.00 | 50000.00 | 500.00 | 5000.00 | 5000.00 | 50000.00 | 1950.00 | 19500.00 | 5000.00 | 50000.00 | 1500.00 | 15000.00 | 3200.00 | 32000.00 | 3000.00 | 30000.00 | 500.00 | 5000.00 | 2700.00 | 27000.00 | 7000.00 | 70000.00 | 5000.00 | ASHWANI REFRIGERATION AND ELECTRICALS, SHIVARAM INFRA
10.00 | Supply of Transformer oil suitable for 11kv distribution Transformer along with test certificate having B.D V/Dielectric strength more than 55KV RMS as required. | 420.00 | liters |  | 60.00 | 25200.00 | 100.00 | 42000.00 | 13.00 | 5460.00 | 110.00 | 46200.00 | 150.00 | 63000.00 | 125.00 | 52500.00 | 155.00 | 65100.00 | 150.00 | 63000.00 | 100.00 | 42000.00 | 150.00 | 63000.00 | 120.00 | 50400.00 | 5460.00 | M/s T and C ENGINEERS PVT LTD
11.00 | Filtration of oil of the following equipment's to the required di electric strength, Testing the same for the break down Voltage, Performing Acidity test at site by arranging the oil filtration machine and other testing equipment's at site, cleaning and drying out the breather etc. including cleaning the transformer completely and arresting the leak if any by providing gasket and tightening the bolts etc. as required. a).1500 KVA Transformer Kirloskar make at SSI (850 liter capacity) ( 1 job per year). | 2.00 | Job |  | 11050.00 | 22100.00 | 8000.00 | 16000.00 | 7800.00 | 15600.00 | 16500.00 | 33000.00 | 6000.00 | 12000.00 | 15000.00 | 30000.00 | 7000.00 | 14000.00 | 6000.00 | 12000.00 | 5000.00 | 10000.00 | 20000.00 | 40000.00 | 12000.00 | 24000.00 | 10000.00 | SHIVARAM INFRA
12.00 | Filtration of oil of the following equipment's to the required di electric strength, Testing the same for the break down Voltage, Performing Acidity test at site by arranging the oil filtration machine and other testing equipment's at site, cleaning and drying out the breather etc. including cleaning the transformer completely and arresting the leak if any by providing gasket and tightening the bolts etc. as required. b).1500 KVA Transformer Crompton Greaves make at SS II (950 Liter capacity) ( 1 job per year). | 2.00 | Job |  | 12350.00 | 24700.00 | 6500.00 | 13000.00 | 7000.00 | 14000.00 | 16500.00 | 33000.00 | 7000.00 | 14000.00 | 18500.00 | 37000.00 | 6000.00 | 12000.00 | 7000.00 | 14000.00 | 5000.00 | 10000.00 | 20000.00 | 40000.00 | 14000.00 | 28000.00 | 10000.00 | SHIVARAM INFRA
13.00 | Filtration of oil of the following equipment's to the required di electric strength, Testing the same for the break down Voltage, Performing Acidity test at site by arranging the oil filtration machine and other testing equipment's at site, cleaning and drying out the breather etc. including cleaning the transformer completely and arresting the leak if any by providing gasket and tightening the bolts etc. as required. c).HT OCB. | 14.00 | Job |  | 12350.00 | 172900.00 | 2000.00 | 28000.00 | 10000.00 | 140000.00 | 7200.00 | 100800.00 | 4000.00 | 56000.00 | 1000.00 | 14000.00 | 1000.00 | 14000.00 | 2000.00 | 28000.00 | 1000.00 | 14000.00 | 3000.00 | 42000.00 | 5000.00 | 70000.00 | 14000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, Techno Electricals, SHIVARAM INFRA
14.00 | Supply & replacement of silica gel crystals for transformer breather as required | 2.00 | kg |  | 550.00 | 1100.00 | 500.00 | 1000.00 | 500.00 | 1000.00 | 130.00 | 260.00 | 400.00 | 800.00 | 180.00 | 360.00 | 1800.00 | 3600.00 | 600.00 | 1200.00 | 500.00 | 1000.00 | 600.00 | 1200.00 | 500.00 | 1000.00 | 260.00 | Ascent Electrification Engineers
15.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/DWC pipe as required. a).Upto 35 sq.mm | 500.00 | Mtrs |  | 68.00 | 34000.00 | 30.00 | 15000.00 | 10.00 | 5000.00 | 45.00 | 22500.00 | 40.00 | 20000.00 | 26.00 | 13000.00 | 20.00 | 10000.00 | 20.00 | 10000.00 | 50.00 | 25000.00 | 40.00 | 20000.00 | 30.00 | 15000.00 | 5000.00 | M/s T and C ENGINEERS PVT LTD
16.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/DWC pipe as required. b).Upto 35 sq.mm and 95 Sq.mm | 500.00 | Mtrs |  | 180.00 | 90000.00 | 60.00 | 30000.00 | 10.00 | 5000.00 | 70.00 | 35000.00 | 80.00 | 40000.00 | 40.00 | 20000.00 | 25.00 | 12500.00 | 40.00 | 20000.00 | 50.00 | 25000.00 | 70.00 | 35000.00 | 100.00 | 50000.00 | 5000.00 | M/s T and C ENGINEERS PVT LTD
17.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/DWC pipe as required. c).Above 95 sq. mm and upto 185 sq. mm | 500.00 | Mtrs |  | 200.00 | 100000.00 | 80.00 | 40000.00 | 15.00 | 7500.00 | 90.00 | 45000.00 | 100.00 | 50000.00 | 54.00 | 27000.00 | 25.00 | 12500.00 | 66.00 | 33000.00 | 50.00 | 25000.00 | 100.00 | 50000.00 | 100.00 | 50000.00 | 7500.00 | M/s T and C ENGINEERS PVT LTD
18.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required a).Upto 35 sq.mm | 500.00 | Mtrs |  | 120.00 | 60000.00 | 200.00 | 100000.00 | 100.00 | 50000.00 | 215.00 | 107500.00 | 450.00 | 225000.00 | 220.00 | 110000.00 | 225.00 | 112500.00 | 280.00 | 140000.00 | 100.00 | 50000.00 | 220.00 | 110000.00 | 50.00 | 25000.00 | 25000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
19.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required b).Above 35 sq. mm and upto 95 sq. mm | 500.00 | Mtrs |  | 150.00 | 75000.00 | 250.00 | 125000.00 | 150.00 | 75000.00 | 320.00 | 160000.00 | 450.00 | 225000.00 | 228.00 | 114000.00 | 225.00 | 112500.00 | 300.00 | 150000.00 | 100.00 | 50000.00 | 270.00 | 135000.00 | 100.00 | 50000.00 | 50000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED, SHIVARAM INFRA
20.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required c).Above 95 sq. mm and upto 185 sq. mm | 500.00 | Mtrs |  | 180.00 | 90000.00 | 300.00 | 150000.00 | 200.00 | 100000.00 | 420.00 | 210000.00 | 550.00 | 275000.00 | 238.00 | 119000.00 | 225.00 | 112500.00 | 320.00 | 160000.00 | 100.00 | 50000.00 | 320.00 | 160000.00 | 100.00 | 50000.00 | 50000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED, SHIVARAM INFRA
21.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required a).3.5x 35 sq.mm | 10.00 | Each |  | 1000.00 | 10000.00 | 650.00 | 6500.00 | 2200.00 | 22000.00 | 5000.00 | 50000.00 | 1750.00 | 17500.00 | 2500.00 | 25000.00 | 1250.00 | 12500.00 | 1800.00 | 18000.00 | 1000.00 | 10000.00 | 700.00 | 7000.00 | 7000.00 | 70000.00 | 6500.00 | ASHWANI REFRIGERATION AND ELECTRICALS
22.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required b).3.5x95 sq. mm | 10.00 | Each |  | 1500.00 | 15000.00 | 700.00 | 7000.00 | 3200.00 | 32000.00 | 5500.00 | 55000.00 | 2500.00 | 25000.00 | 3496.00 | 34960.00 | 1700.00 | 17000.00 | 2600.00 | 26000.00 | 1500.00 | 15000.00 | 2200.00 | 22000.00 | 8000.00 | 80000.00 | 7000.00 | ASHWANI REFRIGERATION AND ELECTRICALS
23.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required c).3.5x120 sq. mm | 10.00 | Each |  | 1500.00 | 15000.00 | 2500.00 | 25000.00 | 3800.00 | 38000.00 | 6000.00 | 60000.00 | 3000.00 | 30000.00 | 3800.00 | 38000.00 | 2000.00 | 20000.00 | 3000.00 | 30000.00 | 2000.00 | 20000.00 | 2700.00 | 27000.00 | 20000.00 | 200000.00 | 15000.00 | Swati Airport Support Services Pvt Ltd
24.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required d).3.5x185 sq. mm | 10.00 | Each |  | 1800.00 | 18000.00 | 4805.90 | 48059.00 | 4000.00 | 40000.00 | 7000.00 | 70000.00 | 4000.00 | 40000.00 | 4200.00 | 42000.00 | 2500.00 | 25000.00 | 3500.00 | 35000.00 | 2200.00 | 22000.00 | 4000.00 | 40000.00 | 40000.00 | 400000.00 | 18000.00 | Swati Airport Support Services Pvt Ltd
| Total in Figures |  |  |  |  | 9047320.00 |  | 7599999.08 |  | 9295060.00 |  | 9100188.00 |  | 8181986.00 |  | 9072920.00 |  | 8759168.00 |  | 8423200.00 |  | 9120400.00 |  | 8173400.00 |  | 10451900.00
Lowest Amount Quoted BY: ASHWANI REFRIGERATION AND ELECTRICALS(7599999.08)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E and M Installation at Begumpet Airport Hyderabad. Sub head - Job Contract of Operation and Maintenance of Ground Lighting Facilities including Miscellaneous electrical works 2021-23 Tender ID: 2021_AAI_66540_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ASHWANI REFRIGERATION AND ELECTRICALS | 7599999.08 | L1
| 2 | SWAS AND IT PRIVATE LIMITED | 8173400.00 | L2
| 3 | SRI VASUKI POWER SYSTEMS PVT LTD | 8181986.00 | L3
| 4 | KALKI ELECTRICALS | 8423200.00 | L4
| 5 | Techno Electricals | 8759168.00 | L5
| 6 | Swati Airport Support Services Pvt Ltd | 9047320.00 | L6
| 7 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 9072920.00 | L7
| 8 | Ascent Electrification Engineers | 9100188.00 | L8
| 9 | SHIVARAM INFRA | 9120400.00 | L9
| 10 | M/s T and C ENGINEERS PVT LTD | 9295060.00 | L10
| 11 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 10451900.00 | L11